## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93730C-0
1012 | HI93730C-0 | CP-R48 | W 17/1 |  | Parameter Formula | Mo
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Molybdenum Reagent C | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 130 | 150
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0636 | 0051 | 1012
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-07-01 | 2028-03-01 | 2030-04-01 |  | W 17/1
Reagent Range Min | Reagent Range Max
0.0 mg/L | 40.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-04-28 | 2025-04-29 | 1HEAD |  |  |  |  | LABO
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97730 | CTO-640
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 32.0 | 30.1 | 33.9 |  | MR19 |  | 0.3 | & | 5% | 100% |  | 4.1 | 3.9 | 4.3
2 | 8.0 | 7.3 | 8.7 | [8 empty] | 4.1 | 3.9 | 4.3
1 | 0.0 | 0.0 | 0.3 | [8 empty] | 4.2 | 4.0 | 4.4
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 32.0 | 1 | Valid | 2025-04-23 | 08:22 | 2025-04-23 | 15:00 | ERIKA |  | 31.8 | 31.6 | / | / | 1.224 |  |  |  | 1.46 |  | 1 | Brigitta P |  | 3 | 3 | 34826
3 | 32.0 | 2 | Valid | 2025-04-23 | 08:22 | 2025-04-23 | 15:00 | ERIKA |  | 31.8 | 31.6 | / | / | 1.226 |  |  |  | 1.36 |  | 1 | Brigitta P |  | 3 | 3 | 34826
3 | 32.0 | 3 | Valid | 2025-04-23 | 08:23 | 2025-04-23 | 15:00 | ERIKA |  | 31.9 | 32.0 | / | / | 1.231 |  |  |  | 1.64 |  | 1 | Brigitta P |  | 3 | 3 | 34826
3 | 32.0 | 4 | Valid | 2025-04-23 | 08:23 | 2025-04-23 | 15:00 | ERIKA |  | 32.1 | 31.9 | / | / | 1.237 |  |  |  | 1.72 |  | 1 | Brigitta P |  | 3 | 3 | 34826
3 | 32.0 | 5 | Old C | 2025-04-23 | 08:26 | 2025-04-23 | 15:00 | ERIKA |  | 32.5 | 32.4 | / | / | 1.250 |  |  |  | 3.04 |  | 1 | Brigitta P |  | 3 | 3 | 34826
3 | 32.0 | 6 | Old C | 2025-04-23 | 08:26 | 2025-04-23 | 15:00 | ERIKA |  | 32.5 | 32.4 | / | / | 1.251 |  |  |  | 2.67 |  | 1 | Brigitta P |  | 3 | 3 | 34826
2 | 8.0 | 7 | Valid | 2025-04-23 | 08:40 | 2025-04-23 | 15:00 | ERIKA |  | 7.8 | 7.6 | / | / | 0.322 |  |  |  | 1.45 |  | 1 | Brigitta P |  | 3 | 2 | 34826
2 | 8.0 | 8 | Valid | 2025-04-23 | 08:41 | 2025-04-23 | 15:00 | ERIKA |  | 7.8 | 7.7 | / | / | 0.322 |  |  |  | 1.46 |  | 1 | Brigitta P |  | 3 | 2 | 34826
2 | 8.0 | 9 | Valid | 2025-04-23 | 08:41 | 2025-04-23 | 15:00 | ERIKA |  | 7.9 | 7.8 | / | / | 0.326 |  |  |  | 1.5 |  | 1 | Brigitta P |  | 3 | 2 | 34826
2 | 8.0 | 10 | Valid | 2025-04-23 | 08:42 | 2025-04-23 | 15:00 | ERIKA |  | 8.1 | 8.0 | / | / | 0.333 |  |  |  | 1.46 |  | 1 | Brigitta P |  | 3 | 2 | 34826
2 | 8.0 | 11 | Old C | 2025-04-23 | 08:43 | 2025-04-23 | 15:00 | ERIKA |  | 8.1 | 7.8 | / | / | 0.334 |  |  |  | 1.87 |  | 1 | Brigitta P |  | 3 | 2 | 34826
2 | 8.0 | 12 | Old C | 2025-04-23 | 08:43 | 2025-04-23 | 15:00 | ERIKA |  | 8.0 | 7.8 | / | / | 0.331 |  |  |  | 2.23 |  | 1 | Brigitta P |  | 3 | 2 | 34826
1 | 0.0 | 13 | Valid | 2025-04-23 | 08:47 | 2025-04-23 | 15:00 | ERIKA |  | 0.0 | 0.0 | / | / | 0.009 |  |  |  | 1.40 |  | 1 | Brigitta P |  | 3 | 1 | 34826
1 | 0.0 | 14 | Valid | 2025-04-23 | 08:47 | 2025-04-23 | 15:00 | ERIKA |  | 0.0 | 0.0 | / | / | 0.008 |  |  |  | 0.45 |  | 1 | Brigitta P |  | 3 | 1 | 34826
1 | 0.0 | 15 | Valid | 2025-04-23 | 08:47 | 2025-04-23 | 15:00 | ERIKA |  | 0.0 | 0.0 | / | / | 0.007 |  |  |  | 1.57 |  | 1 | Brigitta P |  | 3 | 1 | 34826
1 | 0.0 | 16 | Old C | 2025-04-23 | 08:48 | 2025-04-23 | 15:00 | ERIKA |  | 0.1 | 0.0 | / | / | 0.015 |  |  |  | 2.20 |  | 1 | Brigitta P |  | 3 | 1 | 34826
1 | 0.0 | 17 | Old C | 2025-04-23 | 08:48 | 2025-04-23 | 15:00 | ERIKA |  | 0.0 | 0.0 | / | / | 0.012 |  |  |  | 2.28 |  | 1 | Brigitta P |  | 3 | 1 | 34826
3 | 32.0 | 18 | P/FINAL | 2025-04-28 | 15:41 | 2025-04-28 | 12:43 | TAMARA |  | 33.5 | 32.8 | / | / | 1.288 |  |  |  | 2.10 |  | 1 | Kinga |  | 3 | 3 | 34826
3 | 32.0 | 19 | P/FINAL | 2025-04-28 | 15:42 | 2025-04-28 | 12:43 | TAMARA |  | 33.3 | 32.6 | / | / | 1.281 |  |  |  | 22.8 |  | 1 | Kinga |  | 3 | 3 | 34826
3 | 32.0 | 20 | P/FINAL | 2025-04-28 | 15:42 | 2025-04-28 | 12:43 | TAMARA |  | 33.6 | 33.0 | / | / | 1.294 |  |  |  | 2.20 |  | 1 | Kinga |  | 3 | 3 | 34826
3 | 32.0 | 21 | P/FINAL | 2025-04-28 | 15:42 | 2025-04-28 | 12:43 | TAMARA |  | 33.6 | 33.1 | / | / | 1.294 |  |  |  | 1.96 |  | 1 | Kinga |  | 3 | 3 | 34826
3 | 32.0 | 22 | P/FINAL | 2025-04-28 | 15:44 | 2025-04-28 | 14:28 | TAMARA |  | 32.7 | 32.2 | / | / | 1.258 |  |  |  | 1.87 |  | 1 | Kinga |  | 3 | 3 | 34826
3 | 32.0 | 23 | P/FINAL | 2025-04-28 | 15:45 | 2025-04-28 | 14:28 | TAMARA |  | 32.5 | 32.0 | / | / | 1.250 |  |  |  | 1.85 |  | 1 | Kinga |  | 3 | 3 | 34826
3 | 32.0 | 24 | P/FINAL | 2025-04-28 | 15:45 | 2025-04-28 | 14:28 | TAMARA |  | 33.4 | 32.8 | / | / | 1.285 |  |  |  | 1.95 |  | 1 | Kinga |  | 3 | 3 | 34826
3 | 32.0 | 25 | P/FINAL | 2025-04-28 | 15:46 | 2025-04-28 | 14:28 | TAMARA |  | 33.3 | 32.8 | / | / | 1.283 |  |  |  | 1.82 |  | 1 | Kinga |  | 3 | 3 | 34826
2 | 8.0 | 26 | P/FINAL | 2025-04-28 | 15:58 | 2025-04-28 | 12:43 | TAMARA |  | 8.3 | 8.0 | / | / | 0.340 |  |  |  | 2.05 |  | 1 | Kinga |  | 3 | 2 | 34826
2 | 8.0 | 27 | P/FINAL | 2025-04-28 | 15:59 | 2025-04-28 | 12:43 | TAMARA |  | 8.1 | 8.0 | / | / | 0.334 |  |  |  | 1.97 |  | 1 | Kinga |  | 3 | 2 | 34826
2 | 8.0 | 28 | P/FINAL | 2025-04-28 | 15:59 | 2025-04-28 | 12:43 | TAMARA |  | 8.2 | 8.0 | / | / | 0.338 |  |  |  | 1.99 |  | 1 | Kinga |  | 3 | 2 | 34826
2 | 8.0 | 29 | P/FINAL | 2025-04-28 | 16:00 | 2025-04-28 | 12:43 | TAMARA |  | 8.2 | 8.0 | / | / | 0.336 |  |  |  | 2.43 |  | 1 | Kinga |  | 3 | 2 | 34826
2 | 8.0 | 30 | P/FINAL | 2025-04-28 | 16:01 | 2025-04-28 | 14:28 | TAMARA |  | 7.8 | 7.8 | / | / | 0.321 |  |  |  | 2.05 |  | 1 | Kinga |  | 3 | 2 | 34826
2 | 8.0 | 31 | P/FINAL | 2025-04-28 | 16:02 | 2025-04-28 | 14:28 | TAMARA |  | 8.0 | 7.6 | / | / | 0.330 |  |  |  | 1.70 |  | 1 | Kinga |  | 3 | 2 | 34826
2 | 8.0 | 32 | P/FINAL | 2025-04-28 | 16:02 | 2025-04-28 | 14:28 | TAMARA |  | 8.2 | 7.9 | / | / | 0.336 |  |  |  | 2.02 |  | 1 | Kinga |  | 3 | 2 | 34826
2 | 8.0 | 33 | P/FINAL | 2025-04-28 | 16:03 | 2025-04-28 | 14:28 | TAMARA |  | 8.3 | 7.9 | / | / | 0.341 |  |  |  | 2.45 |  | 1 | Kinga |  | 3 | 2 | 34826
1 | 0.0 | 34 | P/FINAL | 2025-04-28 | 16:03 | 2025-04-28 | 14:28 | TAMARA |  | 0.1 | 0.0 | / | / | 0.015 |  |  |  | 2.20 |  | 1 | Kinga |  | 3 | 1 | 34826
1 | 0.0 | 35 | P/FINAL | 2025-04-28 | 16:03 | 2025-04-28 | 14:28 | TAMARA |  | 0.0 | 0.0 | / | / | -0.004 |  |  |  | 1.45 |  | 1 | Kinga |  | 3 | 1 | 34826
1 | 0.0 | 36 | P/FINAL | 2025-04-28 | 16:04 | 2025-04-28 | 12:45 | TAMARA |  | 0.0 | 0.1 | / | / | 0.12 |  |  |  | 2.06 |  | 1 | Kinga |  | 3 | 1 | 34826
2 | 8.0 | 37 | P/FINAL | 2025-04-29 | 09:17 | 2025-04-29 | 06:38 | TAMARA |  | 8.6 | 8.4 | / | / | 0.355 |  |  |  | 2.09 |  | 1 | Kinga |  | 3 | 2
2 | 8.0 | 38 | P/FINAL | 2025-04-29 | 09:18 | 2025-04-29 | 06:38 | TAMARA |  | 8.4 | 8.4 | / | / | 0.344 |  |  |  | 2.44 |  | 1 | Kinga |  | 3 | 2
2 | 8.0 | 39 | P/FINAL | 2025-04-29 | 09:19 | 2025-04-29 | 06:38 | TAMARA |  | 8.4 | 8.4 | / | / | 0.345 |  |  | 4.016 | 2.39 |  | 1 | Kinga |  | 3 | 2
3 | 32.0 | 40 | P/FINAL | 2025-04-29 | 09:23 | 2025-04-29 | 06:38 | TAMARA |  | 33.3 | 33.2 | / | / | 1.280 |  |  |  | 2.09 | 134 | 1 | Kinga |  | 3 | 3
3 | 32.0 | 41 | P/FINAL | 2025-04-29 | 09:24 | 2025-04-29 | 06:38 | TAMARA |  | 33.2 | 33.5 | / | / | 1.284 |  |  | 4.082 | 2.10 | 148 | 1 | Kinga |  | 3 | 3
3 | 32.0 | 42 | P/FINAL | 2025-04-29 | 09:24 | 2025-04-29 | 06:38 | TAMARA |  | 33.0 | 33.0 | / | / | 1.272 |  |  |  | 1.88 | 136 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 43 | P/FINAL | 2025-04-29 | 09:26 | 2025-04-29 | 06:38 | TAMARA |  | 0.0 | 0.0 | / | / | 0.013 |  |  | 4.003 | 2.12 | 145 | 1 | Kinga |  | 3 | 1
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 33 mg/L | 11 | 22 | 33 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 8.1 mg/L | 11 | 22 | 8.1 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.3 | 0.0 | YES
8.0 | 7.3 ÷ 8.7 | 8.1 | YES
32.0 | 30.1 ÷ 33.9 | 33.0 | YES
Validation Date | by