## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93731A-0
0840 | HI93731A-0 | CP-R49 | W47/1 |  | Parameter Formula | Zn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Zinc Reagent A | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
400 | 370 | 430
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0840 | 1951
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2029-07-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 3.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2024-11-22 | 2024-11-29 | PRECI |  |  | 0502
[6 empty] | Expiration A | Expiration B | Expiration D
2029-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97731 | CTO-634
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | CTO-320 | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
5 | 3.50 | 3.00 | 3.00 |  | MR62 |  | 0.03 | & | 3% | 100% |  | 8.8 | 8.7 | 9.0
4 | 2.90 | 2.78 | 3.02
3 | 1.80 | 1.72 | 1.88
2 | 0.60 | 0.55 | 0.65
6 | 2.40 | 2.30 | 2.50
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
5 | 3.50 | 1 | Old A | 2024-11-22 | 13:15 | 2024-11-22 |  | ERIKA |  | 3.00 | 3.00 | / | / | 1.910 |  |  |  | 1.55 |  |  | Brigitta P |  | 3 | 5
5 | 3.50 | 2 | Valid | 2024-11-22 | 13:16 | 2024-11-22 |  | ERIKA |  | 2.98 | 3.00 | / | / | 1.906 |  |  |  | 1.59 |  |  | Brigitta P |  | 3 | 5
5 | 3.50 | 3 | Valid | 2024-11-22 | 13:23 | 2024-11-22 |  | ERIKA |  | 3.00 | 3.00 | / | / | 2.062 |  |  |  | 1.89 |  |  | Brigitta P |  | 3 | 5
4 | 2.90 | 4 | Valid | 2024-11-22 | 13:25 | 2024-11-22 |  | ERIKA |  | 2.60 | 2.64 | / | / | 1.721 |  |  |  | 0.99 |  |  | Brigitta P |  | 3 | 4
4 | 2.90 | 5 | Valid | 2024-11-22 | 13:25 | 2024-11-22 |  | ERIKA |  | 2.60 | 2.65 | / | / | 1.721 |  |  |  | 1.05 |  |  | Brigitta P |  | 3 | 4
4 | 2.90 | 6 | Valid | 2024-11-22 | 13:25 | 2024-11-22 |  | ERIKA |  | 2.66 | 2.72 | / | / | 1.721 |  |  |  | 1.23 |  |  | Brigitta P |  | 3 | 4
4 | 2.90 | 7 | Valid | 2024-11-22 | 13:25 | 2024-11-22 |  | ERIKA |  | 2.65 | 2.70 | / | / | 1.746 |  |  |  | 1.09 |  |  | Brigitta P |  | 3 | 4
3 | 1.80 | 8 | Old A | 2024-11-22 | 13:25 | 2024-11-22 |  | ERIKA |  | 1.72 | 1.81 | / | / | 1.225 |  |  |  | 1.31 |  |  | Brigitta P |  | 3 | 4
3 | 1.80 | 9 | Valid | 2024-11-22 | 13:35 | 2024-11-22 |  | ERIKA |  | 1.70 | 1.81 | / | / | 1.219 |  |  |  | 1.23 |  |  | Brigitta P |  | 3 | 4
3 | 1.80 | 10 | Valid | 2024-11-22 | 13:35 | 2024-11-22 |  | ERIKA |  | 1.69 | 1.79 | / | / | 1.214 |  |  |  | 1.09 |  |  | Brigitta P |  | 3 | 4
3 | 1.80 | 11 | Valid | 2024-11-22 | 13:35 | 2024-11-22 |  | ERIKA |  | 1.70 | 1.80 | / | / | 1.222 | [6 empty] | Brigitta P |  | 3 | 4
2 | 0.60 | 12 | Old A | 2024-11-22 | 13:45 | 2024-11-22 |  | ERIKA |  | 0.55 | 0.58 | / | / | 0.449 | [6 empty] | Brigitta P |  | 3 | 4
2 | 0.60 | 13 | Valid | 2024-11-22 | 13:45 | 2024-11-22 |  | ERIKA |  | 0.52 | 0.55 | / | / | 0.426 | [6 empty] | Brigitta P |  | 3 | 4
2 | 0.60 | 14 | Valid | 2024-11-22 | 13:45 | 2024-11-22 |  | ERIKA |  | 0.55 |  | / | / | 0.449 | [6 empty] | Brigitta P |  | 3 | 4
2 | 0.60 | 15 | Valid | 2024-11-22 | 13:50 | 2024-11-22 |  | ERIKA |  | 0.58 | 0.58 | / | / | 0.469 | [6 empty] | Brigitta P |  | 3 | 4
4 | 2.90 | 16 | Old A | 2024-11-25 | 11:01 | 2024-11-22 | 10:15 | Erika |  | 2.58 | 2.65 | / | / | 1.711 |  |  |  | 1.85 |  |  | Monika |  | 3 | 2 | 90522 | NEW CUVETTE OMPI,NEW CAP
4 | 2.90 | 17 | Old A | 2024-11-25 | 11:02 | 2024-11-22 | 10:15 | Erika |  | 2.63 | 2.70 | / | / | 1.734 |  |  |  | 1.78 |  |  | Monika |  | 3 | 2 | 90522
4 | 2.90 | 18 | Valid | 2024-11-25 | 11:06 | 2024-11-22 | 10:15 | Erika |  | 2.76 | 2.89 | / | / | 1.799 |  |  |  | 1.07 | 437 |  | Monika |  | 3 | 3 | 90522
4 | 2.90 | 19 | Valid | 2024-11-25 | 11:07 | 2024-11-22 | 10:15 | Erika |  | 2.80 | 2.96 | / | / | 1.819 |  |  |  | 1.09 | 440 |  | Monika |  | 3 | 3 | 90522
4 | 2.90 | 20 | Valid | 2024-11-25 | 11:17 | 2024-11-22 | 10:15 | Erika |  | 2.73 | 2.86 | / | / | 1.783 |  |  |  | 1.00 |  |  | Monika |  | 3 | 3 | 90522
4 | 2.90 | 21 | Valid | 2024-11-25 | 11:18 | 2024-11-22 | 10:15 | Erika |  | 2.75 | 2.87 | / | / | 1.796 |  |  |  | 1.13 | 440 |  | Monika |  | 3 | 3 | 90522
5 | 3.50 | 22 | Old A | 2024-11-25 | 11:27 | 2024-11-22 | 10:15 | Erika |  | 2.87 | 2.91 | / | / | 1.853 |  |  |  | 1.89 |  |  | Monika |  | 3 | 5 | 90522
5 | 3.50 | 23 | Old A | 2024-11-25 | 11:27 | 2024-11-22 | 10:15 | Erika |  | 2.99 | 3.00 | / | / | 1.904 |  |  |  | 1.92 |  |  | Monika |  | 3 | 5 | 90522 | 3.00 blinking
5 | 3.50 | 24 | Valid | 2024-11-25 | 11:38 | 2024-11-22 | 10:15 | Erika |  | 3.00 | 3.00 | / | / | 2.032 |  |  |  | 1.17 | 439 |  | Monika |  | 3 | 5 | 90522 | 3.00 blinking
5 | 3.50 | 25 | Valid | 2024-11-25 | 11:39 | 2024-11-22 | 10:15 | Erika |  | 3.00 | 3.00 | / | / | 2.039 |  |  |  | 1.01 |  |  | Monika |  | 3 | 5 | 90522 | 3.00 blinking
5 | 3.50 | 26 | Valid | 2024-11-25 | 11:49 | 2024-11-22 | 10:15 | Erika |  | 3.00 | 3.00 | / | / | 2.001 |  |  |  | 1.19 |  |  | Monika |  | 3 | 5 | 90522 | 3.00 blinking
5 | 3.50 | 27 | Valid | 2024-11-25 | 11:50 | 2024-11-22 | 10:15 | Erika |  | 3.00 | 3.00 | / | / | 1.996 |  |  |  | 0.98 |  |  | Monika |  | 3 | 5 | 90522 | 3.00 blinking
6 | 2.40 | 28 | Valid | 2024-11-25 | 11:53 | 2024-11-22 | 10:15 | Erika |  | 2.27 | 2.36 | / | / | 1.548 |  |  |  | 1.12 |  |  | Monika |  | 3 | 6 | 90522
6 | 2.40 | 29 | Valid | 2024-11-25 | 11:54 | 2024-11-22 | 10:15 | Erika |  | 2.34 | 2.44 | / | / | 1.585 |  |  |  | 1.27 |  |  | Monika |  | 3 | 6 | 90522
2 | 0.60 | 30 | Valid | 2024-11-25 | 12:07 | 2024-11-22 | 10:15 | Erika |  | 0.53 | 0.54 | / | / | 0.430 |  |  |  | 1.36 | 444 |  | Monika |  | 3 | 2 | 90522
2 | 0.60 | 31 | Valid | 2024-11-25 | 12:09 | 2024-11-22 | 10:15 | Erika |  | 0.54 | 0.56 | / | / | 0.436 |  |  |  | 1.33 |  |  | Monika |  | 3 | 2 | 90522
2 | 0.60 | 32 | Valid | 2024-11-25 | 12:17 | 2024-11-22 | 10:15 | Erika |  | 0.55 | 0.56 | / | / | 0.438 |  |  |  | 1.29 | 439 |  | Monika |  | 3 | 2 | 90522
2 | 0.60 | 33 | Valid | 2024-11-25 | 12:18 | 2024-11-22 | 10:15 | Erika |  | 0.54 | 0.56 | / | / | 0.435 |  |  |  | 1.29 |  |  | Monika |  | 3 | 2 | 90522
1 | 0.00 | 34 | Valid | 2024-11-25 | 12:21 | 2024-11-22 | 10:15 | Erika |  | 0.00 | 0.04 | / | / | 0.027 |  |  |  | 1.66 | 440 |  | Monika |  | 3 | 1
1 | 0.00 | 35 | Valid | 2024-11-25 | 12:22 | 2024-11-22 | 10:15 | Erika |  | 0.00 | 0.04 | / | / | 0.027 |  |  |  | 1.78 |  |  | Monika |  | 3 | 1 |  | 0.00 BLINKING
2 | 0.60 | 36 | Old A | 2024-11-25 | 12:34 | 2024-11-22 |  | Erika |  | 0.54 | 0.57 | / | / | 0.436 |  |  |  | 2.45 |  |  | Monika |  | 3 | 2 | 90522
2 | 0.60 | 37 | Old A | 2024-11-25 | 12:35 | 2024-11-22 |  | Erika |  | 0.55 | 0.58 | / | / | 0.443 |  |  |  | 2.65 |  |  | Monika |  | 3 | 2 | 90522
6 | 2.40 | 38 | Old A | 2024-11-25 | 12:41 | 2024-11-22 |  | Erika |  | 2.23 | 2.34 | / | / | 1.522 |  |  |  | 1.90 |  |  | Monika |  | 3 | 6 | 90522
6 | 2.40 | 39 | Old A | 2024-11-25 | 12:41 | 2024-11-22 |  | Erika |  | 2.26 | 2.36 | / | / | 0.541 |  |  |  | 1.85 |  |  | Monika |  | 3 | 6 | 90522
2 | 0.60 | 40 | P/Final | 2024-11-26 | 09:29 | 2024-11-26 | 09:00 | ROLAND | PRECI | 0.55 | 0.59 | / | / | 0.443 |  |  |  | 1.48 |  | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 41 | P/Final | 2024-11-26 | 09:36 | 2024-11-26 | 09:00 | ROLAND | PRECI | 0.55 | 0.56 | / | / | 0.443 |  |  |  | 1.60 |  | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 42 | P/Final | 2024-11-26 | 09:38 | 2024-11-26 | 09:00 | ROLAND | PRECI | 0.55 | 0.57 | / | / | 0.443 |  |  |  | 1.74 |  | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 43 | P/Final | 2024-11-26 | 10:00 | 2024-11-26 | 09:00 | ROLAND | PRECI | 0.55 | 0.57 | / | / | 0.445 |  |  |  | 1.79 | 445 | 1 | Brigitta P |  | 3 | 2 | 90522
3 | 1.80 | 44 | P/Final | 2024-11-26 | 10:12 | 2024-11-26 | 09:00 | ROLAND | PRECI | 1.70 | 1.83 | / | / | 1.220 |  |  |  | 1.33 | 440 | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 45 | P/Final | 2024-11-26 | 10:13 | 2024-11-26 | 09:00 | ROLAND | PRECI | 1.70 | 1.79 | / | / | 1.240 |  |  |  | 1.12 |  | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 46 | P/Final | 2024-11-26 | 10:14 | 2024-11-26 | 09:00 | ROLAND | PRECI | 1.73 | 1.90 | / | / | 1.240 |  |  |  | 1.61 | 450 | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 47 | P/Final | 2024-11-26 | 10:16 | 2024-11-26 | 09:00 | ROLAND | PRECI | 1.72 | 1.85 | / | / | 1.232 |  |  |  | 1.57 | 448 | 1 | Brigitta P |  | 3 | 3 | 90522
4 | 2.90 | 48 | P/Final | 2024-11-26 | 10:26 | 2024-11-26 | 09:00 | ROLAND | PRECI | 2.75 | 2.85 | / | / | 1.796 |  |  |  | 1.22 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 49 | P/Final | 2024-11-26 | 10:26 | 2024-11-26 | 09:00 | ROLAND | PRECI | 2.94 | 2.99 | / | / | 1.885 |  |  |  | 1.22 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 50 | P/Final | 2024-11-26 | 10:27 | 2024-11-26 | 09:00 | ROLAND | PRECI | 2.76 | 2.86 | / | / | 1.801 |  |  |  | 1.26 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 51 | P/Final | 2024-11-26 | 10:33 | 2024-11-26 | 09:00 | ROLAND | PRECI | 2.74 | 2.79 | / | / | 1.79 |  |  |  | 1.12 |  | 1 | Brigitta P |  | 3 | 4 | 90522
5 | 3.50 | 52 | P/Final | 2024-11-26 | 10:39 | 2024-11-26 | 09:00 | ROLAND | PRECI | 3.00 | 3.00 | / | / | 1.987 |  |  |  | 1.21 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 53 | P/Final | 2024-11-26 | 10:40 | 2024-11-26 | 09:00 | ROLAND | PRECI | 3.00 | 3.00 | / | / | 2.049 |  |  |  | 1.48 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 54 | P/Final | 2024-11-26 | 10:41 | 2024-11-26 | 09:00 | ROLAND | PRECI | 3.00 | 3.00 | / | / | 2.085 |  |  |  | 1.87 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 55 | P/Final | 2024-11-26 | 10:41 | 2024-11-26 | 09:00 | ROLAND | PRECI | 3.00 | 3.00 | / | / | 2.016 |  |  |  | 2.26 |  | 1 | Brigitta P |  | 3 | 5 | 90522
1 | 0.00 | 56 | P/Final | 2024-11-26 | 10:47 | 2024-11-26 | 09:00 | ROLAND | PRECI | 0.00 | 0.00 | / | / | 0.031 |  |  |  | 2.04 |  | 1 | Brigitta P |  | 3 | 1 | 90522
1 | 0.00 | 57 | P/Final | 2024-11-26 | 10:47 | 2024-11-26 | 09:00 | ROLAND | PRECI | 0.00 | 0.00 | / | / | 0.025 |  |  |  | 1.95 |  | 1 | Brigitta P |  | 3 | 1 | 90522
1 | 0.00 | 58 | P/Final | 2024-11-26 | 10:48 | 2024-11-26 | 09:00 | ROLAND | PRECI | 0.00 | 0.01 | / | / | 0.025 |  |  |  | 1.76 |  | 1 | Brigitta P |  | 3 | 1 | 90522
1 | 0.00 | 59 | P/Final | 2024-11-26 | 10:48 | 2024-11-26 | 09:00 | ROLAND | PRECI | 0.00 | 0.00 | / | / | 0.032 |  |  |  | 1.76 |  | 1 | Brigitta P |  | 3 | 1 | 90522
2 | 0.60 | 60 | P/Final | 2024-11-28 | 11:06 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 0.60 | 0.57 | / | / | 0.484 |  |  |  | 1.61 |  | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 61 | P/Final | 2024-11-28 | 11:07 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 0.55 | 0.56 | / | / |  |  |  |  | 1.63 |  | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 62 | P/Final | 2024-11-28 | 11:07 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 0.54 | 0.55 | / | / | 0.441 |  |  |  | 1.79 |  | 1 | Brigitta P |  | 3 | 2 | 90522
3 | 1.80 | 63 | P/Final | 2024-11-28 | 11:09 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 1.72 | 1.81 | / | / | 1.230 |  |  |  | 0.81 |  | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 64 | P/Final | 2024-11-28 | 11:10 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 1.68 | 1.78 | / | / | 1.209 |  |  |  | 0.0.59 |  | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 65 | P/Final | 2024-11-28 | 11:11 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 1.72 | 1.81 | / | / | 1.229 |  |  |  | 0.59 |  | 1 | Brigitta P |  | 3 | 3 | 90522
4 | 2.90 | 66 | P/Final | 2024-11-28 | 11:19 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 2.71 | 2.78 | / | / | 1.775 |  |  |  | 1.24 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 67 | P/Final | 2024-11-28 | 11:20 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 2.78 | 2.82 | / | / | 1.807 |  |  |  | 1.46 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 68 | P/Final | 2024-11-28 | 11:20 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 2.78 | 2.80 | / | / | 1.806 |  |  |  | 1.46 |  | 1 | Brigitta P |  | 3 | 4 | 90522
5 | 3.50 | 69 | P/Final | 2024-11-28 | 11:22 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 3.00 | 3.00 | / | / | 1.929 |  |  |  | 0.82 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 70 | P/Final | 2024-11-28 | 11:22 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 3.00 | 3.00 | / | / | 1.954 |  |  |  | 6.26 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 71 | P/Final | 2024-11-28 | 11:23 | 2024-11-26 | 14:26 | GIORGIANA | PRECI | 3.00 | 3.00 | / | / | 1.912 |  |  |  | 6.26 |  | 1 | Brigitta P |  | 3 | 5 | 90522
2 | 0.60 | 72 | P/Final | 2024-11-28 | 11:36 | 2024-11-27 | 07:36 | IRINA | PRECI | 0.54 | 0.55 | / | / | 0.445 |  |  |  | 2.14 |  | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 73 | P/Final | 2024-11-28 | 11:37 | 2024-11-27 | 07:36 | IRINA | PRECI | 0.55 | 0.57 | / | / | 0.448 |  |  |  | 2.49 |  | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 74 | P/Final | 2024-11-28 | 11:38 | 2024-11-27 | 07:36 | IRINA | PRECI | 0.55 | 0.58 | / | / | 0.448 |  |  |  | 2.18 |  | 1 | Brigitta P |  | 3 | 2 | 90522
4 | 2.90 | 75 | P/Final | 2024-11-28 | 11:40 | 2024-11-27 | 07:36 | IRINA | PRECI | 2.80 | 2.87 | / | / | 1.816 |  |  |  | 2.18 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 76 | P/Final | 2024-11-28 | 11:41 | 2024-11-27 | 07:36 | IRINA | PRECI | 2.81 | 2.87 | / | / | 1.821 |  |  |  | 0.76 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 77 | P/Final | 2024-11-28 | 11:41 | 2024-11-27 | 07:36 | IRINA | PRECI | 2.60 | 2.74 | / | / | 1.717 |  |  |  | 0.83 |  | 1 | Brigitta P |  | 3 | 4 | 90522
3 | 1.80 | 78 | P/Final | 2024-11-28 | 11:42 | 2024-11-27 | 07:36 | IRINA | PRECI | 1.76 | 1.75 | / | / | 1.253 |  |  |  | 0.66 |  | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 79 | P/Final | 2024-11-28 | 11:43 | 2024-11-27 | 07:36 | IRINA | PRECI | 1.66 | 1.75 | / | / |  |  |  |  | 0.79 |  | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 80 | P/Final | 2024-11-28 | 11:43 | 2024-11-27 | 07:36 | IRINA | PRECI | 1.76 | 1.88 | / | / | 1.254 |  |  |  | 0.72 |  | 1 | Brigitta P |  | 3 | 3 | 90522
5 | 3.50 | 81 | P/Final | 2024-11-28 | 11:48 | 2024-11-27 | 07:36 | IRINA | PRECI | 3.00 | 3.00 | / | / | 2.030 |  |  |  | 3.48 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 82 | P/Final | 2024-11-28 | 11:49 | 2024-11-27 | 07:36 | IRINA | PRECI | 3.00 | 3.00 | / | / | 2.008 |  |  |  | 2.12 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 83 | P/Final | 2024-11-28 | 11:51 | 2024-11-27 | 07:36 | IRINA | PRECI | 3.00 | 3.00 | / | / | 2.018 |  |  |  | 1.44 |  | 1 | Brigitta P |  | 3 | 5 | 90522
2 | 0.60 | 84 | P/Final | 2024-11-28 | 12:02 | 2024-11-27 | 14:39 | ELENA | PRECI | 0.51 | 0.52 | / | / |  |  |  |  | 1.37 |  | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 85 | P/Final | 2024-11-28 | 12:02 | 2024-11-27 | 14:39 | ELENA | PRECI | 0.53 | 0.59 | / | / | 0.432 |  |  |  | 1.80 |  | 1 | Brigitta P |  | 3 | 2 | 90522
3 | 1.80 | 86 | P/Final | 2024-11-28 | 12:03 | 2024-11-27 | 14:39 | ELENA | PRECI | 1.73 | 1.90 | / | / | 1.239 |  |  |  | 5.03 |  | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 87 | P/Final | 2024-11-28 | 12:04 | 2024-11-27 | 14:39 | ELENA | PRECI | 1.73 | 1.79 | / | / |  |  |  |  | 2.74 |  | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 88 | P/Final | 2024-11-28 | 12:04 | 2024-11-27 | 14:39 | ELENA | PRECI | 1.69 | 1.79 | / | / | 1.214 |  |  |  | 2.15 |  | 1 | Brigitta P |  | 3 | 3 | 90522
4 | 2.90 | 89 | P/Final | 2024-11-28 | 12:11 | 2024-11-27 | 14:39 | ELENA | PRECI | 2.68 | 2.76 | / | / | 1.758 |  |  |  | 1.22 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 90 | P/Final | 2024-11-28 | 12:11 | 2024-11-27 | 14:39 | ELENA | PRECI | 2.79 | 2.85 | / | / | 1.814 |  |  |  | 1.24 |  | 1 | Brigitta P |  | 3 | 4 | 90522
5 | 3.50 | 91 | P/Final | 2024-11-28 | 12:12 | 2024-11-27 | 14:39 | ELENA | PRECI | 3.00 | 3.00 | / | / | 1.989 |  |  |  | 1.62 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 92 | P/Final | 2024-11-28 | 12:12 | 2024-11-27 | 14:39 | ELENA | PRECI | 3.00 | 3.00 | / | / | 2.026 |  |  |  | 1.62 |  | 1 | Brigitta P |  | 3 | 5 | 90522
1 | 0.00 | 93 | P/Final | 2024-11-28 | 12:24 | 2024-11-27 | 14:39 | ELENA | PRECI | 0.00 | 0.01 | / | / | 0.023 |  |  |  | 2.61 |  | 1 | Brigitta P |  | 3 | 1 | 90522
1 | 0.00 | 94 | P/Final | 2024-11-28 | 12:25 | 2024-11-27 | 14:39 | ELENA | PRECI | 0.00 | 0.03 | / | / | 0.029 |  |  |  | 2.69 |  | 1 | Brigitta P |  | 3 | 1 | 90522
1 | 0.00 | 95 | P/Final | 2024-11-28 | 12:26 | 2024-11-27 | 14:39 | ELENA | PRECI | 0.00 | 0.07 | / | / | 0.023 |  |  |  | 2.47 |  | 1 | Brigitta P |  | 3 | 1 | 90522
1 | 0.00 | 96 | P/Final | 2024-11-28 | 12:26 | 2024-11-27 | 14:39 | ELENA | PRECI | 0.00 | 0.03 | / | / | 0.018 |  |  |  | 2.47 |  | 1 | Brigitta P |  | 3 | 1 | 90522
2 | 0.60 | 97 | P/Final | 2024-11-28 | 12:38 | 2024-11-28 | 07:10 | ROLAND | PRECI | 0.55 | 0.59 | / | / | 0.449 |  |  |  | 2.21 | 455 | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 98 | P/Final | 2024-11-28 | 12:39 | 2024-11-28 | 07:10 | ROLAND | PRECI | 0.53 | 0.55 | / | / | 0.431 |  |  |  | 1.64 | 445 | 1 | Brigitta P |  | 3 | 2 | 90522
2 | 0.60 | 99 | P/Final | 2024-11-28 | 12:39 | 2024-11-28 | 07:10 | ROLAND | PRECI | 0.56 | 0.60 | / | / | 0.450 |  |  |  | 2.17 |  | 1 | Brigitta P |  | 3 | 2 | 90522
3 | 1.80 | 100 | P/Final | 2024-11-28 | 12:41 | 2024-11-28 | 07:10 | ROLAND | PRECI | 1.76 | 1.84 | / | / | 1.253 |  |  |  | 1.45 | 457 | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 101 | P/Final | 2024-11-28 | 12:42 | 2024-11-28 | 07:10 | ROLAND | PRECI | 1.67 | 1.72 | / | / | 1.198 |  |  |  | 1.40 |  | 1 | Brigitta P |  | 3 | 3 | 90522
3 | 1.80 | 102 | P/Final | 2024-11-28 | 12:42 | 2024-11-28 | 07:10 | ROLAND | PRECI | 1.77 | 1.83 | / | / | 1.259 |  |  |  | 1.52 |  | 1 | Brigitta P |  | 3 | 3 | 90522
4 | 2.90 | 103 | P/Final | 2024-11-28 | 12:57 | 2024-11-28 | 07:10 | ROLAND | PRECI | 2.76 | 2.78 | / | / | 1.835 |  |  |  | 1.54 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 104 | P/Final | 2024-11-28 | 12:57 | 2024-11-28 | 07:10 | ROLAND | PRECI | 2.83 | 2.83 | / | / | 1.835 |  |  |  | 1.66 |  | 1 | Brigitta P |  | 3 | 4 | 90522
4 | 2.90 | 105 | P/Final | 2024-11-28 | 12:58 | 2024-11-28 | 07:10 | ROLAND | PRECI | 2.83 | 2.82 | / | / | 1.832 |  |  |  | 1.79 |  | 1 | Brigitta P |  | 3 | 4 | 90522
5 | 3.50 | 106 | P/Final | 2024-11-28 | 12:59 | 2024-11-28 | 07:10 | ROLAND | PRECI | 3.00 | 3.00 | / | / | 2.050 |  |  |  | 1.39 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 107 | P/Final | 2024-11-28 | 12:59 | 2024-11-28 | 07:10 | ROLAND | PRECI | 3.00 | 3.00 | / | / | 2.028 |  |  |  | 1.28 |  | 1 | Brigitta P |  | 3 | 5 | 90522
5 | 3.50 | 108 | P/Final | 2024-11-28 | 13:00 | 2024-11-28 | 07:10 | ROLAND | PRECI | 3.00 | 3.00 | / | / | 2.055 |  |  |  | 1.46 |  | 1 | Brigitta P |  | 3 | 5 | 90522
1 | 0.00 | 109 | P/Final | 2024-11-28 | 13:00 | 2024-11-28 | 07:10 | ROLAND | PRECI | 0.00 | 0.00 | / | / | 0.026 |  |  |  | 1.95 |  | 1 | Brigitta P |  | 3 | 1 | 90522
1 | 0.00 | 110 | P/Final | 2024-11-28 | 13:01 | 2024-11-28 | 07:10 | ROLAND | PRECI | 0.00 | 0.00 | / | / | 0.022 |  |  |  | 1.95 |  | 1 | Brigitta P |  | 3 | 1 | 90522
1 | 0.00 | 111 | P/Final | 2024-11-28 | 13:02 | 2024-11-28 | 07:10 | ROLAND | PRECI | 0.00 | 0.00 | / | / | 0.018 |  |  |  | 1.76 |  | 1 | Brigitta P |  | 3 | 1 | 90522
1 | 0.00 | 112 | P/Final | 2024-11-28 | 13:02 | 2024-11-28 | 07:10 | ROLAND | PRECI | 0.00 | 0.00 | / | / | 0.015 |  |  |  | 1.73 |  | 1 | Brigitta P |  | 3 | 1 | 90522
2 | 0.60 | 113 | P/Final | 2024-11-29 | 09:23 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 0.53 | 0.58 | / | / | 0.432 |  |  |  | 1.76 | 443 | 1 | Brigitta P |  | 3 | 2 | 70854
2 | 0.60 | 114 | P/Final | 2024-11-29 | 09:23 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 0.53 | 0.58 | / | / | 0.428 |  |  |  | 1.87 |  | 1 | Brigitta P |  | 3 | 2 | 70854
2 | 0.60 | 115 | P/Final | 2024-11-29 | 09:24 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 0.55 | 0.61 | / | / | 0.434 |  |  |  | 1.62 | 445 | 1 | Brigitta P |  | 3 | 2 | 70854
2 | 0.60 | 116 | P/Final | 2024-11-29 | 09:25 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 0.55 | 0.57 | / | / | 0.425 |  |  |  | 1.69 |  | 1 | Brigitta P |  | 3 | 2 | 70854
3 | 1.80 | 117 | P/Final | 2024-11-29 | 09:25 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 1.73 | 1.77 | / | / | 1.239 |  |  |  | 1.27 |  | 1 | Brigitta P |  | 3 | 3 | 70854
3 | 1.80 | 118 | P/Final | 2024-11-29 | 09:26 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 1.68 | 1.81 | / | / | 1.208 |  |  |  | 1.43 | 442 | 1 | Brigitta P |  | 3 | 3 | 70854
3 | 1.80 | 119 | P/Final | 2024-11-29 | 09:27 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 1.72 | 1.84 | / | / | 1.226 |  |  |  | 1.60 | 447 | 1 | Brigitta P |  | 3 | 3 | 70854
3 | 1.80 | 120 | P/Final | 2024-11-29 | 09:28 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 1.73 | 1.81 | / | / | 1.237 |  |  |  | 1.35 |  | 1 | Brigitta P |  | 3 | 3 | 70854
4 | 2.90 | 121 | P/Final | 2024-11-29 | 09:41 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 2.68 | 2.93 | / | / |  |  |  |  | 1.08 |  | 1 | Brigitta P |  | 3 | 4 | 70854
4 | 2.90 | 122 | P/Final | 2024-11-29 | 09:41 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 2.72 | 2.79 | / | / | 1.781 |  |  |  | 1.13 |  | 1 | Brigitta P |  | 3 | 4 | 70854
4 | 2.90 | 123 | P/Final | 2024-11-29 | 9:40 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 2.72 | 2.80 | / | / | 1.780 |  |  |  | 1.16 | 447 | 1 | Brigitta P |  | 3 | 4 | 70854
5 | 3.50 | 124 | P/Final | 2024-11-29 | 09:43 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 3.00 | 3.00 | / | / | 1.988 |  |  |  | 1.26 | 442 | 1 | Brigitta P |  | 3 | 5 | 70854
5 | 3.50 | 125 | P/Final | 2024-11-29 | 09:44 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 3.00 | 3.00 | / | / | 2.032 |  |  |  | 1.32 |  | 1 | Brigitta P |  | 3 | 5 | 70854
5 | 3.50 | 126 | P/Final | 2024-11-29 | 09:44 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 3.00 | 3.00 | / | / | 2.006 |  |  |  | 1.44 | 445 | 1 | Brigitta P |  | 3 | 5 | 70854
5 | 3.50 | 127 | P/Final | 2024-11-29 | 09:45 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 3.00 | 3.00 | / | / | 1.930 |  |  |  | 1.32 |  | 1 | Brigitta P |  | 3 | 5 | 70854
1 | 0.00 | 128 | P/Final | 2024-11-29 | 09:56 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 0.00 | 0.00 | / | / | -0.011 |  |  |  | 0.81 |  | 1 | Brigitta P |  | 3 | 1 | 70854
1 | 0.00 | 129 | P/Final | 2024-11-29 | 09:56 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 0.00 | 0.00 | / | / | -0.008 |  |  |  | 0.88 | 442 | 1 | Brigitta P |  | 3 | 1 | 70854
1 | 0.00 | 130 | P/Final | 2024-11-29 | 09:56 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 0.76 | 442 | 1 | Brigitta P |  | 3 | 1 | 70854
1 | 0.00 | 131 | P/Final | 2024-11-29 | 09:57 | 2024-11-29 | 09:00 | ROLAND | 4PRECI | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 0.74 |  | 1 | Brigitta P |  | 3 | 1 | 70854
Standard # 5
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
19 | 38 | 3 mg/L | 19 | 38 | 3 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 2.79 mg/L | 18 | 36 | 2.79 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
20 | 40 | 1.77 mg/L | 20 | 40 | 1.77 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
19 | 38 | 0.56 mg/L | 19 | 38 | 0.56 mg/L
Standard # 6
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 0 mg/L | 16 | 32 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.60 | 0.55 ÷ 0.65 | 0.56 | YES
1.80 | 1.72 ÷ 1.88 | 1.77 | YES
2.90 | 2.78 ÷ 3.02 | 2.79 | YES
3.50 | 3.00 ÷ 3.00 | 3.00 | YES
Validation Date | by