## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93731A-0
1168 | HI93731A-0 | CP-R49 | W39/1 |  | Parameter Formula | Zn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Zinc Reagent A | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
400 | 370 | 430
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1168 | 2837
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-09-01 | 2030-09-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 3.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/EVELIN | 2025-09-25 | 2025-10-01 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code
HI801 | CTO-618 | HI97731 | CTO-634 | HI83399 | CTO-529
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.60 | 0.55 | 0.65 |  | MR62 |  | 0.03 | & | 3% | 100% |  | 8.8 | 8.7 | 9.0
3 | 1.80 | 1.72 | 1.88
4 | 2.90 | 2.78 | 3.02
5 | 3.50 | 3.00 | 3.00
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97731 | M. 3 HI83399 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.60 | 1 | Valid | 2025-09-25 | 09:53 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 0.55 | 0.58 | 0.58 | / | 0.443 |  |  |  | 0.94 |  | 1 | Brigitta P |  | 3 | 2 | 85012
2 | 0.60 | 2 | Valid | 2025-09-25 | 09:55 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 0.54 | 0.55 | 0.56 | / |  |  |  |  | 0.94 |  | 1 | Brigitta P |  | 3 | 2 | 85012
2 | 0.60 | 3 | Valid | 2025-09-25 | 09:56 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 0.55 | 0.55 | 0.56 | / | 0.443 |  |  |  | 0.98 |  | 1 | Brigitta P |  | 3 | 2 | 85012
3 | 1.80 | 4 | Valid | 2025-09-25 | 10:07 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 1.73 | 1.83 | 1.83 | / | 1.277 |  |  |  | 1.02 |  | 1 | Brigitta P |  | 3 | 3 | 85012
3 | 1.80 | 5 | Valid | 2025-09-25 | 10:07 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 1.73 | 1.83 | 1.83 | / | 1.277 |  |  |  | 1 |  | 1 | Brigitta P |  | 3 | 3 | 85012
3 | 1.80 | 6 | Valid | 2025-09-25 | 10:08 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 1.76 | 1.86 | 1.88 | / | 1.258 |  |  |  | 0.85 |  | 1 | Brigitta P |  | 3 | 3 | 85012
4 | 2.90 | 7 | Valid | 2025-09-25 | 10:43 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 2.73 | 2.77 | 2.80 | / | 1.782 |  |  |  | 0.78 |  | 1 | Brigitta P |  | 3 | 4 | 85012
4 | 2.90 | 8 | Valid | 2025-09-25 | 10:44 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 2.73 | 2.76 | 2.78 | / | 1.786 |  |  |  | 1.786 |  | 1 | Brigitta P |  | 3 | 4 | 85012
4 | 2.90 | 9 | Valid | 2025-09-25 | 10:46 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 2.72 | 2.78 | 2.79 | / | 1.777 |  |  |  | 1.15 |  | 1 | Brigitta P |  | 3 | 4 | 85012
4 | 2.90 | 10 | Valid | 2025-09-25 | 10:48 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 2.72 | 2.75 | 2.77 | / | 1.780 |  |  |  | 0.66 |  | 1 | Brigitta P |  | 3 | 4 | 85012
5 | 3.50 | 11 | Valid | 2025-09-25 | 11:02 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 3.00 | 3.00 | 3.00 | / | 1.971 |  |  |  | 0.84 |  | 1 | Brigitta P |  | 3 | 5 | 85012
5 | 3.50 | 12 | Valid | 2025-09-25 | 11:03 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 3.00 | 3.00 | 3.00 | / | 1.957 |  |  |  | 0.89 |  | 1 | Brigitta P |  | 3 | 5 | 85012
5 | 3.50 | 13 | Valid | 2025-09-25 | 11:10 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 3.00 | 3.00 | 3.00 | / | 1.922 |  |  |  | 0.69 |  | 1 | Brigitta P |  | 3 | 5 | 85012
2 | 0.60 | 14 | Old A | 2025-09-25 | 11:22 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 0.56 | 0.60 | 0.61 | / | 0.453 |  |  |  | 1.97 |  | 1 | Brigitta P |  | 3 | 2 | 85012
2 | 0.60 | 15 | Old A | 2025-09-25 | 11:23 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 0.55 | 0.61 | 0.59 | / | 0.447 |  |  |  | 1.94 |  | 1 | Brigitta P |  | 3 | 2 | 85012
3 | 1.80 | 16 | Old A | 2025-09-25 | 11:33 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 1.77 | 1.88 | 1.89 | / | 1.264 |  |  |  | 1.51 |  | 1 | Brigitta P |  | 3 | 3 | 85012
3 | 1.80 | 17 | Old A | 2025-09-25 | 11:34 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 1.76 | 1.87 | 1.87 | / | 1.253 |  |  |  | 1.40 |  | 1 | Brigitta P |  | 3 | 3 | 85012
4 | 2.90 | 18 | Old A | 2025-09-25 | 11:43 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 2.90 | 2.93 | 2.95 | / | 1.868 |  |  |  | 1.41 |  | 1 | Brigitta P |  | 3 | 4 | 85012
4 | 2.90 | 19 | Old A | 2025-09-25 | 11:44 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 2.95 | 2.97 | 3.00 | / | 1.892 |  |  |  | 1.25 |  | 1 | Brigitta P |  | 3 | 4 | 85012
5 | 3.50 | 20 | Old A | 2025-09-25 | 11:50 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 3.00 | 3.00 | 3.00 | / | 2.088 |  |  |  | 1.45 |  | 1 | Brigitta P |  | 3 | 5 | 85012
5 | 3.50 | 21 | Old A | 2025-09-25 | 11:51 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 3.00 | 3.00 | 3.00 | / | 2.064 |  |  |  | 1.29 |  | 1 | Brigitta P |  | 3 | 5 | 85012
1 | 0.00 | 22 | Old A | 2025-09-25 | 11:57 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 0.00 | 0.00 | 0.02 | / |  |  |  |  | 2.82 |  | 1 | Brigitta P |  | 3 | 1 | 85012
1 | 0.00 | 23 | Old A | 2025-09-25 | 11:58 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 0.00 | 0.00 | 0.00 | / |  |  |  |  | 2.82 |  | 1 | Brigitta P |  | 3 | 1 | 85012
1 | 0.00 | 24 | Valid | 2025-09-25 | 11:58 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 0.01 | 0.02 | 0.02 | / |  |  |  |  | 1.32 |  | 1 | Brigitta P |  | 3 | 1 | 85012
1 | 0.00 | 25 | Valid | 2025-09-25 | 11:59 | 2025-09-25 | 08:19 | ERIKA/EVELIN |  | 0.01 | 0.02 | 0.02 | / |  |  |  |  | 1.32 |  | 1 | Brigitta P |  | 3 | 1 | 85012
2 | 0.60 | 26 | After correction | 2025-09-26 | 06:57 | 2025-09-25 | 16:00 | ERIKA |  | 0.57 | 0.61 | 0.61 | / | 0.458 |  |  |  | 1.63 | 400 | 1 | Brigitta P |  | 3 | 2 | 85012
2 | 0.60 | 27 | After correction | 2025-09-26 | 06:59 | 2025-09-25 | 16:00 | ERIKA |  | 0.55 | 0.57 | 0.57 | / | 0.445 |  |  |  | 1.05 | 405 | 1 | Brigitta P |  | 3 | 2 | 85012
2 | 0.60 | 28 | After correction | 2025-09-26 | 07:00 | 2025-09-25 | 16:00 | ERIKA |  | 0.56 | 0.57 | 0.58 | / | 0.451 |  |  |  | 1.59 | 395 | 1 | Brigitta P |  | 3 | 2 | 85012
2 | 0.60 | 29 | After correction | 2025-09-26 | 07:01 | 2025-09-25 | 16:00 | ERIKA |  | 0.55 | 0.56 | 0.56 | / | 0.444 |  |  |  | 1.40 | 395 | 1 | Brigitta P |  | 3 | 2 | 85012
3 | 1.80 | 30 | After correction | 2025-09-26 | 07:09 | 2025-09-25 | 16:00 | ERIKA |  | 1.78 | 1.88 | 1.88 | / | 1.266 |  |  |  | 1.04 | 400 | 1 | Brigitta P |  | 3 | 3 | 85012
3 | 1.80 | 31 | After correction | 2025-09-26 | 07:10 | 2025-09-25 | 16:00 | ERIKA |  | 1.74 | 1.84 | 1.84 | / | 1.245 |  |  |  | 1.11 | 396 | 1 | Brigitta P |  | 3 | 3 | 85012
3 | 1.80 | 32 | After correction | 2025-09-26 | 07:12 | 2025-09-25 | 16:00 | ERIKA |  | 1.85 | 1.94 | 1.94 | / | 1.283 |  |  |  | 1.41 | 405 | 1 | Brigitta P |  | 3 | 3 | 85012
3 | 1.80 | 33 | After correction | 2025-09-26 | 07:12 | 2025-09-25 | 16:00 | ERIKA |  | 1.78 | 1.88 | 1.88 | / | 1.268 |  |  |  | 1.08 | 403 | 1 | Brigitta P |  | 3 | 3 | 85012
4 | 2.90 | 34 | After correction | 2025-09-26 | 07:23 | 2025-09-25 | 16:00 | ERIKA |  | 2.92 | 2.92 | 2.93 | / | 1.876 |  |  |  | 0.77 | 397 | 1 | Brigitta P |  | 3 | 4 | 85012
4 | 2.90 | 35 | After correction | 2025-09-26 | 07:23 | 2025-09-25 | 16:00 | ERIKA |  | 2.93 | 2.94 | 2.95 | / | 1.883 |  |  |  | 0.75 | 399 | 1 | Brigitta P |  | 3 | 4 | 85012
4 | 2.90 | 36 | After correction | 2025-09-26 | 07:25 | 2025-09-25 | 16:00 | ERIKA |  | 2.97 | 2.98 | 2.98 | / | 1.898 |  |  |  | 0.89 | 405 | 1 | Brigitta P |  | 3 | 4 | 85012
4 | 2.90 | 37 | After correction | 2025-09-26 | 07:26 | 2025-09-25 | 16:00 | ERIKA |  | 2.94 | 2.96 | 2.96 | / | 1.886 |  |  |  | 0.83 | 402 | 1 | Brigitta P |  | 3 | 4 | 85012
5 | 3.50 | 38 | After correction | 2025-09-26 | 07:28 | 2025-09-25 | 16:00 | ERIKA |  | 3.00 | 3.00 | 3.00 | / | 2.060 |  |  |  | 0.86 | 400 | 1 | Brigitta P |  | 3 | 5 | 85012
5 | 3.50 | 39 | After correction | 2025-09-26 | 07:28 | 2025-09-25 | 16:00 | ERIKA |  | 3.00 | 3.00 | 3.00 | / | 2.108 |  |  |  | 0.94 | 405 | 1 | Brigitta P |  | 3 | 5 | 85012
5 | 3.50 | 40 | After correction | 2025-09-26 | 07:30 | 2025-09-25 | 16:00 | ERIKA |  | 3.00 | 3.00 | 3.00 | / | 2.074 |  |  |  | 0.84 | 405 | 1 | Brigitta P |  | 3 | 5 | 85012
1 | 0.00 | 41 | After correction | 2025-09-26 | 07:39 | 2025-09-25 | 16:00 | ERIKA |  | 0.00 | 0.04 | 0.03 | / | 0.034 |  |  |  | 2.16 | 402 | 1 | Brigitta P |  | 3 | 1 | 85012
1 | 0.00 | 42 | After correction | 2025-09-26 | 07:40 | 2025-09-25 | 16:00 | ERIKA |  | 0.00 | 0.02 | 0.01 | / | 0.028 |  |  |  | 1.70 | 403 | 1 | Brigitta P |  | 3 | 1 | 85012
1 | 0.00 | 43 | After correction | 2025-09-26 | 07:42 | 2025-09-25 | 16:00 | ERIKA |  | 0.00 | 0.00 | 0.01 | / | 0.019 |  |  |  | 1.73 | 404 | 1 | Brigitta P |  | 3 | 1 | 85012
2 | 0.60 | 44 | P/FINAL | 2025-09-29 | 08:59 | 2025-09-29 | 08:10 | ROLAND |  | 0.57 | 0.63 | 0.61 | / | 0.460 |  |  |  | 0.63 |  | 1 | Kinga |  | 3 | 2
2 | 0.60 | 45 | P/FINAL | 2025-09-29 | 09:05 | 2025-09-29 | 08:10 | ROLAND |  | 0.55 | 0.57 | 0.56 | / | 0.442 |  |  |  | 5.20 |  | 1 | Kinga |  | 3 | 2
3 | 1.80 | 46 | P/FINAL | 2025-09-29 | 09:06 | 2025-09-29 | 08:10 | ROLAND |  | 2.05 | 2.35 | 2.32 | / | 1.426 |  |  |  | 1.38 |  | 1 | Kinga |  | 3 | 3
3 | 1.80 | 47 | P/FINAL | 2025-09-29 | 09:07 | 2025-09-29 | 08:10 | ROLAND |  | 1.79 | 1.90 | 1.92 | / | 1.272 |  |  |  | 1.07 |  | 1 | Kinga |  | 3 | 3
4 | 2.90 | 48 | P/FINAL | 2025-09-29 | 09:19 | 2025-09-29 | 08:10 | ROLAND |  | 2.99 | 3.00 | 2.99 | / | 1.900 |  |  |  | 1.17 |  | 1 | Kinga |  | 3 | 4
4 | 2.90 | 49 | P/FINAL | 2025-09-29 | 09:19 | 2025-09-29 | 08:10 | ROLAND |  | 2.93 | 2.96 | 2.99 | / | 1.880 |  |  |  | 4.79 |  | 1 | Kinga |  | 3 | 4
5 | 3.50 | 50 | P/FINAL | 2025-09-29 | 09:24 | 2025-09-29 | 08:10 | ROLAND |  | 3.00 | 3.00 | 3.00 | / | 2.004 |  |  |  | 5.08 |  | 1 | Kinga |  | 3 | 5
5 | 3.50 | 51 | P/FINAL | 2025-09-29 | 09:25 | 2025-09-29 | 08:10 | ROLAND |  | 3.00 | 3.00 | 3.00 | / | 2.042 |  |  |  | 0.96 |  | 1 | Kinga |  | 3 | 5
3 | 1.80 | 52 | P/FINAL | 2025-09-29 | 09:32 | 2025-09-29 | 08:10 | ROLAND |  | 1.78 | 1.90 | 1.92 | / | 1.272 |  |  |  | 1.38 |  | 1 | Kinga |  | 3 | 3
3 | 1.80 | 53 | P/FINAL | 2025-09-29 | 09:33 | 2025-09-29 | 08:10 | ROLAND |  | 1.79 | 1.93 | 1.92 | / | 1.272 |  |  |  | 1.34 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 54 | P/FINAL | 2025-09-29 | 09:39 | 2025-09-29 | 08:10 | ROLAND |  | 0.00 | 0.00 | 0.00 | / | 0.017 |  |  |  | 1.46 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 55 | P/FINAL | 2025-09-29 | 09:40 | 2025-09-29 | 08:10 | ROLAND |  | 0.00 | 0.00 | 0.00 | / | 0.014 |  |  |  | 5.67 |  | 1 | Kinga |  | 3 | 1
2 | 0.60 | 56 | Old A | 2025-09-29 | 09:46 | 2025-09-29 | 08:10 | ROLAND |  | 0.56 | 0.60 | 0.60 | / | 0.455 |  |  |  | 2.58 |  | 1 | Kinga |  | 3 | 2
3 | 1.80 | 57 | Old A | 2025-09-29 | 09:49 | 2025-09-29 | 08:10 | ROLAND |  | 1.73 | 1.86 | 1.84 | / | 1.238 |  |  |  | 1.53 |  | 1 | Kinga |  | 3 | 3
4 | 2.90 | 58 | Old A | 2025-09-29 | 09:55 | 2025-09-29 | 08:10 | ROLAND |  | 2.88 | 2.91 | 2.91 | / | 1.857 |  |  |  | 1.46 |  | 1 | Kinga |  | 3 | 4
5 | 3.50 | 59 | Old A | 2025-09-29 | 09:58 | 2025-09-29 | 08:10 | ROLAND |  | 3.00 | 3.00 | 3.00 | / | 2.072 |  |  |  | 1.67 |  | 1 | Kinga |  | 3 | 5
1 | 0.00 | 60 | Old A | 2025-09-29 | 10:01 | 2025-09-29 | 08:10 | ROLAND |  | 0.00 | 0.05 | 0.05 | / | 0.020 |  |  |  | 5.88 |  | 1 | Kinga |  | 3 | 1
2 | 0.60 | 61 | P/FINAL | 2025-09-29 | 14:54 | 2025-09-29 | 14:21 | ELENA | PRECI | 0.55 | 0.57 | 0.57 | / | 0.446 |  |  |  | 1.36 |  | 1 | Kinga |  | 3 | 2 | 14:21
2 | 0.60 | 62 | P/FINAL | 2025-09-29 | 14:55 | 2025-09-29 | 14:21 | ELENA | PRECI | 0.55 | 0.59 | 0.59 | / | 0.444 |  |  |  | 1.81 |  | 1 | Kinga |  | 3 | 2 | 14:21
3 | 1.80 | 63 | P/FINAL | 2025-09-29 | 15:01 | 2025-09-29 | 14:21 | ELENA | PRECI | 1.77 | 1.92 | 1.90 | / | 1.264 |  |  |  | 1.31 |  | 1 | Kinga |  | 3 | 3 | 14:21
3 | 1.80 | 64 | P/FINAL | 2025-09-29 | 15:02 | 2025-09-29 | 14:21 | ELENA | PRECI | 1.71 | 1.82 | 1.80 | / | 1.227 |  |  |  | 0.86 |  | 1 | Kinga |  | 3 | 3 | 14:21
4 | 2.90 | 65 | P/FINAL | 2025-09-29 | 15:09 | 2025-09-29 | 14:21 | ELENA | PRECI | 2.78 | 2.82 | 2.81 | / | 1.807 |  |  |  | 2.28 |  | 1 | Kinga |  | 3 | 4 | 14:21
4 | 2.90 | 66 | P/FINAL | 2025-09-29 | 15:10 | 2025-09-29 | 14:21 | ELENA | PRECI | 2.83 | 2.90 | 2.89 | / | 1.835 |  |  |  | 2.12 |  | 1 | Kinga |  | 3 | 4 | 14:21
5 | 3.50 | 67 | P/FINAL | 2025-09-29 | 15:17 | 2025-09-29 | 14:21 | ELENA | PRECI | 3.00 | 3.00 | 3.00 | / | 1.973 |  |  |  | 0.94 |  | 1 | Kinga |  | 3 | 5 | 14:21
5 | 3.50 | 68 | P/FINAL | 2025-09-29 | 15:18 | 2025-09-29 | 14:21 | ELENA | PRECI | 3.00 | 3.00 | 3.00 | / | 1.971 |  |  |  | 0.97 |  | 1 | Kinga |  | 3 | 5 | 14:21
1 | 0.00 | 69 | P/FINAL | 2025-09-29 | 15:25 | 2025-09-29 | 14:21 | ELENA | PRECI | 0.00 | 0.00 | 0.00 | / | 0.032 |  |  |  | 1.29 |  | 1 | Kinga |  | 3 | 1 | 14:21
1 | 0.00 | 70 | P/FINAL | 2025-09-29 | 15:26 | 2025-09-29 | 14:21 | ELENA | PRECI | 0.00 | 0.00 | 0.00 | / | 0.017 |  |  |  | 5.25 |  | 1 | Kinga |  | 3 | 1 | 14:21
2 | 0.60 | 71 | P/FINAL | 2025-09-30 | 11:33 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 0.55 | 0.56 | 0.57 | / | 0.448 |  |  |  | 5.26 |  | 1 | Kinga |  | 3 | 2
2 | 0.60 | 72 | P/FINAL | 2025-09-30 | 11:33 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 0.55 | 0.56 | 0.57 | / | 0.444 |  |  |  | 1.19 |  | 1 | Kinga |  | 3 | 2
3 | 1.80 | 73 | P/FINAL | 2025-09-30 | 11:40 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 1.68 | 1.77 | 1.77 | / | 1.209 |  |  |  | 0.75 |  | 1 | Kinga |  | 3 | 3
3 | 1.80 | 74 | P/FINAL | 2025-09-30 | 11:43 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 1.75 | 1.76 | 1.77 | / | 1.247 |  |  |  | 0.82 |  | 1 | Kinga |  | 3 | 3
4 | 2.90 | 75 | P/FINAL | 2025-09-30 | 11:48 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 2.78 | 2.83 | 2.85 | / | 1.809 |  |  |  | 0.99 |  | 1 | Kinga |  | 3 | 4
4 | 2.90 | 76 | P/FINAL | 2025-09-30 | 11:50 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 2.77 | 2.79 | 2.82 | / | 1.801 |  |  |  | 1.18 |  | 1 | Kinga |  | 3 | 4
5 | 3.50 | 77 | P/FINAL | 2025-09-30 | 11:56 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 3.00 | 3.00 | 3.00 | / | 1.969 |  |  |  | 1.18 |  | 1 | Kinga |  | 3 | 5
5 | 3.50 | 78 | P/FINAL | 2025-09-30 | 11:57 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 3.00 | 3.00 | 3.00 | / | 2.047 |  |  |  | 2.18 |  | 1 | Kinga |  | 3 | 5
1 | 0.00 | 79 | P/FINAL | 2025-09-30 | 12:02 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 0.00 | 0.00 | 0.00 | / | 0.012 |  |  |  | 1.31 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 80 | P/FINAL | 2025-09-30 | 12:03 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 0.00 | 0.08 | 0.08 | / | 0.036 |  |  |  | 2.05 |  | 1 | Kinga |  | 3 | 1
2 | 0.60 | 81 | Old A | 2025-09-30 | 12:18 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 0.55 | 0.61 | 0.61 | / | 0.447 |  |  |  | 2.45 |  | 1 | Kinga |  | 3 | 2
3 | 1.80 | 82 | Old A | 2025-09-30 | 12:20 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 1.78 | 1.86 | 1.87 | / | 1.267 |  |  |  | 1.96 |  | 1 | Kinga |  | 3 | 3
4 | 2.90 | 83 | Old A | 2025-09-30 | 12:26 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 2.64 | 2.68 | 2.68 | / | 1.737 |  |  |  | 1.75 |  | 1 | Kinga |  | 3 | 4
5 | 3.50 | 84 | Old A | 2025-09-30 | 12:29 | 2025-09-30 | 07:01 | GABRIELA | PRECI | 3.00 | 3.00 | 3.00 | / | 1.954 |  |  |  | 1.34 |  | 1 | Kinga |  | 3 | 5
1 | 0.00 | 85 | P/FINAL | 2025-09-30 | 19:29 | 2025-09-30 | 14:32 | FLORICA | PRECI | 0.00 | 0.00 | 0.00 | / | 0.025 |  |  |  | 1.47 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 86 | P/FINAL | 2025-09-30 | 19:30 | 2025-09-30 | 14:32 | FLORICA | PRECI | 0.00 | 0.00 | 0.00 | / | 0.020 |  |  |  | 1.34 |  | 1 | Andrea V |  | 3 | 1
2 | 0.60 | 87 | P/FINAL | 2025-09-30 | 19:30 | 2025-09-30 | 14:32 | FLORICA | PRECI | 0.55 | 0.57 | 0.57 | / | 0.436 |  |  |  | 1.07 |  | 1 | Andrea V |  | 3 | 2
2 | 0.60 | 88 | P/FINAL | 2025-09-30 | 19:31 | 2025-09-30 | 14:32 | FLORICA | PRECI | 0.55 | 0.56 | 0.57 | / | 0.438 |  |  |  | 1.01 |  | 1 | Andrea V |  | 3 | 2
3 | 1.80 | 89 | P/FINAL | 2025-09-30 | 19:33 | 2025-09-30 | 14:32 | FLORICA | PRECI | 1.76 | 1.85 | 1.86 | / | 1.254 |  |  |  | 0.91 |  | 1 | Andrea V |  | 3 | 3
3 | 1.80 | 90 | P/FINAL | 2025-09-30 | 19:33 | 2025-09-30 | 14:32 | FLORICA | PRECI | 1.74 | 1.85 | 1.85 | / | 1.243 |  |  |  | 0.84 |  | 1 | Andrea V |  | 3 | 3
4 | 2.90 | 91 | P/FINAL | 2025-09-30 | 19:34 | 2025-09-30 | 14:32 | FLORICA | PRECI | 2.78 | 2.80 | 2.81 | / | 1.802 |  |  |  | 0.78 |  | 1 | Andrea V |  | 3 | 4
4 | 2.90 | 92 | P/FINAL | 2025-09-30 | 19:34 | 2025-09-30 | 14:32 | FLORICA | PRECI | 2.74 | 2.76 | 2.77 | / | 1.791 |  |  |  | 0.98 |  | 1 | Andrea V |  | 3 | 4
4 | 2.90 | 93 | P/FINAL | 2025-09-30 | 19:34 | 2025-09-30 | 14:32 | FLORICA | PRECI | 2.80 | 2.84 | 2.85 | / | 1.817 |  |  |  | 0.82 |  | 1 | Andrea V |  | 3 | 4
5 | 3.50 | 94 | P/FINAL | 2025-09-30 | 19:35 | 2025-09-30 | 14:32 | FLORICA | PRECI | 3.00 | 3.00 | 3.00 | / | 2.021 |  |  |  | 1.03 |  | 1 | Andrea V |  | 3 | 5
5 | 3.50 | 95 | P/FINAL | 2025-09-30 | 19:35 | 2025-09-30 | 14:32 | FLORICA | PRECI | 3.00 | 3.00 | 3.00 | / | 1.990 |  |  |  | 0.90 |  | 1 | Andrea V |  | 3 | 5
1 | 0.00 | 96 | P/FINAL | 2025-10-01 | 21:35 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 0.00 | 0.00 | 0.00 | / | 0.012 |  |  |  | 1.31 |  | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 97 | P/FINAL | 2025-10-01 | 21:35 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 0.00 | 0.00 | 0.00 | / | 0.020 |  |  |  | 1.34 |  | 1 | Andrea V |  | 3 | 1
2 | 0.60 | 98 | P/FINAL | 2025-10-01 | 21:35 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 0.55 | 0.57 | 0.57 | / | 0.445 |  |  |  | 1.12 |  | 1 | Andrea V |  | 3 | 2
2 | 0.60 | 99 | P/FINAL | 2025-10-01 | 21:36 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 0.55 | 0.56 | 0.56 | / | 0.444 |  |  |  | 2.71 |  | 1 | Andrea V |  | 3 | 2
3 | 1.80 | 100 | P/FINAL | 2025-10-01 | 21:36 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 1.72 | 1.80 | 1.79 | / | 1.224 |  |  |  | 1.01 |  | 1 | Andrea V |  | 3 | 3
3 | 1.80 | 101 | P/FINAL | 2025-10-01 | 21:36 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 1.72 | 1.81 | 1.81 | / | 1.225 |  |  |  | 0.93 |  | 1 | Andrea V |  | 3 | 3
4 | 2.90 | 102 | P/FINAL | 2025-10-01 | 21:37 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 2.79 | 2.83 | 2.84 | / | 1.790 |  |  |  | 0.76 |  | 1 | Andrea V |  | 3 | 4
4 | 2.90 | 103 | P/FINAL | 2025-10-01 | 21:37 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 2.78 | 2.84 | 2.86 | / | 1.784 |  |  |  | 0.79 |  | 1 | Andrea V |  | 3 | 4
5 | 3.50 | 104 | P/FINAL | 2025-10-01 | 21:38 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 3.00 | 3.00 | 3.00 | / | 1.924 |  |  |  | 0.87 |  | 1 | Andrea V |  | 3 | 5
5 | 3.50 | 105 | P/FINAL | 2025-10-01 | 21:38 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 3.00 | 3.00 | 3.00 | / | 1.922 |  |  |  | 0.77 |  | 1 | Andrea V |  | 3 | 5
3 | 1.80 | 106 | Old A | 2025-10-01 | 21:39 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 1.72 | 1.76 | 1.78 | / | 1.214 |  |  |  | 1.39 |  | 1 | Andrea V |  | 3 | 3
5 | 3.50 | 107 | Old A | 2025-10-01 | 21:39 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 3.00 | 3.00 | 3.00 | / | 1.914 |  |  |  | 1.22 |  | 1 | Andrea V |  | 3 | 3
4 | 2.90 | 108 | Old A | 2025-10-01 | 21:39 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 2.78 | 2.80 | 2.80 | / | 1.790 |  |  |  | 0.76 |  | 1 | Andrea V |  | 3 | 4
2 | 0.60 | 109 | Old A | 2025-10-01 | 21:40 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 0.55 | 0.60 | 0.60 | / | 0.435 |  |  |  | 2.48 |  | 1 | Andrea V |  | 3 | 4
1 | 0.00 | 110 | Old A | 2025-10-01 | 21:47 | 2025-10-01 | 07:23 | GABRIELLA | PRECI | 0.00 | 0.00 | 0.00 | / | 0.016 |  |  |  | 2.14 |  | 1 | Andrea V |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 30 | 0.57 mg/L | 10 | 30 | 0.57 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 36 | 1.85 mg/L | 12 | 36 | 1.85 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 33 | 2.84 mg/L | 11 | 33 | 2.84 mg/L
Standard # 5
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 30 | 3 mg/L | 10 | 30 | 3 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 30 | 0.01 mg/L | 10 | 30 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
0.60 | 0.55 ÷ 0.65 | 0.57 | YES
1.80 | 1.72 ÷ 1.88 | 1.85 | YES
2.90 | 2.78 ÷ 3.02 | 2.84 | YES
3.50 | 3.00 ÷ 3.00 | 3.00 | YES
Validation Date | by