## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI735C-0 | HI93735C-0
0816 | HI93735C-0 | CP-R50 | W46/1 |  | Parameter Formula | CaCO3 | CaCO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Fixing Reagent | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2053 | 2114 | 0816
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2029-11-01 | 2029-11-01
Reagent Range Min | Reagent Range Max
0 mg/L | 750 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2024-11-13 | 2024-11-18 | 2HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97735 | CTO-700
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 200 | 187 | 213 |  | MR60 |  | 7 | & | 3% | 100%
3 | 450 | 430 | 471 | [8 empty] | 11.3 | 11.1 | 11.5
4 | 600 | 575 | 625 | [8 empty] | 11.3 | 11.1 | 11.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 200 | 1 | Old C | 2024-11-13 | 10:49 | 2024-11-13 |  | ERIKA |  | 209 | 210 | / | / | -1.063 |  |  |  | 1.21 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 2 | Old C | 2024-11-13 | 10:55 | 2024-11-13 |  | ERIKA |  | 210 | 211 | / | / | -1.064 |  |  |  | 1.19 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 3 | Valid | 2024-11-13 | 11:18 | 2024-11-13 |  | ERIKA |  | 213 | 216 | / | / |  |  |  |  | 1.23 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 4 | Valid | 2024-11-13 | 11:20 | 2024-11-13 |  | ERIKA |  | 201 | 203 | / | / | -1.036 |  |  |  | 1.23 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 5 | Valid | 2024-11-13 | 11:21 | 2024-11-13 |  | ERIKA |  | 206 | 196 | / | / | -1.054 |  |  |  | 1.64 |  | 1 | Brigitta P |  | 3 | 2 | 95623
3 | 450 | 6 | Old C | 2024-11-13 | 11:21 | 2024-11-13 |  | ERIKA |  | 451 | 450 | / | / | -1.160 |  |  |  | 1.63 |  | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 7 | Old C | 2024-11-13 | 11:22 | 2024-11-13 |  | ERIKA |  | 441 | 438 | / | / | -1.134 |  |  |  | 1.39 |  | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 8 | Valid | 2024-11-13 | 12:04 | 2024-11-13 |  | ERIKA |  | 450 | 450 | / | / | -1.156 |  |  |  | 0.96 |  | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 9 | Valid | 2024-11-13 | 12:06 | 2024-11-13 |  | ERIKA |  | 445 | 442 | / | / | -1.145 |  |  |  | 1.10 |  | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 10 | Valid | 2024-11-13 | 12:09 | 2024-11-13 |  | ERIKA |  | 447 | 443 | / | / | -1.150 |  |  |  | 1.29 |  | 1 | Brigitta P |  | 3 | 3 | 95623
4 | 600 | 11 | Valid | 2024-11-13 | 12:13 | 2024-11-13 |  | ERIKA |  | 610 | 609 | / | / | -0.937 |  |  |  | 1.20 |  | 1 | Brigitta P |  | 3 | 4 | 95623
4 | 600 | 12 | Valid | 2024-11-13 | 12:16 | 2024-11-13 |  | ERIKA |  | 605 | 599 | / | / | -0.919 |  |  |  | 1.30 |  | 1 | Brigitta P |  | 3 | 4 | 95623
4 | 600 | 13 | Valid | 2024-11-13 | 12:15 | 2024-11-13 |  | ERIKA |  | 605 | 599 | / | / | -0.919 |  |  |  | 1.30 |  | 1 | Brigitta P |  | 3 | 4 | 95623
2 | 200 | 14 | P/Final | 2024-11-14 | 08:31 | 2024-11-13 | 17:50 | ELENA | 2 | 197 | 197 | / | / | -1.024 |  |  |  | 1.51 | 149 | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 15 | P/Final | 2024-11-14 | 08:35 | 2024-11-13 | 17:50 | ELENA | 2 | 213 | 203 | / | / | -1.075 |  |  | 11.450 | 1.51 | 151 | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 16 | P/Final | 2024-11-14 | 08:36 | 2024-11-13 | 17:50 | ELENA | 2 | 203 | 199 | / | / | -1.043 |  |  |  | 1.37 | 151 | 1 | Brigitta P |  | 3 | 2 | 95623
3 | 450 | 17 | P/Final | 2024-11-14 | 08:42 | 2024-11-13 | 17:50 | ELENA | 2 | 444 | 447 | / | / | -1.142 |  |  | 11.430 | 1.55 |  | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 18 | P/Final | 2024-11-14 | 08:43 | 2024-11-13 | 17:50 | ELENA | 2 | 438 | 436 | / | / | -1.123 |  |  |  | 1.29 |  | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 19 | P/Final | 2024-11-14 | 08:44 | 2024-11-13 | 17:50 | ELENA | 2 | 437 | 437 | / | / | -1.097 |  |  |  | 1.68 | 154 | 1 | Brigitta P |  | 3 | 3 | 95623
4 | 600 | 20 | P/Final | 2024-11-14 | 08:48 | 2024-11-13 | 17:50 | ELENA | 2 | 595 | 594 | / | / | -0.878 |  |  | 11.464 | 1.45 | 148 | 1 | Brigitta P |  | 3 | 4 | 95623
4 | 600 | 21 | P/Final | 2024-11-14 | 08:51 | 2024-11-13 | 17:50 | ELENA | 2 | 594 | 592 | / | / | -0.877 |  |  |  | 1.50 |  | 1 | Brigitta P |  | 3 | 4 | 95623
4 | 600 | 22 | P/Final | 2024-11-14 | 08:54 | 2024-11-13 | 17:50 | ELENA | 2 | 592 | 589 | / | / | -0.868 |  |  |  | 1.09 | 155 | 1 | Brigitta P |  | 3 | 4 | 95623
2 | 200 | 23 | P/Final | 2024-11-14 | 09:05 | 2024-11-14 | 08:30 | ROLAND | 2 | 200 | 192 | / | / | -1.033 |  |  | 11.327 | 1.74 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 24 | P/Final | 2024-11-14 | 09:08 | 2024-11-14 | 08:30 | ROLAND | 2 | 193 | 190 | / | / | -1.010 |  |  | 11.306 | 1.31 | 147 | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 25 | P/Final | 2024-11-14 | 9:35 | 2024-11-14 | 08:30 | ROLAND | 2 | 200 | 192 | / | / | -1.035 |  |  |  | 1.36 | 152 | 1 | Brigitta P |  | 3 | 2 | 95623
3 | 450 | 26 | P/Final | 2024-11-14 | 09:43 | 2024-11-14 | 08:30 | ROLAND | 2 | 430 | 428 | / | / | -1.106 |  |  | 11.304 | 1.11 | 153 | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 27 | P/Final | 2024-11-14 | 09:45 | 2024-11-14 | 08:30 | ROLAND | 2 | 455 | 449 | / | / | -1.168 |  |  |  | 0.83 | 146 | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 28 | P/Final | 2024-11-14 | 9:45 | 2024-11-14 | 08:30 | ROLAND | 2 | 450 | 449 | / | / | -1.156 |  |  | 11.279 | 0.87 |  | 1 | Brigitta P |  | 3 | 3 | 95623
4 | 600 | 29 | P/Final | 2024-11-14 | 09:50 | 2024-11-14 | 08:30 | ROLAND | 2 | 592 | 592 | / | / | -0.868 |  |  |  | 1.43 | 151 | 1 | Brigitta P |  | 3 | 4 | 95623
4 | 600 | 30 | P/Final | 2024-11-14 | 09:53 | 2024-11-14 | 08:30 | ROLAND | 2 | 591 | 592 | / | / | -0.863 |  |  | 11.277 | 1.33 |  | 1 | Brigitta P |  | 3 | 4 | 95623
4 | 600 | 31 | P/Final | 2024-11-14 | 09:55 | 2024-11-14 | 08:30 | ROLAND | 2 | 610 | 609 | / | / | -0.935 |  |  |  | 2.22 | 149 | 1 | Brigitta P |  | 3 | 4 | 95623
2 | 200 | 32 | P/Final | 2024-11-14 | 09:26 | 2024-11-15 | 14:21 | ELENA | 2 | 196 | 179 | / | / | -1.022 |  |  | 11.319 | 1.06 |  | 1 | Brigitta P |  | 3 | 2 | 113830
2 | 200 | 33 | P/Final | 2024-11-14 | 09:30 | 2024-11-15 | 14:21 | ELENA | 2 | 187 | 169 | / | / | -0.986 |  |  |  | 1.24 |  | 1 | Brigitta P |  | 3 | 2 | 113830
2 | 200 | 34 | P/Final | 2024-11-14 | 09:30 | 2024-11-15 | 14:21 | ELENA | 2 | 194 | 175 | / | / | -1.015 |  |  | 11.320 | 1.66 |  | 1 | Brigitta P |  | 3 | 2 | 113830
3 | 450 | 35 | P/Final | 2024-11-14 | 09:39 | 2024-11-15 | 14:21 | ELENA | 2 | 442 | 438 | / | / | -1.136 |  |  |  | 1.68 |  | 1 | Brigitta P |  | 3 | 3 | 113830
3 | 450 | 36 | P/Final | 2024-11-14 | 09:40 | 2024-11-15 | 14:21 | ELENA | 2 | 443 | 438 | / | / | -1.139 |  |  | 11.364 | 1.85 |  | 1 | Brigitta P |  | 3 | 3 | 113830
3 | 450 | 37 | P/Final | 2024-11-14 | 9:40 | 2024-11-15 | 14:21 | ELENA | 2 | 450 | 442 | / | / | -1.156 |  |  |  | 1.73 |  | 1 | Brigitta P |  | 3 | 3 | 113830
4 | 600 | 38 | P/Final | 2024-11-14 | 09:51 | 2024-11-15 | 14:21 | ELENA | 2 | 602 | 602 | / | / | -0.908 |  |  | 11.309 | 1.49 |  | 1 | Brigitta P |  | 3 | 4 | 113830
4 | 600 | 39 | P/Final | 2024-11-14 | 09:54 | 2024-11-15 | 14:21 | ELENA | 2 | 603 | 592 | / | / | -0.910 |  |  |  | 1.83 |  | 1 | Brigitta P |  | 3 | 4 | 113830
4 | 600 | 40 | P/Final | 2024-11-15 | 10:01 | 2024-11-15 | 08:14 | ROLAND | 2 | 608 | 595 | / | / | -0.930 |  |  | 11.318 | 1.92 |  | 1 | Brigitta P |  | 3 | 4 | 113830
4 | 600 | 41 | P/Final | 2024-11-15 | 10:02 | 2024-11-15 | 08:14 | ROLAND | 2 | 609 | 608 | / | / | -0.932 |  |  |  | 1.88 |  | 1 | Brigitta P |  | 3 | 4 | 113830
4 | 600 | 42 | P/Final | 2024-11-15 | 10:00 | 2024-11-15 | 08:14 | ROLAND | 2 | 610 | 610 | / | / | -0.936 |  |  | 11.311 | 1.60 |  | 1 | Brigitta P |  | 3 | 4 | 113830
3 | 450 | 43 | P/Final | 2024-11-15 | 10:24 | 2024-11-15 | 08:14 | ROLAND | 2 | 449 | 450 | / | / | -1.145 |  |  |  | 1.68 |  | 1 | Brigitta P |  | 3 | 3 | 113830
3 | 450 | 44 | P/Final | 2024-11-15 | 10:26 | 2024-11-15 | 08:14 | ROLAND | 2 | 457 | 459 | / | / | -1.173 |  |  | 11.318 | 1.87 |  | 1 | Brigitta P |  | 3 | 3 | 113830
3 | 450 | 45 | P/Final | 2024-11-15 | 10:26 | 2024-11-15 | 08:14 | ROLAND | 2 | 459 | 459 | / | / | -1.178 |  |  |  | 1.56 |  | 1 | Brigitta P |  | 3 | 3 | 113830
2 | 200 | 46 | P/Final | 2024-11-15 | 10:31 | 2024-11-15 | 08:14 | ROLAND | 2 | 210 | 207 | / | / | -1.064 |  |  | 11.297 | 2.09 |  | 1 | Brigitta P |  | 3 | 2 | 113830
2 | 200 | 47 | P/Final | 2024-11-15 | 10:40 | 2024-11-15 | 08:14 | ROLAND | 2 | 209 | 207 | / | / | -1.064 |  |  |  | 1.85 |  | 1 | Brigitta P |  | 3 | 2 | 113830
2 | 200 | 48 | P/Final | 2024-11-15 | 15:17 | 2024-11-15 | 14:10 | ELENA | 2 | 193 | 187 | / | / | -1.010 |  |  |  | 1.32 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 49 | P/Final | 2024-11-15 | 15:18 | 2024-11-15 | 14:10 | ELENA | 2 | 194 | 190 | / | / | -1.014 |  |  |  | 1.22 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 50 | P/Final | 2024-11-15 | 15:19 | 2024-11-15 | 14:10 | ELENA | 2 | 188 | 181 | / | / | -0.994 |  |  |  | 1.34 |  | 1 | Brigitta P |  | 3 | 2 | 95623
3 | 450 | 51 | P/Final | 2024-11-15 | 15:25 | 2024-11-15 | 14:10 | ELENA | 2 | 434 | 434 | / | / |  |  |  |  | 1.27 |  | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 52 | P/Final | 2024-11-15 | 15:25 | 2024-11-15 | 14:10 | ELENA | 2 | 444 | 434 | / | / | -1.142 |  |  |  | 1.46 |  | 1 | Brigitta P |  | 3 | 3 | 95623
4 | 600 | 53 | P/Final | 2024-11-15 | 15:35 | 2024-11-15 | 14:10 | ELENA | 2 | 610 | 610 | / | / | -0.936 |  |  |  | 1.52 |  | 1 | Brigitta P |  | 3 | 3 | 95623
4 | 600 | 54 | P/Final | 2024-11-15 | 15:35 | 2024-11-15 | 14:10 | ELENA | 2 | 603 | 592 | / | / | -0.910 |  |  |  | 2.10 |  | 1 | Brigitta P |  | 3 | 3 | 95623
2 | 200 | 55 | P/Final | 2024-11-18 | 08:57 | 2024-11-18 | 06:49 | ELENA | 2 | 201 | 201 | / | / | -1.037 |  |  |  | 1.28 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 56 | P/Final | 2024-11-18 | 09:00 | 2024-11-18 | 06:49 | ELENA | 2 | 193 | 187 | / | / | -1.010 |  |  |  | 1.25 | 148 | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 57 | P/Final | 2024-11-18 | 09:05 | 2024-11-18 | 06:49 | ELENA | 2 | 194 | 189 | / | / | -1.015 |  |  |  | 1.15 | 151 | 1 | Brigitta P |  | 3 | 2 | 95623
3 | 450 | 58 | P/Final | 2024-11-18 | 09:20 | 2024-11-18 | 07:49 | ELENA | 2 | 432 | 430 | / | / | -1.110 |  |  |  | 1.15 |  | 1 | Kinga |  | 3 | 3 | 113830
3 | 450 | 59 | P/Final | 2024-11-18 | 09:21 | 2024-11-18 | 07:49 | ELENA | 2 | 448 | 438 | / | / | -1.152 |  |  |  | 1.15 |  | 1 | Kinga |  | 3 | 3 | 113830
3 | 450 | 60 | P/Final | 2024-11-18 | 09:23 | 2024-11-18 | 07:49 | ELENA | 2 | 439 | 430 | / | / | -1.129 |  |  |  | 1.14 |  | 1 | Kinga |  | 3 | 3 | 113830
4 | 600 | 61 | P/Final | 2024-11-18 | 09:31 | 2024-11-18 | 07:49 | ELENA | 2 | 591 | 591 | / | / | -0.864 |  |  |  | 1.65 |  | 1 | Kinga |  | 3 | 4 | 113830
4 | 600 | 62 | P/Final | 2024-11-18 | 09:35 | 2024-11-18 | 07:49 | ELENA | 2 | 584 | 582 | / | / | -0.84 |  |  |  | 1.23 | 148 | 1 | Kinga |  | 3 | 4 | 113830
4 | 600 | 63 | P/Final | 2024-11-18 | 09:38 | 2024-11-18 | 07:49 | ELENA | 2 | 587 | 584 | / | / | -0.846 |  |  |  | 1.15 |  | 1 | Kinga |  | 3 | 4 | 113830
2 | 200 | 64 | P/Final | 2024-11-19 | 08:57 | 2024-11-18 | 14:49 | ROLAND | 2 | 191 | 202 | / | / | -1.005 |  |  |  | 1.01 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 65 | P/Final | 2024-11-19 | 09:02 | 2024-11-18 | 14:49 | ROLAND | 2 | 195 | 188 | / | / | -1.019 |  |  | 11.206 | 2.07 |  | 1 | Brigitta P |  | 3 | 2 | 95623
2 | 200 | 66 | P/Final | 2024-11-19 | 09:06 | 2024-11-18 | 14:49 | ROLAND | 2 | 212 | 204 | / | / | -1.072 |  |  |  | 2.25 | 152 | 1 | Brigitta P |  | 3 | 2 | 95623
3 | 450 | 67 | P/Final | 2024-11-19 | 09:20 | 2024-11-18 | 14:49 | ROLAND | 2 | 447 | 448 | / | / | -1.149 |  |  |  | 1.30 |  | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 68 | P/Final | 2024-11-19 | 09:21 | 2024-11-18 | 14:49 | ROLAND | 2 | 467 | 469 | / | / | -1.196 |  |  |  | 1.43 |  | 1 | Brigitta P |  | 3 | 3 | 95623
3 | 450 | 69 | P/Final | 2024-11-19 | 09:25 | 2024-11-18 | 14:49 | ROLAND | 2 | 489 | 434 | / | / | -1.245 |  |  | 11.182 | 1.54 |  | 1 | Brigitta P |  | 3 | 3 | 95623
4 | 600 | 70 | P/Final | 2024-11-19 | 09:34 | 2024-11-18 | 14:49 | ROLAND | 2 | 594 | 567 | / | / | -0.877 |  |  |  | 1.43 | 153 | 1 | Brigitta P |  | 3 | 4 | 95623
4 | 600 | 71 | P/Final | 2024-11-19 | 09:39 | 2024-11-18 | 14:49 | ROLAND | 2 | 595 | 624 | / | / | -0.880 |  |  | 11.234 | 1.43 | 149 | 1 | Brigitta P |  | 3 | 4 | 95623
4 | 600 | 72 | P/Final | 2024-11-19 | 09:41 | 2024-11-18 | 14:49 | ROLAND | 2 | 578 | 602 | / | / | -0.805 |  |  |  | 2.03 | 154 | 1 | Brigitta P |  | 3 | 4 | 95623
4 | 600 | 73 | P/Final | 2024-11-19 | 09:48 | 2024-11-18 | 14:49 | ROLAND | 2 | 586 | 580 | / | / | -0.840 |  |  |  | 1.96 |  | 1 | Brigitta P |  | 3 | 4 | 95623
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
20 | 40 | 195 mg/L | 20 | 40 | 195 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
20 | 40 | 445 mg/L | 20 | 40 | 445 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
20 | 40 | 596 mg/L | 20 | 40 | 596 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
200 | 187 ÷ 213 | 195 | YES
450 | 430 ÷ 471 | 445 | YES
600 | 575 ÷ 625 | 596 | YES
Validation Date | by