## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI735C-0 | HI93735C-0
1027 | HI93735C-0 | CP-R50 | W 18/1 |  | Parameter Formula | CaCO3 | CaCO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Fixing Reagent | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2456 | 2321 | 1027 | 2167
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-04-01 | 2030-03-01 | 2030-04-01 | 2026-06-01
Reagent Range Min | Reagent Range Max
0 mg/L | 750 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-06 | 2025-05-08 | 2HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97735 | CTO-703
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 200 | 187 | 213 |  | MR60 |  | 7 | & | 3% | 100%
4 | 600 | 575 | 625 | [8 empty] | 11.3 | 11.1 | 11.5
3 | 450 | 430 | 471 | [8 empty] | 11.3 | 11.1 | 11.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97735 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 200 | 1 | Valid | 2025-04-30 | 14:25 | 2025-04-30 | 13:41 | ERIKA |  | 210 | 208 | / | / | -1.065 |  |  |  | 0.30 |  | 1 | Kinga |  | 3 | 2
2 | 200 | 2 | Valid | 2025-04-30 | 14:27 | 2025-04-30 | 13:41 | ERIKA |  | 210 | 215 | / | / | -0.167 |  |  | 11.263 | 0.64 |  | 1 | Kinga |  | 3 | 2
2 | 200 | 3 | Valid | 2025-04-30 | 14:28 | 2025-04-30 | 13:41 | ERIKA |  | 212 | 212 | / | / | -1.071 |  |  |  | 0.21 |  | 1 | Kinga |  | 3 | 2
4 | 600 | 4 | Valid | 2025-04-30 | 14:46 | 2025-04-30 | 13:41 | ERIKA |  | 585 | 586 | / | / | -0.837 |  |  | 11.226 | 0.21 |  | 1 | Kinga |  | 3 | 4
4 | 600 | 5 | Valid | 2025-04-30 | 14:47 | 2025-04-30 | 13:41 | ERIKA |  | 585 | 581 | / | / | -0.837 |  |  |  | 0.49 |  | 1 | Kinga |  | 3 | 4
4 | 600 | 6 | Valid | 2025-04-30 | 14:48 | 2025-04-30 | 13:41 | ERIKA |  | 588 | 589 | / | / | -0.850 |  |  | 11.263 | 0.70 |  | 1 | Kinga |  | 3 | 4
3 | 450 | 7 | Valid | 2025-04-30 | 15:03 | 2025-04-30 | 13:41 | ERIKA |  | 432 | 430 | / | / | -1.110 |  |  |  | 0.60 |  | 1 | Kinga |  | 3 | 3
3 | 450 | 8 | Valid | 2025-04-30 | 15:30 | 2025-04-30 | 13:41 | ERIKA |  | 447 | 448 | / | / | -1.149 |  |  | 11.265 | 0.35 |  | 1 | Kinga |  | 3 | 3
3 | 450 | 9 | Valid | 2025-04-30 | 15:30 | 2025-04-30 | 13:41 | ERIKA |  | 432 | 430 | / | / | -1.110 |  |  |  | 0.60 |  | 1 | Kinga |  | 3 | 3
2 | 200 | 10 | P/FINAL | 2025-05-06 | 09:07 | 2025-05-06 | 08:16 | ELENA | 2 | 204 | 199 | / | / | -1.047 |  |  | 11.326 | 1.32 |  | 1 | Brigitta P |  | 3 | 2 | 110504
2 | 200 | 11 | P/FINAL | 2025-05-06 | 09:12 | 2025-05-06 | 08:16 | ELENA | 2 | 207 | 203 | / | / | -1.055 |  |  |  | 1.32 |  | 1 | Brigitta P |  | 3 | 2 | 110504
2 | 200 | 12 | P/FINAL | 2025-05-06 | 09:12 | 2025-05-06 | 08:16 | ELENA | 2 | 198 | 194 | / | / | -1.029 |  |  |  | 1.58 |  | 1 | Brigitta P |  | 3 | 2 | 110504
2 | 200 | 13 | P/FINAL | 2025-05-06 | 09:13 | 2025-05-06 | 08:16 | ELENA | 2 | 198 | 194 | / | / | -1.029 |  |  |  | 1.19 |  | 1 | Brigitta P |  | 3 | 2 | 110504
3 | 450 | 14 | P/FINAL | 2025-05-06 | 09:19 | 2025-05-06 | 08:16 | ELENA | 2 | 454 | 449 | / | / | -1.167 |  |  | 11.335 | 1.43 |  | 1 | Brigitta P |  | 3 | 3 | 110504
3 | 450 | 15 | P/FINAL | 2025-05-06 | 09:20 | 2025-05-06 | 08:16 | ELENA | 2 | 446 | 441 | / | / | -1.147 |  |  |  | 1.36 |  | 1 | Brigitta P |  | 3 | 3 | 110504
3 | 450 | 16 | P/FINAL | 2025-05-06 | 09:23 | 2025-05-06 | 08:16 | ELENA | 2 | 453 | 448 | / | / | -1.163 |  |  |  | 1.42 |  | 1 | Brigitta P |  | 3 | 3 | 110504
3 | 450 | 17 | P/FINAL | 2025-05-06 | 09:24 | 2025-05-06 | 08:16 | ELENA | 2 | 450 | 445 | / | / | -1.156 |  |  |  | 1.43 |  | 1 | Brigitta P |  | 3 | 3 | 110504
4 | 600 | 18 | P/FINAL | 2025-05-06 | 09:29 | 2025-05-06 | 08:16 | ELENA | 2 | 575 | 575 | / | / | -0.766 |  |  | 11.370 | 1.56 |  | 1 | Brigitta P |  | 3 | 4 | 110504
4 | 600 | 19 | P/FINAL | 2025-05-06 | 09:30 | 2025-05-06 | 08:16 | ELENA | 2 | 570 | 570 | / | / | -0.764 |  |  |  | 1.74 |  | 1 | Brigitta P |  | 3 | 4 | 110504
4 | 600 | 20 | P/FINAL | 2025-05-06 | 09:33 | 2025-05-06 | 08:16 | ELENA | 2 | 595 | 590 | / | / | -0.880 |  |  | 11.357 | 2.17 |  | 1 | Brigitta P |  | 3 | 4 | 110504
4 | 600 | 21 | P/FINAL | 2025-05-06 | 09:42 | 2025-05-06 | 08:16 | ELENA | 2 | 590 | 589 | / | / | -0.860 |  |  | 11.358 | 2.46 |  | 1 | Brigitta P |  | 3 | 4 | 110504
2 | 200 | 22 | P/FINAL | 2025-05-06 | 15:18 | 2025-05-06 | 14:45 | NINA | 2 | 210 | 208 | / | / | -1.065 |  |  | 11.376 | 3.06 |  | 1 | Kinga |  | 3 | 2 | 110504
2 | 200 | 23 | P/FINAL | 2025-05-06 | 15:18 | 2025-05-06 | 14:45 | NINA | 2 | 210 | 208 | / | / | -1.065 |  |  | 11.436 | 3.06 |  | 1 | Kinga |  | 3 | 2 | 110504
2 | 200 | 24 | P/FINAL | 2025-05-06 | 15:19 | 2025-05-06 | 14:45 | NINA | 2 | 212 | 209 | / | / | -1.071 |  |  | 11.364 | 3.18 |  | 1 | Kinga |  | 3 | 2 | 110504
2 | 200 | 25 | P/FINAL | 2025-05-06 | 15:22 | 2025-05-06 | 14:45 | NINA | 2 | 199 | 199 | / | / | -1.032 |  |  | 11.368 | 3.30 | 154 | 1 | Kinga |  | 3 | 2 | 110504
3 | 450 | 26 | P/FINAL | 2025-05-06 | 15:33 | 2025-05-06 | 14:45 | NINA | 2 | 462 | 466 | / | / | -1.186 |  |  | 11.345 | 2.89 | 147 | 1 | Kinga |  | 3 | 3 | 110504
3 | 450 | 27 | P/FINAL | 2025-05-06 | 15:41 | 2025-05-06 | 14:45 | NINA | 2 | 465 | 455 | / | / | -1.193 |  |  | 11.330 | 0.24 | 148 | 1 | Kinga |  | 3 | 3 | 110504
3 | 450 | 28 | P/FINAL | 2025-05-06 | 15:42 | 2025-05-06 | 14:45 | NINA | 2 | 467 | 457 | / | / | -1196 |  |  | 11.265 | 0.21 | 147 | 1 | Kinga |  | 3 | 3 | 110504
4 | 600 | 29 | P/FINAL | 2025-05-06 | 15:47 | 2025-05-06 | 14:45 | NINA | 2 | 602 | 600 | / | / | -0.907 |  |  | 11.399 | 0.43 | 150 | 1 | Kinga |  | 3 | 4 | 110504
4 | 600 | 30 | P/FINAL | 2025-05-06 | 15:47 | 2025-05-06 | 14:45 | NINA | 2 | 601 | 597 | / | / | -0.902 |  |  | 11.311 | 0.22 | 151 | 1 | Kinga |  | 3 | 4 | 110504
4 | 600 | 31 | P/FINAL | 2025-05-06 | 15:50 | 2025-05-06 | 14:45 | NINA | 2 | 599 | 598 | / | / | -0.896 |  |  | 11.315 | 0.32 |  | 1 | Kinga |  | 3 | 4 | 110504
4 | 600 | 32 | P/FINAL | 2025-05-07 | 09:47 | 2025-05-07 | 06:51 | ELENA | 2 | 575 | 575 | / | / | -0.790 |  |  |  | 0.95 |  | 1 | Kinga |  | 3 | 4 | 110504
4 | 600 | 33 | P/FINAL | 2025-05-07 | 09:47 | 2025-05-07 | 06:51 | ELENA | 2 | 575 | 574 | / | / | -0.789 |  | 11.337 |  | 0.92 | 146 | 1 | Kinga |  | 3 | 4 | 110504
4 | 600 | 34 | P/FINAL | 2025-05-07 | 09:53 | 2025-05-07 | 06:51 | ELENA | 2 | 575 | 576 | / | / | -0.789 |  |  |  | 1.12 | 153 | 1 | Kinga |  | 3 | 4 | 110504
3 | 450 | 35 | P/FINAL | 2025-05-07 | 09:59 | 2025-05-07 | 06:51 | ELENA | 2 | 439 | 442 | / | / | -1.129 |  | 11.339 |  | 1.02 | 134 | 1 | Kinga |  | 3 | 3 | 110504
3 | 450 | 36 | P/FINAL | 2025-05-07 | 09:59 | 2025-05-07 | 06:51 | ELENA | 2 | 433 | 434 | / | / | -1.113 |  |  |  | 0.99 | 150 | 1 | Kinga |  | 3 | 3 | 110504
3 | 450 | 37 | P/FINAL | 2025-05-07 | 10:01 | 2025-05-07 | 06:51 | ELENA | 2 | 432 | 430 | / | / | -1.111 |  |  |  | 1.00 | 144 | 1 | Kinga |  | 3 | 3 | 110504
2 | 200 | 38 | P/FINAL | 2025-05-07 | 10:06 | 2025-05-07 | 06:51 | ELENA | 2 | 197 | 195 | / | / | -1.024 |  | 11.341 |  | 0.97 | 143 | 1 | Kinga |  | 3 | 2 | 110504
2 | 200 | 39 | P/FINAL | 2025-05-07 | 10:07 | 2025-05-07 | 06:51 | ELENA | 2 | 192 | 189 | / | / | -1.007 |  |  |  | 1.31 | 137 | 1 | Kinga |  | 3 | 2 | 110504
2 | 200 | 40 | P/FINAL | 2025-05-07 | 10:08 | 2025-05-07 | 06:51 | ELENA | 2 | 194 | 191 | / | / | -1.013 |  |  |  | 1 | 135 | 1 | Kinga |  | 3 | 2 | 110504
2 | 200 | 41 | P/FINAL | 2025-05-07 | 14:55 | 2025-05-07 | 14:18 | NINA | 2 | 207 | 205 | / | / | -1.056 |  |  |  | 0.23 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 42 | P/FINAL | 2025-05-07 | 14:56 | 2025-05-07 | 14:18 | NINA | 2 | 210 | 209 | / | / | -1.064 |  |  | 11.312 | 0.93 | 130 | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 43 | P/FINAL | 2025-05-07 | 14:56 | 2025-05-07 | 14:18 | NINA | 2 | 199 | 197 | / | / | -1.032 |  |  |  | 1.26 | 131 | 1 | Kinga |  | 3 | 2 | 25617
3 | 450 | 44 | P/FINAL | 2025-05-07 | 15:01 | 2025-05-07 | 14:18 | NINA | 2 | 456 | 453 | / | / | -1.172 |  |  |  | 0.89 | 137 | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 45 | P/FINAL | 2025-05-07 | 15:03 | 2025-05-07 | 14:18 | NINA | 2 | 452 | 449 | / | / | -1.123 |  |  | 11.336 | 0.80 | 136 | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 46 | P/FINAL | 2025-05-07 | 15:07 | 2025-05-07 | 14:18 | NINA | 2 | 456 | 450 | / | / | -1.129 |  |  |  | 0.35 | 140 | 1 | Kinga |  | 3 | 3 | 25617
4 | 600 | 47 | P/FINAL | 2025-05-07 | 15:12 | 2025-05-07 | 14:18 | NINA | 2 | 616 | 611 | / | / | -0.956 |  |  |  | 0.44 | 134 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 48 | P/FINAL | 2025-05-07 | 15:13 | 2025-05-07 | 14:18 | NINA | 2 | 590 | 586 | / | / | -0.857 |  |  |  | 0.35 | 127 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 49 | P/FINAL | 2025-05-07 | 15:14 | 2025-05-07 | 14:18 | NINA | 2 | 600 | 591 | / | / | -0.898 |  |  | 11.349 | 0.24 | 134 | 1 | Kinga |  | 3 | 4 | 25617
2 | 200 | 50 | P/FINAL | 2025-05-08 | 08:24 | 2025-05-08 | 07:11 | ELENA | 2 | 190 | 190 | / | / | -1.000 |  |  | 11.378 | 0.37 |  | 1 | Brigitta P |  | 3 | 2 | 25617
2 | 200 | 51 | P/FINAL | 2025-05-08 | 08:25 | 2025-05-08 | 07:11 | ELENA | 2 | 187 | 187 | / | / | -0.992 |  |  |  | 0.32 |  | 1 | Brigitta P |  | 3 | 2 | 25617
2 | 200 | 52 | P/FINAL | 2025-05-08 | 08:26 | 2025-05-08 | 07:11 | ELENA | 2 | 192 | 194 | / | / | -1.009 |  |  |  | 0.36 |  | 1 | Brigitta P |  | 3 | 2 | 25617
3 | 450 | 53 | P/FINAL | 2025-05-08 | 08:32 | 2025-05-08 | 07:11 | ELENA | 2 | 439 | 440 | / | / | -1.130 |  |  | 11.383 | 0.33 | 156 | 1 | Brigitta P |  | 3 | 3 | 25617
3 | 450 | 54 | P/FINAL | 2025-05-08 | 08:33 | 2025-05-08 | 07:11 | ELENA | 2 | 436 | 433 | / | / | -1.121 |  |  |  | 0.33 | 149 | 1 | Brigitta P |  | 3 | 3 | 25617
3 | 450 | 55 | P/FINAL | 2025-05-08 | 08:33 | 2025-05-08 | 07:11 | ELENA | 2 | 433 | 431 | / | / | -1.115 |  |  |  | 0.28 | 150 | 1 | Brigitta P |  | 3 | 3 | 25617
4 | 600 | 56 | P/FINAL | 2025-05-08 | 08:38 | 2025-05-08 | 07:11 | ELENA | 2 | 579 | 579 | / | / | -0.812 |  |  | 11.373 | 0.32 | 146 | 1 | Brigitta P |  | 3 | 4 | 25617
4 | 600 | 57 | P/FINAL | 2025-05-08 | 08:38 | 2025-05-08 | 07:11 | ELENA | 2 | 587 | 587 | / | / | -0.844 |  |  |  | 0.38 | 156 | 1 | Brigitta P |  | 3 | 4 | 25617
4 | 600 | 58 | P/FINAL | 2025-05-08 | 08:39 | 2025-05-08 | 07:11 | ELENA | 2 | 581 | 581 | / | / | -0.819 |  |  |  | 0.30 | 151 | 1 | Brigitta P |  | 3 | 4 | 25617
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 199 mg/L | 17 | 34 | 199 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 587 mg/L | 16 | 32 | 587 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 447 mg/L | 16 | 32 | 447 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
200 | 187 ÷ 213 | 199 | YES
450 | 430 ÷ 471 | 447 | YES
600 | 575 ÷ 625 | 587 | YES
Validation Date | by