## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI735C-0 | HI93735C-0
1158 | HI93735C-0 | CP-R50 | W 37/1 |  | Parameter Formula | CaCO3 | CaCO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Fixing Reagent | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2456 | 2636 | 1158 | 2633
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-04-01 | 2030-07-01 | 2030-09-01 | 2027-01-01
Reagent Range Min | Reagent Range Max
0 mg/L | 750 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-10 | 2025-09-12 | 2 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97735 | CTO-703
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 7 |  | MR60 |  | 7 | & | 3% | 100%
2 | 200 | 187 | 213 | [8 empty] | 11.3 | 11.1 | 11.5
3 | 450 | 430 | 471 | [8 empty] | 11.3 | 11.1 | 11.5
4 | 600 | 575 | 625
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97735 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old C | 2025-09-10 | 17:25 | 2025-09-10 |  | ERIKA |  | 0 | 0 | / | / | 0.053 |  |  | 11.416 | 0.14 |  | 1 | Andrea V |  | 3 | 1 | 25617
1 | 0 | 2 | Old C | 2025-09-10 | 17:26 | 2025-09-10 |  | ERIKA |  | 0 | 0 | / | / | 0.057 |  |  |  | 0.12 |  | 1 | Andrea V |  | 3 | 1 | 25617
2 | 200 | 3 | Old C | 2025-09-10 | 17:30 | 2025-09-10 | 15:40 | ERIKA |  | 191 | 190 | / | / | -1.005 |  |  | 11.361 | 0.09 |  | 1 | Andrea V |  | 3 | 2 | 25617
2 | 200 | 4 | Old C | 2025-09-10 | 17:31 | 2025-09-10 | 15:40 | ERIKA |  | 195 | 196 | / | / | -1.016 |  |  |  | 0.10 |  | 1 | Andrea V |  | 3 | 2 | 25617
3 | 450 | 5 | Old C | 2025-09-10 | 17:32 | 2025-09-10 | 15:40 | ERIKA |  | 451 | 450 | / | / | -1.160 |  |  | 11.333 | 0.12 | 149 | 1 | Andrea V |  | 3 | 3 | 25617
3 | 450 | 6 | Old C | 2025-09-10 | 17:33 | 2025-09-10 | 15:40 | ERIKA |  | 439 | 438 | / | / | -1.143 |  |  |  | 0.18 | 150 | 1 | Andrea V |  | 3 | 3 | 25617
4 | 600 | 7 | Old C | 2025-09-10 | 17:36 | 2025-09-10 | 15:40 | ERIKA |  | 600 | 602 | / | / | -0.891 |  |  | 11.323 | 0.31 | 153 | 1 | Andrea V |  | 3 | 4 | 25617
1 | 0 | 8 | Valid | 2025-09-10 | 17:43 | 2025-09-10 | 15:40 | ERIKA |  | 0 | 0 | / | / | 0.053 |  |  |  | 0.15 | 144 | 1 | Andrea V |  | 3 | 1 | 25617
1 | 0 | 9 | Valid | 2025-09-10 | 17:45 | 2025-09-10 | 15:40 | ERIKA |  | 0 | 0 | / | / | 0.055 |  |  | 11.382 | 0.15 | 145 | 1 | Andrea V |  | 3 | 1 | 25617
2 | 200 | 10 | Valid | 2025-09-10 | 17:48 | 2025-09-10 | 15:40 | ERIKA |  | 205 | 205 | / | / | -1.051 |  |  |  | 0.16 | 144 | 1 | Andrea V |  | 3 | 2 | 25617
2 | 200 | 11 | Valid | 2025-09-10 | 17:50 | 2025-09-10 | 15:40 | ERIKA |  | 191 | 189 | / | / | -1.004 |  |  | 11.395 | 0.20 | 134 | 1 | Andrea V |  | 3 | 2 | 25617
3 | 450 | 12 | Valid | 2025-09-10 | 18:01 | 2025-09-10 | 15:40 | ERIKA |  | 450 | 450 | / | / | -1.156 |  |  |  | 0.15 | 148 | 1 | Andrea V |  | 3 | 3 | 25617
3 | 450 | 13 | Valid | 2025-09-10 | 18:04 | 2025-09-10 | 15:40 | ERIKA |  | 448 | 447 | / | / | -1.153 |  |  | 11.346 | 0.16 |  | 1 | Andrea V |  | 3 | 3 | 25617
4 | 600 | 14 | Valid | 2025-09-10 | 18:13 | 2025-09-10 | 15:40 | ERIKA |  | 576 | 575 | / | / | -0.743 |  |  |  | 0.12 |  | 1 | Andrea V |  | 3 | 4 | 25617
4 | 600 | 15 | Valid | 2025-09-10 | 18:13 | 2025-09-10 | 15:40 | ERIKA |  | 578 | 577 | / | / | -0.755 |  |  | 11.323 | 0.13 |  | 1 | Andrea V |  | 3 | 4 | 25617
4 | 600 | 16 | Old C | 2025-09-10 | 18:15 | 2025-09-10 | 15:40 | ERIKA |  | 598 | 599 | / | / | -0.882 |  |  |  | 0.23 |  | 1 | Andrea V |  | 3 | 4 | 25617
2 | 200 | 17 | Old C | 2025-09-12 | 09:39 | 2025-09-11 | 15:46 | ROLAND | 2 | 198 | 192 | / | / | -1.029 |  |  |  | 0.35 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 18 | Old C | 2025-09-12 | 09:40 | 2025-09-11 | 15:46 | ROLAND | 2 | 200 | 196 | / | / | -1.033 |  |  | 11.292 | 0.29 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 19 | P/FINAL | 2025-09-12 | 09:44 | 2025-09-11 | 15:46 | ROLAND | 2 | 205 | 196 | / | / | -1.051 |  |  |  | 0.22 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 20 | P/FINAL | 2025-09-12 | 09:45 | 2025-09-11 | 15:46 | ROLAND | 2 | 208 | 204 | / | / | -1.058 |  |  |  | 0.20 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 21 | P/FINAL | 2025-09-12 | 09:46 | 2025-09-11 | 15:46 | ROLAND | 2 | 197 | 203 | / | / | 1.025 |  |  |  | 0.20 |  | 1 | Kinga |  | 3 | 2 | 25617
3 | 450 | 22 | Old C | 2025-09-12 | 09:51 | 2025-09-11 | 15:46 | ROLAND | 2 | 453 | 459 | / | / | -1.135 |  |  |  | 0.55 |  | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 23 | Old C | 2025-09-12 | 09:53 | 2025-09-11 | 15:46 | ROLAND | 2 | 459 | 442 | / | / | -1.179 |  |  |  | 0.28 |  | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 24 | P/FINAL | 2025-09-12 | 09:58 | 2025-09-11 | 15:46 | ROLAND | 2 | 446 | 454 | / | / | -1.148 |  |  | 11.311 | 0.21 |  | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 25 | P/FINAL | 2025-09-12 | 10:16 | 2025-09-11 | 15:46 | ROLAND | 2 | 467 | 463 | / | / | -1.197 |  |  |  | 0.20 |  | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 26 | P/FINAL | 2025-09-12 | 10:17 | 2025-09-11 | 15:46 | ROLAND | 2 | 453 | 451 | / | / | -1.163 |  |  |  | 0.24 |  | 1 | Kinga |  | 3 | 3 | 25617
4 | 600 | 27 | Old C | 2025-09-12 | 10:22 | 2025-09-11 | 15:46 | ROLAND | 2 | 594 | 584 | / | / | -0.877 |  |  |  | 0.22 |  | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 28 | Old C | 2025-09-12 | 10:25 | 2025-09-11 | 15:46 | ROLAND | 2 | 594 | 598 | / | / | -0.879 |  |  |  | 0.20 |  | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 29 | P/FINAL | 2025-09-12 | 10:31 | 2025-09-11 | 15:46 | ROLAND | 2 | 579 | 579 | / | / | -0.809 |  |  | 11.313 | 0.21 |  | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 30 | P/FINAL | 2025-09-12 | 10:33 | 2025-09-11 | 15:46 | ROLAND | 2 | 578 | 577 | / | / | -0.807 |  |  |  | 0.22 |  | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 31 | P/FINAL | 2025-09-12 | 10:35 | 2025-09-11 | 15:46 | ROLAND | 2 | 576 | 580 | / | / | -0.797 |  |  |  | 0.49 |  | 1 | Kinga |  | 3 | 4 | 25617
2 | 200 | 32 | P/FINAL | 2025-09-12 | 10:41 | 2025-09-12 | 07:41 | ELENA | 2 | 205 | 205 | / | / | -1.050 |  |  | 11.342 | 0.38 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 33 | P/FINAL | 2025-09-12 | 10:43 | 2025-09-12 | 07:41 | ELENA | 2 | 201 | 200 | / | / | -1.038 |  |  |  | 0.23 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 34 | P/FINAL | 2025-09-12 | 10:44 | 2025-09-12 | 07:41 | ELENA | 2 | 199 | 198 | / | / | -1.032 |  |  |  | 0.22 |  | 1 | Kinga |  | 3 | 2 | 25617
3 | 450 | 35 | P/FINAL | 2025-09-12 | 10:50 | 2025-09-12 | 07:41 | ELENA | 2 | 469 | 451 | / | / | -1.201 |  |  | 11.351 | 0.28 | 143 | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 36 | P/FINAL | 2025-09-12 | 10:52 | 2025-09-12 | 07:41 | ELENA | 2 | 458 | 443 | / | / | -1.123 |  |  |  | 0.25 | 150 | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 37 | P/FINAL | 2025-09-12 | 10:54 | 2025-09-12 | 07:41 | ELENA | 2 | 445 | 441 | / | / | -1.209 |  |  |  | 0.23 | 137 | 1 | Kinga |  | 3 | 3 | 25617
4 | 600 | 38 | P/FINAL | 2025-09-12 | 11:02 | 2025-09-12 | 07:41 | ELENA | 2 | 588 | 580 | / | / | -0.851 |  |  |  | 0.19 | 142 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 39 | P/FINAL | 2025-09-12 | 11:05 | 2025-09-12 | 07:41 | ELENA | 2 | 597 | 602 | / | / | -0.812 |  |  | 11.311 | 0.23 | 152 | 1 | Kinga |  | 3 | 4 | 25617
1 | 0 | 40 | P/FINAL | 2025-09-12 | 11:13 | 2025-09-12 | 07:41 | ELENA | 2 | 0 | 0 | / | / | 0.056 |  |  |  | 0.33 | 154 | 1 | Kinga |  | 3 | 1 | 25617
1 | 0 | 41 | P/FINAL | 2025-09-12 | 11:15 | 2025-09-12 | 07:41 | ELENA | 2 | 0 | 0 | / | / | 0.062 |  |  | 11.363 | 0.22 | 146 | 1 | Kinga |  | 3 | 1 | 25617
2 | 200 | 42 | P/FINAL | 2025-09-15 | 08:17 | 2025-09-12 | 14:46 | ROLAND | 2 | 201 | 188 | / | / | -1.037 |  |  |  | 0.27 | 154 | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 43 | P/FINAL | 2025-09-15 | 08:19 | 2025-09-12 | 14:46 | ROLAND | 2 | 203 | 200 | / | / | -1.042 |  |  | 11.335 | 0.24 | 134150 | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 44 | P/FINAL | 2025-09-15 | 08:20 | 2025-09-12 | 14:46 | ROLAND | 2 | 204 | 203 | / | / | -1.047 |  |  |  | 0.33 | 143 | 1 | Kinga |  | 3 | 2 | 25617
3 | 450 | 45 | P/FINAL | 2025-09-15 | 08:26 | 2025-09-12 | 14:46 | ROLAND | 2 | 448 | 442 | / | / | -1.152 |  |  | 11.341 | 0.20 | 142 | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 46 | P/FINAL | 2025-09-15 | 08:29 | 2025-09-12 | 14:46 | ROLAND | 2 | 441 | 445 | / | / | -1.098 |  |  |  | 0.17 | 137 | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 47 | P/FINAL | 2025-09-15 | 08:30 | 2025-09-12 | 14:46 | ROLAND | 2 | 439 | 442 | / | / | -1.130 |  |  |  | 0.23 | 144 | 1 | Kinga |  | 3 | 3 | 25617
4 | 600 | 48 | P/FINAL | 2025-09-15 | 08:38 | 2025-09-12 | 14:46 | ROLAND | 2 | 587 | 586 | / | / | -0.847 |  |  | 11.330 | 0.20 | 144 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 49 | P/FINAL | 2025-09-15 | 08:39 | 2025-09-12 | 14:46 | ROLAND | 2 | 589 | 593 | / | / | -0.851 |  |  |  | 0.22 | 144 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 50 | P/FINAL | 2025-09-15 | 08:41 | 2025-09-12 | 14:46 | ROLAND | 2 | 582 | 581 | / | / | -0.826 |  |  |  | 0.19 | 142 | 1 | Kinga |  | 3 | 4 | 25617
1 | 0 | 51 | P/FINAL | 2025-09-15 | 08:54 | 2025-09-12 | 14:46 | ROLAND | 2 | 0 | 0 | / | / | 0.060 |  |  |  | 0.20 |  | 1 | Kinga |  | 3 | 1 | 25617
1 | 0 | 52 | P/FINAL | 2025-09-15 | 08:54 | 2025-09-12 | 14:46 | ROLAND | 2 | 0 | 0 | / | / | 0.059 |  |  | 11.323 | 0.22 |  | 1 | Kinga |  | 3 | 1 | 25617
2 | 200 | 53 | P/FINAL | 2025-09-15 | 09:01 | 2025-09-15 | 08:08 | ROLAND | 2 | 196 | 195 | / | / | -1.021 |  |  |  | 0.19 | 146 | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 54 | P/FINAL | 2025-09-15 | 09:02 | 2025-09-15 | 08:08 | ROLAND | 2 | 206 | 198 | / | / | -1.052 |  |  |  | 0.35 | 149 | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 55 | P/FINAL | 2025-09-15 | 09:05 | 2025-09-15 | 08:08 | ROLAND | 2 | 192 | 197 | / | / | -1.031 |  |  |  | 0.18 | 145 | 1 | Kinga |  | 3 | 2 | 25617
3 | 450 | 56 | P/FINAL | 2025-09-15 | 09:09 | 2025-09-15 | 08:08 | ROLAND | 2 | 442 | 437 | / | / | -1.137 |  |  | 11.331 | 0.33 | 146 | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 57 | P/FINAL | 2025-09-15 | 09:11 | 2025-09-15 | 08:08 | ROLAND | 2 | 461 | 461 | / | / | -1.184 |  |  |  | 0.19 | 12 | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 58 | P/FINAL | 2025-09-15 | 09:13 | 2025-09-15 | 08:08 | ROLAND | 2 | 462 | 465 | / | / | -1.186 |  |  |  | 0.23 | 147 | 1 | Kinga |  | 3 | 3 | 25617
4 | 600 | 59 | P/FINAL | 2025-09-15 | 09:17 | 2025-09-15 | 08:08 | ROLAND | 2 | 579 | 580 | / | / | -0.811 |  |  | 11.322 | 0.20 | 137 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 60 | P/FINAL | 2025-09-15 | 09:19 | 2025-09-15 | 08:08 | ROLAND | 2 | 584 | 583 | / | / | -0.835 |  |  |  | 0.20 | 151 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 61 | P/FINAL | 2025-09-15 | 09:20 | 2025-09-15 | 08:08 | ROLAND | 2 | 583 | 584 | / | / | -0.829 |  |  |  | 0.19 | 148 | 1 | Kinga |  | 3 | 4 | 25617
1 | 0 | 62 | P/FINAL | 2025-09-15 | 09:24 | 2025-09-15 | 08:08 | ROLAND | 2 | 0 | 0 | / | / | 0.066 |  |  |  | 0.23 |  | 1 | Kinga |  | 3 | 1 | 25617
1 | 0 | 63 | P/FINAL | 2025-09-15 | 09:26 | 2025-09-15 | 08:08 | ROLAND | 2 | 0 | 0 | / | / | 0.076 |  |  | 11.310 | 0.22 |  | 1 | Kinga |  | 3 | 1 | 25617
4 | 600 | 64 | P/FINAL | 2025-09-15 | 15:18 | 2025-09-15 | 14:15 | ELENA | 2 | 583 | 583 | / | / | -0.830 |  |  |  | 0.10 |  | 1 | Kinga |  | 3 | 4 | 112219
4 | 600 | 65 | P/FINAL | 2025-09-15 | 15:19 | 2025-09-15 | 14:15 | ELENA | 2 | 583 | 583 | / | / | -0.830 |  |  |  | 0.16 | 149 | 1 | Kinga |  | 3 | 4 | 112219
4 | 600 | 66 | P/FINAL | 2025-09-15 | 15:19 | 2025-09-15 | 14:15 | ELENA | 2 | 585 | 584 | / | / | -0.839 |  |  | 11.316 | 0.12 | 150 | 1 | Kinga |  | 3 | 4 | 112219
2 | 200 | 67 | P/FINAL | 2025-09-15 | 15:28 | 2025-09-15 | 14:15 | ELENA | 2 | 197 | 187 | / | / | -1.029 |  |  |  | 0.22 | 145 | 1 | Kinga |  | 3 | 2 | 112219
2 | 200 | 68 | P/FINAL | 2025-09-15 | 15:29 | 2025-09-15 | 14:15 | ELENA | 2 | 193 | 189 | / | / | -1.010 |  |  |  | 0.37 | 147 | 1 | Kinga |  | 3 | 2 | 112219
2 | 200 | 69 | P/FINAL | 2025-09-15 | 15:31 | 2025-09-15 | 14:15 | ELENA | 2 | 196 | 189 | / | / | -1.020 |  |  | 11.323 | 0.29 | 150 | 1 | Kinga |  | 3 | 2 | 112219
3 | 450 | 70 | P/FINAL | 2025-09-15 | 15:37 | 2025-09-15 | 14:15 | ELENA | 2 | 441 | 445 | / | / | -1.135 |  |  |  | 0.20 | 144 | 1 | Kinga |  | 3 | 3 | 112219
3 | 450 | 71 | P/FINAL | 2025-09-15 | 15:38 | 2025-09-15 | 14:15 | ELENA | 2 | 467 | 467 | / | / | -1.198 |  |  | 11.310 | 0.28 | 146 | 1 | Kinga |  | 3 | 3 | 112219
3 | 450 | 72 | P/FINAL | 2025-09-15 | 15:40 | 2025-09-15 | 14:15 | ELENA | 2 | 455 | 453 | / | / | -1.170 |  |  |  | 0.20 | 154 | 1 | Kinga |  | 3 | 3 | 112219
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 199 mg/L | 15 | 30 | 199 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 452 mg/L | 15 | 30 | 452 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
14 | 28 | 584 mg/L | 14 | 28 | 584 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 7 | 0 | YES
200 | 187 ÷ 213 | 199 | YES
450 | 430 ÷ 471 | 452 | YES
600 | 575 ÷ 625 | 584 | YES
Validation Date | by