## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI735C-0 | HI93735C-0
1256 | HI93735C-0 | CP-R50 | W 48/1 |  | Parameter Formula | CaCO3 | CaCO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Fixing Reagent | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2936 | 2636 | 1256 | 2785
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-11-01 | 2030-07-01 | 2030-11-01 | 2027-03-01
Reagent Range Min | Reagent Range Max
0 mg/L | 750 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-26 | 2025-12-18 | 2 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97735 | CTO-703
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 7 |  | MR60 |  | 7 | & | 3% | 100%
2 | 200 | 187 | 213 | [8 empty] | 11.3 | 11.1 | 11.5
3 | 450 | 430 | 471 | [8 empty] | 11.3 | 11.1 | 11.5
4 | 600 | 575 | 625
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97735 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old C | 2025-11-26 | 09:38 | 2025-11-26 | 09:23 | ERIKA |  | 0 | 0 | / | / | 0.206 |  |  |  | 0.90 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 2 | Old C | 2025-11-26 | 09:38 | 2025-11-26 | 09:23 | ERIKA |  | 0 | 0 | / | / | 0.052 |  |  |  | 0.41 |  | 1 | Andrea V |  | 3 | 1
2 | 200 | 3 | Old C | 2025-11-26 | 09:39 | 2025-11-26 | 09:23 | ERIKA |  | 216 | 197 | / | / | -1.083 |  |  |  | 0.41 |  | 1 | Andrea V |  | 3 | 2
2 | 200 | 4 | Old C | 2025-11-26 | 09:39 | 2025-11-26 | 09:23 | ERIKA |  | 193 | 191 | / | / | -1.011 |  |  |  | 0.50 |  | 1 | Andrea V |  | 3 | 2
2 | 200 | 5 | Old C | 2025-11-26 | 09:39 | 2025-11-26 | 09:23 | ERIKA |  | 212 | 214 | / | / | -1.071 |  |  |  | 0.60 |  | 1 | Andrea V |  | 3 | 2
3 | 450 | 6 | Old C | 2025-11-26 | 09:40 | 2025-11-26 | 09:23 | ERIKA |  | 444 | 437 | / | / | -1.143 |  |  |  | 0.60 |  | 1 | Andrea V |  | 3 | 3
3 | 450 | 7 | Old C | 2025-11-26 | 09:40 | 2025-11-26 | 09:23 | ERIKA |  | 463 | 451 | / | / | -1.187 |  |  |  | 0.60 |  | 1 | Andrea V |  | 3 | 3
4 | 600 | 8 | Old C | 2025-11-26 | 09:40 | 2025-11-26 | 09:23 | ERIKA |  | 600 | 599 | / | / | -0.900 |  |  |  | 0.50 |  | 1 | Andrea V |  | 3 | 4
4 | 600 | 9 | Old C | 2025-11-26 | 09:41 | 2025-11-26 | 09:23 | ERIKA |  | 587 | 586 | / | / | -0.846 |  |  |  | 0.44 |  | 1 | Andrea V |  | 3 | 4
2 | 200 | 10 | Valid | 2025-11-26 | 10:22 | 2025-11-26 | 09:23 | ERIKA |  | 203 | 200 | / | / | -1.045 |  |  | 11.259 | 0.38 |  | 1 | Kinga |  | 3 | 2 | 112219
2 | 200 | 11 | Valid | 2025-11-26 | 10:27 | 2025-11-26 | 09:23 | ERIKA |  | 197 | 202 | / | / | -1.023 |  |  |  | 0.55 |  | 1 | Kinga |  | 3 | 2 | 112219
3 | 450 | 12 | Valid | 2025-11-26 | 10:34 | 2025-11-26 | 09:23 | ERIKA |  | 465 | 465 | / | / | -1.192 |  |  | 11.255 | 0.28 |  | 1 | Kinga |  | 3 | 3 | 112219
3 | 450 | 13 | Valid | 2025-11-26 | 10:34 | 2025-11-26 | 09:23 | ERIKA |  | 459 | 461 | / | / | -1.187 |  |  |  | 0.25 |  | 1 | Kinga |  | 3 | 3 | 112219
4 | 600 | 14 | Valid | 2025-11-26 | 10:41 | 2025-11-26 | 09:23 | ERIKA |  | 601 | 595 | / | / | -0.903 |  |  |  | 0.42 |  | 1 | Kinga |  | 3 | 4 | 112219
4 | 600 | 15 | Valid | 2025-11-26 | 10:44 | 2025-11-26 | 09:23 | ERIKA |  | 640 | 625 | / | / | -1.032 |  |  |  | 0.29 |  | 1 | Kinga |  | 3 | 4 | 112219
4 | 600 | 16 | P/FINAL | 2025-11-26 | 10:56 | 2025-11-26 | 09:23 | ERIKA |  | 604 | 602 | / | / | -0.913 |  |  | 11.317 | 0.32 |  | 1 | Kinga |  | 3 | 4 | 112219
4 | 600 | 17 | P/FINAL | 2025-11-26 | 10:57 | 2025-11-26 | 09:23 | ERIKA |  | 625 | 623 | / | / | -0.986 |  |  |  | 0.28 |  | 1 | Kinga |  | 3 | 4 | 112219
1 | 0 | 18 | Valid | 2025-11-26 | 11:02 | 2025-11-26 | 09:23 | ERIKA |  | 0 | 0 | / | / | 0.071 |  |  |  | 0.14 |  | 1 | Kinga |  | 3 | 1 | 112219
1 | 0 | 19 | Valid | 2025-11-26 | 11:04 | 2025-11-26 | 09:23 | ERIKA |  | 0 | 0 | / | / | 0.061 |  |  | 11.248 | 0.20 |  | 1 | Kinga |  | 3 | 1 | 112219
2 | 200 | 20 | Old C | 2025-12-17 | 09:51 | 2025-12-17 | 07:35 | ELENA | 2 | 214 | 208 | / | / | -1.079 |  |  |  | 0.27 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 21 | Old C | 2025-12-17 | 09:58 | 2025-12-17 | 07:35 | ELENA | 2 | 212 | 208 | / | / | -1.072 |  |  |  | 0.65 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 22 | Old C | 2025-12-17 | 09:59 | 2025-12-17 | 07:35 | ELENA | 2 | 204 | 202 | / | / | -1.046 |  |  |  | 0.79 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 23 | P/FINAL | 2025-12-17 | 10:28 | 2025-12-17 | 07:35 | ELENA | 2 | 213 | 207 | / | / | -1.075 |  |  |  | 0.39 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 24 | P/FINAL | 2025-12-17 | 10:30 | 2025-12-17 | 07:35 | ELENA | 2 | 198 | 195 | / | / | -1.029 |  |  | 11.255 | 0.24 |  | 1 | Kinga |  | 3 | 2 | 25617
2 | 200 | 25 | P/FINAL | 2025-12-17 | 10:32 | 2025-12-17 | 07:35 | ELENA | 2 | 218 | 212 | / | / | -1.091 |  |  |  | 0.56 |  | 1 | Kinga |  | 3 | 2 | 25617
3 | 450 | 26 | Old C | 2025-12-17 | 10:37 | 2025-12-17 | 07:35 | ELENA | 2 | 454 | 437 | / | / | -1.166 |  |  |  | 0.71 |  | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 27 | Old C | 2025-12-17 | 10:38 | 2025-12-17 | 07:35 | ELENA | 2 | 463 | 458 | / | / | -1.188 |  |  |  | 0.40 |  | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 28 | P/FINAL | 2025-12-17 | 10:45 | 2025-12-17 | 07:35 | ELENA | 2 | 446 | 436 | / | / | -1.148 |  |  |  | 0.38 |  | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 29 | P/FINAL | 2025-12-17 | 10:49 | 2025-12-17 | 07:35 | ELENA | 2 | 479 | 468 | / | / | -1.223 |  |  |  | 0.09 |  | 1 | Kinga |  | 3 | 3 | 25617
3 | 450 | 30 | P/FINAL | 2025-12-17 | 10:55 | 2025-12-17 | 07:35 | ELENA | 2 | 446 | 427 | / | / | -1.146 |  |  | 11.227 | 0.16 |  | 1 | Kinga |  | 3 | 3 | 25617
4 | 600 | 31 | Old C | 2025-12-17 | 11:00 | 2025-12-17 | 07:35 | ELENA | 2 | 593 | 588 | / | / | -0.870 |  |  |  | 0.19 |  | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 32 | Old C | 2025-12-17 | 11:01 | 2025-12-17 | 07:35 | ELENA | 2 | 611 | 605 | / | / | -0.940 |  |  |  | 0.40 | 152 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 33 | P/FINAL | 2025-12-17 | 11:06 | 2025-12-17 | 07:35 | ELENA | 2 | 596 | 593 | / | / | -0.882 |  |  | 11.224 | 0.27 | 151 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 34 | P/FINAL | 2025-12-17 | 11:07 | 2025-12-17 | 07:35 | ELENA | 2 | 606 | 602 | / | / | -0.921 |  |  |  | 0.24 | 146 | 1 | Kinga |  | 3 | 4 | 25617
4 | 600 | 35 | P/FINAL | 2025-12-17 | 11:09 | 2025-12-17 | 07:35 | ELENA | 2 | 605 | 602 | / | / | -0.918 |  |  |  | 0.22 | 148 | 1 | Kinga |  | 3 | 4 | 25617
1 | 0 | 36 | Old C | 2025-12-17 | 11:13 | 2025-12-17 | 07:35 | ELENA | 2 | 0 | 0 | / | / | 0.056 |  |  |  | 0.49 | 143 | 1 | Kinga |  | 3 | 1 | 25617
1 | 0 | 37 | Old C | 2025-12-17 | 11:14 | 2025-12-17 | 07:35 | ELENA | 2 | 0 | 0 | / | / | 0.051 |  |  |  | 0.61 | 146 | 1 | Kinga |  | 3 | 1 | 25617
1 | 0 | 38 | P/FINAL | 2025-12-17 | 11:16 | 2025-12-17 | 07:35 | ELENA | 2 | 0 | 0 | / | / | 0.056 |  |  |  | 0.69 | 142 | 1 | Kinga |  | 3 | 1 | 25617
1 | 0 | 39 | P/FINAL | 2025-12-17 | 11:19 | 2025-12-17 | 07:35 | ELENA | 2 | 0 | 0 | / | / | 0.063 |  |  | 11.227 | 0.55 |  | 1 | Kinga |  | 3 | 1 | 25617
2 | 200 | 40 | P/FINAL | 2025-12-17 | 14:43 | 2025-12-17 | 14:17 | ROLAND | 2 | 213 | 198 | / | / | -1.074 |  |  |  | 1.90 | 152 | 1 | Kinga |  | 3 | 2
2 | 200 | 41 | P/FINAL | 2025-12-17 | 14:50 | 2025-12-17 | 14:17 | ROLAND | 2 | 203 | 200 | / | / | -1.045 |  |  |  | 1.77 | 146 | 1 | Kinga |  | 3 | 2
2 | 200 | 42 | P/FINAL | 2025-12-17 | 14:50 | 2025-12-17 | 14:17 | ROLAND | 2 | 205 | 205 | / | / | -1.049 |  |  | 11.229 | 1.77 | 143 | 1 | Kinga |  | 3 | 2
3 | 450 | 43 | P/FINAL | 2025-12-17 | 14:57 | 2025-12-17 | 14:17 | ROLAND | 2 | 440 | 452 | / | / | -1.133 |  |  |  | 1.01 | 154 | 1 | Kinga |  | 3 | 3
3 | 450 | 44 | P/FINAL | 2025-12-17 | 15:00 | 2025-12-17 | 14:17 | ROLAND | 2 | 463 | 458 | / | / | -1.187 |  |  |  | 0.75 | 153 | 1 | Kinga |  | 3 | 3
3 | 450 | 45 | P/FINAL | 2025-12-17 | 15:01 | 2025-12-17 | 14:17 | ROLAND | 2 | 445 | 435 | / | / | -1.145 |  |  | 11.234 | 0.82 | 148 | 1 | Kinga |  | 3 | 3
4 | 600 | 46 | P/FINAL | 2025-12-17 | 15:17 | 2025-12-17 | 14:17 | ROLAND | 2 | 577 | 587 | / | / | -0.801 |  |  |  | 2.15 | 134 | 1 | Kinga |  | 3 | 4
4 | 600 | 47 | P/FINAL | 2025-12-17 | 15:19 | 2025-12-17 | 14:17 | ROLAND | 2 | 622 | 620 | / | / | -0.976 |  |  |  | 0.98 | 145 | 1 | Kinga |  | 3 | 4
4 | 600 | 48 | P/FINAL | 2025-12-17 | 15:21 | 2025-12-17 | 14:17 | ROLAND | 2 | 617 | 623 | / | / | -0.823 |  |  |  | 0.97 |  | 1 | Kinga |  | 3 | 4
1 | 0 | 49 | P/FINAL | 2025-12-17 | 15:26 | 2025-12-17 | 14:17 | ROLAND | 2 | 0 | 0 | / | / | 0.040 |  |  | 11.231 | 1.90 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 50 | P/FINAL | 2025-12-17 | 15:28 | 2025-12-17 | 14:17 | ROLAND | 2 | 0 | 0 | / | / | 0.037 |  |  |  | 2.41 |  | 1 | Kinga |  | 3 | 1
2 | 200 | 51 | P/FINAL | 2025-12-18 | 08:56 | 2025-12-18 | 07:07 | ELENA | 2 | 205 | 209 | / | / | -1.049 |  |  |  | 1.08 |  | 1 | Kinga |  | 3 | 2
2 | 200 | 52 | P/FINAL | 2025-12-18 | 08:57 | 2025-12-18 | 07:07 | ELENA | 2 | 199 | 196 | / | / | -1.032 |  |  | 11.229 | 1.30 | 152 | 1 | Kinga |  | 3 | 2
2 | 200 | 53 | P/FINAL | 2025-12-18 | 08:59 | 2025-12-18 | 07:07 | ELENA | 2 | 209 | 213 | / | / | -1.123 |  |  |  | 1.26 | 152 | 1 | Kinga |  | 3 | 2
3 | 450 | 54 | P/FINAL | 2025-12-18 | 09:03 | 2025-12-18 | 07:07 | ELENA | 2 | 468 | 465 | / | / | -1.199 |  |  |  | 0.57 | 151 | 1 | Kinga |  | 3 | 3
3 | 450 | 55 | P/FINAL | 2025-12-18 | 09:06 | 2025-12-18 | 07:07 | ELENA | 2 | 456 | 446 | / | / | -1.198 |  |  |  | 0.58 | 142 | 1 | Kinga |  | 3 | 3
3 | 450 | 56 | P/FINAL | 2025-12-18 | 09:10 | 2025-12-18 | 07:07 | ELENA | 2 | 453 | 465 | / | / | -1.165 |  |  | 11.232 | 0.74 | 140 | 1 | Kinga |  | 3 | 3
4 | 600 | 57 | P/FINAL | 2025-12-18 | 09:15 | 2025-12-18 | 07:07 | ELENA | 2 | 604 | 609 | / | / | -0.916 |  |  |  | 0.56 | 143 | 1 | Kinga |  | 3 | 4
4 | 600 | 58 | P/FINAL | 2025-12-18 | 09:17 | 2025-12-18 | 07:07 | ELENA | 2 | 623 | 612 | / | / | -0.982 |  |  |  | 1.24 | 150 | 1 | Kinga |  | 3 | 4
4 | 600 | 59 | P/FINAL | 2025-12-18 | 09:19 | 2025-12-18 | 07:07 | ELENA | 2 | 611 | 619 | / | / | -0.976 |  |  |  | 1.12 | 152 | 1 | Kinga |  | 3 | 4
1 | 0 | 60 | P/FINAL | 2025-12-18 | 09:22 | 2025-12-18 | 07:07 | ELENA | 2 | 0 | 0 | / | / | 0.037 |  |  |  | 2.41 |  | 1 | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0 mg/L | 5 | 10 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 205 mg/L | 9 | 18 | 205 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 453 mg/L | 9 | 18 | 453 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 608 mg/L | 11 | 22 | 608 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 7 | 0 | YES
200 | 187 ÷ 213 | 0 | NO
450 | 430 ÷ 471 | 453 | YES
600 | 575 ÷ 625 | 608 | YES
Validation Date | by