## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93738B-0
1169 | HI93738B-0 | CP-R51 | W 38/1 |  | Parameter Formula | ClO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine Dioxide Reagent B | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
155 | 145 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2123 | 1169 | 2124 | 2036
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2030-09-01 | 2029-11-01 | 2029-11-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-16 | 2025-09-17 | PRECI |  |  |  | 0483
[6 empty] | Expiration A | Expiration B | Expiration D
2029-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97738 | CTO-641
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93703 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.28 | 0.52 |  | CM357 |  | 0.10 | & | 5% | 100%
3 | 1.60 | 1.42 | 1.78 | [8 empty] | 10.0 | 9.9 | 10.0
1 | 0.00 | 0.00 | 0.10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97738 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old B | 2025-09-16 | 11:01 | 2025-09-15 | 14:56 | ERIKA |  | 0.37 | 0.39 | / | / | -0.332 |  |  |  | 0.49 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 2 | Old B | 2025-09-16 | 11:02 | 2025-09-15 | 14:56 | ERIKA |  | 0.36 | 0.38 | / | / | -0.323 |  |  |  | 0.24 |  | 1 | Kinga |  | 3 | 2
3 | 1.60 | 3 | Old B | 2025-09-16 | 11:02 | 2025-09-15 | 14:56 | ERIKA |  | 1.54 | 1.58 | / | / | -0.938 |  |  |  | 0.49 |  | 1 | Kinga |  | 3 | 3
3 | 1.60 | 4 | Old B | 2025-09-16 | 11:02 | 2025-09-15 | 14:56 | ERIKA |  | 1.53 | 1.57 | / | / | -0.938 |  |  |  | 0.48 |  | 1 | Kinga |  | 3 | 3
2 | 0.40 | 5 | Valid | 2025-09-16 | 11:11 | 2025-09-15 | 14:56 | ERIKA |  | 0.35 | 0.37 | / | / | -0.320 |  |  |  | 0.61 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 6 | Valid | 2025-09-16 | 11:12 | 2025-09-15 | 14:56 | ERIKA |  | 0.36 | 0.37 | / | / | -0.323 |  |  |  | 0.39 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 7 | Valid | 2025-09-16 | 11:12 | 2025-09-15 | 14:56 | ERIKA |  | 0.32 | 0.32 | / | / | -.0296 |  |  |  | 0.64 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 8 | Valid | 2025-09-16 | 11:13 | 2025-09-15 | 14:56 | ERIKA |  | 0.36 | 0.36 | / | / | -0.324 |  |  |  | 0.39 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 9 | Valid | 2025-09-16 | 11:19 | 2025-09-15 | 14:56 | ERIKA |  | 0.32 | 0.34 | / | / | -0.301 |  |  |  | 3.80 |  | 1 | Kinga |  | 3 | 2
3 | 1.60 | 10 | Valid | 2025-09-16 | 11:26 | 2025-09-15 | 14:56 | ERIKA |  | 1.45 | 1.48 | / | / | -0.897 |  |  |  | 1.14 |  | 1 | Kinga |  | 3 | 3
3 | 1.60 | 11 | Valid | 2025-09-16 | 11:26 | 2025-09-15 | 14:56 | ERIKA |  | 1.47 | 1.48 | / | / | -0.907 |  |  |  | 0.33 |  | 1 | Kinga |  | 3 | 3
3 | 1.60 | 12 | Valid | 2025-09-16 | 11:31 | 2025-09-15 | 14:56 | ERIKA |  | 1.29 | 1.29 | / | / | -0.810 |  |  |  | 1.69 |  | 1 | Kinga |  | 3 | 3
3 | 1.60 | 13 | Valid | 2025-09-16 | 11:46 | 2025-09-15 | 14:56 | ERIKA |  | 1.40 | 1.41 | / | / | -0.869 |  |  |  | 6.98 |  | 1 | Kinga |  | 3 | 3
3 | 1.60 | 14 | Valid | 2025-09-16 | 11:46 | 2025-09-15 | 14:56 | ERIKA |  | 1.45 | 1.44 | / | / | -0.895 |  |  |  | 0.38 |  | 1 | Kinga |  | 3 | 3
2 | 0.40 | 15 | P/FINAL | 2025-09-16 | 17:18 | 2025-09-16 | 15:12 | FLORICA | PRECI | 0.22 | 0.24 | / | / | -0.231 |  |  |  | 0.27 |  | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 16 | P/FINAL | 2025-09-16 | 17:19 | 2025-09-16 | 15:12 | FLORICA | PRECI | 0.19 | 0.20 | / | / | -0.206 |  |  |  | 0.38 |  | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 17 | P/FINAL | 2025-09-16 | 17:20 | 2025-09-16 | 15:12 | FLORICA | PRECI | 0.18 | 0.20 | / | / | -0.202 |  |  |  | 0.38 |  | 1 | Andrea V |  | 3 | 2
3 | 1.60 | 18 | P/FINAL | 2025-09-16 | 17:29 | 2025-09-16 | 15:12 | FLORICA | PRECI | 1.03 | 1.04 | / | / | -0.681 |  |  |  | 0.52 |  | 1 | Andrea V |  | 3 | 3
3 | 1.60 | 19 | P/FINAL | 2025-09-16 | 17:30 | 2025-09-16 | 15:12 | FLORICA | PRECI | 1.06 | 1.07 | / | / | -0.697 |  |  |  | 1.05 |  | 1 | Andrea V |  | 3 | 3
3 | 1.60 | 20 | P/FINAL | 2025-09-16 | 17:30 | 2025-09-16 | 15:12 | FLORICA | PRECI | 1.07 | 1.08 | / | / | -0.698 |  |  |  | 0.90 |  | 1 | Andrea V |  | 3 | 3
2 | 0.40 | 21 | P/FINAL | 2025-09-16 | 19:08 | 2025-09-16 | 15:12 | FLORICA | PRECI | 0.33 | 0.33 | / | / | -0.304 |  |  |  | 0.59 | 139 | 1 | Andrea V |  | 3 | 2 |  | New STD 0.40ppm
2 | 0.40 | 22 | P/FINAL | 2025-09-16 | 19:10 | 2025-09-16 | 15:12 | FLORICA | PRECI | 0.33 | 0.33 | / | / | -0.308 |  | 9.919 |  | 0.33 | 133 | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 23 | P/FINAL | 2025-09-16 | 19:11 | 2025-09-16 | 15:12 | FLORICA | PRECI | 0.32 | 0.32 | / | / | -0.296 |  |  |  | 0.33 | 140 | 1 | Andrea V |  | 3 | 2
3 | 1.60 | 24 | P/FINAL | 2025-09-16 | 19:20 | 2025-09-16 | 15:12 | FLORICA | PRECI | 1.71 | 1.71 | / | / | -1.048 |  |  |  | 0.79 | 140 | 1 | Andrea V |  | 3 | 3 |  | New STD 1.60ppm
3 | 1.60 | 25 | P/FINAL | 2025-09-16 | 19:22 | 2025-09-16 | 15:12 | FLORICA | PRECI | 1.71 | 1.71 | / | / | -1.050 |  | 9.968 |  | 1.02 | 136 | 1 | Andrea V |  | 3 | 3
3 | 1.60 | 26 | P/FINAL | 2025-09-16 | 19:23 | 2025-09-16 | 15:12 | FLORICA | PRECI | 1.71 | 1.70 | / | / | -1.047 |  |  |  | 0.99 | 142 | 1 | Andrea V |  | 3 | 3
2 | 0.40 | 27 | P/FINAL | 2025-09-17 | 09:02 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 0.38 | 0.39 | / | / | -0.334 |  |  |  | 0.89 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 28 | P/FINAL | 2025-09-17 | 09:02 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 0.39 | 0.40 | / | / | -0.345 |  | 10.065 |  | 0.86 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 29 | P/FINAL | 2025-09-17 | 09:11 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 0.38 | 0.37 | / | / | -0.334 |  | 10.023 |  | 0.64 | 123 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 30 | P/FINAL | 2025-09-17 | 09:11 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 0.36 | 0.35 | / | / | -0.323 |  |  |  | 0.61 | 141 | 1 | Kinga |  | 3 | 2
3 | 1.60 | 31 | P/FINAL | 2025-09-17 | 09:17 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 1.69 | 1.69 | / | / | -1.037 |  | 10.040 |  | 0.68 | 126 | 1 | Kinga |  | 3 | 3
3 | 1.60 | 32 | P/FINAL | 2025-09-17 | 09:17 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 1.71 | 1.71 | / | / | -1.047 |  |  |  | 0.41 | 135 | 1 | Kinga |  | 3 | 3
3 | 1.60 | 33 | P/FINAL | 2025-09-17 | 09:23 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 1.69 | 1.68 | / | / | -1.038 |  | 10.045 |  | 1.90 | 144 | 1 | Kinga |  | 3 | 3
3 | 1.60 | 34 | P/FINAL | 2025-09-17 | 09:24 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 1.71 | 1.70 | / | / | -1.049 |  |  |  | 0.49 | 140 | 1 | Kinga |  | 3 | 3
1 | 0.00 | 35 | P/FINAL | 2025-09-17 | 09:33 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / | 0.028 |  | 10.065 |  | 0.86 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 36 | P/FINAL | 2025-09-17 | 09:34 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / | 0.030 |  |  |  | 0.57 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 37 | P/FINAL | 2025-09-17 | 9:35 | 2025-09-17 | 07:04 | GABRIELLA | PRECI | 0.01 | 0.00 | / | / | -0.011 |  | 10.040 |  |  |  | 1 | Kinga |  | 3 | 1
2 | 0.40 | 38 | P/FINAL | 2025-09-17 | 16:03 | 2025-09-17 | 14:20 | FLORICA | PRECI | 0.35 | 0.35 | / | / | -0.320 |  |  |  | 0.82 | 148 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 39 | P/FINAL | 2025-09-17 | 16:04 | 2025-09-17 | 14:20 | FLORICA | PRECI | 0.36 | 0.35 | / | / | -0.325 |  | 10.007 |  | 1.13 | 147 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 40 | P/FINAL | 2025-09-17 | 16:05 | 2025-09-17 | 14:20 | FLORICA | PRECI | 0.36 | 0.36 | / | / | -0.322 |  |  |  | 0.99 | 143 | 1 | Kinga |  | 3 | 2
3 | 1.60 | 41 | P/FINAL | 2025-09-17 | 16:15 | 2025-09-17 | 14:20 | FLORICA | PRECI | 1.70 | 1.70 | / | / | -1.046 |  |  |  | 0.99 | 149 | 1 | Kinga |  | 3 | 3
3 | 1.60 | 42 | P/FINAL | 2025-09-17 | 16:16 | 2025-09-17 | 14:20 | FLORICA | PRECI | 1.70 | 1.70 | / | / | -1.045 |  |  |  | 0.82 | 141 | 1 | Kinga |  | 3 | 3
3 | 1.60 | 43 | P/FINAL | 2025-09-17 | 16:16 | 2025-09-17 | 14:20 | FLORICA | PRECI | 1.72 | 1.72 | / | / | -1.057 |  | 10.010 |  | 2.49 | 142 | 1 | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 0.32 mg/L | 13 | 26 | 0.32 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 1.55 mg/L | 13 | 26 | 1.55 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
0.40 | 0.28 ÷ 0.52 | 0.32 | YES
1.60 | 1.42 ÷ 1.78 | 1.55 | YES
Validation Date | by