## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93740A-0
0925 | HI93740A-0 | CP-R52 | W 07/1 |  | Parameter Formula | Ni
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nickel LR Reagent A | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
200 | 185 | 215
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0925 | 1483 | 0892
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-02-01 | 2026-11-01 | 2030-01-01
Reagent Range Min | Reagent Range Max
0 µg/L | 1000 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-02-11 | 2025-02-12 | PRECI |  |  | 0625
[6 empty] | Expiration A | Expiration B | Expiration D
2029-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97740 | CTO-642
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 10 |  | MR26 |  | 10 | & | 7% | 100% |  | 4.9 | 4.7 | 5.1
2 | 200 | 176 | 224
3 | 800 | 734 | 866 | [8 empty] | 5.3 | 5.1 | 5.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-02-10 | 16:13 | 2025-02-10 | 15:26 | ERIKA |  | 0 | 0 | / | / | 0.03 |  |  |  | 9.97 |  | 1 | Kinga |  | 3 | 1 | 262025
2 | 200 | 2 | Old A | 2025-02-10 | 16:16 | 2025-02-10 | 15:26 | ERIKA |  | 180 | 180 | / | / | 0.201 |  |  |  | 9.97 |  | 1 | Kinga |  | 3 | 2 | 262025
2 | 200 | 3 | Old A | 2025-02-10 | 16:16 | 2025-02-10 | 15:26 | ERIKA |  | 185 | 180 | / | / | 0.202 |  |  |  | 3.84 |  | 1 | Kinga |  | 3 | 2 | 262025
3 | 800 | 4 | Valid | 2025-02-10 | 16:49 | 2025-02-10 | 15:26 | ERIKA |  | 798 | 798 | / | / | 0.926 |  |  |  | 10.8 |  | 1 | Brigitta P |  | 3 | 3 | 85516
3 | 800 | 5 | Valid | 2025-02-10 | 16:49 | 2025-02-10 | 15:26 | ERIKA |  | 734 | 734 | / | / | 0.855 |  |  |  | 6.85 |  | 1 | Brigitta P |  | 3 | 3 | 85516
3 | 800 | 6 | Valid | 2025-02-10 | 16:49 | 2025-02-10 | 15:26 | ERIKA |  | 734 | 733 | / | / | 0.855 |  |  |  | 14.0 |  | 1 | Brigitta P |  | 3 | 3 | 85516
2 | 200 | 7 | Valid | 2025-02-10 | 17:20 | 2025-02-10 | 15:26 | ERIKA |  | 167 | 169 | / | / |  |  |  |  | 8.64 |  | 1 | Brigitta P |  | 3 | 2
2 | 200 | 8 | Valid | 2025-02-10 | 17:21 | 2025-02-10 | 15:26 | ERIKA |  | 159 | 160 | / | / |  |  |  |  | 9.72 |  | 1 | Brigitta P |  | 3 | 2
2 | 200 | 9 | Valid | 2025-02-10 | 20:30 | 2025-02-10 | 15:26 | ERIKA |  | 213 | 198 | / | / | 0.238 | [5 empty] | 1 | Brigitta P |  | 3 | 2
2 | 200 | 10 | Valid | 2025-02-10 | 20:30 | 2025-02-10 | 15:26 | ERIKA |  | 213 | 198 | / | / | 0.238 | [5 empty] | 1 | Brigitta P |  | 3 | 2
2 | 200 | 11 | Valid | 2025-02-10 | 20:30 | 2025-02-10 | 15:26 | ERIKA |  | 206 | 195 | / | / | 0.230 | [5 empty] | 1 | Brigitta P |  | 3 | 2
3 | 800 | 12 | P/Prod | 2025-02-11 | 18:39 | 2025-02-11 | 10:58 | FLORICA | PRECI | 774 | 786 | / | / | 0.900 |  |  |  | 10.2 | 176 | 1 | Brigitta P |  | 3 | 3
3 | 800 | 13 | P/Prod | 2025-02-11 | 18:39 | 2025-02-11 | 10:58 | FLORICA | PRECI | 778 | 786 | / | / | 0.902 |  |  |  | 10.3 | 175 | 1 | Brigitta P |  | 3 | 3
3 | 800 | 14 | P/Prod | 2025-02-11 | 18:39 | 2025-02-11 | 10:58 | FLORICA | PRECI | 766 | 783 | / | / | 0.891 |  |  |  | 9.93 | 186 | 1 | Brigitta P |  | 3 | 3
2 | 200 | 15 | P/Prod | 2025-02-11 | 18:40 | 2025-02-11 | 10:58 | FLORICA | PRECI | 201 | 188 | / | / | 0.224 |  |  |  | 12.9 | 185 | 1 | Brigitta P |  | 3 | 3
2 | 200 | 16 | P/Prod | 2025-02-11 | 18:40 | 2025-02-11 | 10:58 | FLORICA | PRECI | 201 | 190 | / | / | 0.224 |  |  |  | 12.9 | 180 | 1 | Brigitta P |  | 3 | 3
2 | 200 | 17 | P/Prod | 2025-02-11 | 18:40 | 2025-02-11 | 10:58 | FLORICA | PRECI | 204 | 191 | / | / | 0.228 |  |  |  | 11.7 | 179 | 1 | Brigitta P |  | 3 | 3
1 | 0 | 18 | P/Prod | 2025-02-11 | 18:40 | 2025-02-11 | 10:58 | FLORICA | PRECI | 0 | 0 | / | / | 0.003 |  |  |  | 7.17 |  | 1 | Brigitta P |  | 3 | 3
1 | 0 | 19 | P/Prod | 2025-02-11 | 18:40 | 2025-02-11 | 10:58 | FLORICA | PRECI | 0 | 0 | / | / | 0.003 |  |  |  | 10.2 |  | 1 | Brigitta P |  | 3 | 3
1 | 0 | 20 | P/Prod | 2025-02-11 | 18:40 | 2025-02-11 | 10:58 | FLORICA | PRECI | 0 | 0 | / | / | 0.003 |  |  |  | 10.3 |  | 1 | Brigitta P |  | 3 | 3
1 | 0 | 21 | Old A | 2025-02-11 | 18:40 | 2025-02-11 | 10:58 | FLORICA | PRECI | 0 | 0 | / | / | 0.004 |  |  |  | 9.93 |  | 1 | Brigitta P |  | 3 | 3
2 | 200 | 22 | Old A | 2025-02-11 | 18:40 | 2025-02-11 | 10:58 | FLORICA | PRECI | 201 | 198 | / | / | 0.225 |  |  |  | 10.2 |  | 1 | Brigitta P |  | 3 | 3
3 | 800 | 23 | Old A | 2025-02-11 | 18:40 | 2025-02-11 | 10:58 | FLORICA | PRECI | 778 | 785 | / | / | 0.902 |  |  |  | 7.27 |  | 1 | Brigitta P |  | 3 | 3
2 | 200 | 24 | Old A | 2025-02-12 | 14:52 | 2025-02-12 | 10:58 | FLORICA | PRECI | 206 | 193 | / | / | 0.230 |  |  |  | 22.4 | 185 | 1 | Kinga |  | 3 | 2
2 | 200 | 25 | P/Prod | 2025-02-12 | 14:52 | 2025-02-12 | 10:58 | FLORICA | PRECI | 202 | 190 | / | / | 0.226 |  |  |  | 11.7 | 170 | 1 | Kinga |  | 3 | 2
2 | 200 | 26 | P/Prod | 2025-02-12 | 14:53 | 2025-02-12 | 10:58 | FLORICA | PRECI | 203 | 192 | / | / | 0.227 |  |  |  | 12.3 | 177 | 1 | Kinga |  | 3 | 2
3 | 800 | 27 | Old A | 2025-02-12 | 14:55 | 2025-02-12 | 10:58 | FLORICA | PRECI | 803 | 830 | / | / | 0.932 |  |  |  | 11.2 | 180 | 1 | Kinga |  | 3 | 3
3 | 800 | 28 | P/Prod | 2025-02-12 | 14:55 | 2025-02-12 | 10:58 | FLORICA | PRECI | 808 | 825 | / | / | 0.937 |  |  |  | 4.71 |  | 1 | Kinga |  | 3 | 3
3 | 800 | 29 | P/Prod | 2025-02-12 | 14:56 | 2025-02-12 | 10:58 | FLORICA | PRECI | 809 | 828 | / | / | 0.939 |  |  |  | 4.72 |  | 1 | Kinga |  | 3 | 3
3 | 800 | 30 | P/Prod | 2025-02-12 | 14:56 | 2025-02-12 | 10:58 | FLORICA | PRECI | 809 | 826 | / | / | 0.939 |  |  |  | 10.6 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 31 | P/Prod | 2025-02-12 | 14:57 | 2025-02-12 | 10:58 | FLORICA | PRECI | 0 | 0 | / | / | 0.006 |  |  |  | 14 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 32 | P/Prod | 2025-02-12 | 14:58 | 2025-02-12 | 10:58 | FLORICA | PRECI | 0 | 0 | / | / | 0.005 |  |  |  | 13.8 |  | 1 | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0 µg/L | 5 | 10 | 0 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 196 µg/L | 5 | 10 | 196 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 798 µg/L | 6 | 12 | 798 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
200 | 176 ÷ 224 | 196 | YES
800 | 734 ÷ 866 | 798 | YES
Validation Date | by