## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93740A-0
1030 | HI93740A-0 | CP-R52 | W 20/1 |  | Parameter Formula | Ni
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nickel LR Reagent A | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
200 | 185 | 215
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1030 | 2268 | 0552
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-05-01 | 2028-02-01 | 2029-04-01
Reagent Range Min | Reagent Range Max
0 µg/L | 1000 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-15 | 2025-05-19 | PRECI |  |  | 0925
[6 empty] | Expiration A | Expiration B | Expiration D
2030-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97740 | CTO-642
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CT0-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 10 |  | MR26 |  | 10 | & | 7% | 100% |  | 4.9 | 4.7 | 5.1
2 | 200 | 176 | 224
3 | 800 | 734 | 866 | [8 empty] | 5.3 | 5.1 | 5.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-05-13 | 14:36 | 2025-05-13 | 13:49 | ERIKA |  | 0 | 0 | / | / | -0.003 |  |  |  | 0.39 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 2 | Old A | 2025-05-13 | 14:36 | 2025-05-13 | 13:49 | ERIKA |  | 0 | 0 | / | / | -0.003 |  |  |  | 13.4 |  | 1 | Kinga |  | 3 | 1
2 | 200 | 3 | Old A | 2025-05-13 | 14:38 | 2025-05-13 | 13:49 | ERIKA |  | 180 | 176 | / | / | 0.201 |  |  |  | 12.5 |  | 1 | Kinga |  | 3 | 2 | 110528
2 | 200 | 4 | Old A | 2025-05-13 | 14:39 | 2025-05-13 | 13:49 | ERIKA |  | 179 | 175 | / | / | 0.199 |  |  |  | 12.2 |  | 1 | Kinga |  | 3 | 2 | 110528
3 | 800 | 5 | Valid | 2025-05-13 | 14:49 | 2025-05-13 | 13:49 | ERIKA |  | 736 | 741 | / | / | 0.857 |  |  |  | 6.21 |  | 1 | Kinga |  | 3 | 3 | 110528
3 | 800 | 6 | Valid | 2025-05-13 | 14:50 | 2025-05-13 | 13:49 | ERIKA |  | 742 | 747 | / | / | 0.864 |  |  |  | 6.48 |  | 1 | Kinga |  | 3 | 3 | 110528
3 | 800 | 7 | Valid | 2025-05-13 | 14:52 | 2025-05-13 | 13:49 | ERIKA |  | 734 | 750 | / | / | 0.855 |  |  |  | 6.47 |  | 1 | Kinga |  | 3 | 3 | 110528
3 | 800 | 8 | Valid | 2025-05-13 | 14:52 | 2025-05-13 | 13:49 | ERIKA |  | 746 | 745 | / | / | 0.868 |  |  |  | 6.44 |  | 1 | Kinga |  | 3 | 3 | 110528
2 | 200 | 9 | Valid | 2025-05-13 | 15:15 | 2025-05-13 | 13:49 | ERIKA |  | 185 | 161 | / | / | 0.206 |  |  |  | 6.44 |  | 1 | Kinga |  | 3 | 2 | 110528
2 | 200 | 10 | Valid | 2025-05-13 | 15:16 | 2025-05-13 | 13:49 | ERIKA |  | 188 | 172 | / | / | 0.210 |  |  |  | 12.0 |  | 1 | Kinga |  | 3 | 2 | 110528
2 | 200 | 11 | Valid | 2025-05-13 | 15:17 | 2025-05-13 | 13:49 | ERIKA |  | 147 | 137 | / | / | 0.163 |  |  |  | 13.3 |  | 1 | Kinga |  | 3 | 2 | 110528
2 | 200 | 12 | Valid | 2025-05-13 | 15:18 | 2025-05-13 | 13:49 | ERIKA |  | 176 | 176 | / | / |  |  |  |  | 12.1 |  | 1 | Kinga |  | 3 | 2 | 110528
2 | 200 | 13 | Old A | 2025-05-15 | 15:49 | 2025-05-15 | 13:03 | NINA |  | 181 | 176 | / | / | 0.202 |  |  |  | 12.6 |  | 1 | Kinga |  | 3 | 2 | 110528
2 | 200 | 14 | Old A | 2025-05-15 | 15:49 | 2025-05-15 | 13:03 | NINA |  | 180 | 179 | / | / | 0.201 |  |  |  | 13.0 |  | 1 | Kinga |  | 3 | 2 | 110528
3 | 800 | 15 | Old A | 2025-05-15 | 15:50 | 2025-05-15 | 13:03 | NINA |  | 700 | 712 | / | / | 0.816 |  |  |  | 11.5 | 156 | 1 | Kinga |  | 3 | 3 | 110528
3 | 800 | 16 | Old A | 2025-05-15 | 15:51 | 2025-05-15 | 13:03 | NINA |  | 700 | 711 | / | / | 0.816 |  |  |  | 11.5 | 161 | 1 | Kinga |  | 3 | 3 | 110528
2 | 200 | 17 | P/FINAL | 2025-05-15 | 15:51 | 2025-05-15 | 13:03 | NINA |  | 183 | 179 | / | / | 0.204 |  |  |  | 12.8 | 170 | 1 | Kinga |  | 3 | 2 | 110528
2 | 200 | 18 | P/FINAL | 2025-05-15 | 15:52 | 2025-05-15 | 13:03 | NINA |  | 186 | 181 | / | / | 0.201 |  |  |  | 13.0 | 169 | 1 | Kinga |  | 3 | 2 | 110528
3 | 800 | 19 | P/FINAL | 2025-05-15 | 15:52 | 2025-05-15 | 13:03 | NINA |  | 736 | 738 | / | / | 0.878 |  |  |  | 12.5 | 164 | 1 | Kinga |  | 3 | 3 | 110528
3 | 800 | 20 | P/FINAL | 2025-05-15 | 15:53 | 2025-05-15 | 13:03 | NINA |  | 714 | 718 | / | / | 0.817 |  |  |  | 11.5 | 154 | 1 | Kinga |  | 3 | 3 | 110528
2 | 200 | 21 | P/FINAL | 2025-05-16 | 07:52 | 2025-05-16 | 06:24 | NINA | PRECI | 179 | 175 | / | / | 0.199 |  |  |  | 9.28 | 161 | 1 | Brigitta P |  | 3 | 2
2 | 200 | 22 | P/FINAL | 2025-05-16 | 7:50 | 2025-05-16 | 06:24 | NINA | PRECI | 180 | 179 | / | / | 0.201 |  |  |  |  | 161 | 1 | Brigitta P |  | 3 | 2
3 | 800 | 23 | P/FINAL | 2025-05-16 | 7:55 | 2025-05-16 | 06:24 | NINA | PRECI | 742 | 736 | / | / | 0.864 |  |  |  |  | 164 | 1 | Brigitta P |  | 3 | 2
3 | 800 | 24 | P/FINAL | 2025-05-16 | 7:55 | 2025-05-16 | 06:24 | NINA | PRECI | 735 | 736 | / | / | 0.856 |  |  |  |  | 166 | 1 | Brigitta P |  | 3 | 2
1 | 0 | 25 | P/FINAL | 2025-05-19 | 07:45 | 2025-05-19 | 06:47 | FLORICA | PRECI | 0 | 0 | / | / | 0.003 |  |  |  | 7.17 | 180 | 1 | Brigitta P |  | 3 | 1
2 | 200 | 26 | P/FINAL | 2025-05-19 | 07:45 | 2025-05-19 | 06:47 | FLORICA | PRECI | 180 | 180 | / | / | 0.201 |  |  |  | 9.97 | 185 | 1 | Brigitta P |  | 3 | 2
2 | 200 | 27 | P/FINAL | 2025-05-19 | 07:46 | 2025-05-19 | 06:47 | FLORICA | PRECI | 185 | 180 | / | / | 0.202 |  |  |  | 10.84 | 177 | 1 | Brigitta P |  | 3 | 2
3 | 800 | 28 | P/FINAL | 2025-05-19 | 07:46 | 2025-05-19 | 06:47 | FLORICA | PRECI | 798 | 798 | / | / | 0.926 |  |  |  | 3.84 | 182 | 1 | Brigitta P |  | 3 | 3
3 | 800 | 29 | P/FINAL | 2025-05-19 | 07:46 | 2025-05-19 | 06:47 | FLORICA | PRECI | 734 | 733 | / | / | 0.855 |  |  |  | 10.8 | 172 | 1 | Brigitta P |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0 µg/L | 1 | 2 | 0 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 181 µg/L | 6 | 12 | 181 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 743 µg/L | 6 | 12 | 743 µg/L
Specifications
Standard Value [ppb] | Target Value [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
200 | 176 ÷ 224 | 181 | YES
800 | 734 ÷ 866 | 743 | YES
Validation Date | by