## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93740A-0
1216 | HI93740A-0 | CP-R52 | W 43/1 |  | Parameter Formula | Ni
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nickel LR Reagent A | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
200 | 185 | 215
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1216 | 2603 | 0100
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-10-01 | 2028-06-01 | 2028-04-01
Reagent Range Min | Reagent Range Max
0 µg/L | 1000 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-24 | 2025-10-31 | 1 HEAD |  |  | 0625
[6 empty] | Expiration A | Expiration B | Expiration D
2029-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97740 | CTO-642
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 200 | 176 | 224 |  | MR26 |  | 10 | & | 7% | 100% |  | 4.9 | 4.7 | 5.1
3 | 800 | 734 | 866
1 | 0 | 0 | 10 | [8 empty] | 5.3 | 5.1 | 5.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97740 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 200 | 1 | Old A | 2025-10-24 | 15:08 | 2025-10-24 | 12:50 | ERIKA |  | 176 | 179 | / | / | 0.199 |  |  |  | 7.77 |  | 1 | Kinga |  | 3 | 2
2 | 200 | 2 | Old A | 2025-10-24 | 15:09 | 2025-10-24 | 12:50 | ERIKA |  | 176 | 182 | / | / | 0.203 |  |  |  | 7.41 |  | 1 | Kinga |  | 3 | 2
2 | 200 | 3 | Valid | 2025-10-24 | 15:10 | 2025-10-24 | 12:50 | ERIKA |  | 182 | 192 | / | / | 0.203 |  |  |  | 7.98 |  | 1 | Kinga |  | 3 | 2
2 | 200 | 4 | Valid | 2025-10-24 | 15:10 | 2025-10-24 | 12:50 | ERIKA |  | 189 | 196 | / | / | 0.209 |  |  | 5.123 | 7.74 |  | 1 | Kinga |  | 3 | 2
3 | 800 | 5 | Old A | 2025-10-24 | 15:13 | 2025-10-24 | 12:50 | ERIKA |  | 743 | 749 | / | / | 0.876 |  |  |  | 8.04 |  | 1 | Kinga |  | 3 | 3
3 | 800 | 6 | Valid | 2025-10-24 | 15:15 | 2025-10-24 | 12:50 | ERIKA |  | 741 | 737 | / | / | 0.868 |  |  |  | 10.4 |  | 1 | Kinga |  | 3 | 3
3 | 800 | 7 | Valid | 2025-10-24 | 15:16 | 2025-10-24 | 12:50 | ERIKA |  | 739 | 743 | / | / | 0.868 |  |  | 5.160 | 8.40 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 8 | Old A | 2025-10-24 | 15:19 | 2025-10-24 | 12:50 | ERIKA |  | 0 | 0 | / | / | 0.001 |  |  | 5.123 | 10.8 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 9 | Valid | 2025-10-24 | 15:20 | 2025-10-24 | 12:50 | ERIKA |  | 0 | 0 | / | / | -0.002 |  |  |  | 10.4 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 10 | Valid | 2025-10-24 | 15:20 | 2025-10-24 | 12:50 | ERIKA |  | 0 | 0 | / | / | -0.001 |  |  | 5.161 | 9.87 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 11 | Old A | 2025-10-31 | 11:20 | 2025-10-30 | 15:24 | FLORICA |  | 0 | 0 | / | / | 0.003 |  |  |  | 75.1 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 12 | Old A | 2025-10-31 | 11:22 | 2025-10-30 | 15:24 | FLORICA |  | 0 | 0 | / | / | -0.007 |  |  |  | 65.0 | 185 | 1 | Kinga |  | 3 | 1
1 | 0 | 13 | P/FINAL | 2025-10-31 | 11:42 | 2025-10-30 | 15:24 | FLORICA |  | 0 | 0 | / | / | -0.001 |  |  |  | 12.4 | 179 | 1 | Kinga |  | 3 | 1
1 | 0 | 14 | P/FINAL | 2025-10-31 | 11:42 | 2025-10-30 | 15:24 | FLORICA |  | 0 | 0 | / | / | -0.001 |  |  |  | 12.1 | 183 | 1 | Kinga |  | 3 | 1
2 | 200 | 15 | P/FINAL | 2025-10-31 | 11:49 | 2025-10-30 | 15:24 | FLORICA |  | 178 | 177 | / | / | 0.190 |  |  |  | 9.56 | 184 | 1 | Kinga |  | 3 | 2
2 | 200 | 16 | P/FINAL | 2025-10-31 | 11:50 | 2025-10-30 | 15:24 | FLORICA |  | 179 | 179 | / | / | 0.197 |  |  |  | 10.0 |  | 1 | Kinga |  | 3 | 2
3 | 800 | 17 | P/FINAL | 2025-10-31 | 11:54 | 2025-10-30 | 15:24 | FLORICA |  | 746 | 759 | / | / | 0.871 |  |  |  | 8.93 |  | 1 | Kinga |  | 3 | 3
3 | 800 | 18 | P/FINAL | 2025-10-31 | 11:56 | 2025-10-30 | 15:24 | FLORICA |  | 751 | 765 | / | / | 0.881 |  |  |  | 8.98 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 19 | P/FINAL | 2025-10-31 | 12:19 | 2025-10-31 | 06:28 | GABRIELLA |  | 0 | 0 | / | / | -0.030 |  |  | 5.172 | 5.63 | 201 | 1 | Kinga |  | 3 | 1
1 | 0 | 20 | P/FINAL | 2025-10-31 | 12:20 | 2025-10-31 | 06:28 | GABRIELLA |  | 0 | 0 | / | / | -0.001 |  |  |  | 5.73 | 181 | 1 | Kinga |  | 3 | 1
2 | 200 | 21 | P/FINAL | 2025-10-31 | 12:22 | 2025-10-31 | 06:28 | GABRIELLA |  | 196 | 200 | / | / | 0.219 |  |  |  | 6.72 | 191 | 1 | Kinga |  | 3 | 2
2 | 200 | 22 | P/FINAL | 2025-10-31 | 12:23 | 2025-10-31 | 06:28 | GABRIELLA |  | 198 | 203 | / | / | 0.216 |  |  | 5.138 | 6.72 | 220 | 1 | Kinga |  | 3 | 2
3 | 800 | 23 | P/FINAL | 2025-10-31 | 12:25 | 2025-10-31 | 06:28 | GABRIELLA |  | 760 | 810 | / | / | 0.840 |  |  |  | 5.99 |  | 1 | Kinga |  | 3 | 3
3 | 800 | 24 | P/FINAL | 2025-10-31 | 12:26 | 2025-10-31 | 06:28 | GABRIELLA |  | 776 | 780 | / | / | 0.857 |  |  |  | 5.88 |  | 1 | Kinga |  | 3 | 3
3 | 800 | 25 | P/FINAL | 2025-10-31 | 12:27 | 2025-10-31 | 06:28 | GABRIELLA |  | 784 | 798 | / | / | 0.876 |  |  |  | 6.12 |  | 1 | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 189 µg/L | 4 | 8 | 189 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 773 µg/L | 5 | 10 | 773 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 µg/L | 4 | 8 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
200 | 176 ÷ 224 | 189 | YES
800 | 734 ÷ 866 | 773 | YES
Validation Date | by