## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI746-0 | HI93746-0
1217 | HI746-0 | CP-R54 | W 44/1 |  | Parameter Formula | Fe | Fe
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron LR Reagent | 2028-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
260 | 250 | 270
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 999 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-28 | 2025-10-28 | 1 HEAD |  |  | 1077
[6 empty] | Expiration A | Expiration B | Expiration D
2028-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97746 | CTO-655
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 20 |  | MR33 |  | 20 | & | 5% | 100% |  | 2.9 | 2.7 | 3.1
2 | 200 | 170 | 230
3 | 800 | 740 | 860
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97746 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-10-29 | 09:40 | 2025-10-28 | 14:32 | MARA | 1 | 0 | 0 | / | / | -0.001 |  |  |  | 1.59 |  |  | Kinga |  | 3 | 1
1 | 0 | 2 | Old A | 2025-10-29 | 09:42 | 2025-10-28 | 14:32 | MARA | 1 | 0 | 1 | / | / |  |  |  |  | 3.45 |  |  | Kinga |  | 3 | 1
2 | 200 | 3 | Old A | 2025-10-29 | 10:31 | 2025-10-28 | 14:32 | MARA | 1 | 180 | 200 | / | / | 0.119 |  |  |  | 1.13 |  |  | Andrea V |  | 3 | 2
2 | 200 | 4 | Old A | 2025-10-29 | 10:35 | 2025-10-28 | 14:32 | MARA | 1 | 186 | 200 | / | / | 0.127 |  |  |  | 1.74 |  |  | Andrea V |  | 3 | 2
3 | 800 | 5 | Old A | 2025-10-29 | 11:19 | 2025-10-28 | 14:32 | MARA | 1 | 794 | 770 | / | / | 0.534 |  |  |  | 0.96 |  |  | Andrea V |  | 3 | 3
3 | 800 | 6 | Old A | 2025-10-29 | 11:28 | 2025-10-28 | 14:32 | MARA | 1 | 804 | 790 | / | / | 0.541 |  |  |  | 1.08 | 255 |  | Andrea V |  | 3 | 3
1 | 0 | 7 | P/FINAL | 2025-10-29 | 11:41 | 2025-10-28 | 14:32 | MARA | 1 | 3 | 2 | / | / | 0.006 |  |  |  | 1.45 | 252 |  | Andrea V |  | 3 | 1 | 100332
1 | 0 | 8 | P/FINAL | 2025-10-29 | 11:42 | 2025-10-28 | 14:32 | MARA | 1 | 0 | 1 | / | / | -0.002 | 2.706 |  |  | 1.11 |  |  | Andrea V |  | 3 | 1 | 100332
2 | 200 | 9 | P/FINAL | 2025-10-29 | 11:45 | 2025-10-28 | 14:32 | MARA | 1 | 206 | 200 | / | / | 0.140 |  |  |  | 0.67 | 251 |  | Andrea V |  | 3 | 2 | 100332
2 | 200 | 10 | P/FINAL | 2025-10-29 | 11:45 | 2025-10-28 | 14:32 | MARA | 1 | 198 | 200 | / | / | 0.135 | 2.722 |  |  | 1.02 | 257 |  | Andrea V |  | 3 | 2 | 100332
2 | 200 | 11 | P/FINAL | 2025-10-29 | 11:46 | 2025-10-28 | 14:32 | MARA | 1 | 203 | 210 | / | / | 0.138 |  |  |  | 1.54 |  |  | Andrea V |  | 3 | 2 | 100332
3 | 800 | 12 | P/FINAL | 2025-10-29 | 11:48 | 2025-10-28 | 14:32 | MARA | 1 | 821 | 790 | / | / | 0.552 |  |  |  | 0.67 | 244 |  | Andrea V |  | 3 | 3 | 100332
3 | 800 | 13 | P/FINAL | 2025-10-29 | 11:49 | 2025-10-28 | 14:32 | MARA | 1 | 804 | 790 | / | / | 0.541 |  |  |  | 0.55 | 238 |  | Andrea V |  | 3 | 3 | 100332
3 | 800 | 14 | P/FINAL | 2025-10-29 | 11:50 | 2025-10-28 | 14:32 | MARA | 1 | 809 | 790 | / | / | 0.544 | 2.723 |  |  | 0.44 |  |  | Andrea V |  | 3 | 3 | 100332
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 2 µg/L | 2 | 4 | 2 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 203 µg/L | 3 | 6 | 203 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 801 µg/L | 3 | 6 | 801 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 20 | 2 | YES
200 | 170 ÷ 230 | 203 | YES
800 | 740 ÷ 860 | 801 | YES
Validation Date | by