## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI746-0 | HI93746-0
1193 | HI93746-0 | CP-R54 | W 40/1 |  | Parameter Formula | Fe | Fe
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron LR Reagent | 2028-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
260 | 250 | 270
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 1.600 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-01 | 2025-10-03 | 1 HEAD |  |  | 0899
[6 empty] | Expiration A | Expiration B | Expiration D
2028-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-830 | HI97746 | CTO-655
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.000 | 0.000 | 0.010 |  | MR33 |  | 0.010 | & | 7% | 100% |  | 2.9 | 2.7 | 3.1
2 | 0.320 | 0.288 | 0.352
3 | 1.280 | 1.180 | 1.380
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97746 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.000 | 1 | Old A | 2025-10-01 | 10:38 | 2025-10-01 | 09:44 | ERIKA |  | 0.003 | 0.003 | / | / | 0.006 |  |  |  | 5.11 |  |  | Kinga |  | 3 | 1 | 123316
1 | 0.000 | 2 | Old A | 2025-10-01 | 10:39 | 2025-10-01 | 09:44 | ERIKA |  | 0.000 | 0.000 | / | / | -0.001 |  |  |  | 5.70 |  |  | Kinga |  | 3 | 1 | 123316
1 | 0.000 | 3 | Valid | 2025-10-01 | 10:40 | 2025-10-01 | 09:44 | ERIKA |  | 0.000 | 0.001 | / | / | -0.001 |  |  |  | 5.76 |  |  | Kinga |  | 3 | 1 | 123316
1 | 0.000 | 4 | Valid | 2025-10-01 | 10:40 | 2025-10-01 | 09:44 | ERIKA |  | 0.000 | 0.000 | / | / | -0.002 |  |  |  | 5.73 |  |  | Kinga |  | 3 | 1 | 123316
2 | 0.320 | 5 | Old A | 2025-10-01 | 11:15 | 2025-10-01 | 09:44 | ERIKA |  | 0.315 | 0.320 | / | / | 0.213 |  |  |  | 1.47 |  |  | Kinga |  | 3 | 2 | 123316
2 | 0.320 | 6 | Old A | 2025-10-01 | 11:15 | 2025-10-01 | 09:44 | ERIKA |  | 0.306 | 0.290 | / | / | 0.207 | 2.678 |  |  | 1.04 |  |  | Kinga |  | 3 | 2 | 123316
3 | 1.280 | 7 | Old A | 2025-10-01 | 11:24 | 2025-10-01 | 09:44 | ERIKA |  | 1.263 | 1.220 | / | / | 0.845 |  |  |  | 1.37 |  |  | Kinga |  | 3 | 3 | 123316
3 | 1.280 | 8 | Old A | 2025-10-01 | 11:25 | 2025-10-01 | 09:44 | ERIKA |  | 1.191 | 1.190 | / | / | 0.869 |  |  |  | 1.14 |  |  | Kinga |  | 3 | 3 | 123316
3 | 1.280 | 9 | Valid | 2025-10-01 | 11:30 | 2025-10-01 | 09:44 | ERIKA |  | 1.313 | 1.270 | / | / | 0.878 |  |  |  | 2.26 |  |  | Kinga |  | 3 | 3 | 123316
3 | 1.280 | 10 | Valid | 2025-10-01 | 11:31 | 2025-10-01 | 09:44 | ERIKA |  | 1.290 | 1.240 | / | / | 0.863 | 2.653 |  |  | 2.91 |  |  | Kinga |  | 3 | 3 | 123316
3 | 1.280 | 11 | Valid | 2025-10-01 | 11:33 | 2025-10-01 | 09:44 | ERIKA |  | 1.361 | 1.300 | / | / | 0.909 |  |  |  | 1.07 |  |  | Kinga |  | 3 | 3 | 123316
2 | 0.320 | 12 | Valid | 2025-10-01 | 11:38 | 2025-10-01 | 09:44 | ERIKA |  | 0.320 | 0.310 | / | / | 0.216 |  |  |  | 1.22 |  |  | Kinga |  | 3 | 2 | 123316
2 | 0.320 | 13 | Valid | 2025-10-01 | 11:39 | 2025-10-01 | 09:44 | ERIKA |  | 0.312 | 0.300 | / | / | 0.211 |  |  |  | 1.13 |  |  | Kinga |  | 3 | 2 | 123316
2 | 0.320 | 14 | Valid | 2025-10-01 | 11:41 | 2025-10-01 | 09:44 | ERIKA |  | 0.344 | 0.330 | / | / | 0.232 | 2.687 |  |  | 0.77 |  |  | Kinga |  | 3 | 2 | 123316
1 | 0.000 | 15 | P/FINAL | 2025-10-02 | 14:28 | 2025-10-02 | 09:56 | TAMARA |  | 0.000 | 0.000 | / | / | 0.004 |  |  |  | 0.62 |  |  | Brigitta P |  | 3 | 1
1 | 0.000 | 16 | P/FINAL | 2025-10-02 | 14:28 | 2025-10-02 | 09:56 | TAMARA |  | 0.000 | 0.000 | / | / | -0.002 | 2.647 |  |  | 0.59 | 262 |  | Brigitta P |  | 3 | 1
2 | 0.320 | 17 | P/FINAL | 2025-10-02 | 14:30 | 2025-10-02 | 09:56 | TAMARA |  | 0.275 | 0.270 | / | / | 0.186 |  |  |  | 1.44 | 263 |  | Brigitta P |  | 3 | 2
2 | 0.320 | 18 | P/FINAL | 2025-10-02 | 14:32 | 2025-10-02 | 09:56 | TAMARA |  | 0.309 | 0.300 | / | / | 0.209 |  |  |  | 1.35 |  |  | Brigitta P |  | 3 | 2
2 | 0.320 | 19 | P/FINAL | 2025-10-02 | 14:32 | 2025-10-02 | 09:56 | TAMARA |  | 0.228 | 0.220 | / | / | 0.155 |  |  |  | 0.91 |  |  | Brigitta P |  | 3 | 2
3 | 1.280 | 20 | P/FINAL | 2025-10-02 | 14:37 | 2025-10-02 | 09:56 | TAMARA |  | 1.318 | 1.270 | / | / | 0.881 | 2.642 |  |  | 0.52 | 257 |  | Brigitta P |  | 3 | 3
3 | 1.280 | 21 | P/FINAL | 2025-10-02 | 14:40 | 2025-10-02 | 09:56 | TAMARA |  | 1.189 | 1.140 | / | / | 0.797 |  |  |  | 0.37 | 243 |  | Brigitta P |  | 3 | 3
3 | 1.280 | 22 | P/FINAL | 2025-10-02 | 14:44 | 2025-10-02 | 09:56 | TAMARA |  | 1.286 | 1.240 | / | / | 0.860 |  |  |  | 0.39 | 267 |  | Brigitta P |  | 3 | 3
2 | 0.320 | 23 | P/FINAL | 2025-10-02 | 15:13 | 2025-10-02 | 09:56 | TAMARA |  | 0.305 | 0.290 | / | / | 0.206 | 2.632 |  |  | 0.86 | 236 |  | Brigitta P |  | 3 | 2
2 | 0.320 | 24 | P/FINAL | 2025-10-02 | 15:17 | 2025-10-02 | 09:56 | TAMARA |  | 0.303 | 0.290 | / | / | 0.205 |  |  |  | 0.98 |  |  | Brigitta P |  | 3 | 2
2 | 0.320 | 25 | P/FINAL | 2025-10-02 | 15:30 | 2025-10-02 | 14:17 | MARA |  | 0.302 | 0.290 | / | / | 0.204 |  |  |  | 0.52 |  |  | Andrea V |  | 3 | 2
2 | 0.320 | 26 | P/FINAL | 2025-10-02 | 15:31 | 2025-10-02 | 14:17 | MARA |  | 0.299 | 0.290 | / | / | 0.202 |  |  |  | 0.60 | 266 |  | Andrea V |  | 3 | 2
2 | 0.320 | 27 | P/FINAL | 2025-10-02 | 15:33 | 2025-10-02 | 14:17 | MARA |  | 0.305 | 0.290 | / | / | 0.206 | 2.663 |  |  | 0.91 | 270 |  | Andrea V |  | 3 | 2
3 | 1.280 | 28 | P/FINAL | 2025-10-02 | 15:35 | 2025-10-02 | 14:17 | MARA |  | 1.322 | 1.280 | / | / | 0.884 |  |  |  | 0.79 | 268 |  | Andrea V |  | 3 | 3
3 | 1.280 | 29 | P/FINAL | 2025-10-02 | 15:36 | 2025-10-02 | 14:17 | MARA |  | 1.293 | 1.250 | / | / | 0.865 | 2.684 |  |  | 0.85 | 274 |  | Andrea V |  | 3 | 3
3 | 1.280 | 30 | P/FINAL | 2025-10-02 | 15:37 | 2025-10-02 | 14:17 | MARA |  | 1.292 | 1.240 | / | / | 0.864 |  |  |  | 0.87 | 266 |  | Andrea V |  | 3 | 3
1 | 0.000 | 31 | P/FINAL | 2025-10-02 | 15:42 | 2025-10-02 | 14:17 | MARA |  | 0.009 | 0.002 | / | / | 0.010 |  |  |  | 0.50 | 267 |  | Andrea V |  | 3 | 1
1 | 0.000 | 32 | P/FINAL | 2025-10-02 | 15:42 | 2025-10-02 | 14:17 | MARA |  | 0.000 | 0.001 | / | / | 0.004 | 2.735 |  |  | 0.39 |  |  | Andrea V |  | 3 | 1
1 | 0.000 | 33 | Old A | 2025-10-02 | 16:27 | 2025-10-02 | 14:17 | MARA |  | 0.000 | 0.001 | / | / | -0.001 |  |  |  | 1.38 |  |  | Andrea V |  | 3 | 1
1 | 0.000 | 34 | Old A | 2025-10-02 | 16:28 | 2025-10-02 | 14:17 | MARA |  | 0.000 | 0.000 | / | / | -0.006 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 1
2 | 0.320 | 35 | Old A | 2025-10-02 | 16:30 | 2025-10-02 | 14:17 | MARA |  | 0.288 | 0.290 | / | / | 0.193 |  |  |  | 0.71 |  |  | Andrea V |  | 3 | 2
2 | 0.320 | 36 | Old A | 2025-10-02 | 16:31 | 2025-10-02 | 14:17 | MARA |  | 0.294 | 0.290 | / | / | 0.232 |  |  |  | 0.59 |  |  | Andrea V |  | 3 | 2
3 | 1.280 | 37 | Old A | 2025-10-02 | 16:36 | 2025-10-02 | 14:17 | MARA |  | 1.196 | 1.190 | / | / | 0.679 |  |  |  | 0.57 |  |  | Andrea V |  | 3 | 3
3 | 1.280 | 38 | Old A | 2025-10-02 | 16:36 | 2025-10-02 | 14:17 | MARA |  | 1.189 | 1.185 | / | / | 0.831 |  |  |  | 0.47 |  |  | Andrea V |  | 3 | 3
1 | 0.000 | 39 | P/FINAL | 2025-10-03 | 10:00 | 2025-10-03 | 08:35 | TAMARA |  | 0.000 | 0.004 | / | / | -0.010 |  |  |  | 1.27 |  |  | Andrea V |  | 3 | 1 | 105056
1 | 0.000 | 40 | P/FINAL | 2025-10-03 | 10:01 | 2025-10-03 | 08:35 | TAMARA |  | 0.000 | 0.001 | / | / | 0.001 | 2.659 |  |  | 1.02 |  |  | Andrea V |  | 3 | 1 | 105056
3 | 1.280 | 41 | P/FINAL | 2025-10-03 | 10:23 | 2025-10-03 | 08:35 | TAMARA |  | 1.299 | 1.250 | / | / | 0.869 |  |  |  | 0.85 | 271 |  | Andrea V |  | 3 | 3 | 105056
3 | 1.280 | 42 | P/FINAL | 2025-10-03 | 10:36 | 2025-10-03 | 08:35 | TAMARA |  | 1.273 | 1.220 | / | / | 0.852 |  |  |  | 0.90 | 259 |  | Andrea V |  | 3 | 3 | 105056
3 | 1.280 | 43 | P/FINAL | 2025-10-03 | 10:37 | 2025-10-03 | 08:35 | TAMARA |  | 1.241 | 1.200 | / | / | 0.831 | 2.708 |  |  | 1.05 | 258 |  | Andrea V |  | 3 | 3 | 105056
2 | 0.320 | 44 | P/FINAL | 2025-10-03 | 12:00 | 2025-10-03 | 08:35 | TAMARA |  | 0.323 | 0.330 | / | / | 0.218 |  |  |  | 0.70 | 260 |  | Andrea V |  | 3 | 2 | 105056
2 | 0.320 | 45 | P/FINAL | 2025-10-03 | 12:01 | 2025-10-03 | 08:35 | TAMARA |  | 0.314 | 0.300 | / | / | 0.212 | 2.618 |  |  | 1.21 | 266 |  | Andrea V |  | 3 | 2 | 105056
2 | 0.320 | 46 | P/FINAL | 2025-10-03 | 12:01 | 2025-10-03 | 08:35 | TAMARA |  | 0.300 | 0.300 | / | / | 0.203 |  |  |  | 0.78 | 251 |  | Andrea V |  | 3 | 2 | 105056
1 | 0.000 | 47 | Old A | 2025-10-03 | 12:20 | 2025-10-03 | 08:35 | TAMARA |  | 0.000 | 0.010 | / | / | -0.002 |  |  |  | 1.76 |  |  | Andrea V |  | 3 | 1 | 105056
2 | 0.320 | 48 | Old A | 2025-10-03 | 12:21 | 2025-10-03 | 08:35 | TAMARA |  | 0.318 | 0.300 | / | / | 0.215 |  |  |  | 1.04 |  |  | Andrea V |  | 3 | 2 | 105056 | CULOARE MAI DESCHISA LA PRAF
2 | 0.320 | 49 | Old A | 2025-10-03 | 13:47 | 2025-10-03 | 08:35 | TAMARA |  | 0.302 | 0.290 | / | / | 0.204 |  |  |  | 1.19 |  |  | Andrea V |  | 3 | 2
3 | 1.280 | 50 | Old A | 2025-10-03 | 13:47 | 2025-10-03 | 08:35 | TAMARA |  | 1.220 | 1.160 | / | / | 0.817 |  |  |  | 1.23 |  |  | Andrea V |  | 3 | 2
3 | 1.280 | 51 | Old A | 2025-10-03 | 13:57 | 2025-10-03 | 08:35 | TAMARA |  | 1.180 | 1.140 | / | / | 0.791 |  |  |  | 1.52 |  |  | Andrea V |  | 3 | 3
1 | 0.000 | 52 | P/FINAL | 2025-10-06 | 11:41 | 2025-10-03 | 14:19 | MARA | 1 | 0.000 | 0.000 | / | / | -0.004 |  |  |  | 0.65 |  |  | Andrea V |  | 3 | 1 | 112303
1 | 0.000 | 53 | P/FINAL | 2025-10-06 | 11:43 | 2025-10-03 | 14:19 | MARA | 1 | 0.000 | 0.000 | / | / | -0.002 | 2.651 |  |  | 1.49 |  |  | Andrea V |  | 3 | 1 | 112303
2 | 0.320 | 54 | P/FINAL | 2025-10-06 | 11:46 | 2025-10-03 | 14:19 | MARA | 1 | 0.315 | 0.290 | / | / | 0.213 |  |  |  | 1.05 | 265 |  | Andrea V |  | 3 | 2 | 112303
2 | 0.320 | 55 | P/FINAL | 2025-10-06 | 11:47 | 2025-10-03 | 14:19 | MARA | 1 | 0.312 | 0.300 | / | / | 0.211 |  |  |  | 1.01 | 264 |  | Andrea V |  | 3 | 2 | 112303
2 | 0.320 | 56 | P/FINAL | 2025-10-06 | 11:49 | 2025-10-03 | 14:19 | MARA | 1 | 0.311 | 0.290 | / | / | 0.210 | 2.653 |  |  | 0.67 | 266 |  | Andrea V |  | 3 | 2 | 112303
3 | 1.280 | 57 | P/FINAL | 2025-10-06 | 11:52 | 2025-10-03 | 14:19 | MARA | 1 | 1.338 | 1.290 | / | / | 0.894 | 2.678 |  |  | 0.70 | 259 |  | Andrea V |  | 3 | 3 | 112303
3 | 1.280 | 58 | P/FINAL | 2025-10-06 | 11:52 | 2025-10-03 | 14:19 | MARA | 1 | 1.226 | 1.170 | / | / | 0.821 |  |  |  | 0.63 | 265 |  | Andrea V |  | 3 | 3 | 112303
3 | 1.280 | 59 | P/FINAL | 2025-10-06 | 11:53 | 2025-10-03 | 14:19 | MARA | 1 | 1.197 | 1.140 | / | / | 0.802 |  |  |  | 0.70 | 258 |  | Andrea V |  | 3 | 3 | 112303
1 | 0.000 | 60 | Old A | 2025-10-06 | 12:02 | 2025-10-03 | 14:19 | MARA | 1 | 0.000 | 0.010 | / | / | 0.004 |  |  |  | 4.51 |  |  | Andrea V |  | 3 | 1 | 112303
1 | 0.000 | 61 | Old A | 2025-10-06 | 12:02 | 2025-10-03 | 14:19 | MARA | 1 | 0.000 | 0.010 | / | / | -0.003 |  |  |  | 3.89 |  |  | Andrea V |  | 3 | 1 | 112303
2 | 0.320 | 62 | Old A | 2025-10-06 | 12:05 | 2025-10-03 | 14:19 | MARA | 1 | 0.327 | 0.310 | / | / | 0.221 |  |  |  | 3.86 |  |  | Andrea V |  | 3 | 2 | 112303
2 | 0.320 | 63 | Old A | 2025-10-06 | 12:06 | 2025-10-03 | 14:19 | MARA | 1 | 0.323 | 0.300 | / | / | 0.218 |  |  |  | 3.70 |  |  | Andrea V |  | 3 | 2 | 112303
3 | 1.280 | 64 | Old A | 2025-10-06 | 12:09 | 2025-10-03 | 14:19 | MARA | 1 | 1.341 | 1.290 | / | / | 0.896 |  |  |  | 2.98 |  |  | Andrea V |  | 3 | 3 | 112303
3 | 1.280 | 65 | Old A | 2025-10-06 | 12:09 | 2025-10-03 | 14:19 | MARA | 1 | 1.318 | 1.280 | / | / | 0.881 |  |  |  | 3.31 |  |  | Andrea V |  | 3 | 3 | 112303
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.001 mg/L | 8 | 16 | 0.001 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
14 | 28 | 0.295 mg/L | 14 | 28 | 0.295 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 1.249 mg/L | 12 | 24 | 1.249 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.010 | 0.001 | YES
0.320 | 0.288 ÷ 0.352 | 0.295 | YES
1.280 | 1.180 ÷ 1.380 | 1.249 | YES
Validation Date | by