## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93750B-0
0614/N | HI93750B-0 | CP-R55 | 24/1 |  | Parameter Formula | K
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Potassium Reagent B | 2029-06-01 | L57 Powder |  |  | Laboratory | TAB 3 | Production
Ref Weight. | Min (mg) | Max (mg)
110 | 100 | 120
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1026 | 0614
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2025-10-01 | 2029-06-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 200.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-06-13 | 2024-09-04 | PRECI |  |  |  | 0514
[6 empty] | Expiration A | Expiration B | Expiration D
2029-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-833 | HI97750 | CTO-652
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-224 | H98703 | CTO-725
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 3.0 |  | MR107 |  | 3.0 | & | 7% | 100% |  | 4.0 | 3.8 | 4.2
2 | 4.0 | 0.7 | 7.3 | [8 empty] | 6.2 | 5.9 | 6.5
3 | 16.0 | 11.9 | 20.1
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97750 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | P/Final | 2024-09-06 | 12:20 | 2024-09-04 | 14:34 | FLORICA |  | 0.0 | 0.6 | / | / | 0.125 |  | 10.779 |  | 19.2 |  | 1 | VIOLETA |  | 3 | 1
1 | 0.0 | 2 | P/Final | 2024-09-06 | 12:21 | 2024-09-04 | 14:34 | FLORICA |  | 0.0 | 0.6 | / | / | 0.125 |  | 10.762 |  | 19.1 |  | 1 | VIOLETA |  | 3 | 1
2 | 4.0 | 3 | P/Final | 2024-09-06 | 12:33 | 2024-09-04 | 14:34 | FLORICA |  | 4.5 | 3.6 | / | / | 0.853 |  | 10.644 |  | 17.6 |  | 1 | VIOLETA |  | 3 | 2 | 62559
2 | 4.0 | 4 | P/Final | 2024-09-06 | 12:36 | 2024-09-04 | 14:34 | FLORICA |  | 5.0 | 3.8 | / | / | 0.853 |  | 10.631 |  | 216 |  | 1 | VIOLETA |  | 3 | 2 | 62559
2 | 4.0 | 5 | P/Final | 2024-09-06 | 12:37 | 2024-09-04 | 14:34 | FLORICA |  | 4.5 | 3.8 | / | / | 0.753 |  | 10.631 |  | 182 |  | 1 | VIOLETA |  | 3 | 2 | 62559
2 | 4.0 | 6 | P/Final | 2024-09-06 | 12:40 | 2024-09-04 | 14:34 | FLORICA |  | 5.0 | 3.8 | / | / | 0.801 |  | 10.663 |  | 208 |  | 1 | VIOLETA |  | 3 | 2 | 62559
3 | 16.0 | 7 | P/Final | 2024-09-06 | 12:52 | 2024-09-04 | 14:34 | FLORICA |  | 17.0 | 16.3 | / | / | 2.571 |  | 10.345 |  |  |  | 1 | VIOLETA |  | 3 | 3 | 62559 | TURB:1LLO
3 | 16.0 | 8 | P/Final | 2024-09-06 | 12:53 | 2024-09-04 | 14:34 | FLORICA |  | 18.0 | 16.8 | / | / | 2.567 |  | 10.334 |  |  |  | 1 | VIOLETA |  | 3 | 3 | 62559
3 | 16.0 | 9 | P/Final | 2024-09-06 | 12:54 | 2024-09-04 | 14:34 | FLORICA |  | 11.5 | 16.1 | / | / | 2.198 |  | 10.335 |  |  |  | 1 | VIOLETA |  | 3 | 3 | 62559 | TURB.LLO
3 | 16.0 | 10 | P/Final | 2024-09-06 | 12:56 | 2024-09-04 | 14:34 | FLORICA |  | 17.5 | 16.1 | / | / | 2.603 |  | 10.336 |  |  |  | 1 | VIOLETA |  | 3 | 3 | 62559
3 | 16.0 | 11 | P/Final | 2024-09-06 | 13:02 | 2024-09-04 | 14:34 | FLORICA |  | 18.0 | 17.1 | / | / | 2.633 |  | 10.322 |  |  |  | 1 | VIOLETA |  | 3 | 3 | 62559
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.3 mg/L | 2 | 4 | 0.3 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 4.3 mg/L | 4 | 8 | 4.3 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 16.4 mg/L | 5 | 9 | 17 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 3.0 | 0.3 | YES
4.0 | 0.7 ÷ 7.3 | 4.3 | YES
16.0 | 11.9 ÷ 20.1 | 17.0 | YES
Validation Date | by
2024-10-08 | Eugenia