## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93750B-0
1018 | HI93750B-0 | CP-R55 | W 17/1 |  | Parameter Formula | K
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Potassium Reagent B | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
110 | 100 | 120
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1904 | 1018
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-01-01 | 2030-04-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 200.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-04-28 | 2025-04-29 | PRECI |  |  |  | 0984
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97750 | CTO-652
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 0.7 | 7.3 |  | MR107 |  | 3.0 | & | 7% | 100% |  | 4.0 | 3.8 | 4.2
3 | 16.0 | 11.9 | 20.1 | [8 empty] | 6.2 | 5.9 | 6.5
1 | 0.0 | 0.0 | 3.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | Old B | 2025-04-25 | 13:31 | 2025-04-25 | 13:17 | MARK |  | 4.5 | 3.9 | / | / | 0.705 |  |  |  | 196 |  | 1 | Kinga |  | 3 | 2 | 93202
3 | 16.0 | 2 | Old B | 2025-04-25 | 13:31 | 2025-04-25 | 13:17 | MARK |  | 15.0 | 16.1 | / | / | 2.450 | [5 empty] | 1 | Kinga |  | 3 | 3 | 93202
1 | 0.0 | 3 | Old B | 2025-04-25 | 13:31 | 2025-04-25 | 13:17 | MARK |  | 0.0 | 0.4 | / | / | 0.003 |  |  |  | 30.5 |  | 1 | Kinga |  | 3 | 1 | 93202
3 | 16.0 | 4 | Valid | 2025-04-25 | 13:34 | 2025-04-25 | 13:17 | MARK |  | 17.5 | 17.2 | / | / | 2.604 | [5 empty] | 1 | Kinga |  | 3 | 3 | 93202
3 | 16.0 | 5 | Valid | 2025-04-25 | 13:34 | 2025-04-25 | 13:17 | MARK |  | 18.0 | 17.5 | / | / | 2.616 | [5 empty] | 1 | Kinga |  | 3 | 3 | 93202
3 | 16.0 | 6 | Valid | 2025-04-25 | 13:35 | 2025-04-25 | 13:17 | MARK |  | 18.0 | 17.4 | / | / | 2.615 |  | 10.454 |  |  |  | 1 | Kinga |  | 3 | 3 | 93202
2 | 4.0 | 7 | Valid | 2025-04-25 | 13:35 | 2025-04-25 | 13:17 | MARK |  | 5.5 | 4.2 | / | / | 0.952 |  |  |  | 216 |  | 1 | Kinga |  | 3 | 2 | 93202
2 | 4.0 | 8 | Valid | 2025-04-25 | 13:35 | 2025-04-25 | 13:17 | MARK |  | 5.5 | 4.3 | / | / | 0.991 |  | 10.896 |  | 227 |  | 1 | Kinga |  | 3 | 2 | 93202
2 | 4.0 | 9 | Valid | 2025-04-25 | 13:36 | 2025-04-25 | 13:17 | MARK |  | 5.5 | 4.3 | / | / | 0.999 |  |  |  | 2.34 |  | 1 | Kinga |  | 3 | 2 | 93202
1 | 0.0 | 10 | Valid | 2025-04-25 | 13:37 | 2025-04-25 | 13:17 | MARK |  | 0.0 | 0.7 | / | / | 0.122 |  | 10.799 |  | 31.5 |  | 1 | Kinga |  | 3 | 1 | 93202
1 | 0.0 | 11 | Valid | 2025-04-25 | 13:37 | 2025-04-25 | 13:17 | MARK |  | 0.0 | 0.7 | / | / | 0.122 |  |  |  | 30.4 |  | 1 | Kinga |  | 3 | 1 | 93202
3 | 16.0 | 12 | Old B | 2025-04-28 | 08:50 | 2025-04-28 | 07:54 | NINA |  | 16.0 | 16.0 | / | / | 2.522 | [5 empty] | 1 | Kinga |  | 3 | 3 | 93202
2 | 4.0 | 13 | Old B | 2025-04-28 | 08:50 | 2025-04-28 | 07:54 | NINA |  | 5.0 | 6.0 | / | / | 0.587 |  |  |  | 206 |  | 1 | Kinga |  | 3 | 2 | 93202
1 | 0.0 | 14 | Old B | 2025-04-28 | 08:52 | 2025-04-28 | 07:54 | NINA |  | 0.5 | 0.7 | / | / | 0.145 |  |  |  | 41.3 |  | 1 | Kinga |  | 3 | 1 | 93202
2 | 4.0 | 15 | P/FINAL | 2025-04-28 | 08:57 | 2025-04-28 | 07:54 | NINA |  | 5.0 | 3.9 | / | / | 0.832 |  |  |  | 202 | 403 | 1 | Kinga |  | 3 | 2 | 93202
2 | 4.0 | 16 | P/FINAL | 2025-04-28 | 08:58 | 2025-04-28 | 07:54 | NINA |  | 5.0 | 3.9 | / | / | 0.862 |  | 10.256 |  | 206 | 404 | 1 | Kinga |  | 3 | 3 | 93202
3 | 16.0 | 17 | P/FINAL | 2025-04-28 | 09:00 | 2025-04-28 | 07:54 | NINA |  | 17.0 | 16.7 | / | / | 2.574 |  |  |  |  | 420 | 1 | Kinga |  | 3 | 3 | 93202
3 | 16.0 | 18 | P/FINAL | 2025-04-28 | 09:01 | 2025-04-28 | 07:54 | NINA |  | 16.0 | 16.9 | / | / | 2.552 |  | 10.600 |  |  | 425 | 1 | Kinga |  | 3 | 3 | 93202
1 | 0.0 | 19 | P/FINAL | 2025-04-28 | 09:04 | 2025-04-28 | 07:54 | NINA |  | 0.0 | 0.5 | / | / | 0.094 |  |  |  | 26.0 |  | 1 | Kinga |  | 3 | 1 | 93202
1 | 0.0 | 20 | P/FINAL | 2025-04-28 | 09:05 | 2025-04-28 | 07:54 | NINA |  | 0.0 | 0.4 | / | / | 0.076 |  | 10.830 |  | 21.0 | 432 | 1 | Kinga |  | 3 | 1 | 93202
2 | 4.0 | 21 | P/FINAL | 2025-04-28 | 14:56 | 2025-04-28 | 14:24 | FLORICA |  | 5.0 | 4.0 | / | / | 0.888 |  | 10.692 |  | 0.14 | 401 | 1 | Kinga |  | 3 | 2 | 93202
2 | 4.0 | 22 | P/FINAL | 2025-04-28 | 14:57 | 2025-04-28 | 14:24 | FLORICA |  | 5.0 | 4.0 | / | / | 0.893 |  |  |  | 218 | 440 | 1 | Kinga |  | 3 | 2 | 93202
3 | 16.0 | 23 | P/FINAL | 2025-04-28 | 14:58 | 2025-04-28 | 14:24 | FLORICA |  | 16.5 | 16.5 | / | / | 2.540 |  | 10.412 |  |  | 426 | 1 | Kinga |  | 3 | 3 | 93202
3 | 16.0 | 24 | P/FINAL | 2025-04-28 | 14:59 | 2025-04-28 | 14:24 | FLORICA |  | 15.5 | 15.7 | / | / | 2.491 |  |  |  |  | 415 | 1 | Kinga |  | 3 | 3 | 93202
1 | 0.0 | 25 | P/FINAL | 2025-04-28 | 15:00 | 2025-04-28 | 14:24 | FLORICA |  | 0.0 | 0.3 | / | / | 0.071 |  | 10.796 |  | 20.2 | 422 | 1 | Kinga |  | 3 | 1 | 93202
1 | 0.0 | 26 | P/FINAL | 2025-04-28 | 15:00 | 2025-04-28 | 14:24 | FLORICA |  | 0.0 | 0.3 | / | / | 0.070 |  |  |  | 20.3 | 445 | 1 | Kinga |  | 3 | 1 | 93202
2 | 4.0 | 27 | P/FINAL | 2025-04-29 | 08:45 | 2025-04-29 | 06:30 | NINA | PRECI | 5.5 | 4.0 | / | / | 0.935 |  | 10.550 |  | 209 | 429 | 1 | Brigitta P |  | 3 | 2 | 93202
2 | 4.0 | 28 | P/FINAL | 2025-04-29 | 08:46 | 2025-04-29 | 06:30 | NINA | PRECI | 5.0 | 3.9 | / | / | 0.899 |  |  |  | 203 | 429 | 1 | Brigitta P |  | 3 | 2 | 93202
3 | 16.0 | 29 | P/FINAL | 2025-04-29 | 08:47 | 2025-04-29 | 06:30 | NINA | PRECI | 17.0 | 15.9 | / | / | 2.566 |  | 11.045 |  |  | 432 | 1 | Brigitta P |  | 3 | 3 | 93202
3 | 16.0 | 30 | P/FINAL | 2025-04-29 | 08:47 | 2025-04-29 | 06:30 | NINA | PRECI | 17.5 | 17.1 | / | / | 2.605 |  |  |  |  | 423 | 1 | Brigitta P |  | 3 | 3 | 93202
1 | 0.0 | 31 | P/FINAL | 2025-04-29 | 08:51 | 2025-04-29 | 06:30 | NINA | PRECI | 0.0 | 0.3 | / | / | 0.088 |  | 10.760 |  | 20.3 |  | 1 | Kinga |  | 3 | 1 | 93202
1 | 0.0 | 32 | P/FINAL | 2025-04-29 | 08:51 | 2025-04-29 | 06:30 | NINA | PRECI | 0.0 | 0.1 | / | / | 0.067 |  |  |  | 16.3 |  | 1 | Kinga |  | 3 | 1 | 93202
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 4.5 mg/L | 6 | 12 | 4.5 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 16.5 mg/L | 6 | 12 | 16.5 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.2 mg/L | 6 | 12 | 0.2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 3.0 | 0.2 | YES
4.0 | 0.7 ÷ 7.3 | 4.5 | YES
16.0 | 11.9 ÷ 20.1 | 16.5 | YES
Validation Date | by