## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93750B-0
1138 | HI93750B-0 | CP-R55 | W 35/1 |  | Parameter Formula | K
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Potassium Reagent B | 2030-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
110 | 100 | 120
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 200.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-08-26 | 2025-09-01 | PRECI |  |  | 1018
[6 empty] | Expiration A | Expiration B | Expiration D
2030-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI 801 | CTO-618 | HI97750 | CTO-652
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-802
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 0.7 | 7.3 |  | MR107 |  | 3.0 | & | 7% | 100% |  | 4.0 | 3.8 | 4.2
3 | 16.0 | 11.9 | 20.1 | [8 empty] | 6.2 | 5.9 | 6.5
1 | 0.0 | 0.0 | 3.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI 801 | M. 2 HI97750 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | Old B | 2025-08-26 | 09:04 | 2025-08-26 | 08:41 | ERIKA |  | 4.5 | 3.5 | / | / | 0.741 |  |  |  | 183 |  |  | Kinga |  | 3 | 2
2 | 4.0 | 2 | Old B | 2025-08-26 | 09:04 | 2025-08-26 | 08:41 | ERIKA |  | 5.0 | 3.7 | / | / | 0.791 |  |  |  | 195 |  |  | Kinga |  | 3 | 2
3 | 16.0 | 3 | Old B | 2025-08-26 | 09:05 | 2025-08-26 | 08:41 | ERIKA |  | 16.5 | 16.8 | / | / | 2.534 | [6 empty] | Kinga |  | 3 | 3
3 | 16.0 | 4 | Old B | 2025-08-26 | 09:05 | 2025-08-26 | 08:41 | ERIKA |  | 15.5 | 15.6 | / | / | 2.489 | [6 empty] | Kinga |  | 3 | 3
1 | 0.0 | 5 | Old B | 2025-08-26 | 09:06 | 2025-08-26 | 08:41 | ERIKA |  | 0.0 | 0.6 | / | / | 0.094 |  |  |  | 20.1 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 6 | Old B | 2025-08-26 | 09:06 | 2025-08-26 | 08:41 | ERIKA |  | 0.0 | 0.8 | / | / | 0.131 |  |  |  | 29.2 |  |  | Kinga |  | 3 | 1
2 | 4.0 | 7 | Valid | 2025-08-26 | 09:15 | 2025-08-26 | 08:41 | ERIKA |  | 5.5 | 4.3 | / | / | 0.985 |  | 10.807 |  | 261 |  |  | Kinga |  | 3 | 2 | 93202
2 | 4.0 | 8 | Valid | 2025-08-26 | 09:16 | 2025-08-26 | 08:41 | ERIKA |  | 5.5 | 4.2 | / | / | 0.945 |  |  |  | 249 |  |  | Kinga |  | 3 | 2 | 93202
2 | 4.0 | 9 | Valid | 2025-08-26 | 09:16 | 2025-08-26 | 08:41 | ERIKA |  | 5.5 | 4.1 | / | / | 0.945 |  |  |  | 242 |  |  | Kinga |  | 3 | 2 | 93202
1 | 0.0 | 10 | Valid | 2025-08-26 | 09:19 | 2025-08-26 | 08:41 | ERIKA |  | 0.0 | 0.7 | / | / | 0.132 |  | 11.288 |  | 36.8 |  |  | Kinga |  | 3 | 1 | 93202
1 | 0.0 | 11 | Valid | 2025-08-26 | 09:19 | 2025-08-26 | 08:41 | ERIKA |  | 0.5 | 0.8 | / | / | 0.146 |  |  |  | 40.3 |  |  | Kinga |  | 3 | 1 | 93202
3 | 16.0 | 12 | Valid | 2025-08-26 | 09:23 | 2025-08-26 | 08:41 | ERIKA |  | 18.0 | 18.3 | / | / | 2.616 | [6 empty] | Kinga |  | 3 | 3 | 93202
3 | 16.0 | 13 | Valid | 2025-08-26 | 09:23 | 2025-08-26 | 08:41 | ERIKA |  | 18.0 | 18.2 | / | / | 2.624 | [6 empty] | Kinga |  | 3 | 3 | 93202
3 | 16.0 | 14 | Valid | 2025-08-26 | 09:24 | 2025-08-26 | 08:41 | ERIKA |  | 18.5 | 18.3 | / | / | 2.636 |  | 10.552 |  |  |  |  | Kinga |  | 3 | 3 | 93202
1 | 0.0 | 15 | Old B | 2025-08-27 | 09:53 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 0.0 | 0.6 | / | / | 0.118 |  |  |  | 26.2 |  |  | Andrea V |  | 3 | 1 | 93202
1 | 0.0 | 16 | Old B | 2025-08-27 | 09:54 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 0.0 | 0.6 | / | / | 0.126 |  |  |  | 28.6 |  |  | Andrea V |  | 3 | 1 | 93202
2 | 4.0 | 17 | Old B | 2025-08-27 | 09:56 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 5.0 | 3.7 | / | / | 0.799 |  |  |  | 214 |  |  | Andrea V |  | 3 | 2 | 93202
2 | 4.0 | 18 | Old B | 2025-08-27 | 09:58 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 5.0 | 3.7 | / | / | 0.810 |  |  |  | 215 |  |  | Andrea V |  | 3 | 2 | 93202
3 | 16.0 | 19 | Old B | 2025-08-27 | 10:04 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 16.5 | 17.0 | / | / | 2.540 | [6 empty] | Andrea V |  | 3 | 3 | 93202
3 | 16.0 | 20 | Old B | 2025-08-27 | 10:04 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 17.0 | 16.9 | / | / | 2.566 | [6 empty] | Andrea V |  | 3 | 3 | 93202
3 | 16.0 | 21 | P/FINAL | 2025-08-27 | 10:29 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 16.0 | 15.8 | / | / | 2.524 | [6 empty] | Andrea V |  | 3 | 3 | 93202
3 | 16.0 | 22 | P/FINAL | 2025-08-27 | 10:30 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 16.0 | 15.9 | / | / | 2.527 |  | 10.476 |  | 15.7 | 428 |  | Andrea V |  | 3 | 3 | 93202
3 | 16.0 | 23 | P/FINAL | 2025-08-27 | 10:31 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 17.0 | 16.5 | / | / | 2.564 |  |  |  |  | 438 |  | Andrea V |  | 3 | 3 | 93202
2 | 4.0 | 24 | P/FINAL | 2025-08-27 | 10:33 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 5.0 | 4.0 | / | / | 0.890 |  |  |  | 233 |  |  | Andrea V |  | 3 | 2 | 93202
2 | 4.0 | 25 | P/FINAL | 2025-08-27 | 10:34 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 5.0 | 4.0 | / | / | 0.892 |  | 10.826 |  | 226 | 425 |  | Andrea V |  | 3 | 2 | 93202
2 | 4.0 | 26 | P/FINAL | 2025-08-27 | 10:35 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 5.0 | 4.0 | / | / | 0.873 |  |  |  | 212 | 421 |  | Andrea V |  | 3 | 2 | 93202
1 | 0.0 | 27 | P/FINAL | 2025-08-27 | 10:38 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 0.0 | 0.5 | / | / | 0.100 |  | 10.968 |  | 97.1 |  |  | Andrea V |  | 3 | 1 | 93202
1 | 0.0 | 28 | P/FINAL | 2025-08-27 | 10:39 | 2025-08-27 | 09:19 | GABRIELLA | PRECI | 0.0 | 0.6 | / | / | 0.111 |  |  |  | 26.8 | 423 |  | Andrea V |  | 3 | 1 | 93202
1 | 0.0 | 29 | P/FINAL | 2025-09-01 | 08:29 | 2025-09-01 | 07:33 | Gabriella | preci | 0.0 | 0.4 | / | / | 0.101 |  | 10.973 |  | 23.6 | 426 |  | Kinga |  | 3 | 1
1 | 0.0 | 30 | P/FINAL | 2025-09-01 | 08:30 | 2025-09-01 | 07:33 | Gabriella | preci | 0.0 | 0.4 | / | / | 0.101 |  |  |  | 23.7 | 438 |  | Kinga |  | 3 | 1
2 | 4.0 | 31 | P/FINAL | 2025-09-01 | 08:33 | 2025-09-01 | 07:33 | Gabriella | preci | 5.0 | 3.8 | / | / | 0.890 |  |  |  | 230 | 421 |  | Kinga |  | 3 | 2 | 121541
2 | 4.0 | 32 | P/FINAL | 2025-09-01 | 08:34 | 2025-09-01 | 07:33 | Gabriella | preci | 5.0 | 3.9 | / | / | 0.879 |  | 10.860 |  | 218 | 430 |  | Kinga |  | 3 | 2 | 121541
2 | 4.0 | 33 | P/FINAL | 2025-09-01 | 08:34 | 2025-09-01 | 07:33 | Gabriella | preci | 5.1 | 4.0 | / | / | 0.892 |  |  |  | 230 | 429 |  | Kinga |  | 3 | 2 | 121541
3 | 16.0 | 34 | P/FINAL | 2025-09-01 | 08:41 | 2025-09-01 | 07:33 | Gabriella | preci | 16.5 | 15.5 | / | / | 2.545 | [6 empty] | Kinga |  | 3 | 3 | 121541
3 | 16.0 | 35 | P/FINAL | 2025-09-01 | 08:41 | 2025-09-01 | 07:33 | Gabriella | preci | 17.0 | 17.3 | / | / | 2.574 | - | 10.496 |  |  |  |  | Kinga |  | 3 | 3 | 121541
3 | 16.0 | 36 | P/FINAL | 2025-09-01 | 08:42 | 2025-09-01 | 07:33 | Gabriella | preci | 16.5 | 17.0 | / | / | 2.529 | [6 empty] | Kinga |  | 3 | 3 | 121541
3 | 16.0 | 37 | P/FINAL | 2025-09-01 | 08:43 | 2025-09-01 | 07:33 | Gabriella | preci | 16.5 | 15.8 | / | / | 2.536 | [6 empty] | Kinga |  | 3 | 3 | 121541
1 | 0.0 | 38 | Old B | 2025-09-01 | 08:45 | 2025-09-01 | 07:33 | Gabriella | preci | 0.0 | 0.0 | / | / | 0.122 |  |  |  | 25.8 |  |  | Kinga |  | 3 | 1 | 121541
1 | 0.0 | 39 | Old B | 2025-09-01 | 08:46 | 2025-09-01 | 07:33 | Gabriella | preci | 1.0 | 0.9 | / | / | 0.187 |  |  |  | 43.8 |  |  | Kinga |  | 3 | 1 | 121541
2 | 4.0 | 40 | Old B | 2025-09-01 | 08:52 | 2025-09-01 | 07:33 | Gabriella | preci | 5.0 | 3.7 | / | / | 0.795 |  |  |  | 215 |  |  | Kinga |  | 3 | 2 | 121541
2 | 4.0 | 41 | Old B | 2025-09-01 | 08:53 | 2025-09-01 | 07:33 | Gabriella | preci | 5.0 | 3.6 | / | / | 0.813 |  |  |  | 211 |  |  | Kinga |  | 3 | 2 | 121541
3 | 16.0 | 42 | Old B | 2025-09-01 | 08:54 | 2025-09-01 | 07:33 | Gabriella | preci | 17.0 | 17.7 | / | / | 2.561 | [6 empty] | Kinga |  | 3 | 3 | 121541
3 | 16.0 | 43 | Old B | 2025-09-01 | 08:54 | 2025-09-01 | 07:33 | Gabriella | preci | 15.0 | 14.7 | / | / | 2.447 | [6 empty] | Kinga |  | 3 | 3 | 121541
2 | 4.0 | 44 | P/FINAL | 2025-09-01 | 14:55 | 2025-09-01 | 14:36 | FLORICA | PRECI | 5.0 | 4.0 | / | / | 0.881 |  |  |  | 210 |  |  | Kinga |  | 3 | 2 | 121541
2 | 4.0 | 45 | P/FINAL | 2025-09-01 | 14:56 | 2025-09-01 | 14:36 | FLORICA | PRECI | 5.0 | 4.0 | / | / | 0.868 |  |  |  | 204 |  |  | Kinga |  | 3 | 2 | 121541
2 | 4.0 | 46 | P/FINAL | 2025-09-01 | 14:56 | 2025-09-01 | 14:36 | FLORICA | PRECI | 5.0 | 3.8 | / | / | 0.836 |  | 10.859 |  | 193 | 400 |  | Kinga |  | 3 | 2 | 121541
3 | 16.0 | 47 | P/FINAL | 2025-09-01 | 14:57 | 2025-09-01 | 14:36 | FLORICA | PRECI | 12.7 | 16.9 | / | / | 2.289 |  |  |  |  | 427 |  | Kinga |  | 3 | 3 | 121541
3 | 16.0 | 48 | P/FINAL | 2025-09-01 | 14:58 | 2025-09-01 | 14:36 | FLORICA | PRECI | 15.0 | 15.8 | / | / | 2.458 |  |  |  |  | 412 |  | Kinga |  | 3 | 3 | 121541
3 | 16.0 | 49 | P/FINAL | 2025-09-01 | 14:58 | 2025-09-01 | 14:36 | FLORICA | PRECI | 15.5 | 15.6 | / | / | 2.493 |  | 10.783 |  |  | 421 |  | Kinga |  | 3 | 3 | 121541
1 | 0.0 | 50 | P/FINAL | 2025-09-01 | 15:01 | 2025-09-01 | 14:36 | FLORICA | PRECI | 0.0 | 0.0 | / | / | 0.099 |  |  |  | 24.3 | 424 |  | Kinga |  | 3 | 1 | 121541
1 | 0.0 | 51 | P/FINAL | 2025-09-01 | 15:02 | 2025-09-01 | 14:36 | FLORICA | PRECI | 0.0 | 0.0 | / | / | 0.083 |  | 10.861 |  | 20.7 |  |  | Kinga |  | 3 | 1 | 121541
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 4.5 mg/L | 9 | 18 | 4.5 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 16 mg/L | 10 | 20 | 16 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.2 mg/L | 6 | 12 | 0.2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 3.0 | 0.2 | YES
4.0 | 0.7 ÷ 7.3 | 4.5 | YES
16.0 | 11.9 ÷ 20.1 | 16.0 | YES
Validation Date | by