## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93751-0
0772 | HI93751-0 | CP-R56 | W43 |  | Parameter Formula | SO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Sulfate Reagent | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 130 | 150
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-28 | 2024-10-29 | PRECI |  |  | 0672
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97751 | CTO-709
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93708 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 20 | 14 | 26 |  | MR32/S |  | 5 | & | 6% | 100% |  | 2.0 | 1.8 | 2.2
3 | 80 | 70 | 90
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 20 | 1 | Old A | 2024-10-24 | 19:27 | 2024-10-24 | 14:17 | ERIKA |  | 18 | 17 | / | / | 0.226 |  |  |  | 66.3 | 139 |  | Brigitta P |  | 3 | 2
2 | 20 | 2 | Old A | 2024-10-24 | 19:28 | 2024-10-24 | 14:17 | ERIKA |  | 19 | 18 | / | / | 0.245 |  |  |  | 69.2 | 141 |  | Brigitta P |  | 3 | 2
3 | 80 | 3 | Old A | 2024-10-24 | 19:29 | 2024-10-24 | 14:17 | ERIKA |  | 78 | 74 | / | / | 1.303 |  |  |  | 314 | 141 |  | Brigitta P |  | 3 | 3
3 | 80 | 4 | Old A | 2024-10-24 | 19:30 | 2024-10-24 | 14:17 | ERIKA |  | 81 | 77 | / | / | 1.368 |  |  |  | 347 | 132 |  | Brigitta P |  | 3 | 3
2 | 20 | 5 | Valid | 2024-10-24 | 19:30 | 2024-10-24 | 14:17 | ERIKA |  | 26 | 26 | / | / | 0.387 |  |  |  | 90.1 | 139 |  | Brigitta P |  | 3 | 3
2 | 20 | 6 | Valid | 2024-10-24 | 19:30 | 2024-10-24 | 14:17 | ERIKA |  | 28 | 27 | / | / | 0.386 |  |  |  | 88.9 | 142 |  | Brigitta P |  | 3 | 3
2 | 20 | 7 | Valid | 2024-10-24 | 19:30 | 2024-10-24 | 14:17 | ERIKA |  | 27 | 26 | / | / | 0.387 |  |  |  | 89.1 | 132 |  | Brigitta P |  | 3 | 3
3 | 80 | 8 | Valid | 2024-10-24 | 19:35 | 2024-10-24 | 14:17 | ERIKA |  | 89 | 84 | / | / | 1.496 |  |  |  | 447 | 138 |  | Brigitta P |  | 3 | 3
3 | 80 | 9 | Valid | 2024-10-24 | 19:35 | 2024-10-24 | 14:17 | ERIKA |  | 89 | 87 | / | / | 1.505 |  |  |  | 459 | 138 |  | Brigitta P |  | 3 | 3
3 | 80 | 10 | Valid | 2024-10-24 | 19:35 | 2024-10-24 | 14:17 | ERIKA |  | 86 | 87 | / | / | 1.460 |  |  |  | 444 | 143 |  | Brigitta P |  | 3 | 3
1 | 0 | 11 | Valid | 2024-10-24 | 19:35 | 2024-10-24 | 14:17 | ERIKA |  | 0 | 0 | / | / | 0.001 |  |  |  | 0.57 | 128 |  | Brigitta P |  | 3 | 3
1 | 0 | 12 | Valid | 2024-10-24 | 19:35 | 2024-10-24 | 14:17 | ERIKA |  | 1 | 0 | / | / | 0.005 |  |  |  | 0.37 | 130 |  | Brigitta P |  | 3 | 3
2 | 20 | 13 | P/Final | 2024-10-28 | 12:06 | 2024-10-28 | 08:39 | NINA | PRECI | 15 | 15 | / | / | 0.195 |  |  |  | 62.2 | 197 |  | Kinga |  | 3 | 2
2 | 20 | 14 | P/Final | 2024-10-28 | 12:07 | 2024-10-28 | 08:39 | NINA | PRECI | 14 | 14 | / | / | 0.177 |  |  |  | 57.9 | 197 |  | Kinga |  | 3 | 2
2 | 20 | 15 | P/Final | 2024-10-28 | 12:07 | 2024-10-28 | 08:39 | NINA | PRECI | 15 | 15 | / | / | 0.197 |  |  |  | 65.0 | 190 |  | Kinga |  | 3 | 2
3 | 80 | 16 | P/Final | 2024-10-28 | 12:08 | 2024-10-28 | 08:39 | NINA | PRECI | 72 | 70 | / | / | 1.207 |  |  |  | 291 | 194 |  | Kinga |  | 3 | 3
3 | 80 | 17 | P/Final | 2024-10-28 | 12:08 | 2024-10-28 | 08:39 | NINA | PRECI | 73 | 70 | / | / | 1.227 |  |  |  | 288 | 190 |  | Kinga |  | 3 | 3
3 | 80 | 18 | P/Final | 2024-10-28 | 12:08 | 2024-10-28 | 08:39 | NINA | PRECI | 71 | 69 | / | / | 1.189 |  |  |  | 294 |  |  | Kinga |  | 3 | 3
1 | 0 | 19 | P/Final | 2024-10-28 | 12:09 | 2024-10-28 | 08:39 | NINA | PRECI | 0 | 1 | / | / | 0.001 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 1
1 | 0 | 20 | P/Final | 2024-10-28 | 12:09 | 2024-10-28 | 08:39 | NINA | PRECI | 0 | 1 | / | / | -0.002 |  |  |  | 0.92 |  |  | Kinga |  | 3 | 1
2 | 20 | 21 | P/Final | 2024-10-28 | 15:43 | 2024-10-28 | 14:38 | Florica |  | 16 | 16 | / | / | 0.209 |  |  |  | 63.6 |  |  | Brigitta P |  | 3 | 2
2 | 20 | 22 | P/Final | 2024-10-28 | 15:43 | 2024-10-28 | 14:38 | Florica |  | 14 | 14 | / | / | 0.179 |  |  |  | 57.7 |  |  | Brigitta P |  | 3 | 2
3 | 80 | 23 | P/Final | 2024-10-28 | 15:44 | 2024-10-28 | 14:38 | Florica |  | 78 | 75 | / | / | 1.315 |  |  |  | 319 |  |  | Brigitta P |  | 3 | 3
3 | 80 | 24 | P/Final | 2024-10-28 | 15:45 | 2024-10-28 | 14:38 | Florica |  | 78 | 75 | / | / | 1.315 |  |  |  | 317 |  |  | Brigitta P |  | 3 | 3
1 | 0 | 25 | P/Final | 2024-10-28 | 15:45 | 2024-10-28 | 14:38 | Florica |  | 0 | 0 | / | / | 0.002 |  |  |  | 0.23 |  |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 15 mg/L | 5 | 10 | 15 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 73 mg/L | 5 | 9 | 74 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 5 | 0 | YES
20 | 14 ÷ 26 | 15 | YES
80 | 70 ÷ 90 | 74 | YES
Validation Date | by