## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93751-0
0774 | HI93751-0 | CP-R56 | W43 |  | Parameter Formula | SO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Sulfate Reagent | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 130 | 150
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97751 | CTO-709
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 80 | 70 | 90 |  | MR32/S |  | 5 | & | 6% | 100% |  | 2.0 | 1.8 | 2.2
2 | 20 | 14 | 26
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97751 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 80 | 1 | Valid | 2024-10-24 | 20:00 | 2024-10-24 | 14:17 | ERIKA |  | 88 | 84 | / | / | 1.479 |  |  |  | 418 | 146 |  | Brigitta P |  | 3 | 3 |  | TO SEE THE VALUE OF THE OLD LOT:OPEN HI93751-0 LOT 0772
3 | 80 | 2 | Valid | 2024-10-24 | 20:00 | 2024-10-24 | 14:17 | ERIKA |  | 90 | 86 | / | / | 1.511 |  |  |  | 413 | 135 |  | Brigitta P |  | 3 | 3 |  | TO SEE THE VALUE OF THE OLD LOT:OPEN HI93751-0 LOT 0772
2 | 20 | 3 | Valid | 2024-10-24 | 20:00 | 2024-10-24 | 14:17 | ERIKA |  | 26 | 25 | / | / | 0.348 |  |  |  | 85.8 | 131 |  | Brigitta P |  | 3 | 3 |  | TO SEE THE VALUE OF THE OLD LOT:OPEN HI93751-0 LOT 0772
2 | 20 | 4 | Valid | 2024-10-24 | 20:00 | 2024-10-24 | 14:17 | ERIKA |  | 26 | 25 | / | / | 0.346 |  |  |  | 88.3 | 145 |  | Brigitta P |  | 3 | 3 |  | TO SEE THE VALUE OF THE OLD LOT:OPEN HI93751-0 LOT 0772
2 | 20 | 5 | Valid | 2024-10-24 | 20:00 | 2024-10-24 | 14:17 | ERIKA |  | 25 | 25 | / | / | 0.345 |  |  |  | 85.2 | 148 |  | Brigitta P |  | 3 | 3 |  | TO SEE THE VALUE OF THE OLD LOT:OPEN HI93751-0 LOT 0772
3 | 80 | 6 | Valid | 2024-10-24 | 20:00 | 2024-10-24 | 14:17 | ERIKA |  | 86 | 85 | / | / | 1.448 |  |  |  | 414 | 128 |  | Brigitta P |  | 3 | 3 |  | TO SEE THE VALUE OF THE OLD LOT:OPEN HI93751-0 LOT 0772
1 | 0 | 7 | Valid | 2024-10-24 | 20:00 | 2024-10-24 | 14:17 | ERIKA |  | 0 | 0 | / | / | 0.002 |  |  |  | 0.31 | 132 |  | Brigitta P |  | 3 | 3 |  | TO SEE THE VALUE OF THE OLD LOT:OPEN HI93751-0 LOT 0772
1 | 0 | 8 | Valid | 2024-10-24 | 20:00 | 2024-10-24 | 14:17 | ERIKA |  | 1 | 0 | / | / | 0.004 |  |  |  | 0.45 | 139 |  | Brigitta P |  | 3 | 3 |  | TO SEE THE VALUE OF THE OLD LOT:OPEN HI93751-0 LOT 0772
3 | 80 | 9 | Test | 2024-10-24 | 20:15 | 2024-10-24 | 14:17 | ERIKA |  | 95 | 92 | / | / | 1.597 |  |  |  | 478 | 143 |  | Brigitta P |  | 3 | 3 |  | TEST WITH CM161
3 | 80 | 10 | Test | 2024-10-24 | 20:15 | 2024-10-24 | 14:17 | ERIKA |  | 97 | 97 | / | / | 1.629 |  |  |  | 476 | 141 |  | Brigitta P |  | 3 | 3 |  | TEST WITH CM161
3 | 80 | 11 | Test | 2024-10-24 | 20:20 | 2024-10-24 | 14:17 | ERIKA |  | 97 | 94 | / | / | 1.626 |  |  |  | 483 | 145 |  | Brigitta P |  | 3 | 3 |  | TEST WITH CM161
2 | 20 | 12 | Test | 2024-10-24 | 20:20 | 2024-10-24 | 14:17 | ERIKA |  | 31 | 30 | / | / | 0.439 |  |  |  | 89.0 | 139 |  | Brigitta P |  | 3 | 3 |  | TEST WITH CM161
2 | 20 | 13 | Test | 2024-10-24 | 20:25 | 2024-10-24 | 14:17 | ERIKA |  | 32 | 30 | / | / | 0.444 |  |  |  | 86.3 | 146 |  | Brigitta P |  | 3 | 3 |  | TEST WITH CM161
2 | 20 | 14 | Test | 2024-10-24 | 20:25 | 2024-10-24 | 14:17 | ERIKA |  | 31 | 29 | / | / | 0.425 |  |  |  | 86.2 | 136 |  | Brigitta P |  | 3 | 3 |  | TEST WITH CM161
1 | 0 | 15 | Test | 2024-10-24 | 20:25 | 2024-10-24 | 14:17 | ERIKA |  | 0 | 0 | / | / | 0.001 |  |  |  | 0.89 | 148 |  | Brigitta P |  | 3 | 3 |  | TEST WITH CM161
1 | 0 | 16 | Test | 2024-10-24 | 20:25 | 2024-10-24 | 14:17 | ERIKA |  | 0 | 0 | / | / | -0.003 |  |  |  | 0.25 | 146 |  | Brigitta P |  | 3 | 3 |  | TEST WITH CM161
1 | 0 | 17 | Old A | 2024-10-29 | 12:30 | 2024-10-29 | 09:44 | NINA |  | 0 | 0 | / | / | 0.002 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1
1 | 0 | 18 | P/Final | 2024-10-29 | 12:31 | 2024-10-29 | 09:44 | NINA |  | 0 | 0 | / | / | 0.002 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 1
2 | 20 | 19 | Old A | 2024-10-29 | 12:31 | 2024-10-29 | 09:44 | NINA |  | 15 | 15 | / | / | 0.190 |  |  |  | 60.3 |  |  | Kinga |  | 3 | 2
2 | 20 | 20 | P/Final | 2024-10-29 | 12:32 | 2024-10-29 | 09:44 | NINA |  | 15 | 14 | / | / | 0.194 |  |  |  | 63.2 | 134 |  | Kinga |  | 3 | 2
2 | 20 | 21 | P/Final | 2024-10-29 | 12:33 | 2024-10-29 | 09:44 | NINA |  | 15 | 15 | / | / | 0.189 |  |  |  | 52.7 | 140 |  | Kinga |  | 3 | 2
3 | 80 | 22 | Old A | 2024-10-29 | 12:33 | 2024-10-29 | 09:44 | NINA |  | 75 | 72 | / | / | 1.256 |  |  |  | 304 |  |  | Kinga |  | 3 | 3
3 | 80 | 23 | P/Final | 2024-10-29 | 12:34 | 2024-10-29 | 09:44 | NINA |  | 73 | 71 | / | / | 1.212 |  |  |  | 290 | 135 |  | Kinga |  | 3 | 3
3 | 80 | 24 | P/Final | 2024-10-29 | 12:34 | 2024-10-29 | 09:44 | NINA |  | 75 | 72 | / | / | 1.248 |  |  |  | 293 | 133 |  | Kinga |  | 3 | 3
2 | 20 | 25 | P/Final | 2024-10-29 | 21:15 | 2024-10-29 | 14:31 | FLORICA | PRECI | 13 | 12 | / | / | 0.161 |  |  |  | 51.7 |  |  | Monika |  | 3 | 2 |  | NEW CUVETTE
2 | 20 | 26 | P/Final | 2024-10-29 | 21:15 | 2024-10-29 | 14:31 | FLORICA | PRECI | 12 | 12 | / | / | 0.143 |  |  |  | 54.0 |  |  | Monika |  | 3 | 2
2 | 20 | 27 | P/Final | 2024-10-29 | 21:16 | 2024-10-29 | 14:31 | FLORICA | PRECI | 12 | 12 | / | / | 0.153 |  |  |  | 51.9 |  |  | Monika |  | 3 | 2
2 | 20 | 28 | P/Final | 2024-10-29 | 21:16 | 2024-10-29 | 14:31 | FLORICA | PRECI | 14 | 13 | / | / | 0.169 |  |  |  | 60.5 |  |  | Monika |  | 3 | 2
2 | 20 | 29 | Old A | 2024-10-29 | 21:17 | 2024-10-29 | 14:31 | FLORICA | PRECI | 15 | 15 | / | / | 0.189 |  |  |  | 63.8 |  |  | Brigitta P |  | 3 | 2 |  | PLICURI DIN CUTIE ADUSE DE MINE
2 | 20 | 30 | P/Final | 2024-10-29 | 21:22 | 2024-10-29 | 14:31 | FLORICA | PRECI | 14 | 14 | / | / | 0.177 |  |  |  | 60.7 | 141 |  | Brigitta P |  | 3 | 2 |  | PLICURI DIN CUTIE ADUSE DE MINE
2 | 20 | 31 | P/Final | 2024-10-29 | 21:22 | 2024-10-29 | 14:31 | FLORICA | PRECI | 14 | 14 | / | / | 0.170 |  |  |  | 60.9 | 142 |  | Brigitta P |  | 3 | 2 |  | PLICURI DIN CUTIE ADUSE DE MINE
3 | 80 | 32 | P/Final | 2024-10-29 | 21:25 | 2024-10-29 | 14:31 | FLORICA | PRECI | 64 | 63 | / | / | 1.054 |  |  |  | 251 | 142 |  | Brigitta P |  | 3 | 3
2 | 20 | 33 | Old A | 2024-10-30 | 11:30 | 2024-10-30 | 08:10 | NINA | PRECI | 16 | 15 | / | / | 0.198 |  |  |  | 62.7 |  |  | Kinga |  | 3 | 2
2 | 20 | 34 | Old A | 2024-10-30 | 11:31 | 2024-10-30 | 08:10 | NINA | PRECI | 14 | 13 | / | / | 0.173 |  |  |  | 57.5 |  |  | Kinga |  | 3 | 2
3 | 80 | 35 | Old A | 2024-10-30 | 11:33 | 2024-10-30 | 08:10 | NINA | PRECI | 73 | 69 | / | / | 1.213 |  |  |  | 297 |  |  | Kinga |  | 3 | 3
3 | 80 | 36 | Old A | 2024-10-30 | 11:33 | 2024-10-30 | 08:10 | NINA | PRECI | 79 | 76 | / | / | 1.334 |  |  |  | 335 |  |  | Kinga |  | 3 | 3
3 | 80 | 37 | P/Final | 2024-10-29 | 12:15 | 2024-10-29 | 14:31 | FLORICA | PRECI | 70 | 67 | / | / | 1.141 |  |  |  | 270 |  |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
3 | 80 | 38 | P/Final | 2024-10-29 | 12:15 | 2024-10-29 | 14:31 | FLORICA | PRECI | 73 | 71 | / | / | 1.220 |  |  |  | 291 |  |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
3 | 80 | 39 | P/Final | 2024-10-29 | 12:20 | 2024-10-29 | 14:31 | FLORICA | PRECI | 71 | 68 | / | / | 1.220 |  |  |  | 275 |  |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
3 | 80 | 40 | P/Final | 2024-10-30 | 12:50 | 2024-10-29 | 14:31 | NINA | PRECI | 73 | 71 | / | / | 1.226 |  |  |  | 296 |  |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
3 | 80 | 41 | P/Final | 2024-10-30 | 12:50 | 2024-10-29 | 14:31 | NINA | PRECI | 69 | 66 | / | / | 1.143 |  |  |  | 289 |  |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
3 | 80 | 42 | P/Final | 2024-10-30 | 12:50 | 2024-10-29 | 14:31 | NINA | PRECI | 73 | 71 | / | / | 1.224 |  |  |  | 289 | 135 |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
3 | 80 | 43 | P/Final | 2024-10-30 | 12:50 | 2024-10-29 | 14:31 | NINA | PRECI | 73 | 70 | / | / | 1.219 |  |  |  | 188 | 135 |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
2 | 20 | 44 | P/Final | 2024-10-30 | 12:50 | 2024-10-29 | 14:31 | NINA | PRECI | 13 | 12 | / | / | 0.165 |  |  |  | 60.5 |  |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
2 | 20 | 45 | P/Final | 2024-10-30 | 12:50 | 2024-10-29 | 14:31 | NINA | PRECI | 14 | 14 | / | / | 0.170 |  |  |  | 60.8 | 141 |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
2 | 20 | 46 | P/Final | 2024-10-30 | 12:50 | 2024-10-29 | 14:31 | NINA | PRECI | 14 | 14 | / | / | 0.176 |  |  |  | 60.5 | 135 |  | Brigitta P |  | 3 | 3 |  | PLICURI DIN CUTIE ADUSE DE MINE
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 70 mg/L | 9 | 16 | 72 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 13 mg/L | 9 | 16 | 14 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0 mg/L | 1 | 2 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 5 | 0 | YES
20 | 14 ÷ 26 | 14 | YES
80 | 70 ÷ 90 | 72 | YES
Validation Date | by