## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93751-0
1034/N | HI93751-0 | CP-R56 | W 20/2 |  | Parameter Formula | SO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Sulfate Reagent | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 130 | 150
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-17 | 2025-07-18 | PRECI |  |  | 1032
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97751 | CTO-709
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-803
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 20 | 14 | 26 |  | MR32/S |  | 5 | & | 6% | 100% |  | 2.0 | 1.8 | 2.2
3 | 80 | 70 | 90
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97751 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 20 | 1 | Old A | 2025-07-17 | 08:33 | 2025-07-17 | 07:02 | FLORICA | PRECI | 16 | 15 | / | / | 0.199 |  |  |  | 59.3 |  |  | Kinga |  | 3 | 2 | 23244
2 | 20 | 2 | Old A | 2025-07-17 | 08:33 | 2025-07-17 | 07:02 | FLORICA | PRECI | 17 | 16 | / | / | 0.217 |  |  |  | 65.5 |  |  | Kinga |  | 3 | 2 | 23244
3 | 80 | 3 | Old A | 2025-07-17 | 08:38 | 2025-07-17 | 07:02 | FLORICA | PRECI | 75 | 72 | / | / | 1.262 |  |  |  | 316 |  |  | Kinga |  | 3 | 3 | 23244
3 | 80 | 4 | Old A | 2025-07-17 | 08:38 | 2025-07-17 | 07:02 | FLORICA | PRECI | 84 | 80 | / | / | 1.424 |  |  |  | 387 |  |  | Kinga |  | 3 | 3 | 23244
1 | 0 | 5 | Old A | 2025-07-17 | 08:39 | 2025-07-17 | 07:02 | FLORICA | PRECI | 1 | 1 | / | / | 0.007 |  |  |  | 1.32 | 138 |  | Kinga |  | 3 | 1 | 23244
1 | 0 | 6 | Old A | 2025-07-17 | 08:41 | 2025-07-17 | 07:02 | FLORICA | PRECI | 1 | 0 | / | / | 0.007 |  |  |  | 1.32 | 148 |  | Kinga |  | 3 | 1 | 23244
2 | 20 | 7 | P/FINAL | 2025-07-17 | 08:46 | 2025-07-17 | 07:02 | FLORICA | PRECI | 21 | 20 | / | / | 0.278 |  |  |  | 83.5 | 126 |  | Kinga |  | 3 | 2 | 23244
2 | 20 | 8 | P/FINAL | 2025-07-17 | 08:47 | 2025-07-17 | 07:02 | FLORICA | PRECI | 19 | 18 | / | / | 0.244 | 2.228 |  |  | 74.5 | 131 |  | Kinga |  | 3 | 2 | 23244
2 | 20 | 9 | P/FINAL | 2025-07-17 | 08:47 | 2025-07-17 | 07:02 | FLORICA | PRECI | 18 | 17 | / | / | 0.232 |  |  |  | 67.9 | 149 |  | Kinga |  | 3 | 2 | 23244
3 | 80 | 10 | P/FINAL | 2025-07-17 | 08:48 | 2025-07-17 | 07:02 | FLORICA | PRECI | 82 | 78 | / | / | 1.388 |  |  |  | 374 | 140 |  | Kinga |  | 3 | 3 | 23244
3 | 80 | 11 | P/FINAL | 2025-07-17 | 08:49 | 2025-07-17 | 07:02 | FLORICA | PRECI | 80 | 78 | / | / | 1.343 | 2.185 |  |  | 361 |  |  | Kinga |  | 3 | 3 | 23244
3 | 80 | 12 | P/FINAL | 2025-07-17 | 08:49 | 2025-07-17 | 07:02 | FLORICA | PRECI | 84 | 78 | / | / | 1.413 |  |  |  | 387 |  |  | Kinga |  | 3 | 3 | 23244
1 | 0 | 13 | P/FINAL | 2025-07-17 | 08:50 | 2025-07-17 | 07:02 | FLORICA | PRECI | 1 | 0 | / | / | 0.006 |  |  |  | 0.74 |  |  | Kinga |  | 3 | 1 | 23244
1 | 0 | 14 | P/FINAL | 2025-07-17 | 08:51 | 2025-07-17 | 07:02 | FLORICA | PRECI | 0 | 0 | / | / | 0.003 | 2.169 |  |  | 0.74 |  |  | Kinga |  | 3 | 1 | 23244
2 | 20 | 15 | Old A | 2025-07-18 | 08:53 | 2025-07-18 | 06:52 | FLORICA | preci | 26 | 25 | / | / | 0.374 |  |  |  | 96.5 |  |  | Kinga |  | 3 | 2 | 23244
2 | 20 | 16 | Old A | 2025-07-18 | 08:53 | 2025-07-18 | 06:52 | FLORICA | preci | 25 | 24 | / | / | 0.343 |  |  |  | 92.4 |  |  | Kinga |  | 3 | 2 | 23244
3 | 80 | 17 | Old A | 2025-07-18 | 08:54 | 2025-07-18 | 06:52 | FLORICA | preci | 77 | 77 | / | / | 1.287 |  |  |  | 335 |  |  | Kinga |  | 3 | 3 | 23244
3 | 80 | 18 | Old A | 2025-07-18 | 08:54 | 2025-07-18 | 06:52 | FLORICA | preci | 75 | 77 | / | / | 1.276 |  |  |  | 331 |  |  | Kinga |  | 3 | 3 | 23244
1 | 0 | 19 | Old A | 2025-07-18 | 08:55 | 2025-07-18 | 06:52 | FLORICA | preci | 0 | 0 | / | / | 0.001 |  |  |  | 0.66 |  |  | Kinga |  | 3 | 1 | 23244
1 | 0 | 20 | Old A | 2025-07-18 | 08:56 | 2025-07-18 | 06:52 | FLORICA | preci | 0 | 0 | / | / | 0.001 |  |  |  | 1.03 |  |  | Kinga |  | 3 | 1 | 23244
3 | 80 | 21 | P/FINAL | 2025-07-18 | 08:57 | 2025-07-18 | 06:52 | FLORICA | preci | 81 | 71 | / | / | 1.363 |  |  |  | 361 | 123 |  | Kinga |  | 3 | 3 | 23244
3 | 80 | 22 | P/FINAL | 2025-07-18 | 08:57 | 2025-07-18 | 06:52 | FLORICA | preci | 78 | 73 | / | / | 1.363 |  |  |  | 361 | 92 |  | Kinga |  | 3 | 3 | 23244
3 | 80 | 23 | P/FINAL | 2025-07-18 | 08:57 | 2025-07-18 | 06:52 | FLORICA | preci | 81 | 71 | / | / | 1.363 |  |  |  | 361 | 125 |  | Kinga |  | 3 | 3 | 23244
2 | 20 | 24 | P/FINAL | 2025-07-18 | 08:58 | 2025-07-18 | 06:52 | FLORICA | preci | 19 | 18 | / | / | 0.259 |  |  |  | 78.4 | 137 |  | Kinga |  | 3 | 2 | 23244
2 | 20 | 25 | P/FINAL | 2025-07-18 | 08:58 | 2025-07-18 | 06:52 | FLORICA | preci | 18 | 17 | / | / | 0.230 |  |  |  | 73.3 | 118 |  | Kinga |  | 3 | 2 | 23244
2 | 20 | 26 | P/FINAL | 2025-07-18 | 08:58 | 2025-07-18 | 06:52 | FLORICA | preci | 16 | 15 | / | / | 0.204 |  |  |  | 61.3 | 123 |  | Kinga |  | 3 | 2 | 23244
1 | 0 | 27 | P/FINAL | 2025-07-18 | 08:59 | 2025-07-18 | 06:52 | FLORICA | preci | 0 | 0 | / | / | 0.002 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 1 | 23244
1 | 0 | 28 | P/FINAL | 2025-07-18 | 08:59 | 2025-07-18 | 06:52 | FLORICA | preci | 0 | 0 | / | / | 0.001 |  |  |  | 0.61 |  |  | Kinga |  | 3 | 1 | 23244
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 18 mg/L | 6 | 12 | 18 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 78 mg/L | 6 | 12 | 78 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 5 | 0 | YES
20 | 14 ÷ 26 | 18 | YES
80 | 70 ÷ 90 | 78 | YES
Validation Date | by