## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93751-0
1108 | HI93751-0 | CP-R56 | W28/1 |  | Parameter Formula | SO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Sulfate Reagent | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 130 | 150
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-09 | 2025-07-22 | 1 HEAD |  |  | 1032
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97751 | CTO-709
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 5 |  | MR32/S |  | 5 | & | 6% | 100% |  | 2.0 | 1.8 | 2.2
3 | 80 | 70 | 90
2 | 20 | 14 | 26
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97751 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-07-09 | 15:25 | 2025-07-09 | 15:00 | ERIKA |  | 0 | 0 | / | / | -0.003 |  |  |  | 0.74 |  |  | Andrea V |  | 3 | 1
1 | 0 | 2 | Old A | 2025-07-09 | 15:25 | 2025-07-09 | 15:00 | ERIKA |  | 1 | 1 | / | / | 0.005 |  |  |  | 1.66 |  |  | Andrea V |  | 3 | 1
3 | 80 | 3 | Old A | 2025-07-09 | 15:25 | 2025-07-09 | 15:00 | ERIKA |  | 89 | 85 | / | / | 1.509 |  |  |  | 417 |  |  | Andrea V |  | 3 | 3
3 | 80 | 4 | Old A | 2025-07-09 | 15:26 | 2025-07-09 | 15:00 | ERIKA |  | 85 | 80 | / | / | 1.430 |  |  |  | 372 |  |  | Andrea V |  | 3 | 3
2 | 20 | 5 | Old A | 2025-07-09 | 15:37 | 2025-07-09 | 15:00 | ERIKA |  | 17 | 17 | / | / | 0.217 |  |  |  | 62.9 |  |  | Andrea V |  | 3 | 2 | 23244
2 | 20 | 6 | Old A | 2025-07-09 | 15:38 | 2025-07-09 | 15:00 | ERIKA |  | 14 | 14 | / | / | 0.172 |  |  |  | 57.4 |  |  | Andrea V |  | 3 | 2 | 23244
1 | 0 | 7 | Valid | 2025-07-09 | 15:46 | 2025-07-09 | 15:00 | ERIKA |  | 0 | 1 | / | / | -0.002 | 2.150 |  |  | 0.33 |  |  | Andrea V |  | 3 | 1 | 23244
1 | 0 | 8 | Valid | 2025-07-09 | 15:47 | 2025-07-09 | 15:00 | ERIKA |  | 0 | 0 | / | / | 0.002 |  |  |  | 0.34 | 63 |  | Andrea V |  | 3 | 1 | 23244
2 | 20 | 9 | Valid | 2025-07-09 | 15:47 | 2025-07-09 | 15:00 | ERIKA |  | 19 | 19 | / | / | 0.241 | 2.141 |  |  | 73.6 | 87 |  | Andrea V |  | 3 | 2 | 23244
2 | 20 | 10 | Valid | 2025-07-09 | 15:47 | 2025-07-09 | 15:00 | ERIKA |  | 16 | 15 | / | / | 0.198 |  |  |  | 70.7 | 81 |  | Andrea V |  | 3 | 2 | 23244
2 | 20 | 11 | Valid | 2025-07-09 | 15:48 | 2025-07-09 | 15:00 | ERIKA |  | 15 | 15 | / | / | 0.187 |  |  |  | 67.1 | 85 |  | Andrea V |  | 3 | 2 | 23244
3 | 80 | 12 | Valid | 2025-07-09 | 15:50 | 2025-07-09 | 15:00 | ERIKA |  | 78 | 76 | / | / | 1.317 | 2.150 |  |  | 318 | 79 |  | Andrea V |  | 3 | 3 | 23244
3 | 80 | 13 | Valid | 2025-07-09 | 15:51 | 2025-07-09 | 15:00 | ERIKA |  | 78 | 76 | / | / | 1.305 | 2.144 |  |  | 312 | 71 |  | Andrea V |  | 3 | 3 | 23244
3 | 80 | 14 | Valid | 2025-07-09 | 15:54 | 2025-07-09 | 15:00 | ERIKA |  | 75 | 73 | / | / | 1.257 |  |  |  | 297 |  |  | Andrea V |  | 3 | 3 | 23244
2 | 20 | 15 | Old A | 2025-07-18 | 08:26 | 2025-07-18 | 06:52 | FLORICA | PRECI | 26 | 25 | / | / | 0.374 |  |  |  | 96.5 |  |  | Kinga |  | 3 | 2 | 82046
2 | 20 | 16 | Old A | 2025-07-18 | 08:26 | 2025-07-18 | 06:52 | FLORICA | PRECI | 25 | 24 | / | / | 0.343 |  |  |  | 92.5 |  |  | Kinga |  | 3 | 2 | 82046
2 | 20 | 17 | Old A | 2025-07-18 | 08:28 | 2025-07-18 | 06:52 | FLORICA | PRECI | 23 | 22 | / | / | 0.310 |  |  |  | 87.9 |  |  | Kinga |  | 3 | 2 | 82046
1 | 0 | 18 | Old A | 2025-07-18 | 08:29 | 2025-07-18 | 06:52 | FLORICA | PRECI | 0 | 0 | / | / | 0.001 |  |  |  | 0.66 |  |  | Kinga |  | 3 | 1 | 82046
1 | 0 | 19 | Old A | 2025-07-18 | 08:30 | 2025-07-18 | 06:52 | FLORICA | PRECI | 0 | 0 | / | / | 0.003 |  |  |  | 1.03 |  |  | Kinga |  | 3 | 1 | 82046
3 | 80 | 20 | Old A | 2025-07-18 | 08:32 | 2025-07-18 | 06:52 | FLORICA | PRECI | 77 | 72 | / | / | 1.287 |  |  |  | 335 |  |  | Kinga |  | 3 | 3 | 82046
3 | 80 | 21 | Old A | 2025-07-18 | 08:35 | 2025-07-18 | 06:52 | FLORICA | PRECI | 75 | 71 | / | / | 1.276 |  |  |  | 331 |  |  | Kinga |  | 3 | 3 | 82046
3 | 80 | 22 | P/FINAL | 2025-07-18 | 08:40 | 2025-07-18 | 06:52 | FLORICA | PRECI | 81 | 78 | / | / | 1.368 |  |  |  | 376 | 123 |  | Kinga |  | 3 | 3 | 82046
3 | 80 | 23 | P/FINAL | 2025-07-18 | 08:41 | 2025-07-18 | 06:52 | FLORICA | PRECI | 78 | 73 | / | / | 1.315 |  |  |  | 337 | 92 |  | Kinga |  | 3 | 3 | 82046
3 | 80 | 24 | P/FINAL | 2025-07-18 | 08:41 | 2025-07-18 | 06:52 | FLORICA | PRECI | 81 | 71 | / | / | 1.363 |  |  |  | 361 | 126 |  | Kinga |  | 3 | 3 | 82046
2 | 20 | 25 | P/FINAL | 2025-07-18 | 08:42 | 2025-07-18 | 06:52 | FLORICA | PRECI | 19 | 18 | / | / | 0.250 |  |  |  | 78.4 | 137 |  | Kinga |  | 3 | 2 | 82046
2 | 20 | 26 | P/FINAL | 2025-07-18 | 08:43 | 2025-07-18 | 06:52 | FLORICA | PRECI | 18 | 17 | / | / | 0.230 |  |  |  | 73.3 | 118 |  | Kinga |  | 3 | 2 | 82046
2 | 20 | 27 | P/FINAL | 2025-07-18 | 08:43 | 2025-07-18 | 06:52 | FLORICA | PRECI | 16 | 15 | / | / | 0.204 |  |  |  | 61.3 | 123 |  | Kinga |  | 3 | 2 | 82046
1 | 0 | 28 | P/FINAL | 2025-07-18 | 08:44 | 2025-07-18 | 06:52 | FLORICA | PRECI | 0 | 0 | / | / | 0.002 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 1 | 82046
1 | 0 | 29 | P/FINAL | 2025-07-18 | 08:45 | 2025-07-18 | 06:52 | FLORICA | PRECI | 0 | 0 | / | / | 0.001 |  |  |  | 0.61 |  |  | Kinga |  | 3 | 1 | 82046
2 | 20 | 30 | Old A | 2025-07-21 | 10:54 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 17 | 16 | / | / | 0.216 |  |  |  | 68.2 |  |  | Kinga |  | 3 | 2 | 82046
2 | 20 | 31 | Old A | 2025-07-21 | 10:55 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 18 | 17 | / | / | 0.233 |  |  |  | 73.4 |  |  | Kinga |  | 3 | 2 | 82046
3 | 80 | 32 | Old A | 2025-07-21 | 10:55 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 83 | 72 | / | / | 1.392 |  |  |  | 381 |  |  | Kinga |  | 3 | 3 | 82046
3 | 80 | 33 | Old A | 2025-07-21 | 10:56 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 80 | 70 | / | / | 1.340 |  |  |  | 351 |  |  | Kinga |  | 3 | 3 | 82046
1 | 0 | 34 | Old A | 2025-07-21 | 10:57 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 0 | 0 | / | / | 0.001 |  |  |  | 1.04 |  |  | Kinga |  | 3 | 1 | 82046
1 | 0 | 35 | Old A | 2025-07-21 | 10:58 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 0 | 1 | / | / | -0.002 |  |  |  | 0.89 |  |  | Kinga |  | 3 | 1 | 82046
3 | 80 | 36 | P/FINAL | 2025-07-21 | 11:11 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 70 | 68 | / | / | 1.155 |  |  |  | 305 |  |  | Kinga |  | 3 | 3 | 82046
1 | 0 | 37 | P/FINAL | 2025-07-21 | 11:13 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 0 | 0 | / | / | -0.003 | 2.392 |  |  | 0.52 |  |  | Kinga |  | 3 | 1 | 82046
1 | 0 | 38 | P/FINAL | 2025-07-21 | 11:13 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 0 | 0 | / | / | -0.002 | 2.429 |  |  | 0.37 | 115 |  | Kinga |  | 3 | 1 | 82046
3 | 80 | 39 | P/FINAL | 2025-07-21 | 11:16 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 69 | 60 | / | / | 1.147 | 2.409 |  |  | 0.37 | 116 |  | Kinga |  | 3 | 3 | 82046
3 | 80 | 40 | P/FINAL | 2025-07-21 | 11:18 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 70 | 67 | / | / | 1.152 | 2.377 |  |  | 303 | 125 |  | Kinga |  | 3 | 3 | 82046
2 | 20 | 41 | P/FINAL | 2025-07-21 | 11:21 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 10 | 9 | / | / | 0.120 |  |  |  | 42.5 | 133 |  | Kinga |  | 3 | 2 | 82046
2 | 20 | 42 | P/FINAL | 2025-07-21 | 11:24 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 8 | 7 | / | / | 0.093 | 2.426 |  |  | 29.5 | 120 |  | Kinga |  | 3 | 2 | 82046
2 | 20 | 43 | P/FINAL | 2025-07-21 | 11:24 | 2025-07-21 | 09:01 | GIORGIANA | PRECI | 9 | 9 | / | / | 0.111 | 2.451 |  |  | 40.3 |  |  | Kinga |  | 3 | 2 | 82046
2 | 20 | 44 | Valid | 2025-07-21 | 11:50 | 2025-07-21 | 09:01 | TAMARA |  | 13 | 133 | / | / | 0.162 |  |  |  | 60.6 | 155 |  | Kinga |  | 3 | 2 | 23244 | New eppendorf
3 | 80 | 45 | Valid | 2025-07-21 | 11:54 | 2025-07-21 | 09:01 | TAMARA |  | 71 | 70 | / | / | 1.189 |  |  |  | 309 | 156 |  | Kinga |  | 3 | 3 | 23244 | New eppendorf
3 | 80 | 46 | Valid | 2025-07-21 | 11:56 | 2025-07-21 | 09:01 | TAMARA |  | 79 | 76 | / | / | 1.329 | 2.309 |  |  | 344 | 157 |  | Kinga |  | 3 | 3 | 23244 | New eppendorf
3 | 80 | 47 | Valid | 2025-07-21 | 11:57 | 2025-07-21 | 09:01 | TAMARA |  | 73 | 72 | / | / | 1.220 |  |  |  | 321 | 157 |  | Kinga |  | 3 | 3 | 23244 | New eppendorf
2 | 20 | 48 | Valid | 2025-07-21 | 11:59 | 2025-07-21 | 09:01 | TAMARA |  | 13 | 13 | / | / | 0.157 | 2.352 |  |  | 57.9 | 155 |  | Kinga |  | 3 | 2 | 23244
2 | 20 | 49 | Valid | 2025-07-21 | 12:31 | 2025-07-21 | 09:01 | TAMARA | preci | 14 | 13 | / | / | 0.171 |  |  |  | 60.2 |  |  | Kinga |  | 3 | 2 | 121332
2 | 20 | 50 | Valid | 2025-07-21 | 12:32 | 2025-07-21 | 09:01 | TAMARA | preci | 13 | 13 | / | / | 0.168 |  |  |  | 60.7 |  |  | Kinga |  | 3 | 2 | 121332
2 | 20 | 51 | After correction | 2025-07-21 | 13:50 | 2025-07-09 | 10:30 | Mark/Erika |  | 12 | 12 | / | / | 0.150 |  |  |  | 54.0 |  |  | Kinga | 15%CM161 | 3 | 2 | 121332
2 | 20 | 52 | After correction | 2025-07-21 | 13:50 | 2025-07-09 | 10:30 | Mark/Erika |  | 12 | 12 | / | / | 0.156 |  |  |  | 56.6 |  |  | Kinga | 15%CM161 | 3 | 2 | 121332
3 | 80 | 53 | After correction | 2025-07-21 | 13:51 | 2025-07-09 | 10:30 | Mark/Erika |  | 66 | 65 | / | / | 1.082 |  |  |  | 290 |  |  | Kinga | 15%CM161 | 3 | 3 | 121332
3 | 80 | 54 | After correction | 2025-07-21 | 13:52 | 2025-07-09 | 10:30 | Mark/Erika |  | 69 | 67 | / | / | 1.133 |  |  |  | 300 |  |  | Kinga | 15%CM161 | 3 | 3 | 121332
2 | 20 | 55 | After correction | 2025-07-21 | 13:52 | 2025-07-09 | 10:30 | Mark/Erika |  | 15 | 15 | / | / | 0.185 |  |  |  | 64.8 |  |  | Kinga | 15%CM161 | 3 | 2 | 121332
3 | 80 | 56 | After correction | 2025-07-21 | 13:53 | 2025-07-09 | 10:30 | Mark/Erika |  | 72 | 70 | / | / | 1.201 |  |  |  | 314 |  |  | Kinga | 15%CM161 | 3 | 3 | 121332
2 | 20 | 57 | After correction | 2025-07-21 | 13:53 | 2025-07-09 | 10:30 | Mark/Erika |  | 17 | 16 | / | / | 0.222 | 2.353 |  |  | 72.2 |  |  | Kinga | 25%CM161 | 3 | 2 | 121332
2 | 20 | 58 | After correction | 2025-07-21 | 13:54 | 2025-07-09 | 10:30 | Mark/Erika |  | 17 | 16 | / | / | 0.220 |  |  |  | 69.7 |  |  | Kinga | 25%CM161 | 3 | 2 | 121332
3 | 80 | 59 | After correction | 2025-07-21 | 13:55 | 2025-07-09 | 10:30 | Mark/Erika |  | 82 | 78 | / | / | 1.384 |  |  |  | 368 |  |  | Kinga | 25%CM161 | 3 | 3 | 121332
3 | 80 | 60 | After correction | 2025-07-21 | 13:55 | 2025-07-09 | 10:30 | Mark/Erika |  | 82 | 78 | / | / | 1.379 | 2.350 |  |  | 360 |  |  | Kinga | 25%CM161 | 3 | 3 | 121332
3 | 80 | 61 | P/FINAL | 2025-07-21 | 16:15 | 2025-07-21 | 16:00 | ELENA | PRECI | 61 | 58 | / | / | 0.984 |  |  |  | 257 | 142 |  | Kinga |  | 3 | 3 | 1213332
3 | 80 | 62 | P/FINAL | 2025-07-21 | 16:16 | 2025-07-21 | 16:00 | ELENA | PRECI | 49 | 48 | / | / | 0.755 |  |  |  | 207 | 137 |  | Kinga |  | 3 | 3 | 1213332
2 | 20 | 63 | P/FINAL | 2025-07-21 | 16:17 | 2025-07-21 | 16:00 | ELENA | PRECI | 5 | 5 | / | / | 0.056 | 2.482 |  |  | 18.3 | 136 |  | Kinga |  | 3 | 2 | 1213332
2 | 20 | 64 | P/FINAL | 2025-07-21 | 16:18 | 2025-07-21 | 16:00 | ELENA | PRECI | 6 | 6 | / | / | 0.072 |  |  |  | 24.0 | 143 |  | Kinga |  | 3 | 2 | 1213332
3 | 80 | 65 | P/FINAL | 2025-07-21 | 16:18 | 2025-07-21 | 16:00 | ELENA | PRECI | 35 | 28 | / | / | 0.502 | 3.245 |  |  | 117 | 145 |  | Kinga |  | 3 | 3 | 1213332
2 | 20 | 66 | P/FINAL | 2025-07-21 | 16:19 | 2025-07-21 | 16:00 | ELENA | PRECI | 5 | 5 | / | / | 0.061 |  |  |  | 117 |  |  | Kinga |  | 3 | 2 | 1213332
1 | 0 | 67 | P/FINAL | 2025-07-21 | 16:22 | 2025-07-21 | 16:00 | ELENA | PRECI | 0 | 0 | / | / | -0.001 | 2.240 |  |  | 0.41 |  |  | Kinga |  | 3 | 1 | 1213332
1 | 0 | 68 | P/FINAL | 2025-07-21 | 16:23 | 2025-07-21 | 16:00 | ELENA | PRECI | 0 | 0 | / | / | 0.004 |  |  |  | 0.48 |  |  | Kinga |  | 3 | 1 | 1213332
2 | 20 | 69 | After correction | 2025-07-22 | 08:49 | 2025-07-22 | 08:30 | MARK |  | 13 | 10 | / | / | 0.158 | 2.403 |  |  | 59.2 | 152 |  | Kinga |  | 3 | 2 | 121332
2 | 20 | 70 | After correction | 2025-07-22 | 08:50 | 2025-07-22 | 08:30 | MARK |  | 11 | 9 | / | / | 0.142 | 2.370 |  |  | 54.0 | 149 |  | Kinga |  | 3 | 2 | 121332
3 | 80 | 71 | After correction | 2025-07-22 | 08:51 | 2025-07-22 | 08:30 | MARK |  | 73 | 69 | / | / | 1.222 | 2.332 |  |  | 322 | 147 |  | Kinga |  | 3 | 3 | 121332
3 | 80 | 72 | After correction | 2025-07-22 | 08:51 | 2025-07-22 | 08:30 | MARK |  | 68 | 64 | / | / | 1.129 | 2.402 |  |  | 294 | 154 |  | Kinga |  | 3 | 3 | 121332
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 64 mg/L | 9 | 18 | 64 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 10 mg/L | 9 | 18 | 10 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 5 | 0 | YES
20 | 14 ÷ 26 | 10 | NO
80 | 70 ÷ 90 | 64 | NO
Validation Date | by
2025-08-05 | Eugenia