## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93751-0
1144/N | HI93751-0 | CP-R56 | W 34/1 |  | Parameter Formula | SO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Sulfate Reagent | 2030-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 130 | 150
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0542
[6 empty] | Expiration A | Expiration B | Expiration D
2029-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97751 | CTO-709
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 20 | 14 | 26 |  | MR32/S |  | 5 | & | 6% | 100% |  | 2.0 | 1.8 | 2.2
3 | 80 | 70 | 90
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 20 | 1 | Test | 2025-09-23 | 11:30 | 2025-09-23 | 09:39 | ERIKA |  | 18 | 19 | / | / | 0.236 | 2.270 |  |  | 78.8 |  |  | Kinga |  | 3 | 2
2 | 20 | 2 | Test | 2025-09-23 | 11:31 | 2025-09-23 | 09:39 | ERIKA |  | 16 | 16 | / | / | 0.206 |  |  |  | 76.8 |  |  | Kinga |  | 3 | 2
3 | 80 | 3 | Test | 2025-09-23 | 11:31 | 2025-09-23 | 09:39 | ERIKA |  | 80 | 79 | / | / | 1.343 |  |  |  | 331 |  |  | Kinga |  | 3 | 3
3 | 80 | 4 | Test | 2025-09-23 | 11:32 | 2025-09-23 | 09:39 | ERIKA |  | 85 | 83 | / | / | 1.438 | 2.218 |  |  | 358 |  |  | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
20 | 14 ÷ 26 | 0 | NO
80 | 70 ÷ 90 | 0 | NO
Validation Date | by