## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93751-0
1258/TW | HI93751-0 | CP-R56 | W 48/1 |  | Parameter Formula | SO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Sulfate Reagent | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 130 | 150
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-28 | 2026-01-28 | 1 HEAD |  |  | 1170
[6 empty] | Expiration A | Expiration B | Expiration D
2030-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97751 | CTO-709
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-797
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
4 | 50 | 42 | 58 |  | MR32/S |  | 5 | & | 6% | 100% |  | 2.0 | 1.8 | 2.2
5 | 63 | 54 | 72
6 | 103 | 92 | 114
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97751 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
4 | 50 | 1 | Old A | 2026-01-28 | 11:10 | 2026-01-27 | 15:51 | TAMARA | 1 | 53 | 51 | / | / | 0.834 |  |  |  | 226 |  |  | Kinga |  | 3 | 4
4 | 50 | 2 | Old A | 2026-01-28 | 11:10 | 2026-01-27 | 15:51 | TAMARA | 1 | 51 | 49 | / | / | 0.831 |  |  |  | 221 |  |  | Kinga |  | 3 | 4
4 | 50 | 3 | P/FINAL | 2026-01-28 | 11:11 | 2026-01-27 | 15:51 | TAMARA | 1 | 48 | 46 | / | / | 0.743 |  |  |  | 196 |  |  | Kinga |  | 3 | 4
4 | 50 | 4 | P/FINAL | 2026-01-28 | 11:11 | 2026-01-27 | 15:51 | TAMARA | 1 | 50 | 46 | / | / | 0.773 |  |  |  | 199 |  |  | Kinga |  | 3 | 4
5 | 63 | 5 | Old A | 2026-01-28 | 11:12 | 2026-01-27 | 15:51 | TAMARA | 1 | 69 | 65 | / | / | 1.134 |  |  |  | 320 |  |  | Kinga |  | 3 | 5
5 | 63 | 6 | Old A | 2026-01-28 | 11:12 | 2026-01-27 | 15:51 | TAMARA | 1 | 68 | 65 | / | / | 1.128 |  |  |  | 320 | 175 |  | Kinga |  | 3 | 5
5 | 63 | 7 | P/FINAL | 2026-01-28 | 11:13 | 2026-01-27 | 15:51 | TAMARA | 1 | 59 | 56 | / | / | 0.940 |  |  |  | 245 | 144 |  | Kinga |  | 3 | 5
5 | 63 | 8 | P/FINAL | 2026-01-28 | 11:13 | 2026-01-27 | 15:51 | TAMARA | 1 | 59 | 58 | / | / | 0.941 |  |  |  | 260 | 146 |  | Kinga |  | 3 | 5
5 | 63 | 9 | P/FINAL | 2026-01-28 | 11:13 | 2026-01-27 | 15:51 | TAMARA | 1 | 61 | 59 | / | / | 0.993 |  |  |  | 264 | 135 |  | Kinga |  | 3 | 5
6 | 103 | 10 | Old A | 2026-01-28 | 11:14 | 2026-01-27 | 15:51 | TAMARA | 1 | 114 | 113 | / | / | 1.868 |  |  |  | 672 | 140 |  | Kinga |  | 3 | 6
6 | 103 | 11 | Old A | 2026-01-28 | 11:15 | 2026-01-27 | 15:51 | TAMARA | 1 | 115 | 112 | / | / | 1.873 |  |  |  | 666 | 151 |  | Kinga |  | 3 | 6
6 | 103 | 12 | P/FINAL | 2026-01-28 | 11:15 | 2026-01-27 | 15:51 | TAMARA | 1 | 99 | 94 | / | / | 1.657 |  |  |  | 546 |  |  | Kinga |  | 3 | 6
6 | 103 | 13 | P/FINAL | 2026-01-28 | 11:15 | 2026-01-27 | 15:51 | TAMARA | 1 | 101 | 96 | / | / | 1.692 |  |  |  | 549 |  |  | Kinga |  | 3 | 6
6 | 103 | 14 | P/FINAL | 2026-01-28 | 11:16 | 2026-01-27 | 15:51 | TAMARA | 1 | 103 | 98 | / | / | 1.698 |  |  |  | 559 | 139 |  | Kinga |  | 3 | 6
4 | 50 | 15 | P/FINAL | 2026-01-28 | 11:17 | 2026-01-28 | 07:13 | MARA |  | 60 | 57 | / | / | 0.970 |  |  |  | 247 | 149 |  | Kinga |  | 3 | 4
4 | 50 | 16 | P/FINAL | 2026-01-28 | 11:17 | 2026-01-28 | 07:13 | MARA |  | 61 | 58 | / | / | 0.973 |  |  |  | 248 | 144 |  | Kinga |  | 3 | 4
6 | 103 | 17 | P/FINAL | 2026-01-28 | 11:18 | 2026-01-28 | 07:13 | MARA |  | 102 | 98 | / | / | 1.710 |  |  |  | 528 | 151 |  | Kinga |  | 3 | 5
6 | 103 | 18 | P/FINAL | 2026-01-28 | 11:18 | 2026-01-28 | 07:13 | MARA |  | 104 | 100 | / | / | 1.727 |  |  |  | 524 | 138 |  | Kinga |  | 3 | 5
6 | 103 | 19 | P/FINAL | 2026-01-28 | 11:19 | 2026-01-28 | 07:13 | MARA |  | 102 | 99 | / | / | 1.713 |  |  |  | 531 | 145 |  | Kinga |  | 3 | 5
4 | 50 | 20 | P/FINAL | 2026-01-28 | 11:19 | 2026-01-28 | 07:13 | MARA |  | 50 | 46 | / | / | 0.764 |  |  |  | 202 |  |  | Kinga |  | 3 | 4
4 | 50 | 21 | P/FINAL | 2026-01-28 | 11:20 | 2026-01-28 | 07:13 | MARA |  | 48 | 45 | / | / | 0.736 |  |  |  | 193 |  |  | Kinga |  | 3 | 4
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 51 mg/L | 6 | 12 | 51 mg/L
Standard # 5
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 59 mg/L | 3 | 6 | 59 mg/L
Standard # 6
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 100 mg/L | 6 | 12 | 100 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
50 | 42 ÷ 58 | 51 | YES
63 | 54 ÷ 72 | 59 | YES
103 | 92 ÷ 114 | 100 | YES
Validation Date | by