## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI93766-0 | HI93767-0
1114 | HI93767-0 | CP-R59 | W29_2025 |  | Parameter Formula | N-NO3 | N
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Nitrogen Reagent | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1114 | 1627 | 0626 | 1094 | 1023
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-07-01 | 2027-07-01 | 2030-07-01 | 2030-07-01 | 2030-04-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2025-07-22 | 2025-07-31 | PRECI |  |  | 1020
[6 empty] | Expiration A | Expiration B | Expiration D
2030-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code
HI801 | CTO-618 | HI833099 | CTO-520 | HI802 | CTO-862
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 1.0 |  | MR09 |  | 1.0 | or | 3% | 100% |  | 4.3 | 4.1 | 4.5
2 | 10.0 | 9.0 | 11.0
3 | 20.0 | 19.0 | 21.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI833099 | M. 3 HI802 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | Old A | 2025-07-29 | 13:53 | 2025-07-28 | 14:41 | ELENA |  | 0.2 | 0.3 | 0.3 | / | -0.001 | [5 empty] | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 2 | P/FINAL | 2025-07-29 | 13:56 | 2025-07-28 | 14:41 | ELENA |  | 0.2 | 0.2 | 0.2 | / | -0.001 | [5 empty] | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 3 | P/FINAL | 2025-07-29 | 13:56 | 2025-07-28 | 14:41 | ELENA |  | 0.6 | 0.3 | 0.4 | / | 0.008 | [5 empty] | 1 | Andrea V |  | 3 | 1
2 | 10.0 | 4 | Old A | 2025-07-29 | 14:08 | 2025-07-28 | 14:41 | ELENA |  | 9.6 | 9.5 | 9.4 | / | 0.185 | [5 empty] | 1 | Andrea V |  | 3 | 2
2 | 10.0 | 5 | P/FINAL | 2025-07-29 | 14:10 | 2025-07-28 | 14:41 | ELENA |  | 9.8 | 9.5 | 9.4 | / | 0.189 | [5 empty] | 1 | Andrea V |  | 3 | 2
2 | 10.0 | 6 | P/FINAL | 2025-07-29 | 14:10 | 2025-07-28 | 14:41 | ELENA |  | 9.4 | 9.1 | 9.2 | / | 0.181 | [5 empty] | 1 | Andrea V |  | 3 | 2
3 | 20.0 | 7 | Old A | 2025-07-29 | 14:15 | 2025-07-28 | 14:41 | ELENA |  | 20.0 | 19.8 | 19.7 | / | 0.362 | [5 empty] | 1 | Andrea V |  | 3 | 3
3 | 20.0 | 8 | P/FINAL | 2025-07-29 | 14:17 | 2025-07-28 | 14:41 | ELENA |  | 20.2 | 19.7 | 19.9 | / | 0.366 | [5 empty] | 1 | Andrea V |  | 3 | 3
3 | 20.0 | 9 | P/FINAL | 2025-07-29 | 14:17 | 2025-07-28 | 14:41 | ELENA |  | 20.8 | 20.4 | 20.5 | / | 0.375 | [5 empty] | 1 | Andrea V |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 6 | 0.3 mg/L | 2 | 6 | 0.3 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 6 | 9.4 mg/L | 2 | 6 | 9.4 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 6 | 20.3 mg/L | 2 | 6 | 20.3 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 1.0 | 0.3 | YES
10.0 | 9.0 ÷ 11.0 | 9.4 | YES
20.0 | 19.0 ÷ 21.0 | 20.3 | YES
Validation Date | by