## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI747-0 | HI95747-0
0997 | HI747-0 | CP-R60 | W 15/1 |  | Parameter Formula | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper LR Reagent | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 260 | 280
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 999 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-04-16 | 2025-04-16 | PRECI |  |  | 0509
[6 empty] | Expiration A | Expiration B | Expiration D
2029-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97747 | CTO-649
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 200 | 180 | 220 |  | MR44 |  | 10 | & | 5% | 100% |  | 6.5 | 6.2 | 6.8
3 | 800 | 750 | 850
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 200 | 1 | Old A | 2025-04-16 | 10:21 | 2025-04-16 | 07:10 | NINA |  | 200 | 200 | / | / | 0.054 |  |  |  | 1.26 |  |  | Kinga |  | 3 | 2 | 95514
3 | 800 | 2 | Old A | 2025-04-16 | 10:23 | 2025-04-16 | 07:10 | NINA |  | 820 | 806 | / | / | 0.205 |  |  |  | 1.50 |  |  | Kinga |  | 3 | 3 | 95514
1 | 0 | 3 | Old A | 2025-04-16 | 10:24 | 2025-04-16 | 07:10 | NINA |  | 10 | 11 | / | / | 0.004 |  |  |  | 1.67 |  |  | Kinga |  | 3 | 1 | 95514
2 | 200 | 4 | P/FINAL | 2025-04-16 | 10:28 | 2025-04-16 | 07:10 | NINA |  | 185 | 180 | / | / | 0.050 |  |  |  | 0.52 | 255 |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 5 | P/FINAL | 2025-04-16 | 10:28 | 2025-04-16 | 07:10 | NINA |  | 185 | 184 | / | / | 0.050 | 6.374 |  |  | 0.61 | 265 |  | Kinga |  | 3 | 2 | 95514
3 | 800 | 6 | P/FINAL | 2025-04-16 | 10:31 | 2025-04-16 | 07:10 | NINA |  | 824 | 798 | / | / | 0.206 |  |  |  | 0.60 | 246 |  | Kinga |  | 3 | 3 | 95514
3 | 800 | 7 | P/FINAL | 2025-04-16 | 10:32 | 2025-04-16 | 07:10 | NINA |  | 807 | 789 | / | / | 0.202 | 6.359 |  |  | 0.48 | 258 |  | Kinga |  | 3 | 3 | 95514
1 | 0 | 8 | P/FINAL | 2025-04-16 | 10:33 | 2025-04-16 | 07:10 | NINA |  | 0 | 0 | / | / | 0.002 |  |  |  | 0.45 | 271 |  | Kinga |  | 3 | 1 | 95514
1 | 0 | 9 | P/FINAL | 2025-04-16 | 10:34 | 2025-04-16 | 07:10 | NINA |  | 0 | 0 | / | / | 0.003 | 6.412 |  |  | 0.44 |  |  | Kinga |  | 3 | 1 | 95514
2 | 200 | 10 | P/FINAL | 2025-04-16 | 10:44 | 2025-04-15 | 20:27 | FLORICA |  | 189 | 180 | / | / | 0.051 |  |  |  | 1.21 |  |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 11 | P/FINAL | 2025-04-16 | 10:45 | 2025-04-15 | 20:27 | FLORICA |  | 189 | 180 | / | / | 0.051 |  |  |  | 0.67 | 274 |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 12 | P/FINAL | 2025-04-16 | 10:49 | 2025-04-15 | 20:27 | FLORICA |  | 189 | 188 | / | / | 0.051 | 6.377 |  |  | 0.71 | 270 |  | Kinga |  | 3 | 2 | 95514
3 | 800 | 13 | P/FINAL | 2025-04-16 | 10:53 | 2025-04-15 | 20:27 | FLORICA |  | 799 | 781 | / | / | 0.200 |  |  |  | 0.91 | 276 |  | Kinga |  | 3 | 3 | 95514
3 | 800 | 14 | P/FINAL | 2025-04-16 | 10:54 | 2025-04-15 | 20:27 | FLORICA |  | 790 | 777 | / | / | 0.199 | 6.402 |  |  | 0.69 | 275 |  | Kinga |  | 3 | 3 | 95514
1 | 0 | 15 | P/FINAL | 2025-04-16 | 10:55 | 2025-04-15 | 20:27 | FLORICA |  | 8 | 0 | / | / | 0.004 |  |  |  | 0.87 | 275 |  | Kinga |  | 3 | 1 | 95514
1 | 0 | 16 | P/FINAL | 2025-04-16 | 10:56 | 2025-04-15 | 20:27 | FLORICA |  | 4 | 0 | / | / | 0.002 | 6.379 |  |  | 0.77 | 274 |  | Kinga |  | 3 | 1 | 95514
3 | 800 | 17 | P/FINAL | 2025-04-16 | 15:46 | 2025-04-16 | 14:42 | FLORICA |  | 794 | 789 | / | / | 0.199 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 3 | 95514
3 | 800 | 18 | P/FINAL | 2025-04-16 | 15:47 | 2025-04-16 | 14:42 | FLORICA |  | 790 | 789 | / | / | 0.190 | 6.433 |  |  | 0.55 | 263 |  | Kinga |  | 3 | 3 | 95514
3 | 800 | 19 | P/FINAL | 2025-04-16 | 15:48 | 2025-04-16 | 14:42 | FLORICA |  | 778 | 781 | / | / | 0.195 | 6.435 |  |  | 0.41 | 251 |  | Kinga |  | 3 | 3 | 95514
2 | 200 | 20 | P/FINAL | 2025-04-16 | 15:50 | 2025-04-16 | 14:42 | FLORICA |  | 185 | 196 | / | / | 0.050 | 6.439 |  |  | 0.83 | 260 |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 21 | P/FINAL | 2025-04-16 | 15:51 | 2025-04-16 | 14:42 | FLORICA |  | 185 | 196 | / | / | 0.050 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 22 | P/FINAL | 2025-04-16 | 15:52 | 2025-04-16 | 14:42 | FLORICA |  | 201 | 208 | / | / | 0.054 | 6.420 |  |  | 1.68 | 242 |  | Kinga |  | 3 | 2 | 95514
1 | 0 | 23 | P/FINAL | 2025-04-16 | 15:52 | 2025-04-16 | 14:42 | FLORICA |  | 4 | 8 | / | / | 0.003 |  |  |  | 0.72 |  |  | Kinga |  | 3 | 1 | 95514
1 | 0 | 24 | P/FINAL | 2025-04-16 | 15:53 | 2025-04-16 | 14:42 | FLORICA |  | 0 | 11 | / | / | -0.001 | 6.400 |  |  | 0.59 | 238 |  | Kinga |  | 3 | 1 | 95514
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 189 µg/L | 8 | 16 | 189 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 792 µg/L | 7 | 14 | 792 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3 µg/L | 6 | 12 | 3 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 3 | YES
200 | 180 ÷ 220 | 189 | YES
800 | 750 ÷ 850 | 792 | YES
Validation Date | by