## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI747-0 | HI95747-0
1128 | HI747-0 | CP-R60 | W 32/1 |  | Parameter Formula | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper LR Reagent | 2030-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 260 | 280
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 999 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-03 | 2025-09-03 | PRECI |  |  | 0509
[6 empty] | Expiration A | Expiration B | Expiration D
2029-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97747 | CTO-649
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI99703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 200 | 180 | 220 |  | MR44 |  | 10 | & | 5% | 100% |  | 6.5 | 6.2 | 6.8
3 | 800 | 750 | 850
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97747 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 200 | 1 | Old A | 2025-09-03 | 08:36 | 2025-09-02 | 19:16 | FLORICA | PRECI | 209 | 204 | / | / | 0.056 |  |  |  | 6.35 |  |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 2 | Old A | 2025-09-03 | 08:37 | 2025-09-02 | 19:16 | FLORICA | PRECI | 217 | 209 | / | / | 0.058 |  |  |  | 2.79 |  |  | Kinga |  | 3 | 2 | 95514
3 | 800 | 3 | Old A | 2025-09-03 | 08:40 | 2025-09-02 | 19:16 | FLORICA | PRECI | 840 | 810 | / | / | 0.210 |  |  |  | 3.88 |  |  | Kinga |  | 3 | 3 | 95514
3 | 800 | 4 | Old A | 2025-09-03 | 08:41 | 2025-09-02 | 19:16 | FLORICA | PRECI | 836 | 794 | / | / | 0.209 |  |  |  | 2.27 |  |  | Kinga |  | 3 | 3 | 95514
1 | 0 | 5 | Old A | 2025-09-03 | 08:43 | 2025-09-02 | 19:16 | FLORICA | PRECI | 10 | 0 | / | / | 0.004 |  |  |  | 2.01 |  |  | Kinga |  | 3 | 1 | 95514
1 | 0 | 6 | Old A | 2025-09-03 | 08:43 | 2025-09-02 | 19:16 | FLORICA | PRECI | 0 | 0 | / | / | 0.002 |  |  |  | 2.27 |  |  | Kinga |  | 3 | 1 | 95514
1 | 0 | 7 | P/FINAL | 2025-09-03 | 08:47 | 2025-09-02 | 19:16 | FLORICA | PRECI | 0 | 0 | / | / | 0.002 | 6.435 |  |  | 0.76 |  |  | Kinga |  | 3 | 1 | 95514
1 | 0 | 8 | P/FINAL | 2025-09-03 | 08:48 | 2025-09-02 | 19:16 | FLORICA | PRECI | 0 | 0 | / | / | -0.002 |  |  |  | 0.53 | 252 |  | Kinga |  | 3 | 1 | 95514
2 | 200 | 9 | P/FINAL | 2025-09-03 | 08:50 | 2025-09-02 | 19:16 | FLORICA | PRECI | 185 | 180 | / | / | 0.050 |  |  |  | 1.89 | 259 |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 10 | P/FINAL | 2025-09-03 | 08:51 | 2025-09-02 | 19:16 | FLORICA | PRECI | 193 | 187 | / | / | 0.052 | 6.429 |  |  | 0.87 | 259 |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 11 | P/FINAL | 2025-09-03 | 08:52 | 2025-09-02 | 19:16 | FLORICA | PRECI | 213 | 206 | / | / | 0.057 |  |  |  | 1.33 | 252 |  | Kinga |  | 3 | 2 | 95514
3 | 800 | 12 | P/FINAL | 2025-09-03 | 08:55 | 2025-09-02 | 19:16 | FLORICA | PRECI | 807 | 780 | / | / | 0.202 |  |  |  | 0.39 | 259 |  | Kinga |  | 3 | 3 | 95514
3 | 800 | 13 | P/FINAL | 2025-09-03 | 08:56 | 2025-09-02 | 19:16 | FLORICA | PRECI | 811 | 790 | / | / | 0.203 |  |  |  | 1.31 | 238 |  | Kinga |  | 3 | 3 | 95514
3 | 800 | 14 | P/FINAL | 2025-09-03 | 08:56 | 2025-09-02 | 19:16 | FLORICA | PRECI | 799 | 783 | / | / | 0.200 | 6.468 |  |  | 0.55 |  |  | Kinga |  | 3 | 3 | 95514
2 | 200 | 15 | P/FINAL | 2025-09-03 | 15:29 | 2025-09-03 | 14:31 | FLORICA | PRECI | 197 | 184 | / | / | 0.053 | 6.422 |  |  | 1.33 |  |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 16 | P/FINAL | 2025-09-03 | 15:29 | 2025-09-03 | 14:31 | FLORICA | PRECI | 205 | 192 | / | / | 0.055 |  |  |  | 0.56 | 235 |  | Kinga |  | 3 | 2 | 95514
2 | 200 | 17 | P/FINAL | 2025-09-03 | 15:30 | 2025-09-03 | 14:31 | FLORICA | PRECI | 205 | 188 | / | / | 0.055 |  |  |  | 3.12 | 264 |  | Kinga |  | 3 | 2 | 95514
3 | 800 | 18 | P/FINAL | 2025-09-03 | 15:30 | 2025-09-03 | 14:31 | FLORICA | PRECI | 794 | 798 | / | / | 0.199 |  |  |  | 0.43 | 258 |  | Kinga |  | 3 | 3 | 95514
3 | 800 | 19 | P/FINAL | 2025-09-03 | 15:31 | 2025-09-03 | 14:31 | FLORICA | PRECI | 799 | 802 | / | / | 0.200 | 6.390 |  |  | 1.67 | 260 |  | Kinga |  | 3 | 3 | 95514
3 | 800 | 20 | P/FINAL | 2025-09-03 | 15:31 | 2025-09-03 | 14:31 | FLORICA | PRECI | 803 | 802 | / | / | 0.201 |  |  |  | 0.80 | 263 |  | Kinga |  | 3 | 3 | 95514
1 | 0 | 21 | P/FINAL | 2025-09-03 | 15:31 | 2025-09-03 | 14:31 | FLORICA | PRECI | 0 | 0 | / | / | 0.001 | 6.421 |  |  | 0.37 | 260 |  | Kinga |  | 3 | 1 | 95514
1 | 0 | 22 | P/FINAL | 2025-09-03 | 15:32 | 2025-09-03 | 14:31 | FLORICA | PRECI | 0 | 0 | / | / | 0.001 |  |  |  | 0.37 |  |  | Kinga |  | 3 | 1 | 95514
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 195 µg/L | 6 | 12 | 195 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 797 µg/L | 6 | 12 | 797 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 µg/L | 4 | 8 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 0 | YES
200 | 180 ÷ 220 | 195 | YES
800 | 750 ÷ 850 | 797 | YES
Validation Date | by