## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI747-0 | HI95747-0
0939 | HI95747-0 | CP-R60 | W08/1 |  | Parameter Formula | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper LR Reagent | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 260 | 280
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 1.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-02-19 | 2025-03-11 | 2 HEAD |  |  | 0750 |  | 2 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
2029-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97747 | CTO-649
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.300 | 0.275 | 0.325 |  | MR44 |  | 0.010 | & | 5% | 100% |  | 6.5 | 6.2 | 6.8
3 | 1.200 | 1.130 | 1.270
1 | 0.000 | 0.000 | 0.010
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97747 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.300 | 1 | Old A | 2025-02-19 | 12:48 | 2025-02-19 |  | ERIKA |  | 0.288 | 0.279 | / | / | 0.076 |  |  |  | 1.66 |  |  | Brigitta P |  | 3 | 2
2 | 0.300 | 2 | Old A | 2025-02-19 | 12:48 | 2025-02-19 |  | ERIKA |  | 0.288 | 0.276 | / | / | 0.076 |  |  |  | 1.56 |  |  | Brigitta P |  | 3 | 2
3 | 1.200 | 3 | Old A | 2025-02-19 | 12:49 | 2025-02-19 |  | ERIKA |  | 1.209 | 1.185 | / | / | 0.298 | 6.344 |  |  | 1.34 |  |  | Brigitta P |  | 3 | 3
3 | 1.200 | 4 | Old A | 2025-02-19 | 12:49 | 2025-02-19 |  | ERIKA |  | 1.209 | 1.185 | / | / | 0.298 |  |  |  | 1.43 |  |  | Brigitta P |  | 3 | 3
3 | 1.200 | 5 | Valid | 2025-02-19 | 13:53 | 2025-02-19 |  | ERIKA |  | 1.180 | 1.189 | / | / | 0.291 | 6.348 |  |  | 0.53 |  |  | Brigitta P |  | 3 | 3
3 | 1.200 | 6 | Valid | 2025-02-19 | 13:54 | 2025-02-19 |  | ERIKA |  | 1.226 | 1.197 | / | / | 0.302 |  |  |  | 0.30 |  |  | Brigitta P |  | 3 | 3
3 | 1.200 | 7 | Valid | 2025-02-19 | 13:54 | 2025-02-19 |  | ERIKA |  | 1.176 | 1.185 | / | / | 0.290 |  |  |  | 0.40 |  |  | Brigitta P |  | 3 | 3
2 | 0.300 | 8 | Valid | 2025-02-19 | 13:58 | 2025-02-19 |  | ERIKA |  | 0.284 | 0.306 | / | / | 0.075 |  |  |  | 0.40 |  |  | Brigitta P |  | 3 | 2
2 | 0.300 | 9 | Valid | 2025-02-19 | 14:00 | 2025-02-19 |  | ERIKA |  | 0.275 | 0.306 | / | / | 0.075 |  |  |  | 1.25 |  |  | Brigitta P |  | 3 | 2
1 | 0.000 | 10 | Valid | 2025-02-19 | 14:01 | 2025-02-19 |  | ERIKA |  | 0.000 | 0.004 | / | / | 0.003 | 6.288 |  |  | 0.34 |  |  | Brigitta P |  | 3 | 1
1 | 0.000 | 11 | Valid | 2025-02-19 | 14:02 | 2025-02-19 |  | ERIKA |  | 0.000 | 0.000 | / | / | 0.001 |  |  |  | 0.50 |  |  | Brigitta P |  | 3 | 1
2 | 0.300 | 12 | Valid | 2025-02-19 | 14:05 | 2025-02-19 |  | ERIKA |  | 0.272 | 0.267 | / | / | 0.072 |  |  |  | 0.40 |  |  | Brigitta P |  | 3 | 1
2 | 0.300 | 13 | P/Prod | 2025-03-10 | 08:46 | 2025-03-10 | 06:50 | FLORICA |  | 0.300 | 0.287 | / | / | 0.079 | 6.840 |  |  | 2.94 | 235 |  | Kinga |  | 3 | 2 | 121246
2 | 0.300 | 14 | P/Prod | 2025-03-10 | 08:49 | 2025-03-10 | 06:50 | FLORICA |  | 0.311 | 0.302 | / | / | 0.069 |  |  |  | 1.85 | 271 |  | Kinga |  | 3 | 2 | 121246
3 | 1.200 | 15 | P/Prod | 2025-03-10 | 08:52 | 2025-03-10 | 06:50 | FLORICA |  | 1.196 | 1.176 | / | / | 0.295 | 6.442 |  |  | 1.27 | 256 |  | Kinga |  | 3 | 3 | 121246
3 | 1.200 | 16 | P/Prod | 2025-03-10 | 08:58 | 2025-03-10 | 06:50 | FLORICA |  | 1.136 | 1.132 | / | / | 0.330 |  |  |  | 8.68 | 273 |  | Kinga |  | 3 | 3 | 121246
1 | 0.000 | 17 | P/Prod | 2025-03-10 | 08:59 | 2025-03-10 | 06:50 | FLORICA |  | 0.000 | 0.000 | / | / | -0.001 | 6.755 |  |  | 0.42 | 270 |  | Kinga |  | 3 | 1 | 121246
1 | 0.000 | 18 | P/Prod | 2025-03-10 | 09:00 | 2025-03-10 | 06:50 | FLORICA |  | 0.000 | 0.000 | / | / | -0.002 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 1 | 121246
2 | 0.300 | 19 | P/Prod | 2025-03-10 | 14:41 | 2025-03-10 | 14:22 | NINA |  | 0.286 | 0.280 | / | / | 0.083 | 6.456 |  |  | 0.87 | 257 |  | Kinga |  | 3 | 2 | 121246
2 | 0.300 | 20 | P/Prod | 2025-03-10 | 14:44 | 2025-03-10 | 14:22 | NINA |  | 0.298 | 0.300 | / | / | 0.094 |  |  |  | 0.65 | 259 |  | Kinga |  | 3 | 2 | 121246
3 | 1.200 | 21 | P/Prod | 2025-03-10 | 14:48 | 2025-03-10 | 14:22 | NINA |  | 1.170 | 1.176 | / | / | 0.286 | 6.452 |  |  | 0.74 | 251 |  | Kinga |  | 3 | 3 | 121246
3 | 1.200 | 22 | P/Prod | 2025-03-10 | 14:50 | 2025-03-10 | 14:22 | NINA |  | 1.204 | 1.210 | / | / | 0.298 |  |  |  | 0.74 | 260 |  | Kinga |  | 3 | 3 | 121246
1 | 0.000 | 23 | P/Prod | 2025-03-10 | 14:53 | 2025-03-10 | 14:22 | NINA |  | 0.008 | 0.004 | / | / | 0.004 | 6.471 |  |  | 0.50 | 263 |  | Kinga |  | 3 | 1 | 121246
1 | 0.000 | 24 | P/Prod | 2025-03-10 | 14:54 | 2025-03-10 | 14:22 | NINA |  | 0.004 | 0.000 | / | / | 0.003 |  |  |  | 0.61 |  |  | Kinga |  | 3 | 1 | 121246
2 | 0.300 | 25 | Old A | 2025-03-11 | 08:38 | 2025-03-11 | 06:47 | FLORICA | 1 | 0.288 | 0.275 | / | / | 0.075 |  |  |  | 0.77 |  |  | Brigitta P |  | 3 | 2 | 82007
3 | 1.200 | 26 | Old A | 2025-03-11 | 8:35 | 2025-03-11 | 06:47 | FLORICA | 1 | 1.180 | 1.168 | / | / | 0.291 |  |  |  | 0.53 |  |  | Brigitta P |  | 3 | 2 | 82007
3 | 1.200 | 27 | P/FINAL | 2025-03-11 | 08:45 | 2025-03-11 | 06:47 | FLORICA | 1 | 1.171 | 1.148 | / | / | 0.289 | 6.477 |  |  | 0.41 |  |  | Brigitta P |  | 3 | 3 | 82007
3 | 1.200 | 28 | P/FINAL | 2025-03-11 | 08:46 | 2025-03-11 | 06:47 | FLORICA | 1 | 1.184 | 1.160 | / | / | 0.292 |  |  |  | 0.39 | 246 |  | Brigitta P |  | 3 | 3 | 82007
3 | 1.200 | 29 | P/FINAL | 2025-03-11 | 08:48 | 2025-03-11 | 06:47 | FLORICA | 1 | 1.171 | 1.148 | / | / | 0.289 |  |  |  | 0.35 | 293 |  | Brigitta P |  | 3 | 3 | 82007
2 | 0.300 | 30 | P/FINAL | 2025-03-11 | 08:51 | 2025-03-11 | 06:47 | FLORICA | 1 | 0.276 | 0.275 | / | / | 0.073 | 6.472 |  |  | 0.63 | 250 |  | Brigitta P |  | 3 | 2 | 82007
2 | 0.300 | 31 | P/FINAL | 2025-03-11 | 08:52 | 2025-03-11 | 06:47 | FLORICA | 1 | 0.268 | 0.275 | / | / | 0.075 |  |  |  | 0.59 | 270 |  | Brigitta P |  | 3 | 2 | 82007
2 | 0.300 | 32 | P/FINAL | 2025-03-11 | 08:54 | 2025-03-11 | 06:47 | FLORICA | 1 | 0.280 | 0.291 | / | / | 0.074 |  |  |  | 0.67 | 266 |  | Brigitta P |  | 3 | 2 | 82007
1 | 0.000 | 33 | P/FINAL | 2025-03-11 | 08:56 | 2025-03-11 | 06:47 | FLORICA | 1 | 0.000 | 0.000 | / | / | -0.002 | 6.457 |  |  | 0.84 |  |  | Brigitta P |  | 3 | 1 | 82007
1 | 0.000 | 34 | P/FINAL | 2025-03-11 | 08:57 | 2025-03-11 | 06:47 | FLORICA | 1 | 0.000 | 0.000 | / | / | -0.001 |  |  |  | 0.58 |  |  | Brigitta P |  | 3 | 1 | 82007
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.288 mg/L | 7 | 14 | 0.288 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 1.17 mg/L | 7 | 14 | 1.17 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.001 mg/L | 6 | 12 | 0.001 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.010 | 0.001 | YES
0.300 | 0.275 ÷ 0.325 | 0.288 | YES
1.200 | 1.130 ÷ 1.270 | 1.170 | YES
Validation Date | by