## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI747-0 | HI95747-0
0997 | HI95747-0 | CP-R60 | W15/1 |  | Parameter Formula | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper LR Reagent | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 260 | 280
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 1.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-04-07 | 2025-04-17 | PRECI |  |  | 0939
[6 empty] | Expiration A | Expiration B | Expiration D
2030-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97747 | CTO-649
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.300 | 0.275 | 0.325 |  | MR44 |  | 0.010 | & | 5% | 100% |  | 6.5 | 6.2 | 6.8
3 | 1.200 | 1.130 | 1.270
1 | 0.000 | 0.000 | 0.010
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.300 | 1 | Old A | 2025-04-08 | 09:53 | 2025-04-07 |  | Mark |  | 0.280 | 0.291 | / | / | 0.074 |  |  |  | 1.65 |  |  | Brigitta P |  | 3 | 2
2 | 0.300 | 2 | Old A | 2025-04-08 | 09:53 | 2025-04-07 |  | Mark |  | 0.272 | 0.291 | / | / | 0.071 |  |  |  | 1.65 |  |  | Brigitta P |  | 3 | 2
2 | 0.300 | 3 | Valid | 2025-04-08 | 09:56 | 2025-04-07 |  | Mark |  | 0.260 | 0.283 | / | / | 0.069 |  |  |  | 0.39 |  |  | Brigitta P |  | 3 | 2
2 | 0.300 | 4 | Valid | 2025-04-08 | 09:56 | 2025-04-07 |  | Mark |  | 0.272 | 0.287 | / | / | 0.072 |  |  |  | 0.39 |  |  | Brigitta P |  | 3 | 2
3 | 1.200 | 5 | Old A | 2025-04-08 | 09:59 | 2025-04-07 |  | Mark |  | 1.201 | 1.189 | / | / | 0.296 | 6.447 |  |  | 1.07 |  |  | Brigitta P |  | 3 | 3
3 | 1.200 | 6 | Valid | 2025-04-08 | 10:00 | 2025-04-07 |  | Mark |  | 1.184 | 1.197 | / | / | 0.292 |  |  |  | 0.51 |  |  | Brigitta P |  | 3 | 3
3 | 1.200 | 7 | Valid | 2025-04-08 | 10:02 | 2025-04-07 |  | Mark |  | 1.205 | 1.197 | / | / | 0.297 | 6.444 |  |  | 0.73 |  |  | Brigitta P |  | 3 | 3
2 | 0.300 | 8 | Valid | 2025-04-08 | 10:05 | 2025-04-07 |  | Mark |  | 0.280 | 0.291 | / | / | 0.074 |  |  |  | 0.66 |  |  | Brigitta P |  | 3 | 2
2 | 0.300 | 9 | Valid | 2025-04-08 | 10:05 | 2025-04-07 |  | Mark |  | 0.280 | 0.279 | / | / | 0.074 | 6.437 |  |  | 0.56 |  |  | Brigitta P |  | 3 | 2
3 | 1.200 | 10 | Old A | 2025-04-08 | 10:05 | 2025-04-07 |  | Mark |  | 1.192 | 1.197 | / | / | 0.294 |  |  |  | 1.05 |  |  | Brigitta P |  | 3 | 2
2 | 0.300 | 11 | P/FINAL | 2025-04-16 | 20:51 | 2025-04-16 | 19:03 | FLORICA | PRECI | 0.325 | 0.325 | / | / | 0.318 | 6.472 |  |  | 3.51 | 290 |  | Brigitta P |  | 3 | 2 | 95514
3 | 1.200 | 12 | P/FINAL | 2025-04-16 | 20:52 | 2025-04-16 | 19:03 | FLORICA | PRECI | 1.267 | 1.247 | / | / | 0.312 |  |  |  | 1.11 | 283 |  | Brigitta P |  | 3 | 3 | 95514
3 | 1.200 | 13 | P/FINAL | 2025-04-16 | 20:53 | 2025-04-16 | 19:03 | FLORICA | PRECI | 1.259 | 1.235 | / | / | 0.310 | 6.435 |  |  | 1.50 | 272 |  | Brigitta P |  | 3 | 3 | 95514
2 | 0.300 | 14 | P/FINAL | 2025-04-16 | 20:54 | 2025-04-16 | 19:03 | FLORICA | PRECI | 0.316 | 0.318 | / | / | 0.083 |  |  |  | 1.50 | 278 |  | Brigitta P |  | 3 | 2 | 95514
1 | 0.000 | 15 | P/FINAL | 2025-04-16 | 20:55 | 2025-04-16 | 19:03 | FLORICA | PRECI | 0.000 | 0.000 | / | / | 0.002 |  |  |  | 0.61 | 274 |  | Brigitta P |  | 3 | 1 | 95514
2 | 0.300 | 16 | P/FINAL | 2025-04-17 | 09:30 | 2025-04-17 | 06:36 | NINA | PRECI | 0.284 | 0.283 | / | / | 0.075 |  |  |  | 0.43 | 259 |  | Kinga |  | 3 | 2
2 | 0.300 | 17 | P/FINAL | 2025-04-17 | 09:30 | 2025-04-17 | 06:36 | NINA | PRECI | 0.280 | 0.275 | / | / | 0.074 | 6.409 |  |  | 0.49 | 266 |  | Kinga |  | 3 | 2
2 | 0.300 | 18 | P/FINAL | 2025-04-17 | 09:31 | 2025-04-17 | 06:36 | NINA | PRECI | 0.284 | 0.283 | / | / | 0.075 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 2
3 | 1.200 | 19 | P/FINAL | 2025-04-17 | 09:31 | 2025-04-17 | 06:36 | NINA | PRECI | 1.230 | 1.193 | / | / | 0.303 |  |  |  | 1.38 | 251 |  | Kinga |  | 3 | 3
3 | 1.200 | 20 | P/FINAL | 2025-04-17 | 09:32 | 2025-04-17 | 06:36 | NINA | PRECI | 1.213 | 1.181 | / | / | 0.299 | 6.411 |  |  | 0.99 |  |  | Kinga |  | 3 | 3
3 | 1.200 | 21 | P/FINAL | 2025-04-17 | 09:32 | 2025-04-17 | 06:36 | NINA | PRECI | 1.226 | 1.193 | / | / | 0.302 |  |  |  | 0.74 | 255 |  | Kinga |  | 3 | 3
1 | 0.000 | 22 | P/FINAL | 2025-04-17 | 09:34 | 2025-04-17 | 06:36 | NINA | PRECI | 0.000 | 0.002 | / | / | 0.004 |  |  |  | 0.71 |  |  | Kinga |  | 3 | 1
1 | 0.000 | 23 | P/FINAL | 2025-04-17 | 09:34 | 2025-04-17 | 06:36 | NINA | PRECI | 0.000 | 0.002 | / | / | 0.000 | 6.366 |  |  | 0.59 |  |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.297 mg/L | 5 | 10 | 0.297 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 1.224 mg/L | 5 | 10 | 1.224 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.001 mg/L | 3 | 6 | 0.001 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.010 | 0.001 | YES
0.300 | 0.275 ÷ 0.325 | 0.297 | YES
1.200 | 1.130 ÷ 1.270 | 1.224 | YES
Validation Date | by