## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI747-0 | HI95747-0
1128 | HI95747-0 | CP-R60 | W 32/1 |  | Parameter Formula | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper LR Reagent | 2030-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 260 | 280
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 1.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-08-06 | 2025-09-04 | PRECI |  |  | 0997
[6 empty] | Expiration A | Expiration B | Expiration D
2030-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97747 | CTO-649
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-781
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.000 | 0.000 | 0.010 |  | MR44 |  | 0.010 | & | 5% | 100% |  | 6.5 | 6.2 | 6.8
2 | 0.300 | 0.275 | 0.325
3 | 1.200 | 1.130 | 1.270
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.000 | 1 | Old A | 2025-08-06 | 11:17 | 2025-08-06 | 08:59 | MARK |  | 0.000 | 0.000 | / | / | 0.002 |  |  |  | 1.53 |  |  | Andrea V |  | 3 | 1
1 | 0.000 | 2 | Old A | 2025-08-06 | 11:18 | 2025-08-06 | 08:59 | MARK |  | 0.000 | 0.000 | / | / | 0.002 |  |  |  | 1.56 |  |  | Andrea V |  | 3 | 1
2 | 0.300 | 3 | Old A | 2025-08-06 | 11:19 | 2025-08-06 | 08:59 | MARK |  | 0.320 | 0.306 | / | / | 0.084 |  |  |  | 2.92 |  |  | Andrea V |  | 3 | 2 | 92120
2 | 0.300 | 4 | Old A | 2025-08-06 | 11:21 | 2025-08-06 | 08:59 | MARK |  | 0.288 | 0.275 | / | / | 0.076 |  |  |  | 2.06 |  |  | Andrea V |  | 3 | 2 | 92120
3 | 1.200 | 5 | Old A | 2025-08-06 | 11:23 | 2025-08-06 | 08:59 | MARK |  | 1.259 | 1.235 | / | / | 0.310 |  |  |  | 3.22 |  |  | Andrea V |  | 3 | 3 | 92120
3 | 1.200 | 6 | Old A | 2025-08-06 | 11:24 | 2025-08-06 | 08:59 | MARK |  | 1.209 | 1.173 | / | / | 0.298 |  |  |  | 2.21 |  |  | Andrea V |  | 3 | 3 | 92120
1 | 0.000 | 7 | Valid | 2025-08-06 | 11:27 | 2025-08-06 | 08:59 | MARK |  | 0.000 | 0.000 | / | / | 0.001 | 6.456 |  |  | 0.38 |  |  | Andrea V |  | 3 | 1 | 92120
1 | 0.000 | 8 | Valid | 2025-08-06 | 11:28 | 2025-08-06 | 08:59 | MARK |  | 0.000 | 0.000 | / | / | -0.003 |  |  |  | 0.43 |  |  | Andrea V |  | 3 | 1 | 92120
2 | 0.300 | 9 | Valid | 2025-08-06 | 11:30 | 2025-08-06 | 08:59 | MARK |  | 0.296 | 0.275 | / | / | 0.078 | 6.439 |  |  | 0.77 |  |  | Andrea V |  | 3 | 2 | 92120
2 | 0.300 | 10 | Valid | 2025-08-06 | 11:32 | 2025-08-06 | 08:59 | MARK |  | 0.288 | 0.263 | / | / | 0.076 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 2 | 92120
2 | 0.300 | 11 | Valid | 2025-08-06 | 11:36 | 2025-08-06 | 08:59 | MARK |  | 0.276 | 0.247 | / | / | 0.073 |  |  |  | 0.60 |  |  | Andrea V |  | 3 | 2 | 92120
3 | 1.200 | 12 | Valid | 2025-08-06 | 11:39 | 2025-08-06 | 08:59 | MARK |  | 1.184 | 1.144 | / | / | 0.292 | 6.443 |  |  | 0.66 |  |  | Andrea V |  | 3 | 3 | 92120
3 | 1.200 | 13 | Valid | 2025-08-06 | 11:39 | 2025-08-06 | 08:59 | MARK |  | 1.180 | 1.160 | / | / | 0.291 |  |  |  | 0.82 |  |  | Andrea V |  | 3 | 3 | 92120
3 | 1.200 | 14 | Valid | 2025-08-06 | 11:40 | 2025-08-06 | 08:59 | MARK |  | 1.184 | 1.160 | / | / | 0.292 |  |  |  | 1.22 |  |  | Andrea V |  | 3 | 3 | 92120
1 | 0.000 | 15 | Old A | 2025-09-04 | 10:47 | 2025-09-03 | 19:51 | FLORICA |  | 0.000 | 0.000 | / | / | 0.002 |  |  |  | 2.11 |  |  | Kinga |  | 3 | 1
1 | 0.000 | 16 | Old A | 2025-09-04 | 10:48 | 2025-09-03 | 19:51 | FLORICA |  | 8.000 | 0.004 | / | / | 0.004 |  |  |  | 2.82 |  |  | Kinga |  | 3 | 1
2 | 0.300 | 17 | Old A | 2025-09-04 | 10:49 | 2025-09-03 | 19:51 | FLORICA |  | 0.296 | 0.295 | / | / | 0.078 |  |  |  | 2.53 |  |  | Kinga |  | 3 | 2
2 | 0.300 | 18 | Old A | 2025-09-04 | 10:49 | 2025-09-03 | 19:51 | FLORICA |  | 0.297 | 0.291 | / | / | 0.078 |  |  |  | 2.96 |  |  | Kinga |  | 3 | 2
3 | 1.200 | 19 | Old A | 2025-09-04 | 10:50 | 2025-09-03 | 19:51 | FLORICA |  | 1.192 | 1.186 | / | / | 0.294 |  |  |  | 1.41 |  |  | Kinga |  | 3 | 3
3 | 1.200 | 20 | Old A | 2025-09-04 | 10:50 | 2025-09-03 | 19:51 | FLORICA |  | 1.188 | 1.185 | / | / | 0.293 |  |  |  | 0.90 | 227 |  | Kinga |  | 3 | 3
1 | 0.000 | 21 | P/FINAL | 2025-09-04 | 10:50 | 2025-09-03 | 19:51 | FLORICA |  | 0.000 | 0.000 | / | / | -0.002 | 6.386 |  |  | 0.50 | 265 |  | Kinga |  | 3 | 1
1 | 0.000 | 22 | P/FINAL | 2025-09-04 | 10:51 | 2025-09-03 | 19:51 | FLORICA |  | 0.000 | 0.000 | / | / | -0.001 |  |  |  | 0.44 | 251 |  | Kinga |  | 3 | 1
2 | 0.300 | 23 | P/FINAL | 2025-09-04 | 10:51 | 2025-09-03 | 19:51 | FLORICA |  | 0.284 | 0.281 | / | / | 0.075 |  |  |  | 0.69 | 267 |  | Kinga |  | 3 | 2
2 | 0.300 | 24 | P/FINAL | 2025-09-04 | 10:52 | 2025-09-03 | 19:51 | FLORICA |  | 0.280 | 0.275 | / | / | 0.074 | 6.381 |  |  | 0.49 | 262 |  | Kinga |  | 3 | 2
2 | 0.300 | 25 | P/FINAL | 2025-09-04 | 10:52 | 2025-09-03 | 19:51 | FLORICA |  | 0.280 | 0.277 | / | / | 0.074 |  |  |  | 0.44 | 261 |  | Kinga |  | 3 | 2
3 | 1.200 | 26 | P/FINAL | 2025-09-04 | 10:52 | 2025-09-03 | 19:51 | FLORICA |  | 1.196 | 1.181 | / | / | 0.295 |  |  |  | 0.49 |  |  | Kinga |  | 3 | 3
3 | 1.200 | 27 | P/FINAL | 2025-09-04 | 10:53 | 2025-09-03 | 19:51 | FLORICA |  | 1.192 | 1.189 | / | / | 0.294 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 3
3 | 1.200 | 28 | P/FINAL | 2025-09-04 | 10:53 | 2025-09-03 | 19:51 | FLORICA |  | 1.192 | 1.181 | / | / | 0.294 | 6.415 |  |  | 0.44 |  |  | Kinga |  | 3 | 3
2 | 0.300 | 29 | P/FINAL | 2025-09-04 | 15:23 | 2025-09-04 | 14:31 | FLORICA | PRECI | 0.276 | 0.275 | / | / | 0.073 |  |  |  | 0.55 | 265 |  | Kinga |  | 3 | 2
2 | 0.300 | 30 | P/FINAL | 2025-09-04 | 15:24 | 2025-09-04 | 14:31 | FLORICA | PRECI | 0.278 | 0.295 | / | / | 0.081 |  |  |  | 0.68 | 265 |  | Kinga |  | 3 | 2
2 | 0.300 | 31 | P/FINAL | 2025-09-04 | 15:26 | 2025-09-04 | 14:31 | FLORICA | PRECI | 0.278 | 0.275 | / | / | 0.082 | 6.413 |  |  | 0.54 | 265 |  | Kinga |  | 3 | 2
3 | 1.200 | 32 | P/FINAL | 2025-09-04 | 15:30 | 2025-09-04 | 14:31 | FLORICA | PRECI | 1.201 | 1.202 | / | / | 0.288 |  |  |  | 0.35 | 264 |  | Kinga |  | 3 | 3 | 92619
3 | 1.200 | 33 | P/FINAL | 2025-09-04 | 15:31 | 2025-09-04 | 14:31 | FLORICA | PRECI | 1.159 | 1.160 | / | / | 0.277 |  |  |  | 1.15 | 262 |  | Kinga |  | 3 | 3 | 92619
3 | 1.200 | 34 | P/FINAL | 2025-09-04 | 15:32 | 2025-09-04 | 14:31 | FLORICA | PRECI | 1.159 | 1.155 | / | / | 0.286 | 6.397 |  |  | 0.49 |  |  | Kinga |  | 3 | 3 | 92619
1 | 0.000 | 35 | P/FINAL | 2025-09-04 | 15:34 | 2025-09-04 | 14:31 | FLORICA | PRECI | 0.000 | 0.000 | / | / | -0.0150 |  |  |  | 0.69 |  |  | Kinga |  | 3 | 1 | 92619
1 | 0.000 | 36 | P/FINAL | 2025-09-04 | 15:34 | 2025-09-04 | 14:31 | FLORICA | PRECI | 0.000 | 0.000 | / | / | -0.018 | 6.399 |  |  | 0.67 |  |  | Kinga |  | 3 | 1 | 92619
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.28 mg/L | 6 | 12 | 0.28 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.181 mg/L | 6 | 12 | 1.181 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.010 | 0.000 | YES
0.300 | 0.275 ÷ 0.325 | 0.280 | YES
1.200 | 1.130 ÷ 1.270 | 1.181 | YES
Validation Date | by