## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI747-0 | HI95747-0
1303 | HI95747-0 | CP-R60 | W 03/1 |  | Parameter Formula | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper LR Reagent | 2031-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 260 | 280
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 1.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-14 | 2026-01-19 | PRECI |  |  | 0997
[6 empty] | Expiration A | Expiration B | Expiration D
2030-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-617 | HI97747 | 649
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-797
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.000 | 0.000 | 0.010 |  | MR44 |  | 0.010 | & | 5% | 100% |  | 6.5 | 6.2 | 6.8
2 | 0.300 | 0.275 | 0.325
3 | 1.200 | 1.130 | 1.270
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97747 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.000 | 1 | Old A | 2026-01-14 | 15:00 | 2026-01-14 | 14:13 | ERIKA |  | 0.000 | 0.000 | / | / | -0.001 |  |  |  | 0.88 |  |  | Kinga |  | 3 | 1
1 | 0.000 | 2 | Old A | 2026-01-14 | 15:01 | 2026-01-14 | 14:13 | ERIKA |  | 0.000 | 0.000 | / | / | 0.001 |  |  |  | 1.11 |  |  | Kinga |  | 3 | 1
2 | 0.300 | 3 | Old A | 2026-01-14 | 15:04 | 2026-01-14 | 14:13 | ERIKA |  | 0.312 | 0.318 | / | / | 0.082 |  |  |  | 1.92 |  |  | Kinga |  | 3 | 2
2 | 0.300 | 4 | Old A | 2026-01-14 | 15:04 | 2026-01-14 | 14:13 | ERIKA |  | 0.316 | 0.299 | / | / | 0.083 |  |  |  | 3.57 |  |  | Kinga |  | 3 | 2
3 | 1.200 | 5 | Old A | 2026-01-14 | 15:08 | 2026-01-14 | 14:13 | ERIKA |  | 1.270 | 1.264 | / | / | 0.313 |  |  |  | 1.78 |  |  | Kinga |  | 3 | 3
3 | 1.200 | 6 | Old A | 2026-01-14 | 15:09 | 2026-01-14 | 14:13 | ERIKA |  | 1.263 | 1.218 | / | / | 0.311 |  |  |  | 1.22 |  |  | Kinga |  | 3 | 3
1 | 0.000 | 7 | Valid | 2026-01-14 | 15:12 | 2026-01-14 | 14:13 | ERIKA |  | 0.000 | 0.004 | / | / | 0.002 | 6.438 |  |  | 0.47 |  |  | Kinga |  | 3 | 1
1 | 0.000 | 8 | Valid | 2026-01-14 | 15:12 | 2026-01-14 | 14:13 | ERIKA |  | 0.004 | 0.000 | / | / | 0.003 |  |  |  | 0.51 |  |  | Kinga |  | 3 | 1
2 | 0.300 | 9 | Valid | 2026-01-14 | 15:15 | 2026-01-14 | 14:13 | ERIKA |  | 0.308 | 0.303 | / | / | 0.081 | 6.469 |  |  | 1.72 |  |  | Kinga |  | 3 | 2
2 | 0.300 | 10 | Valid | 2026-01-14 | 15:15 | 2026-01-14 | 14:13 | ERIKA |  | 0.308 | 0.291 | / | / | 0.081 |  |  |  | 0.90 |  |  | Kinga |  | 3 | 2
2 | 0.300 | 11 | Valid | 2026-01-14 | 15:16 | 2026-01-14 | 14:13 | ERIKA |  | 0.292 | 0.275 | / | / | 0.077 |  |  |  | 0.89 |  |  | Kinga |  | 3 | 2
3 | 1.200 | 12 | Valid | 2026-01-14 | 15:19 | 2026-01-14 | 14:13 | ERIKA |  | 1.267 | 1.251 | / | / | 0.312 |  |  |  | 2.02 |  |  | Kinga |  | 3 | 3
3 | 1.200 | 13 | Valid | 2026-01-14 | 15:20 | 2026-01-14 | 14:13 | ERIKA |  | 1.259 | 1.235 | / | / | 0.310 |  |  |  | 0.79 |  |  | Kinga |  | 3 | 3
3 | 1.200 | 14 | Valid | 2026-01-14 | 15:20 | 2026-01-14 | 14:13 | ERIKA |  | 1.259 | 1.235 | / | / | 0.310 | 6.462 |  |  | 0.58 |  |  | Kinga |  | 3 | 3
2 | 0.300 | 15 | Old A | 2026-01-16 | 08:15 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 0.308 | 0.310 | / | / | 0.080 |  |  |  | 1.22 |  |  | Andrea V |  | 3 | 2
2 | 0.300 | 16 | Old A | 2026-01-16 | 08:15 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 0.316 | 0.285 | / | / | 0.083 |  |  |  | 1.29 |  |  | Andrea V |  | 3 | 2
3 | 1.200 | 17 | Old A | 2026-01-16 | 08:16 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 1.267 | 1.210 | / | / | 0.312 |  |  |  | 2.10 |  |  | Andrea V |  | 3 | 3
3 | 1.200 | 18 | Old A | 2026-01-16 | 08:16 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 1.270 | 1.210 | / | / | 0.312 |  |  |  | 2.10 |  |  | Andrea V |  | 3 | 3
3 | 1.200 | 19 | Old A | 2026-01-16 | 08:16 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 1.270 | 1.206 | / | / | 0.313 |  |  |  | 2.11 |  |  | Andrea V |  | 3 | 3
1 | 0.000 | 20 | Old A | 2026-01-16 | 08:17 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 0.000 | 0.000 | / | / | 0.002 |  |  |  | 1.15 |  |  | Andrea V |  | 3 | 1
1 | 0.000 | 21 | Old A | 2026-01-16 | 08:17 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 0.000 | 0.000 | / | / | 0.001 |  |  |  | 1.09 |  |  | Andrea V |  | 3 | 1
1 | 0.000 | 22 | P/FINAL | 2026-01-16 | 08:22 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 0.003 | 0.000 | / | / | 0.010 |  |  |  | 0.88 | 280 |  | Andrea V |  | 3 | 1
1 | 0.000 | 23 | P/FINAL | 2026-01-16 | 08:22 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 0.000 | 0.000 | / | / | 0.002 | 6.529 |  |  | 0.69 | 272 |  | Andrea V |  | 3 | 1
2 | 0.300 | 24 | P/FINAL | 2026-01-16 | 08:24 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 0.312 | 0.314 | / | / | 0.082 |  |  |  | 1.85 | 275 |  | Andrea V |  | 3 | 2
2 | 0.300 | 25 | P/FINAL | 2026-01-16 | 08:25 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 0.292 | 0.306 | / | / | 0.077 |  |  |  | 28.0 | 277 |  | Andrea V |  | 3 | 2
2 | 0.300 | 26 | P/FINAL | 2026-01-16 | 08:26 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 0.308 | 0.299 | / | / | 0.081 | 6.518 |  |  | 1.01 |  |  | Andrea V |  | 3 | 2
3 | 1.200 | 27 | P/FINAL | 2026-01-16 | 08:29 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 1.242 | 1.226 | / | / | 0.306 |  |  |  | 1.94 |  |  | Andrea V |  | 3 | 3
3 | 1.200 | 28 | P/FINAL | 2026-01-16 | 08:30 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 1.213 | 1.222 | / | / | 0.299 |  |  |  | 1.02 |  |  | Andrea V |  | 3 | 3
3 | 1.200 | 29 | P/FINAL | 2026-01-16 | 08:30 | 2026-01-15 | 16:16 | GABRIELLA | 1 | 1.226 | 1.214 | / | / | 0.302 | 6.615 |  |  | 1.01 |  |  | Andrea V |  | 3 | 3
1 | 0.000 | 30 | P/FINAL | 2026-01-19 | 06:26 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 0.000 | 0.000 | / | / | 0.002 |  |  |  | 0.80 |  |  | Andrea V |  | 3 | 1
1 | 0.000 | 31 | P/FINAL | 2026-01-19 | 06:28 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 0.008 | 0.004 | / | / | 0.004 | 6.483 |  |  | 0.58 | 254 |  | Andrea V |  | 3 | 1
2 | 0.300 | 32 | P/FINAL | 2026-01-19 | 06:29 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 0.312 | 0.283 | / | / | 0.082 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 2
2 | 0.300 | 33 | P/FINAL | 2026-01-19 | 06:30 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 0.312 | 0.283 | / | / | 0.082 |  |  |  | 0.52 |  |  | Andrea V |  | 3 | 2
2 | 0.300 | 34 | P/FINAL | 2026-01-19 | 06:31 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 0.300 | 0.287 | / | / | 0.079 | 6.442 |  |  | 0.55 | 256 |  | Andrea V |  | 3 | 2
3 | 1.200 | 35 | P/FINAL | 2026-01-19 | 06:35 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 1.251 | 1.222 | / | / | 0.308 |  |  |  | 3.73 | 263 |  | Andrea V |  | 3 | 3
3 | 1.200 | 36 | P/FINAL | 2026-01-19 | 06:36 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 1.226 | 1.210 | / | / | 0.302 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 3
3 | 1.200 | 37 | P/FINAL | 2026-01-19 | 06:36 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 1.226 | 1.222 | / | / | 0.302 | 6.444 |  |  | 0.63 | 253 |  | Andrea V |  | 3 | 3
2 | 0.300 | 38 | Old A | 2026-01-19 | 06:42 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 0.304 | 0.291 | / | / | 0.080 |  |  |  | 1.51 |  |  | Andrea V |  | 3 | 2 | 92619
2 | 0.300 | 39 | Old A | 2026-01-19 | 06:43 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 0.304 | 0.291 | / | / | 0.080 |  |  |  | 1.58 |  |  | Andrea V |  | 3 | 2 | 92619
3 | 1.200 | 40 | Old A | 2026-01-19 | 06:44 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 1.238 | 1.226 | / | / | 0.305 |  |  |  | 1.37 |  |  | Andrea V |  | 3 | 3 | 92619
3 | 1.200 | 41 | Old A | 2026-01-19 | 06:44 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 1.242 | 1.226 | / | / | 0.306 |  |  |  | 1.91 |  |  | Andrea V |  | 3 | 3 | 92619
1 | 0.000 | 42 | Old A | 2026-01-19 | 06:47 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 0.008 | 0.008 | / | / | 0.004 |  |  |  | 1.15 |  |  | Andrea V |  | 3 | 1 | 92619
1 | 0.000 | 43 | Old A | 2026-01-19 | 06:48 | 2026-01-16 | 14:16 | GABRIELLA | PRECI | 0.004 | 0.000 | / | / | 0.003 |  |  |  | 1.95 |  |  | Andrea V |  | 3 | 1 | 92619
2 | 0.300 | 44 | P/FINAL | 2026-01-19 | 10:51 | 2026-01-19 | 06:37 | GABRIELLA | PRECI | 0.292 | 0.310 | / | / | 0.077 |  | / | / | 0.47 | 251 |  | Andrea V |  | 3 | 2
2 | 0.300 | 45 | P/FINAL | 2026-01-19 | 10:52 | 2026-01-19 | 06:37 | GABRIELLA | PRECI | 0.300 | 0.295 | / | / | 0.079 |  |  |  | 0.44 | 257 |  | Andrea V |  | 3 | 2
2 | 0.300 | 46 | P/FINAL | 2026-01-19 | 10:54 | 2026-01-19 | 06:37 | GABRIELLA | PRECI | 0.292 | 0.299 | / | / | 0.077 | 6.482 |  |  | 0.47 |  |  | Andrea V |  | 3 | 2
3 | 1.200 | 47 | P/FINAL | 2026-01-19 | 10:55 | 2026-01-19 | 06:37 | GABRIELLA | PRECI | 1.230 | 1.235 | / | / | 0.303 |  |  |  | 0.46 | 274 |  | Andrea V |  | 3 | 3
3 | 1.200 | 48 | P/FINAL | 2026-01-19 | 10:56 | 2026-01-19 | 06:37 | GABRIELLA | PRECI | 1.230 | 1.255 | / | / | 0.303 |  |  |  | 0.39 | 251 |  | Andrea V |  | 3 | 3
3 | 1.200 | 49 | P/FINAL | 2026-01-19 | 10:57 | 2026-01-19 | 06:37 | GABRIELLA | PRECI | 1.238 | 1.235 | / | / | 0.305 | 6.460 |  |  | 0.45 |  |  | Andrea V |  | 3 | 3
1 | 0.000 | 50 | P/FINAL | 2026-01-19 | 11:02 | 2026-01-19 | 06:37 | GABRIELLA | PRECI | 0.004 | 0.008 | / | / | 0.003 |  |  |  | 0.48 | 271 |  | Andrea V |  | 3 | 1
1 | 0.000 | 51 | P/FINAL | 2026-01-19 | 11:03 | 2026-01-19 | 06:37 | GABRIELLA | PRECI | 0.000 | 0.000 | / | / | 0.001 | 6.459 |  |  | 0.47 | 273 |  | Andrea V |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.002 mg/L | 6 | 12 | 0.002 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.3 mg/L | 9 | 18 | 0.3 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 1.229 mg/L | 9 | 18 | 1.229 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.010 | 0.002 | YES
0.300 | 0.275 ÷ 0.325 | 0.300 | YES
1.200 | 1.130 ÷ 1.270 | 1.229 | YES
Validation Date | by