## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI761-0 | HI95761-0
0698 | HI761-0 | CP-R61 | W39/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine ULR Reagent | 2026-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 500 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-10-05 |  | 1 HEAD |  |  | 0371
[6 empty] | Expiration A | Expiration B | Expiration D
2025-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97761 | CTO-650
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 90 | 110 |  | MR67C |  | 5 | & | 5% | 100% |  | 6.0 | 5.7 | 6.3
1 | 0 | 0 | 5
3 | 400 | 375 | 425
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97761 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | Old A | 2024-09-24 | 10:41 | 2024-09-23 | 15:39 | MARK |  | 95 | 93 | / | / | 0.052 |  |  |  | 1.97 |  |  | Brigitta P |  | 3 | 2 | 34323
1 | 0 | 2 | Old A | 2024-09-24 | 10:42 | 2024-09-23 | 15:39 | MARK |  | 19 | 14 | / | / |  |  |  |  | 2.06 |  |  | Brigitta P |  | 3 | 1 | 34323
3 | 400 | 3 | Old A | 2024-09-24 | 10:43 | 2024-09-23 | 15:39 | MARK |  | 400 | 398 | / | / | 0.213 |  |  |  | 0.27 |  |  | Brigitta P |  | 3 | 3 | 34323
3 | 400 | 4 | Valid | 2024-09-24 | 10:43 | 2024-09-23 | 15:39 | MARK |  | 404 | 404 | / | / | 0.215 |  |  |  | 0.38 |  |  | Brigitta P |  | 3 | 3 | 34323
3 | 400 | 5 | Valid | 2024-09-24 | 10:47 | 2024-09-23 | 15:39 | MARK |  | 383 | 387 | / | / | 0.204 |  |  |  | 0.27 |  |  | Brigitta P |  | 3 | 3 | 34323
2 | 100 | 6 | Valid | 2024-09-24 | 10:48 | 2024-09-23 | 15:39 | MARK |  | 98 | 97 | / | / | 0054 |  |  |  | 0.43 |  |  | Brigitta P |  | 3 | 2 | 34323
2 | 100 | 7 | Valid | 2024-09-24 | 10:49 | 2024-09-23 | 15:39 | MARK |  | 97 | 93 | / | / | 0.053 |  |  |  | 0.33 |  |  | Brigitta P |  | 3 | 2 | 34323
2 | 100 | 8 | Valid | 2024-09-24 | 10:49 | 2024-09-23 | 15:39 | MARK |  | 97 | 93 | / | / | 0.053 |  |  |  | 0.35 |  |  | Brigitta P |  | 3 | 2 | 34323
1 | 0 | 9 | Valid | 2024-09-24 | 10:55 | 2024-09-23 | 15:39 | MARK |  | 3 | 3 | / | / | 0.002 |  |  |  | 0.35 |  |  | Brigitta P |  | 3 | 1 | 34323
2 | 100 | 10 | Old A | 2024-10-05 | 09:59 | 2024-10-04 | 19:35 | Irina | 1 | 98 | 97 | / | / | 0.054 | 5.845 |  |  | 0.54 |  |  | Monika |  | 3 | 2 | 92606
2 | 100 | 11 | Old A | 2024-10-05 | 10:01 | 2024-10-04 | 19:35 | Irina | 1 | 104 | 110 | / | / | 0.057 |  |  |  | 0.52 |  |  | Monika |  | 3 | 2 | 92606
2 | 100 | 12 | Valid | 2024-10-05 | 10:09 | 2024-10-04 | 19:35 | Irina | 1 | 104 | 99 | / | / | 0.057 |  |  |  | 0.20 | 156 |  | Monika |  | 3 | 2 | 92606 | O2:11.67%/THE METER READ IN ppm(mg/L)
2 | 100 | 13 | Valid | 2024-10-05 | 10:45 | 2024-10-04 | 19:35 | Irina | 1 | 104 | 102 | / | / | 0.057 |  |  |  | 0.20 |  |  | Monika |  | 3 | 2 | 92606 | Whashed cuvettes
2 | 100 | 14 | Valid | 2024-10-05 | 10:46 | 2024-10-04 | 19:35 | Irina | 1 | 102 | 104 | / | / | 0.056 |  |  |  | 0.19 | 153 |  | Monika |  | 3 | 2 | 92606 | Vacuum 8/8 ok/ O2:12.42%
2 | 100 | 15 | Valid | 2024-10-05 | 10:47 | 2024-10-04 | 19:35 | Irina | 1 | 104 | 108 | / | / | 0.057 | 5.743 |  |  | 0.48 |  |  | Monika |  | 3 | 2 | 92606
3 | 400 | 16 | Old A | 2024-10-05 | 10:52 | 2024-10-04 | 19:35 | Irina | 1 | 400 | 402 | / | / | 0.213 |  |  |  | 0.47 | 161 |  | Monika |  | 3 | 3 | 92606 | O2:7.31%
3 | 400 | 17 | Old A | 2024-10-05 | 10:53 | 2024-10-04 | 19:35 | Irina | 1 | 392 | 392 | / | / | 0.209 | 5.844 |  |  | 0.56 | 155 |  | Monika |  | 3 | 3 | 92606 | O2:8.23%
3 | 400 | 18 | Valid | 2024-10-05 | 10:54 | 2024-10-04 | 19:35 | Irina | 1 | 406 | 410 | / | / | 0.216 |  |  |  | 0.20 |  |  | Monika |  | 3 | 3 | 92606
3 | 400 | 19 | Valid | 2024-10-05 | 11:01 | 2024-10-04 | 19:35 | Irina | 1 | 388 | 389 | / | / | 0.207 | 5.219 |  |  | 0.24 |  |  | Monika |  | 3 | 3 | 92606
3 | 400 | 20 | Valid | 2024-10-05 | 11:02 | 2024-10-04 | 19:35 | Irina | 1 | 381 | 385 | / | / | 0.203 |  |  |  | 0.20 |  |  | Monika |  | 3 | 3 | 92606
3 | 400 | 21 | Valid | 2024-10-05 | 11:03 | 2024-10-04 | 19:35 | Irina | 1 | 392 | 394 | / | / | 0.209 |  |  |  | 0.18 |  |  | Monika |  | 3 | 3 | 92606
1 | 0 | 22 | Valid | 2024-10-05 | 11:12 | 2024-10-04 | 19:35 | Irina | 1 | 10 | 15 | / | / | 0.007 |  |  |  | 0.19 |  |  | Monika |  | 3 | 1
1 | 0 | 23 | Valid | 2024-10-05 | 11:15 | 2024-10-04 | 19:35 | Irina | 1 | 6 | 8 | / | / | 0.004 |  |  |  | 0.18 |  |  | Monika |  | 3 | 1
1 | 0 | 24 | Valid | 2024-10-05 | 11:22 | 2024-10-04 | 19:35 | Irina | 1 | 8 | 10 | / | / | 0.007 |  |  |  | 0.20 |  |  | Monika |  | 3 | 1
1 | 0 | 25 | Valid | 2024-10-05 | 11:23 | 2024-10-04 | 19:35 | Irina | 1 | 6 | 4 | / | / | 0.004 |  |  |  | 0.20 |  |  | Monika |  | 3 | 1 |  | New cuvette OMPI+new caps
1 | 0 | 26 | Valid | 2024-10-05 | 11:29 | 2024-10-04 | 19:35 | Irina | 1 | 4 | 4 | / | / | 0.003 | 5.555 |  |  | 0.17 |  |  | Monika |  | 3 | 1
1 | 0 | 27 | Valid | 2024-10-05 | 11:30 | 2024-10-04 | 19:35 | Irina | 1 | 4 | 4 | / | / | 0.003 | 5.396 |  |  | 0.53 |  |  | Monika |  | 3 | 1
1 | 0 | 28 | Valid | 2024-10-05 | 11:36 | 2024-10-04 | 19:35 | Irina | 1 | 4 | 4 | / | / | 0.003 |  |  |  | 0.17 |  |  | Monika |  | 3 | 1
3 | 400 | 29 | P/Final | 2024-10-07 | 10:35 | 2024-10-07 | 06:39 | MARA | 1 | 404 | 398 | / | / | 0.215 | [6 empty] | Brigitta P |  | 3 | 3 | 92606
3 | 400 | 30 | P/Final | 2024-10-07 | 10:36 | 2024-10-07 | 06:39 | MARA | 1 | 396 | 392 | / | / | 0.211 | [6 empty] | Brigitta P |  | 3 | 3 | 92606
2 | 100 | 31 | P/Final | 2024-10-07 | 10:36 | 2024-10-07 | 06:39 | MARA | 1 | 97 | 89 | / | / | 0.053 | [6 empty] | Brigitta P |  | 3 | 2 | 92606
2 | 100 | 32 | P/Final | 2024-10-07 | 10:37 | 2024-10-07 | 06:39 | MARA | 1 | 106 | 95 | / | / | 0.058 | [6 empty] | Brigitta P |  | 3 | 2 | 92606
1 | 0 | 33 | P/Final | 2024-10-07 | 10:38 | 2024-10-07 | 06:39 | MARA | 1 | 0 | 0 | / | / | -0.002 | [6 empty] | Brigitta P |  | 3 | 1 | 92606
3 | 400 | 34 | P/Final | 2024-10-08 | 08:27 | 2024-10-07 | 14:38 | IRINA | 1 | 386 | 400 | / | / | 0.206 |  |  |  | 0.84 |  |  | Brigitta P |  | 3 | 3 | 92606
3 | 400 | 35 | P/Final | 2024-10-08 | 08:28 | 2024-10-07 | 14:38 | IRINA | 1 | 406 | 392 | / | / | 0.216 |  |  |  | 0.86 |  |  | Brigitta P |  | 3 | 3 | 92606
2 | 100 | 36 | P/Final | 2024-10-08 | 08:29 | 2024-10-07 | 14:38 | IRINA | 1 | 106 |  | / | / | 0.058 |  |  |  | 0.54 |  |  | Brigitta P |  | 3 | 2 | 92606
2 | 100 | 37 | P/Final | 2024-10-08 | 08:29 | 2024-10-07 | 14:38 | IRINA | 1 | 100 | 97 | / | / | 0.040 |  |  |  | 0.70 |  |  | Brigitta P |  | 3 | 2 | 92606
1 | 0 | 38 | P/Final | 2024-10-08 | 08:31 | 2024-10-07 | 14:38 | IRINA | 1 | 5 | 10 | / | / | 0.003 |  |  |  | 0.21 |  |  | Brigitta P |  | 3 | 1 | 92606
1 | 0 | 39 | P/Final | 2024-10-08 | 08:31 | 2024-10-07 | 14:38 | IRINA | 1 | 8 | 15 | / | / | 0.005 |  |  |  | 0.21 |  |  | Brigitta P |  | 3 | 1 | 92606
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 7 | 99 µg/L | 4 | 7 | 99 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 6 µg/L | 3 | 6 | 6 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 397 µg/L | 4 | 8 | 397 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 6 | NO
100 | 90 ÷ 110 | 99 | YES
400 | 375 ÷ 425 | 397 | YES
Validation Date | by