## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI761-0 | HI95761-0
1007 | HI761-0 | CP-R61 | W15/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine ULR Reagent | 2027-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 500 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-21 | 2025-03-16 | 1HEAD |  |  | 0963
[6 empty] | Expiration A | Expiration B | Expiration D
2027-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97761 | CTO-650
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 90 | 110 |  | MR67C |  | 5 | & | 5% | 100% |  | 6.0 | 5.7 | 6.3
3 | 400 | 375 | 425
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | Old A | 2025-04-16 | 08:46 | 2025-04-16 | 06:54 | TAMARA |  | 95 | 90 | / | / | 0.052 |  |  |  | 1.22 |  |  | Kinga |  | 3 | 2 | 82458
3 | 400 | 2 | Old A | 2025-04-16 | 08:47 | 2025-04-16 | 06:54 | TAMARA |  | 388 | 404 | / | / | 0.207 |  |  |  | 1.76 |  |  | Kinga |  | 3 | 3 | 82458
1 | 0 | 3 | Old A | 2025-04-16 | 08:47 | 2025-04-16 | 06:54 | TAMARA |  | 4 | 5 | / | / | 0.003 |  |  |  | 0.93 |  |  | Kinga |  | 3 | 1 | 82458
2 | 100 | 4 | P/FINAL | 2025-04-16 | 08:53 | 2025-04-16 | 06:54 | TAMARA |  | 106 | 100 | / | / | 0.058 | 5.878 |  |  | 0.44 | 150 |  | Kinga |  | 3 | 2 | 82458
2 | 100 | 5 | P/FINAL | 2025-04-16 | 08:53 | 2025-04-16 | 06:54 | TAMARA |  | 96 | 95 | / | / | 0.042 |  |  |  | 0.42 | 151 |  | Kinga |  | 3 | 2 | 82458
3 | 400 | 6 | P/FINAL | 2025-04-16 | 08:54 | 2025-04-16 | 06:54 | TAMARA |  | 392 | 404 | / | / | 0.209 |  |  |  | 0.24 | 158 |  | Kinga |  | 3 | 3 | 82458
3 | 400 | 7 | P/FINAL | 2025-04-16 | 08:55 | 2025-04-16 | 06:54 | TAMARA |  | 386 | 392 | / | / | 0.206 | 5.878 |  |  | 0.39 | 152 |  | Kinga |  | 3 | 3 | 82458
1 | 0 | 8 | P/FINAL | 2025-04-16 | 08:56 | 2025-04-16 | 06:54 | TAMARA |  | 0 | 4 | / | / | -0.001 |  |  |  | 0.32 | 147 |  | Kinga |  | 3 | 1 | 82458
1 | 0 | 9 | P/FINAL | 2025-04-16 | 08:56 | 2025-04-16 | 06:54 | TAMARA |  | 3 | 3 | / | / | 0.002 | 5.905 |  |  | 5.13 |  |  | Kinga |  | 3 | 1 | 82458
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 99 µg/L | 2 | 4 | 99 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 394 µg/L | 2 | 4 | 394 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 3 µg/L | 2 | 4 | 3 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 3 | YES
100 | 90 ÷ 110 | 99 | YES
400 | 375 ÷ 425 | 394 | YES
Validation Date | by