## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI761-0 | HI95761-0
1099 | HI761-0 | CP-R61 | 27/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine ULR Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 500 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-01 | 2025-07-03 | 1 HEAD |  |  | 1007
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97761 | CTO-650
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 400 | 375 | 425 |  | MR67C |  | 5 | & | 5% | 100% |  | 6.0 | 5.7 | 6.3
2 | 100 | 90 | 110
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97761 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 400 | 1 | Old A | 2025-07-03 | 08:39 | 2025-07-03 | 07:17 | MARA | 1 | 385 | 381 | / | / | 0.205 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 3 | 40504
3 | 400 | 2 | Old A | 2025-07-03 | 08:40 | 2025-07-03 | 07:17 | MARA | 1 | 412 | 392 | / | / | 0.231 |  |  |  | 1.63 |  |  | Kinga |  | 3 | 3 | 40504
2 | 100 | 3 | Old A | 2025-07-03 | 08:41 | 2025-07-03 | 07:17 | MARA | 1 | 93 | 90 | / | / | 0.051 |  |  |  | 0.72 |  |  | Kinga |  | 3 | 2 | 40504
2 | 100 | 4 | Old A | 2025-07-03 | 08:42 | 2025-07-03 | 07:17 | MARA | 1 | 93 | 91 | / | / | 0.051 |  |  |  | 3.68 |  |  | Kinga |  | 3 | 2 | 40504
1 | 0 | 5 | Old A | 2025-07-03 | 08:43 | 2025-07-03 | 07:17 | MARA | 1 | 12 | 3 | / | / | 0.007 |  |  |  | 0.68 |  |  | Kinga |  | 3 | 1 | 40504
1 | 0 | 6 | Old A | 2025-07-03 | 08:44 | 2025-07-03 | 07:17 | MARA | 1 | 14 | 4 | / | / | 0.009 |  |  |  | 0.87 |  |  | Kinga |  | 3 | 1 | 40504
2 | 100 | 7 | P/FINAL | 2025-07-03 | 08:48 | 2025-07-03 | 07:17 | MARA | 1 | 98 | 104 | / | / | 0.053 |  |  |  | 0.88 | 127 |  | Kinga |  | 3 | 2 | 40504
2 | 100 | 8 | P/FINAL | 2025-07-03 | 08:49 | 2025-07-03 | 07:17 | MARA | 1 | 93 | 91 | / | / | 0.051 | 5.580 |  |  | 0.33 | 145 |  | Kinga |  | 3 | 2 | 40504
2 | 100 | 9 | P/FINAL | 2025-07-03 | 08:50 | 2025-07-03 | 07:17 | MARA | 1 | 93 | 91 | / | / | 0.051 |  |  |  | 0.3 | 137 |  | Kinga |  | 3 | 2 | 40504
3 | 400 | 10 | P/FINAL | 2025-07-03 | 08:54 | 2025-07-03 | 07:17 | MARA | 1 | 390 | 385 | / | / | 0.208 |  |  |  | 0.60 | 162 |  | Kinga |  | 3 | 3 | 40504
3 | 400 | 11 | P/FINAL | 2025-07-03 | 08:55 | 2025-07-03 | 07:17 | MARA | 1 | 392 | 383 | / | / | 0.209 | 5.932 |  |  | 4.69 | 169 |  | Kinga |  | 3 | 3 | 40504
3 | 400 | 12 | P/FINAL | 2025-07-03 | 08:55 | 2025-07-03 | 07:17 | MARA | 1 | 406 | 398 | / | / | 0.216 |  |  |  | 1.53 | 118 |  | Kinga |  | 3 | 3 | 40504
1 | 0 | 13 | P/FINAL | 2025-07-03 | 08:57 | 2025-07-03 | 07:17 | MARA | 1 | 3 | 0 | / | / | 0.002 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 1 | 40504
1 | 0 | 14 | P/FINAL | 2025-07-03 | 08:58 | 2025-07-03 | 07:17 | MARA | 1 | 6 | 3 | / | / | 0.003 | 5.724 |  |  | 0.36 |  |  | Kinga |  | 3 | 1 | 40504
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 392 µg/L | 3 | 6 | 392 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 95 µg/L | 3 | 6 | 95 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 3 µg/L | 2 | 4 | 3 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 3 | YES
100 | 90 ÷ 110 | 95 | YES
400 | 375 ÷ 425 | 392 | YES
Validation Date | by