## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI761-0 | HI95761-0
1137 | HI761-0 | CP-R61 | W 31/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine ULR Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 500 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-07-31 | 2025-07-31 | 1 HEAD |  |  | 1099
[6 empty] | Expiration A | Expiration B | Expiration D
2027-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97761 | CTO-650
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 5 |  | MR67C |  | 5 | & | 5% | 100% |  | 6.0 | 5.7 | 6.3
2 | 100 | 90 | 110
3 | 400 | 375 | 425
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97761 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-07-31 | 09:03 | 2025-07-31 | 06:54 | MARA | 1 | 0 | 0 | / | / | -0.004 |  |  |  | 0.39 |  |  | Andrea V |  | 3 | 1
1 | 0 | 2 | Old A | 2025-07-31 | 09:04 | 2025-07-31 | 06:54 | MARA | 1 | 0 | 0 | / | / | 0.004 |  |  |  | 0.54 |  |  | Andrea V |  | 3 | 1
2 | 100 | 3 | Old A | 2025-07-31 | 09:05 | 2025-07-31 | 06:54 | MARA | 1 | 97 | 97 | / | / | 0.053 |  |  |  | 0.92 |  |  | Andrea V |  | 3 | 2
3 | 400 | 4 | Old A | 2025-07-31 | 09:06 | 2025-07-31 | 06:54 | MARA | 1 | 383 | 377 | / | / | 0.204 |  |  |  | 2.05 |  |  | Andrea V |  | 3 | 3
3 | 400 | 5 | Old A | 2025-07-31 | 09:07 | 2025-07-31 | 06:54 | MARA | 1 | 383 | 387 | / | / | 0.204 |  |  |  | 1.28 |  |  | Andrea V |  | 3 | 3
2 | 100 | 6 | Old A | 2025-07-31 | 09:11 | 2025-07-31 | 06:54 | MARA | 1 | 91 | 97 | / | / | 0.050 |  |  |  | 4.07 |  |  | Andrea V |  | 3 | 2
1 | 0 | 7 | P/FINAL | 2025-07-31 | 09:13 | 2025-07-31 | 06:54 | MARA | 1 | 1 | 1 | / | / | 0.008 |  |  |  | 0.32 | `148 |  | Andrea V |  | 3 | 1
1 | 0 | 8 | P/FINAL | 2025-07-31 | 09:14 | 2025-07-31 | 06:54 | MARA | 1 | 0 | 0 | / | / | 0.004 | 6.252 |  |  | 0.28 | 158 |  | Andrea V |  | 3 | 1
2 | 100 | 9 | P/FINAL | 2025-07-31 | 09:38 | 2025-07-31 | 06:54 | MARA | 1 | 95 | 97 | / | / | 0.052 |  |  |  | 1.35 | 153 |  | Andrea V |  | 3 | 2 | 92419
2 | 100 | 10 | P/FINAL | 2025-07-31 | 09:38 | 2025-07-31 | 06:54 | MARA | 1 | 91 | 102 | / | / | 0.050 |  |  |  | 1.44 | 154 |  | Andrea V |  | 3 | 2 | 92419
2 | 100 | 11 | P/FINAL | 2025-07-31 | 09:39 | 2025-07-31 | 06:54 | MARA | 1 | 97 | 100 | / | / | 0.053 | 6.226 |  |  | 0.26 | 144 |  | Andrea V |  | 3 | 2 | 92419
3 | 400 | 12 | P/FINAL | 2025-07-31 | 09:39 | 2025-07-31 | 06:54 | MARA | 1 | 402 | 410 | / | / | 0.214 |  |  |  | 0.23 |  |  | Andrea V |  | 3 | 3 | 92419
3 | 400 | 13 | P/FINAL | 2025-07-31 | 09:40 | 2025-07-31 | 06:54 | MARA | 1 | 402 | 406 | / | / | 0.214 | 6.226 |  |  | 0.26 |  |  | Andrea V |  | 3 | 3 | 92419
3 | 400 | 14 | P/FINAL | 2025-07-31 | 09:41 | 2025-07-31 | 06:54 | MARA | 1 | 400 | 402 | / | / | 0.213 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 3 | 92419
1 | 0 | 15 | P/FINAL | 2025-07-31 | 15:34 | 2025-07-31 | 14:12 | TAMARA | 1 | 0 | 0 | / | / | -0.009 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 1
1 | 0 | 16 | P/FINAL | 2025-07-31 | 15:34 | 2025-07-31 | 14:12 | TAMARA | 1 | 0 | 0 | / | / | -0.008 | 6.230 |  |  | 0.27 |  |  | Andrea V |  | 3 | 1
2 | 100 | 17 | P/FINAL | 2025-07-31 | 15:35 | 2025-07-31 | 14:12 | TAMARA | 1 | 91 | 99 | / | / | 0.050 |  |  |  | 2.25 | 133 |  | Andrea V |  | 3 | 2
2 | 100 | 18 | P/FINAL | 2025-07-31 | 15:35 | 2025-07-31 | 14:12 | TAMARA | 1 | 98 | 98 | / | / | 0.054 |  |  |  | 1.22 | 122 |  | Andrea V |  | 3 | 2
2 | 100 | 19 | P/FINAL | 2025-07-31 | 15:36 | 2025-07-31 | 14:12 | TAMARA | 1 | 95 | 94 | / | / | 0.057 | 6.109 |  |  | 1.45 | 126 |  | Andrea V |  | 3 | 2
3 | 400 | 20 | P/FINAL | 2025-07-31 | 15:36 | 2025-07-31 | 14:12 | TAMARA | 1 | 390 | 382 | / | / | 0.208 |  |  |  | 0.38 | 121 |  | Andrea V |  | 3 | 3
3 | 400 | 21 | P/FINAL | 2025-07-31 | 15:37 | 2025-07-31 | 14:12 | TAMARA | 1 | 383 | 379 | / | / | 0.204 | 6.135 |  |  | 0.35 | 143 |  | Andrea V |  | 3 | 3
3 | 400 | 22 | P/FINAL | 2025-07-31 | 15:37 | 2025-07-31 | 14:12 | TAMARA | 1 | 392 | 382 | / | / | 0.209 |  |  |  | 0.94 |  |  | Andrea V |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 µg/L | 4 | 8 | 0 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 96 µg/L | 6 | 12 | 96 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 394 µg/L | 6 | 12 | 394 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 0 | YES
100 | 90 ÷ 110 | 96 | YES
400 | 375 ÷ 425 | 394 | YES
Validation Date | by