## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI761-0 | HI95761-0
0689 | HI95761-0 | CP-R61 | W39/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine ULR Reagent | 2026-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 0.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-10-07 | 2024-10-08 | 1HEAD |  |  | 0535
[6 empty] | Expiration A | Expiration B | Expiration D
2026-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97761 | CTO-650
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.100 | 0.074 | 0.126 |  | MR67C |  | 0.020 | & | 5.55% | 100% |  | 6.0 | 5.7 | 6.3
3 | 0.400 | 0.358 | 0.442
1 | 0.000 | 0.000 | 0.020
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.100 | 1 | P/Final | 2024-10-08 | 08:43 | 2024-10-07 | 20:17 | IRINA | 1 | 0.104 | 0.085 | / | / | 0.057 | 6.225 |  |  | 0.27 |  |  | Brigitta P |  | 3 | 2
2 | 0.100 | 2 | P/Final | 2024-10-08 | 08:44 | 2024-10-07 | 20:17 | IRINA | 1 | 0.087 | 0.087 | / | / | 0.047 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 2
3 | 0.400 | 3 | P/Final | 2024-10-08 | 08:44 | 2024-10-07 | 20:17 | IRINA | 1 | 0.385 | 0.389 | / | / | 0.205 | 6.267 |  |  | 0.20 |  |  | Brigitta P |  | 3 | 3
3 | 0.400 | 4 | P/Final | 2024-10-08 | 08:45 | 2024-10-07 | 20:17 | IRINA | 1 | 0.404 | 0.398 | / | / | 0.215 |  |  |  | 0.45 |  |  | Brigitta P |  | 3 | 3
1 | 0.000 | 5 | P/Final | 2024-10-08 | 08:45 | 2024-10-07 | 20:17 | IRINA | 1 | 0.001 | 0.010 | / | / | 0.001 | 6.283 |  |  | 0.20 |  |  | Brigitta P |  | 3 | 1
2 | 0.100 | 6 | P/Final | 2024-10-08 | 08:51 | 2024-10-07 | 07:38 | MARA | 1 | 0.108 | 0.122 | / | / | 0.059 | 6.266 |  |  | 0.47 |  |  | Brigitta P |  | 3 | 2
2 | 0.100 | 7 | P/Final | 2024-10-08 | 08:51 | 2024-10-07 | 07:38 | MARA | 1 | 0.085 | 0.089 | / | / | 0.047 |  |  |  | 0.44 |  |  | Brigitta P |  | 3 | 2
3 | 0.400 | 8 | P/Final | 2024-10-08 | 08:52 | 2024-10-07 | 07:38 | MARA | 1 | 0.390 | 0.392 | / | / | 0.208 | 6.211 |  |  | 0.36 |  |  | Brigitta P |  | 3 | 3
3 | 0.400 | 9 | P/Final | 2024-10-08 | 08:53 | 2024-10-07 | 07:38 | MARA | 1 | 0.386 | 0.396 | / | / | 0.206 |  |  |  | 0.33 |  |  | Brigitta P |  | 3 | 3
1 | 0.000 | 10 | P/Final | 2024-10-08 | 08:54 | 2024-10-07 | 07:38 | MARA | 1 | 0.001 | 0.004 | / | / | 0.001 | 6.272 |  |  | 0.19 |  |  | Brigitta P |  | 3 | 1
3 | 0.400 | 11 | Old A | 2024-10-08 | 9:00 | 2024-10-07 | 07:38 | MARA | 1 | 0.388 | 0.390 | / | / | 0.207 |  |  |  | 1.34 |  |  | Brigitta P |  | 3 | 1
3 | 0.400 | 12 | Old A | 2024-10-08 | 9:00 | 2024-10-07 | 07:38 | MARA | 1 | 0.408 | 0.400 | / | / | 0.217 |  |  |  | 1.15 |  |  | Brigitta P |  | 3 | 1
2 | 0.100 | 13 | Old A | 2024-10-08 | 9:00 | 2024-10-07 | 07:38 | MARA | 1 | 0.115 | 0.113 | / | / | 0.063 |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 1
2 | 0.100 | 14 | Old A | 2024-10-08 | 9:00 | 2024-10-07 | 07:38 | MARA | 1 | 0.089 | 0.093 | / | / | 0.049 |  |  |  | 1.00 |  |  | Brigitta P |  | 3 | 1
1 | 0.000 | 15 | Old A | 2024-10-08 | 9:05 | 2024-10-07 | 07:38 | MARA | 1 | 0.004 | 0.010 | / | / | 0.003 |  |  |  | 1.32 |  |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.096 mg/L | 4 | 8 | 0.096 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.393 mg/L | 4 | 8 | 0.393 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.004 mg/L | 2 | 4 | 0.004 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.020 | 0.004 | YES
0.100 | 0.074 ÷ 0.126 | 0.096 | YES
0.400 | 0.358 ÷ 0.442 | 0.393 | YES
Validation Date | by