## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI761-0 | HI95761-0
0865 | HI95761-0 | CP-R61 | W 49 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine ULR Reagent | 2026-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 0.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-12-10 | 2024-12-13 | 1HEAD |  |  | 0698
[6 empty] | Expiration A | Expiration B | Expiration D
2026-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97761 | CTO-650
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.100 | 0.074 | 0.126 |  | MR67C |  | 0.020 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 0.400 | 0.358 | 0.442
1 | 0.000 | 0.000 | 0.020
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97761 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.100 | 1 | Old A | 2024-12-06 | 16:10 | 2024-12-06 | 12:46 | MARK |  | 0.079 | 0.081 | / | / | 0.035 |  |  |  | 0.87 |  |  | Kinga |  | 3 | 2 | 92606
3 | 0.400 | 2 | Old A | 2024-12-06 | 16:10 | 2024-12-06 | 12:46 | MARK |  | 0.372 | 0.376 | / | / | 0.179 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 3 | 92606
1 | 0.000 | 3 | Old A | 2024-12-06 | 16:11 | 2024-12-06 | 12:46 | MARK |  | 0.002 | 0.003 | / | / | 0.010 |  |  |  | 0.43 |  |  | Kinga |  | 3 | 1 | 92606
2 | 0.100 | 4 | Valid | 2024-12-06 | 16:17 | 2024-12-06 | 12:46 | MARK |  | 0.078 | 0.079 | / | / | 0.040 |  |  |  | 0.41 |  |  | Kinga |  | 3 | 2 | 92606
2 | 0.100 | 5 | Valid | 2024-12-06 | 16:18 | 2024-12-06 | 12:46 | MARK |  | 0.083 | 0.083 | / | / | 0.040 | 5.752 |  |  | 0.34 |  |  | Kinga |  | 3 | 2 | 92606
3 | 0.400 | 6 | Valid | 2024-12-06 | 16:19 | 2024-12-06 | 12:46 | MARK |  | 0.360 | 0.364 | / | / | 0.189 | 5.790 |  |  | 0.85 |  |  | Kinga |  | 3 | 3 | 92606
3 | 0.400 | 7 | Valid | 2024-12-06 | 16:20 | 2024-12-06 | 12:46 | MARK |  | 0.373 | 0.374 | / | / | 0.189 |  |  |  | 0.91 |  |  | Kinga |  | 3 | 3 | 92606
1 | 0.000 | 8 | Valid | 2024-12-06 | 16:21 | 2024-12-06 | 12:46 | MARK |  | 0.004 | 0.000 | / | / | 0.003 | 5.871 |  |  | 0.32 |  |  | Kinga |  | 3 | 1 | 92606
1 | 0.000 | 9 | Valid | 2024-12-06 | 16:22 | 2024-12-06 | 12:46 | MARK |  | 0.003 | 0.000 | / | / | 0.002 |  |  |  | 0.28 |  |  | Kinga |  | 3 | 1 | 92606
2 | 0.100 | 10 | Old A | 2025-01-10 | 10:56 | 2025-01-10 | 07:24 | TAMARA | 4 | 0.106 | 0.106 | / | / | 0.058 |  |  |  | 1.92 |  |  | Kinga |  | 3 | 2 | 92606
3 | 0.400 | 11 | Old A | 2025-01-10 | 10:57 | 2025-01-10 | 07:24 | TAMARA | 4 | 0.421 | 0.419 | / | / | 0.224 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 3 | 92606
1 | 0.000 | 12 | P/Final | 2025-01-10 | 10:59 | 2025-01-10 | 07:24 | TAMARA | 4 | 0.012 | 0.014 | / | / | 0.007 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 1 | 92606
2 | 0.100 | 13 | P/Final | 2025-01-10 | 11:03 | 2025-01-10 | 07:24 | TAMARA | 4 | 0.110 | 0.104 | / | / | 0.060 | 5.693 |  |  | 0.85 | 141 |  | Kinga |  | 3 | 2 | 92606
2 | 0.100 | 14 | P/Final | 2025-01-10 | 11:03 | 2025-01-10 | 07:24 | TAMARA | 4 | 0.106 | 0.106 | / | / | 0.058 |  |  |  | 0.45 | 141 |  | Kinga |  | 3 | 2 | 92606
3 | 0.400 | 15 | P/Final | 2025-01-10 | 11:06 | 2025-01-10 | 07:24 | TAMARA | 4 | 0.419 | 0.414 | / | / | 0.223 | 5.759 |  |  | 0.35 | 141 |  | Kinga |  | 3 | 3 | 92606
3 | 0.400 | 16 | P/Final | 2025-01-10 | 11:07 | 2025-01-10 | 07:24 | TAMARA | 4 | 0.413 | 0.419 | / | / | 0.220 |  |  |  | 0.34 | 148 |  | Kinga |  | 3 | 3 | 92606
1 | 0.000 | 17 | P/Final | 2025-01-10 | 11:12 | 2025-01-10 | 07:24 | TAMARA | 4 | 0.010 | 0.004 | / | / | 0.006 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 1 | 92606
1 | 0.000 | 18 | P/Final | 2025-01-10 | 11:13 | 2025-01-10 | 07:24 | TAMARA | 4 | 0.012 | 0.003 | / | / | 0.007 | 5.655 |  |  | 0.30 |  |  | Kinga |  | 3 | 1 | 92606
2 | 0.100 | 19 | P/Final | 2025-01-10 | 14:53 | 2025-01-10 | 14:13 | MARA | 1 | 0.095 | 0.104 | / | / | 0052 | 5.742 |  |  | 0.35 | 130 |  | Kinga |  | 3 | 2
2 | 0.100 | 20 | P/Final | 2025-01-10 | 14:54 | 2025-01-10 | 14:13 | MARA | 1 | 0.097 | 0.104 | / | / | 0.053 |  |  |  | 0.35 | 131 |  | Kinga |  | 3 | 2
3 | 0.400 | 21 | P/FINAL | 2025-01-10 | 15:00 | 2025-01-10 | 14:13 | MARA | 1 | 0.417 | 0.421 | / | / | 0.222 | 5.762 |  |  | 0.41 | 143 |  | Kinga |  | 3 | 3
3 | 0.400 | 22 | P/FINAL | 2025-01-10 | 15:02 | 2025-01-10 | 14:13 | MARA | 1 | 0.412 | 0.410 | / | / | 0.186 |  |  |  | 0.27 | 143 |  | Kinga |  | 3 | 3
1 | 0.000 | 23 | P/FINAL | 2025-01-10 | 15:03 | 2025-01-10 | 14:13 | MARA | 1 | 0.000 | 0.000 | / | / | -0.002 | 5.779 |  |  | 0.32 | 132 |  | Kinga |  | 3 | 1
1 | 0.000 | 24 | P/FINAL | 2025-01-10 | 15:04 | 2025-01-10 | 14:13 | MARA | 1 | 0.004 | 0.010 | / | / | 0.003 |  |  |  | 0.40 |  |  | Kinga |  | 3 | 1
2 | 0.100 | 25 | P/Prod | 2025-01-13 | 09:26 | 2025-01-10 | 16:53 | MARA | 1 | 0.115 | 0.108 | / | / | 0.063 | 6.020 |  |  | 0.44 | 158 |  | Brigitta P |  | 3 | 2
2 | 0.100 | 26 | P/Prod | 2025-01-13 | 09:27 | 2025-01-10 | 16:53 | MARA | 1 | 0.104 | 0.099 | / | / | 0.057 |  |  |  | 0.42 | 146 |  | Brigitta P |  | 3 | 2
3 | 0.400 | 27 | P/Prod | 2025-01-13 | 09:28 | 2025-01-10 | 16:53 | MARA | 1 | 0.396 | 0.400 | / | / | 0.211 | 5.813 |  |  | 0.45 | 143 |  | Brigitta P |  | 3 | 3
3 | 0.400 | 28 | P/Prod | 2025-01-13 | 09:28 | 2025-01-10 | 16:53 | MARA | 1 | 0.402 | 0.400 | / | / | 0.214 |  |  |  | 0.45 | 150 |  | Brigitta P |  | 3 | 3
1 | 0.000 | 29 | P/Prod | 2025-01-13 | 09:29 | 2025-01-10 | 16:53 | MARA | 1 | 0.008 | 0.010 | / | / | 0.005 | 5.887 |  |  | 0.46 |  |  | Brigitta P |  | 3 | 1
2 | 0.100 | 30 | P/Prod | 2025-01-13 | 09:39 | 2025-01-13 | 06:29 | MARA | 1 | 0.097 | 0.110 | / | / | 0.053 | 5.887 |  |  | 0.88 |  |  | Brigitta P |  | 3 | 2
2 | 0.100 | 31 | P/Prod | 2025-01-13 | 09:40 | 2025-01-13 | 06:29 | MARA | 1 | 0.097 | 0.106 | / | / | 0.053 | 5.715 |  |  | 0.31 | 158 |  | Brigitta P |  | 3 | 2
3 | 0.400 | 32 | P/Prod | 2025-01-13 | 09:42 | 2025-01-13 | 06:29 | MARA | 1 | 0.406 | 0.416 | / | / | 0.206 |  |  |  | 0.45 | 140 |  | Brigitta P |  | 3 | 3
3 | 0.400 | 33 | P/Prod | 2025-01-13 | 09:43 | 2025-01-13 | 06:29 | MARA | 1 | 0.406 | 0.402 | / | / | 0.216 | 5.729 |  |  | 0.33 | 151 |  | Brigitta P |  | 3 | 3
1 | 0.000 | 34 | P/Prod | 2025-01-13 | 09:44 | 2025-01-13 | 06:29 | MARA | 1 | 0.014 | 0.010 | / | / | 0.008 | 5.768 |  |  | 0.34 | 139 |  | Brigitta P |  | 3 | 1
1 | 0.000 | 35 | Old A | 2025-01-13 | 9:50 | 2025-01-13 | 06:29 | MARA | 1 | 0.012 | 0.010 | / | / | 0.007 |  |  |  | 0.53 |  |  | Brigitta P |  | 3 | 1
3 | 0.400 | 36 | Old A | 2025-01-13 | 9:50 | 2025-01-13 | 06:29 | MARA | 1 | 0.400 | 0.398 | / | / | 0.213 |  |  |  | 0.37 |  |  | Brigitta P |  | 3 | 1
2 | 0.100 | 37 | Old A | 2025-01-13 | 9:50 | 2025-01-13 | 06:29 | MARA | 1 | 0.098 | 0.091 | / | / | 0.054 | [6 empty] | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.104 mg/L | 8 | 16 | 0.104 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.41 mg/L | 8 | 16 | 0.41 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.008 mg/L | 7 | 14 | 0.008 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.020 | 0.008 | YES
0.100 | 0.074 ÷ 0.126 | 0.104 | YES
0.400 | 0.358 ÷ 0.442 | 0.410 | YES
Validation Date | by