## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI761-0 | HI95761-0
1099 | HI95761-0 | CP-R61 | W 27/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine ULR Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 0.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-07-01 | 2025-07-03 | 4 HEAD |  |  | 1007
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97761 | CTO-650
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.000 | 0.000 | 0.020 |  | MR67C |  | 0.020 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.100 | 0.077 | 0.123
3 | 0.400 | 0.368 | 0.432
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97761 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.000 | 1 | Old A | 2025-07-02 | 08:26 | 2025-07-01 | 14:17 | MARK |  | 0.000 | 0.012 | / | / | 0.007 |  |  |  | 0.46 |  |  | Andrea V |  | 3 | 1
1 | 0.000 | 2 | Old A | 2025-07-02 | 08:27 | 2025-07-01 | 14:17 | MARK |  | 0.000 | 0.017 | / | / | 0.007 |  |  |  | 0.42 |  |  | Andrea V |  | 3 | 1
2 | 0.100 | 3 | Old A | 2025-07-02 | 08:38 | 2025-07-01 | 14:17 | MARK |  | 0.100 | 0.097 | / | / | 0.055 |  |  |  | 0.41 |  |  | Andrea V |  | 3 | 2
2 | 0.100 | 4 | Old A | 2025-07-02 | 08:39 | 2025-07-01 | 14:17 | MARK |  | 0.100 | 0.097 | / | / | 0.055 |  |  |  | 0.53 |  |  | Andrea V |  | 3 | 2
3 | 0.400 | 5 | Old A | 2025-07-02 | 08:39 | 2025-07-01 | 14:17 | MARK |  | 0.394 | 0.410 | / | / | 0.210 |  |  |  | 0.81 |  |  | Andrea V |  | 3 | 3
3 | 0.400 | 6 | Old A | 2025-07-02 | 08:40 | 2025-07-01 | 14:17 | MARK |  | 0.402 | 0.404 | / | / | 0.214 |  |  |  | 0.37 |  |  | Andrea V |  | 3 | 3
1 | 0.000 | 7 | Valid | 2025-07-02 | 08:40 | 2025-07-01 | 14:17 | MARK |  | 0.012 | 0.010 | / | / | 0.007 | 6.335 |  |  | 0.36 |  |  | Andrea V |  | 3 | 1 | 40504
1 | 0.000 | 8 | Valid | 2025-07-02 | 08:41 | 2025-07-01 | 14:17 | MARK |  | 0.008 | 0.010 | / | / | 0.005 |  |  |  | 0.30 |  |  | Andrea V |  | 3 | 1 | 40504
2 | 0.100 | 9 | Valid | 2025-07-02 | 08:41 | 2025-07-01 | 14:17 | MARK |  | 0.104 | 0.104 | / | / | 0.057 | 6.368 |  |  | 0.35 |  |  | Andrea V |  | 3 | 2 | 40504
2 | 0.100 | 10 | Valid | 2025-07-02 | 08:45 | 2025-07-01 | 14:17 | MARK |  | 0.097 | 0.097 | / | / | 0.053 |  |  |  | 0.25 |  |  | Andrea V |  | 3 | 2 | 40504
2 | 0.100 | 11 | Valid | 2025-07-02 | 08:46 | 2025-07-01 | 14:17 | MARK |  | 0.097 | 0.095 | / | / | 0.053 |  |  |  | 0.24 |  |  | Andrea V |  | 3 | 2 | 40504
3 | 0.400 | 12 | Valid | 2025-07-02 | 08:47 | 2025-07-01 | 14:17 | MARK |  | 0.404 | 0.402 | / | / | 0.215 |  |  |  | 0.20 |  |  | Andrea V |  | 3 | 3 | 40504
3 | 0.400 | 13 | Valid | 2025-07-02 | 08:48 | 2025-07-01 | 14:17 | MARK |  | 0.390 | 0.402 | / | / | 0.208 | 6.619 |  |  | 0.35 |  |  | Andrea V |  | 3 | 3 | 40504
3 | 0.400 | 14 | Valid | 2025-07-02 | 08:48 | 2025-07-01 | 14:17 | MARK |  | 0.398 | 0.402 | / | / | 0.212 |  |  |  | 0.25 |  |  | Andrea V |  | 3 | 3 | 40504
2 | 0.100 | 15 | P/FINAL | 2025-07-03 | 12:28 | 2025-07-03 | 11:45 | MARA | 1 | 0.093 | 0.089 | / | / | 0.051 | 5.970 |  |  | 9.66 |  |  | Kinga |  | 3 | 2 | 40504
2 | 0.100 | 16 | P/FINAL | 2025-07-03 | 12:28 | 2025-07-03 | 11:45 | MARA | 1 | 0.104 | 0.102 | / | / | 0.057 |  |  |  | 1.14 | 181 |  | Kinga |  | 3 | 2 | 40504
2 | 0.100 | 17 | P/FINAL | 2025-07-03 | 12:29 | 2025-07-03 | 11:45 | MARA | 1 | 0.100 | 0.106 | / | / | 0.055 |  |  |  | 0.49 | 130 |  | Kinga |  | 3 | 2 | 40504
3 | 0.400 | 18 | P/FINAL | 2025-07-03 | 12:33 | 2025-07-03 | 11:45 | MARA | 1 | 0.390 | 0.398 | / | / | 0.208 |  |  |  | 1.12 | 160 |  | Kinga |  | 3 | 3 | 40504
3 | 0.400 | 19 | P/FINAL | 2025-07-03 | 12:33 | 2025-07-03 | 11:45 | MARA | 1 | 0.392 | 0.398 | / | / | 0.209 | 6.002 |  |  | 0.25 | 149 |  | Kinga |  | 3 | 3 | 40504
3 | 0.400 | 20 | P/FINAL | 2025-07-03 | 12:34 | 2025-07-03 | 11:45 | MARA | 1 | 0.390 | 0.400 | / | / | 0.208 |  |  |  | 4.69 | 184 |  | Kinga |  | 3 | 3 | 40504
1 | 0.000 | 21 | P/FINAL | 2025-07-03 | 12:35 | 2025-07-03 | 11:45 | MARA | 1 | 0.026 | 0.037 | / | / | 0.015 |  |  |  | 0.61 |  |  | Kinga |  | 3 | 1 | 40504
1 | 0.000 | 22 | P/FINAL | 2025-07-03 | 12:36 | 2025-07-03 | 11:45 | MARA | 1 | 0.017 | 0.020 | / | / | 0.010 | 5.908 |  |  | 0.36 |  |  | Kinga |  | 3 | 1 | 40504
2 | 0.100 | 23 | P/FINAL | 2025-07-03 | 15:11 | 2025-07-03 | 14:09 | TAMARA |  | 0.097 | 0.089 | / | / | 0.053 |  |  |  | 1.18 |  |  | Kinga |  | 3 | 2 | 40504
2 | 0.100 | 24 | P/FINAL | 2025-07-03 | 15:12 | 2025-07-03 | 14:09 | TAMARA |  | 0.104 | 0.108 | / | / | 0.057 | 6.327 |  |  | 0.31 | 160 |  | Kinga |  | 3 | 2 | 40504
2 | 0.100 | 25 | P/FINAL | 2025-07-03 | 15:13 | 2025-07-03 | 14:09 | TAMARA |  | 0.115 | 0.100 | / | / | 0.063 |  |  |  | 1.03 | 171 |  | Kinga |  | 3 | 2 | 40504
3 | 0.400 | 26 | P/FINAL | 2025-07-03 | 15:15 | 2025-07-03 | 14:09 | TAMARA |  | 0.396 | 0.390 | / | / | 0.211 |  |  |  | 4.00 | 175 |  | Kinga |  | 3 | 3 | 40504
3 | 0.400 | 27 | P/FINAL | 2025-07-03 | 15:16 | 2025-07-03 | 14:09 | TAMARA |  | 0.386 | 0.387 | / | / | 0.217 | 6.111 |  |  | 0.64 | 164 |  | Kinga |  | 3 | 3 | 40504
3 | 0.400 | 28 | P/FINAL | 2025-07-03 | 15:17 | 2025-07-03 | 14:09 | TAMARA |  | 0.408 | 0.392 | / | / | 0.217 |  |  |  | 1.43 | 178 |  | Kinga |  | 3 | 3 | 40504
1 | 0.000 | 29 | P/FINAL | 2025-07-03 | 15:18 | 2025-07-03 | 14:09 | TAMARA |  | 0.006 | 0.014 | / | / | 0.004 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 1 | 40504
1 | 0.000 | 30 | P/FINAL | 2025-07-03 | 15:18 | 2025-07-03 | 14:09 | TAMARA |  | 0.008 | 0.037 | / | / | 0.005 | 6.088 |  |  | 0.75 |  |  | Kinga |  | 3 | 1 | 40504
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.021 mg/L | 4 | 8 | 0.021 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.101 mg/L | 6 | 12 | 0.101 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.394 mg/L | 6 | 12 | 0.394 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.020 | 0.021 | NO
0.100 | 0.077 ÷ 0.123 | 0.101 | YES
0.400 | 0.368 ÷ 0.432 | 0.394 | YES
Validation Date | by