## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI761-0 | HI95761-0
1137 | HI95761-0 | CP-R61 | W 31/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine ULR Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 0.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-30 | 2025-07-31 | 4 HEAD |  |  | 0698
[6 empty] | Expiration A | Expiration B | Expiration D
2026-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97761 | CTO-650
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-781
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.000 | 0.000 | 0.020 |  | MR67C |  | 0.020 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.100 | 0.077 | 0.123
3 | 0.400 | 0.368 | 0.432
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97761 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.000 | 1 | Old A | 2025-07-30 | 08:45 | 2025-07-30 | 07:29 | MARK |  | 0.004 | 0.008 | / | / | 0.003 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 1
1 | 0.000 | 2 | Old A | 2025-07-30 | 08:45 | 2025-07-30 | 07:29 | MARK |  | 0.006 | 0.008 | / | / | 0.004 |  |  |  | 0.81 |  |  | Kinga |  | 3 | 1
2 | 0.100 | 3 | Old A | 2025-07-30 | 08:46 | 2025-07-30 | 07:29 | MARK |  | 0.082 | 0.100 | / | / | 0.045 |  |  |  | 2.60 |  |  | Kinga |  | 3 | 2
2 | 0.100 | 4 | Old A | 2025-07-30 | 08:46 | 2025-07-30 | 07:29 | MARK |  | 0.080 | 0.087 | / | / | 0.044 |  |  |  | 4.19 |  |  | Kinga |  | 3 | 2
3 | 0.400 | 5 | Old A | 2025-07-30 | 08:47 | 2025-07-30 | 07:29 | MARK |  | 0.398 | 0.408 | / | / | 0.212 |  |  |  | 1.26 |  |  | Kinga |  | 3 | 3
3 | 0.400 | 6 | Old A | 2025-07-30 | 08:47 | 2025-07-30 | 07:29 | MARK |  | 0.375 | 0.375 | / | / | 0.200 |  |  |  | 1.72 |  |  | Kinga |  | 3 | 3
2 | 0.100 | 7 | Valid | 2025-07-30 | 08:54 | 2025-07-30 | 07:29 | MARK |  | 0.078 | 0.087 | / | / | 0.043 |  |  |  | 1.27 |  |  | Kinga |  | 3 | 2 | 40504
2 | 0.100 | 8 | Valid | 2025-07-30 | 08:55 | 2025-07-30 | 07:29 | MARK |  | 0.078 | 0.078 | / | / | 0.052 | 6.109 |  |  | 1.10 |  |  | Kinga |  | 3 | 2 | 40504
2 | 0.100 | 9 | Valid | 2025-07-30 | 08:55 | 2025-07-30 | 07:29 | MARK |  | 0.095 | 0.078 | / | / | 0.052 |  |  |  | 0.82 |  |  | Kinga |  | 3 | 2 | 40504
3 | 0.400 | 10 | Valid | 2025-07-30 | 09:00 | 2025-07-30 | 07:29 | MARK |  | 0.371 | 0.370 | / | / | 0.198 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 3 | 40504
3 | 0.400 | 11 | Valid | 2025-07-30 | 09:00 | 2025-07-30 | 07:29 | MARK |  | 0.369 | 0.368 | / | / | 0.197 | 6.096 |  |  | 2.48 |  |  | Kinga |  | 3 | 3 | 40504
3 | 0.400 | 12 | Valid | 2025-07-30 | 09:02 | 2025-07-30 | 07:29 | MARK |  | 0.387 | 0.379 | / | / | 0.209 |  |  |  | 0.68 |  |  | Kinga |  | 3 | 3 | 40504
1 | 0.000 | 13 | Valid | 2025-07-30 | 09:03 | 2025-07-30 | 07:29 | MARK |  | 0.000 | 0.000 | / | / | -0.003 |  |  |  | 0.55 |  |  | Kinga |  | 3 | 1 | 40504
1 | 0.000 | 14 | Valid | 2025-07-30 | 09:03 | 2025-07-30 | 07:29 | MARK |  | 0.000 | 0.003 | / | / | -0.002 | 6.109 |  |  | 0.56 |  |  | Kinga |  | 3 | 1 | 40504
1 | 0.000 | 15 | Old A | 2025-07-31 | 08:25 | 2025-07-30 | 17:17 | TAMARA |  | 0.012 | 0.019 | / | / | 0.007 |  |  |  | 0.48 |  |  | Andrea V |  | 3 | 1 | 40504
1 | 0.000 | 16 | Old A | 2025-07-31 | 08:26 | 2025-07-30 | 17:17 | TAMARA |  | 0.008 | 0.012 | / | / | 0.005 |  |  |  | 0.46 |  |  | Andrea V |  | 3 | 1 | 40504
2 | 0.100 | 17 | Old A | 2025-07-31 | 08:27 | 2025-07-30 | 17:17 | TAMARA |  | 0.100 | 0.091 | / | / | 0.055 |  |  |  | 4.84 |  |  | Andrea V |  | 3 | 2 | 40504
2 | 0.100 | 18 | Old A | 2025-07-31 | 08:27 | 2025-07-30 | 17:17 | TAMARA |  | 0.093 | 0.080 | / | / | 0.051 |  |  |  | 0.61 |  |  | Andrea V |  | 3 | 2 | 40504
3 | 0.400 | 19 | Old A | 2025-07-31 | 08:28 | 2025-07-30 | 17:17 | TAMARA |  | 0.388 | 0.377 | / | / | 0.207 |  |  |  | 1.02 |  |  | Andrea V |  | 3 | 3 | 40504
3 | 0.400 | 20 | Old A | 2025-07-31 | 08:29 | 2025-07-30 | 17:17 | TAMARA |  | 0.392 | 0.390 | / | / | 0.209 |  |  |  | 2.80 |  |  | Andrea V |  | 3 | 3 | 40504
1 | 0.000 | 21 | P/FINAL | 2025-07-31 | 08:38 | 2025-07-30 | 17:17 | TAMARA |  | 0.015 | 0.014 | / | / | 0.009 |  |  |  | 0.30 |  |  | Andrea V |  | 3 | 1 | 40504
1 | 0.000 | 22 | P/FINAL | 2025-07-31 | 08:39 | 2025-07-30 | 17:17 | TAMARA |  | 0.006 | 0.006 | / | / | 0.004 | 6.150 |  |  | 0.33 |  |  | Andrea V |  | 3 | 1 | 40504
2 | 0.100 | 23 | P/FINAL | 2025-07-31 | 08:43 | 2025-07-30 | 17:17 | TAMARA |  | 0.084 | 0.079 | / | / | 0.046 |  |  |  | 0.79 | 151 |  | Andrea V |  | 3 | 2 | 40504
2 | 0.100 | 24 | P/FINAL | 2025-07-31 | 08:45 | 2025-07-30 | 17:17 | TAMARA |  | 0.082 | 0.089 | / | / | 0.045 | 6.112 |  |  | 1.22 | 140 |  | Andrea V |  | 3 | 2 | 40504
3 | 0.400 | 25 | P/FINAL | 2025-07-31 | 08:47 | 2025-07-30 | 17:17 | TAMARA |  | 0.377 | 0.369 | / | / | 0.201 |  |  |  | 0.88 | 145 |  | Andrea V |  | 3 | 3 | 40504
2 | 0.100 | 26 | P/FINAL | 2025-07-31 | 08:48 | 2025-07-30 | 17:17 | TAMARA |  | 0.085 | 0.080 | / | / | 0.047 |  |  |  | 0.92 | 145 |  | Andrea V |  | 3 | 2 | 40504
3 | 0.400 | 27 | P/FINAL | 2025-07-31 | 08:49 | 2025-07-30 | 17:17 | TAMARA |  | 0.371 | 0.377 | / | / | 0.198 | 6.238 |  |  | 1.37 |  |  | Andrea V |  | 3 | 3 | 40504
3 | 0.400 | 28 | P/FINAL | 2025-07-31 | 08:49 | 2025-07-30 | 17:17 | TAMARA |  | 0.371 | 0.375 | / | / | 0.198 |  |  |  | 2.06 |  |  | Andrea V |  | 3 | 3 | 40504
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.01 mg/L | 2 | 4 | 0.01 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.083 mg/L | 3 | 6 | 0.083 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.373 mg/L | 3 | 6 | 0.373 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.020 | 0.010 | YES
0.100 | 0.077 ÷ 0.123 | 0.083 | YES
0.400 | 0.368 ÷ 0.432 | 0.373 | YES
Validation Date | by