## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI761-0 | HI95761-0
1151 | HI95761-0 | CP-R61 | W 34/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine ULR Reagent | 2027-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 0.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-08-21 | 2025-09-30 | 1 HEAD |  |  | 0865
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97761 | CTO-650
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-781
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.000 | 0.000 | 0.020 |  | MR67C |  | 0.020 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.100 | 0.077 | 0.123
3 | 0.400 | 0.368 | 0.432
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.000 | 1 | Old A | 2025-08-21 | 14:48 | 2025-08-21 | 13:42 | ERIKA |  | 0.003 | 0.014 | / | / | 0.002 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 1
1 | 0.000 | 2 | Old A | 2025-08-21 | 14:49 | 2025-08-21 | 13:42 | ERIKA |  | 0.000 | 0.006 | / | / | -0.003 |  |  |  | 0.94 |  |  | Kinga |  | 3 | 1
2 | 0.100 | 3 | P/FINAL | 2025-08-21 | 14:51 | 2025-08-21 | 13:42 | ERIKA |  | 0.084 | 0.097 | / | / | 0.046 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 2
2 | 0.100 | 4 | Old A | 2025-08-21 | 14:52 | 2025-08-21 | 13:42 | ERIKA |  | 0.078 | 0.082 | / | / | 0.043 |  |  |  | 3.51 |  |  | Kinga |  | 3 | 2
3 | 0.400 | 5 | Old A | 2025-08-21 | 14:56 | 2025-08-21 | 13:42 | ERIKA |  | 0.375 | 0.390 | / | / | 0.200 |  |  |  | 19.8 |  |  | Kinga |  | 3 | 3 | 92419
3 | 0.400 | 6 | Old A | 2025-08-21 | 14:57 | 2025-08-21 | 13:42 | ERIKA |  | 0.386 | 0.387 | / | / | 0.206 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 3 | 92419
1 | 0.000 | 7 | Valid | 2025-08-21 | 14:58 | 2025-08-21 | 13:42 | ERIKA |  | 0.000 | 0.008 | / | / | -0.003 | 6.029 |  |  | 0.40 |  |  | Kinga |  | 3 | 1 | 92419
1 | 0.000 | 8 | Valid | 2025-08-21 | 14:59 | 2025-08-21 | 13:42 | ERIKA |  | 0.004 | 0.004 | / | / | 0.003 |  |  |  | 0.41 |  |  | Kinga |  | 3 | 1 | 92419
2 | 0.100 | 9 | Valid | 2025-08-21 | 15:00 | 2025-08-21 | 13:42 | ERIKA |  | 0.078 | 0.077 | / | / | 0.038 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 2 | 92419
2 | 0.100 | 10 | Valid | 2025-08-21 | 15:01 | 2025-08-21 | 13:42 | ERIKA |  | 0.077 | 0.078 | / | / | 0.042 | 6.036 |  |  | 0.35 |  |  | Kinga |  | 3 | 2 | 92419
2 | 0.100 | 11 | Valid | 2025-08-21 | 15:01 | 2025-08-21 | 13:42 | ERIKA |  | 0.078 | 0.078 | / | / | 0.043 |  |  |  | 0.60 |  |  | Kinga |  | 3 | 2 | 92419
3 | 0.400 | 12 | Valid | 2025-08-21 | 15:04 | 2025-08-21 | 13:42 | ERIKA |  | 0.371 | 0.383 | / | / | 0.198 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 3 | 92419
3 | 0.400 | 13 | Valid | 2025-08-21 | 15:05 | 2025-08-21 | 13:42 | ERIKA |  | 0.368 | 0.387 | / | / | 0.196 |  |  |  | 0.76 |  |  | Kinga |  | 3 | 3 | 92419
3 | 0.400 | 14 | Valid | 2025-08-21 | 15:06 | 2025-08-21 | 13:42 | ERIKA |  | 0.386 | 0.392 | / | / | 0.206 | 6.045 |  |  | 1.53 |  |  | Kinga |  | 3 | 3 | 92419
1 | 0.000 | 15 | Old A | 2025-09-05 | 06:46 | 2025-09-04 | 18:59 | MARA | 1 | 0.020 | 0.008 | / | / | 0.012 |  |  |  | 0.91 |  |  | Kinga |  | 3 | 1 | 82308
1 | 0.000 | 16 | Old A | 2025-09-05 | 06:47 | 2025-09-04 | 18:59 | MARA | 1 | 0.006 | 0.008 | / | / | 0.004 |  |  |  | 0.64 |  |  | Kinga |  | 3 | 1 | 82308
2 | 0.100 | 17 | Old A | 2025-09-05 | 06:48 | 2025-09-04 | 18:59 | MARA | 1 | 0.087 | 0.089 | / | / | 0.048 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 2 | 82308
2 | 0.100 | 18 | Old A | 2025-09-05 | 06:48 | 2025-09-04 | 18:59 | MARA | 1 | 0.091 | 0.093 | / | / | 0.050 |  |  |  | 2.78 |  |  | Kinga |  | 3 | 2 | 82308
3 | 0.400 | 19 | Old A | 2025-09-05 | 06:49 | 2025-09-04 | 18:59 | MARA | 1 | 0.399 | 0.431 | / | / | 0.207 |  |  |  | 3.05 |  |  | Kinga |  | 3 | 3 | 82308
3 | 0.400 | 20 | Old A | 2025-09-05 | 06:51 | 2025-09-04 | 18:59 | MARA | 1 | 0.413 | 0.396 | / | / | 0.220 |  |  |  | 1.43 |  |  | Kinga |  | 3 | 3 | 82308
1 | 0.000 | 21 | P/FINAL | 2025-09-05 | 06:53 | 2025-09-04 | 18:59 | MARA | 1 | 0.000 | 0.008 | / | / | -0.001 |  |  |  | 0.58 | 154 |  | Kinga |  | 3 | 1 | 82308
1 | 0.000 | 22 | P/FINAL | 2025-09-05 | 06:54 | 2025-09-04 | 18:59 | MARA | 1 | 0.000 | 0.007 | / | / | -0.001 | 6.012 |  |  | 0.53 | 168 |  | Kinga |  | 3 | 1 | 82308
2 | 0.100 | 23 | P/FINAL | 2025-09-05 | 06:55 | 2025-09-04 | 18:59 | MARA | 1 | 0.095 | 0.110 | / | / | 0.052 |  |  |  | 0.78 | 169 |  | Kinga |  | 3 | 2 | 82308
2 | 0.100 | 24 | P/FINAL | 2025-09-05 | 06:56 | 2025-09-04 | 18:59 | MARA | 1 | 0.093 | 0.087 | / | / | 0.051 |  |  |  | 0.92 | 170 |  | Kinga |  | 3 | 2 | 82308
2 | 0.100 | 25 | P/FINAL | 2025-09-05 | 06:57 | 2025-09-04 | 18:59 | MARA | 1 | 0.098 | 0.097 | / | / | 0.054 | 6.079 |  |  | 1.94 |  |  | Kinga |  | 3 | 2 | 82308
3 | 0.400 | 26 | P/FINAL | 2025-09-05 | 07:00 | 2025-09-04 | 18:59 | MARA | 1 | 0.420 | 0.421 | / | / | 0.239 |  |  |  | 2.90 |  |  | Kinga |  | 3 | 3 | 82308
3 | 0.400 | 27 | P/FINAL | 2025-09-05 | 07:00 | 2025-09-04 | 18:59 | MARA | 1 | 0.399 | 0.394 | / | / | 0.218 |  |  |  | 0.48 |  |  | Kinga |  | 3 | 3 | 82308
3 | 0.400 | 28 | P/FINAL | 2025-09-05 | 07:01 | 2025-09-04 | 18:59 | MARA | 1 | 0.410 | 0.390 | / | / | 0.218 | 6.102 |  |  | 1.03 |  |  | Kinga |  | 3 | 3 | 82308
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.004 mg/L | 2 | 4 | 0.004 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.095 mg/L | 4 | 8 | 0.095 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.406 mg/L | 3 | 6 | 0.406 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.020 | 0.004 | YES
0.100 | 0.077 ÷ 0.123 | 0.095 | YES
0.400 | 0.368 ÷ 0.432 | 0.406 | YES
Validation Date | by