## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI762-0 | HI95762-0
1179 | HI762-0 | CP-R62 | W 38/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine ULR Reagent | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 500 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-23 | 2025-09-23 | 1 HEAD |  |  | 0700
[6 empty] | Expiration A | Expiration B | Expiration D
2026-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97762 | CTO-697
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 20 |  | MR67 |  | 20 | & | 4% | 100% |  | 6.0 | 5.7 | 6.3
2 | 100 | 76 | 124
3 | 400 | 364 | 436
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97762 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-09-23 | 11:46 | 2025-09-23 | 09:47 | MARA | 4 | 0 | 0 | / | / | -0.001 |  |  |  | 0.70 |  |  | Kinga |  | 3 | 1
1 | 0 | 2 | Old A | 2025-09-23 | 11:47 | 2025-09-23 | 09:47 | MARA | 4 | 0 | 0 | / | / | 0.010 |  |  |  | 0.78 |  |  | Kinga |  | 3 | 1
2 | 100 | 3 | Old A | 2025-09-23 | 11:49 | 2025-09-23 | 09:47 | MARA | 4 | 89 | 85 | / | / | 0.052 |  |  |  | 2.07 |  |  | Kinga |  | 3 | 2
2 | 100 | 4 | Old A | 2025-09-23 | 11:50 | 2025-09-23 | 09:47 | MARA | 4 | 87 | 87 | / | / | 0.051 |  |  |  | 0.68 |  |  | Kinga |  | 3 | 2
3 | 400 | 5 | Old A | 2025-09-23 | 11:54 | 2025-09-23 | 09:47 | MARA | 4 | 364 | 372 | / | / | 0.200 |  |  |  | 1.22 |  |  | Kinga |  | 3 | 3
3 | 400 | 6 | Old A | 2025-09-23 | 11:54 | 2025-09-23 | 09:47 | MARA | 4 | 373 | 372 | / | / | 0.205 |  |  |  | 0.98 |  |  | Kinga |  | 3 | 3
2 | 100 | 7 | P/FINAL | 2025-09-23 | 11:57 | 2025-09-23 | 09:47 | MARA | 4 | 96 | 85 | / | / | 0.056 |  |  |  | 1.44 | 101 |  | Kinga |  | 3 | 2
2 | 100 | 8 | P/FINAL | 2025-09-23 | 11:58 | 2025-09-23 | 09:47 | MARA | 4 | 86 | 94 | / | / | 0.062 |  |  |  | 3.24 | 119 |  | Kinga |  | 3 | 2
2 | 100 | 9 | P/FINAL | 2025-09-23 | 11:59 | 2025-09-23 | 09:47 | MARA | 4 | 94 | 85 | / | / | 0.055 | 6.111 |  |  | 0.78 | 127 |  | Kinga |  | 3 | 2
3 | 400 | 10 | P/FINAL | 2025-09-23 | 11:59 | 2025-09-23 | 09:47 | MARA | 4 | 373 | 385 | / | / | 0.205 |  |  |  | 0.39 | 96 |  | Kinga |  | 3 | 3
3 | 400 | 11 | P/FINAL | 2025-09-23 | 12:00 | 2025-09-23 | 09:47 | MARA | 4 | 371 | 381 | / | / | 0.204 |  |  |  | 0.29 | 137 |  | Kinga |  | 3 | 3
3 | 400 | 12 | P/FINAL | 2025-09-23 | 12:00 | 2025-09-23 | 09:47 | MARA | 4 | 366 | 385 | / | / | 0.201 | 6.124 |  |  | 0.36 |  |  | Kinga |  | 3 | 3
1 | 0 | 13 | P/FINAL | 2025-09-23 | 12:03 | 2025-09-23 | 09:47 | MARA | 4 | 0 | 0 | / | / | -0.002 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 1 | 120558
1 | 0 | 14 | P/FINAL | 2025-09-23 | 12:04 | 2025-09-23 | 09:47 | MARA | 4 | 0 | 0 | / | / | -0.005 | 6.133 |  |  | 0.23 |  |  | Kinga |  | 3 | 1 | 120558
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 µg/L | 2 | 4 | 0 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 90 µg/L | 3 | 6 | 90 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 377 µg/L | 3 | 6 | 377 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 20 | 0 | YES
100 | 76 ÷ 124 | 90 | YES
400 | 364 ÷ 436 | 377 | YES
Validation Date | by