## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI762-0 | HI95762-0
1179 | HI95762-0 | CP-R62 | W 38/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine ULR Reagent | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 0.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-19 | 2025-09-24 | 1 HEAD |  |  | 1149 |  | 3
[6 empty] | Expiration A | Expiration B | Expiration D
2027-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97762 | CTO-697
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.000 | 0.000 | 0.020 |  | MR67C |  | 0.020 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.100 | 0.077 | 0.123
3 | 0.400 | 0.368 | 0.432
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 Label17 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.000 | 1 | Old A | 2025-09-19 | 11:28 | 2025-09-19 | 11:02 | ERIKA |  | 0.000 | 0.011 | / | / | -0.240 |  |  |  | 0.63 |  |  | Andrea V |  | 3 | 1
1 | 0.000 | 2 | Old A | 2025-09-19 | 11:29 | 2025-09-19 | 11:02 | ERIKA |  | 0.000 | 0.009 | / | / | -0.240 |  |  |  | 0.71 |  |  | Andrea V |  | 3 | 1
2 | 0.100 | 3 | Old A | 2025-09-19 | 11:54 | 2025-09-19 | 11:02 | ERIKA |  | 0.090 | 0.093 | / | / | 0.053 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 2
3 | 0.400 | 4 | Old A | 2025-09-19 | 11:54 | 2025-09-19 | 11:02 | ERIKA |  | 0.391 | 0.389 | / | / | 0.214 |  |  |  | 0.39 |  |  | Andrea V |  | 3 | 3
3 | 0.400 | 5 | Old A | 2025-09-19 | 11:55 | 2025-09-19 | 11:02 | ERIKA |  | 0.389 | 0.393 | / | / | 0.213 |  |  |  | 0.46 |  |  | Andrea V |  | 3 | 3
2 | 0.100 | 6 | Old A | 2025-09-19 | 11:57 | 2025-09-19 | 11:02 | ERIKA |  | 0.090 | 0.091 | / | / | 0.053 |  |  |  | 0.80 |  |  | Andrea V |  | 3 | 2
1 | 0.000 | 7 | Valid | 2025-09-19 | 11:58 | 2025-09-19 | 11:02 | ERIKA |  | 0.000 | 0.000 | / | / | 0.001 |  |  |  | 0.39 |  |  | Andrea V |  | 3 | 1
1 | 0.000 | 8 | Valid | 2025-09-19 | 11:59 | 2025-09-19 | 11:02 | ERIKA |  | 0.000 | 0.000 | / | / | 0.001 | 6.332 |  |  | 0.36 |  |  | Andrea V |  | 3 | 1
2 | 0.100 | 9 | Valid | 2025-09-19 | 11:59 | 2025-09-19 | 11:02 | ERIKA |  | 0.097 | 0.096 | / | / | 0.057 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 2
2 | 0.100 | 10 | Valid | 2025-09-19 | 12:00 | 2025-09-19 | 11:02 | ERIKA |  | 0.090 | 0.096 | / | / | 0.053 | 6.306 |  |  | 0.29 |  |  | Andrea V |  | 3 | 2
2 | 0.100 | 11 | Valid | 2025-09-19 | 12:00 | 2025-09-19 | 11:02 | ERIKA |  | 0.087 | 0.089 | / | / | 0.051 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 2
3 | 0.400 | 12 | Valid | 2025-09-19 | 12:01 | 2025-09-19 | 11:02 | ERIKA |  | 0.373 | 0.379 | / | / | 0.205 |  |  |  | 0.19 |  |  | Andrea V |  | 3 | 3
3 | 0.400 | 13 | Valid | 2025-09-19 | 12:02 | 2025-09-19 | 11:02 | ERIKA |  | 0.369 | 0.373 | / | / | 0.203 | 6.292 |  |  | 0.23 |  |  | Andrea V |  | 3 | 3
3 | 0.400 | 14 | Valid | 2025-09-19 | 12:02 | 2025-09-19 | 11:02 | ERIKA |  | 0.377 | 0.385 | / | / | 0.207 |  |  |  | 0.19 |  |  | Andrea V |  | 3 | 3
2 | 0.100 | 15 | P/FINAL | 2025-09-22 | 08:34 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 0.101 | 0.102 | / | / | 0.523 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 2 | 102704
2 | 0.100 | 16 | P/FINAL | 2025-09-22 | 08:35 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 0.099 | 0.100 | / | / | 0.515 |  |  |  | 0.26 |  |  | Kinga |  | 3 | 2 | 102704
2 | 0.100 | 17 | P/FINAL | 2025-09-22 | 08:37 | 2025-09-22 | 06:50 | GIORGIANA | 4 | 0.098 | 0.097 | / | / | 0.507 |  |  |  | 0.67 |  |  | Kinga |  | 3 | 2 | 102704
2 | 0.100 | 18 | P/FINAL | 2025-09-23 | 15:30 | 2025-09-23 | 14:14 | TAMARA |  | 0.078 | 0.085 | / | / | 0.046 |  |  |  | 1.27 | 104 |  | Kinga |  | 3 | 2 | 120558
2 | 0.100 | 19 | P/FINAL | 2025-09-23 | 15:30 | 2025-09-23 | 14:14 | TAMARA |  | 0.092 | 0.089 | / | / | 0.054 |  |  |  | 1.27 | 102 |  | Kinga |  | 3 | 2 | 120558
2 | 0.100 | 20 | P/FINAL | 2025-09-23 | 15:31 | 2025-09-23 | 14:14 | TAMARA |  | 0.092 |  | / | / | 0.054 |  |  |  | 0.38 | 117 |  | Kinga |  | 3 | 2 | 120558
1 | 0.000 | 21 | P/FINAL | 2025-09-23 | 15:32 | 2025-09-23 | 14:14 | TAMARA |  | 0.009 | 0.008 | / | / | 0.006 | 6.190 |  |  | 0.24 | 103 |  | Kinga |  | 3 | 1 | 120558
1 | 0.000 | 22 | P/FINAL | 2025-09-23 | 15:32 | 2025-09-23 | 14:14 | TAMARA |  | 0.002 | 0.008 | / | / | 0.002 |  |  |  | 0.36 | 119 |  | Kinga |  | 3 | 1 | 120558
3 | 0.400 | 23 | P/FINAL | 2025-09-23 | 15:35 | 2025-09-23 | 14:14 | TAMARA |  | 0.399 | 0.409 | / | / | 0.218 | 6.224 |  |  | 5.51 | 102 |  | Kinga |  | 3 | 3 | 120558
3 | 0.400 | 24 | P/FINAL | 2025-09-23 | 15:35 | 2025-09-23 | 14:14 | TAMARA |  | 0.379 | 0.393 | / | / | 0.208 |  |  |  | 5.51 |  |  | Kinga |  | 3 | 3 | 120558
3 | 0.400 | 25 | P/FINAL | 2025-09-23 | 15:36 | 2025-09-23 | 14:14 | TAMARA |  | 0.383 | 0.391 | / | / | 0.210 | 6.271 |  |  | 1.27 |  |  | Kinga |  | 3 | 3 | 120558
2 | 0.100 | 26 | Old A | 2025-09-24 | 09:51 | 2025-09-24 | 06:48 | MARA | 1 | 0.092 | 0.098 | / | / | 0.054 |  |  |  | 4.24 |  |  | Kinga |  | 3 | 2 | 120558
2 | 0.100 | 27 | Old A | 2025-09-24 | 09:52 | 2025-09-24 | 06:48 | MARA | 1 | 0.085 | 0.091 | / | / | 0.050 |  |  |  | 3.20 |  |  | Kinga |  | 3 | 2 | 120558
3 | 0.400 | 28 | Old A | 2025-09-24 | 09:53 | 2025-09-24 | 06:48 | MARA | 1 | 0.385 | 0.386 | / | / | 0.211 |  |  |  | 1.51 |  |  | Kinga |  | 3 | 3 | 120558
3 | 0.400 | 29 | Old A | 2025-09-24 | 09:54 | 2025-09-24 | 06:48 | MARA | 1 | 0.389 | 0.409 | / | / | 0.213 |  |  |  | 2.28 |  |  | Kinga |  | 3 | 3 | 120558
1 | 0.000 | 30 | Old A | 2025-09-24 | 09:56 | 2025-09-24 | 06:48 | MARA | 1 | 0.007 | 0.005 | / | / | 0.005 |  |  |  | 0.91 |  |  | Kinga |  | 3 | 1 | 120558
1 | 0.000 | 31 | Old A | 2025-09-24 | 09:56 | 2025-09-24 | 06:48 | MARA | 1 | 0.012 | 0.004 | / | / | 0.008 |  |  |  | 0.65 |  |  | Kinga |  | 3 | 1 | 120558
3 | 0.400 | 32 | P/FINAL | 2025-09-24 | 10:17 | 2025-09-24 | 06:48 | MARA | 1 | 0.377 | 0.375 | / | / | 0.207 |  |  |  | 0.42 | 112 |  | Kinga |  | 3 | 3 | 120558
3 | 0.400 | 33 | P/FINAL | 2025-09-24 | 10:18 | 2025-09-24 | 06:48 | MARA | 1 | 0.389 | 0.377 | / | / | 0.213 | 6.057 |  |  | 0.88 | 98 |  | Kinga |  | 3 | 3 | 120558
3 | 0.400 | 34 | P/FINAL | 2025-09-24 | 10:19 | 2025-09-24 | 06:48 | MARA | 1 | 0.373 | 0.375 | / | / | 0.208 |  |  |  | 0.22 | 114 |  | Kinga |  | 3 | 3 | 120558
2 | 0.100 | 35 | P/FINAL | 2025-09-24 | 10:23 | 2025-09-24 | 06:48 | MARA | 1 | 0.089 | 0.077 | / | / | 0.052 |  |  |  | 0.22 | 102 |  | Kinga |  | 3 | 2 | 120558
2 | 0.100 | 36 | P/FINAL | 2025-09-24 | 10:23 | 2025-09-24 | 06:48 | MARA | 1 | 0.080 | 0.077 | / | / | 0.047 | 6.052 |  |  | 0.35 | 114 |  | Kinga |  | 3 | 2 | 120558
2 | 0.100 | 37 | P/FINAL | 2025-09-24 | 10:24 | 2025-09-24 | 06:48 | MARA | 1 | 0.089 | 0.082 | / | / | 0.052 |  |  |  | 0.32 | 99 |  | Kinga |  | 3 | 2 | 120558
1 | 0.000 | 38 | P/FINAL | 2025-09-24 | 10:27 | 2025-09-24 | 06:48 | MARA | 1 | 0.000 | 0.000 | / | / | -0.002 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1 | 120558
1 | 0.000 | 39 | P/FINAL | 2025-09-24 | 10:27 | 2025-09-24 | 06:48 | MARA | 1 | 0.002 | 0.007 | / | / | 0.002 | 5.845 |  |  | 0.41 |  |  | Kinga |  | 3 | 1 | 120558
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.005 mg/L | 4 | 8 | 0.005 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 17 | 0.09 mg/L | 9 | 17 | 0.09 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.385 mg/L | 6 | 12 | 0.385 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.020 | 0.005 | YES
0.100 | 0.077 ÷ 0.123 | 0.090 | YES
0.400 | 0.368 ÷ 0.432 | 0.385 | YES
Validation Date | by
2025-09-24 | Eugenia