## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI762-0 | HI95762-0
1263 | HI95762-0 | CP-R62 | W 49/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine ULR Reagent | 2027-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.000 mg/L | 0.500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-12-03 | 2026-01-16 | 1 HEAD |  |  | 1179
[6 empty] | Expiration A | Expiration B | Expiration D
2027-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97762 | CTO-653
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.000 | 0.000 | 0.020 |  | MR67C |  | 0.020 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.100 | 0.077 | 0.123
3 | 0.400 | 0.368 | 0.432
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97762 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.000 | 1 | Old A | 2025-12-03 | 10:00 | 2025-12-03 | 08:41 | ERIKA |  | 0.000 | 0.004 | / | / | -0.003 |  |  |  | 0.56 |  |  | Andrea V |  | 3 | 1 | 94325
1 | 0.000 | 2 | Old A | 2025-12-03 | 10:01 | 2025-12-03 | 08:41 | ERIKA |  | 0.000 | 0.002 | / | / | 0.001 |  |  |  | 0.60 |  |  | Andrea V |  | 3 | 1 | 94325
2 | 0.100 | 3 | Old A | 2025-12-03 | 10:01 | 2025-12-03 | 08:41 | ERIKA |  | 0.085 | 0.099 | / | / | 0.050 |  |  |  | 0.59 |  |  | Andrea V |  | 3 | 2 | 94325
2 | 0.100 | 4 | Old A | 2025-12-03 | 10:02 | 2025-12-03 | 08:41 | ERIKA |  | 0.080 | 0.092 | / | / | 0.047 |  |  |  | 1.59 |  |  | Andrea V |  | 3 | 2 | 94325
3 | 0.400 | 5 | Old A | 2025-12-03 | 10:23 | 2025-12-03 | 08:41 | ERIKA |  | 0.375 | 0.380 | / | / | 0.206 |  |  |  | 1.54 |  |  | Andrea V |  | 3 | 3 | 94325
3 | 0.400 | 6 | Old A | 2025-12-03 | 10:24 | 2025-12-03 | 08:41 | ERIKA |  | 0.379 | 0.380 | / | / | 0.208 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 3 | 94325
2 | 0.100 | 7 | Valid | 2025-12-03 | 10:25 | 2025-12-03 | 08:41 | ERIKA |  | 0.090 | 0.092 | / | / | 0.053 |  |  |  | 0.98 |  |  | Andrea V |  | 3 | 2 | 94325
2 | 0.100 | 8 | Valid | 2025-12-03 | 10:26 | 2025-12-03 | 08:41 | ERIKA |  | 0.081 | 0.089 | / | / | 0.048 | 6.349 |  |  | 1.70 |  |  | Andrea V |  | 3 | 2 | 94325
2 | 0.100 | 9 | Valid | 2025-12-03 | 10:27 | 2025-12-03 | 08:41 | ERIKA |  | 0.094 | 0.080 | / | / | 0.055 |  |  |  | 3.21 |  |  | Andrea V |  | 3 | 2 | 94325
3 | 0.400 | 10 | Valid | 2025-12-03 | 10:30 | 2025-12-03 | 08:41 | ERIKA |  | 0.373 | 0.376 | / | / | 0.205 | 6.266 |  |  | 0.41 |  |  | Andrea V |  | 3 | 3 | 94325
3 | 0.400 | 11 | Valid | 2025-12-03 | 10:31 | 2025-12-03 | 08:41 | ERIKA |  | 0.366 | 0.376 | / | / | 0.199 |  |  |  | 0.84 |  |  | Andrea V |  | 3 | 3 | 94325
3 | 0.400 | 12 | Valid | 2025-12-03 | 10:32 | 2025-12-03 | 08:41 | ERIKA |  | 0.369 | 0.370 | / | / | 0.203 |  |  |  | 1.62 |  |  | Andrea V |  | 3 | 3 | 94325
3 | 0.400 | 13 | Valid | 2025-12-03 | 10:35 | 2025-12-03 | 08:41 | ERIKA |  | 0.371 | 0.374 | / | / | 0.204 |  |  |  | 1.14 |  |  | Andrea V |  | 3 | 3 | 94325
1 | 0.000 | 14 | Valid | 2025-12-03 | 10:36 | 2025-12-03 | 08:41 | ERIKA |  | 0.000 | 0.004 | / | / | -0.001 | 6.299 |  |  | 0.57 |  |  | Andrea V |  | 3 | 1 | 94325
1 | 0.000 | 15 | Old A | 2026-01-16 | 09:32 | 2026-01-16 | 06:37 | MARA | 1 | 0.011 | 0.000 | / | / | 0.007 |  |  |  | 0.98 |  |  | Kinga |  | 3 | 1 | 95118
1 | 0.000 | 16 | Old A | 2026-01-16 | 09:33 | 2026-01-16 | 06:37 | MARA | 1 | 0.007 | 0.012 | / | / | 0.005 |  |  |  | 0.97 |  |  | Kinga |  | 3 | 1 | 95118
2 | 0.100 | 17 | Old A | 2026-01-16 | 09:33 | 2026-01-16 | 06:37 | MARA | 1 | 0.077 | 0.082 | / | / | 0.045 |  |  |  | 5.11 |  |  | Kinga |  | 3 | 2 | 95118
2 | 0.100 | 18 | Old A | 2026-01-16 | 09:34 | 2026-01-16 | 06:37 | MARA | 1 | 0.078 | 0.079 | / | / | 0.048 |  |  |  | 1.30 |  |  | Kinga |  | 3 | 2 | 95118
3 | 0.400 | 19 | Old A | 2026-01-16 | 09:37 | 2026-01-16 | 06:37 | MARA | 1 | 0.395 | 0.374 | / | / | 0.216 |  |  |  | 1.47 |  |  | Kinga |  | 3 | 3 | 95118
3 | 0.400 | 20 | Old A | 2026-01-16 | 09:38 | 2026-01-16 | 06:37 | MARA | 1 | 0.395 | 0.375 | / | / | 0.216 |  |  |  | 1.36 |  |  | Kinga |  | 3 | 3 | 95118
2 | 0.100 | 21 | P/FINAL | 2026-01-16 | 09:40 | 2026-01-16 | 06:37 | MARA | 1 | 0.104 | 0.078 | / | / | 0.061 |  |  |  | 3.05 | 128 |  | Kinga |  | 3 | 2 | 95118
2 | 0.100 | 22 | P/FINAL | 2026-01-16 | 09:41 | 2026-01-16 | 06:37 | MARA | 1 | 0.094 | 0.079 | / | / | 0.055 |  |  |  | 2.20 | 130 |  | Kinga |  | 3 | 2 | 95118
2 | 0.100 | 23 | P/FINAL | 2026-01-16 | 09:41 | 2026-01-16 | 06:37 | MARA | 1 | 0.099 | 0.081 | / | / | 0.059 | 6.235 |  |  | 2.23 | 107 |  | Kinga |  | 3 | 2 | 95118
3 | 0.400 | 24 | P/FINAL | 2026-01-16 | 09:43 | 2026-01-16 | 06:37 | MARA | 1 | 0.393 | 0.381 | / | / | 0.215 |  |  |  | 10.1 | 121 |  | Kinga |  | 3 | 3 | 95118
3 | 0.400 | 25 | P/FINAL | 2026-01-16 | 09:44 | 2026-01-16 | 06:37 | MARA | 1 | 0.378 | 0.376 | / | / | 0.212 | 6.153 |  |  | 1.56 |  |  | Kinga |  | 3 | 3 | 95118
3 | 0.400 | 26 | P/FINAL | 2026-01-16 | 09:46 | 2026-01-16 | 06:37 | MARA | 1 | 0.398 | 0.376 | / | / | 0.209 | 6.153 |  |  | 1.66 |  |  | Kinga |  | 3 | 3 | 95118
1 | 0.000 | 27 | P/FINAL | 2026-01-16 | 09:49 | 2026-01-16 | 06:37 | MARA | 1 | 0.002 | 0.002 | / | / | 0.002 | 6.197 |  |  | 1.29 |  |  | Kinga |  | 3 | 1 | 95118
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0.002 mg/L | 1 | 2 | 0.002 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.089 mg/L | 3 | 6 | 0.089 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.384 mg/L | 3 | 6 | 0.384 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.000 | 0.000 ÷ 0.020 | 0.002 | YES
0.100 | 0.077 ÷ 0.123 | 0.089 | YES
0.400 | 0.368 ÷ 0.432 | 0.384 | YES
Validation Date | by