## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771B-0 | HI95771B-0
1181 | HI771B-0 | CP-R63 | W 39/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent B | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0906 | 1181
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-02-01 | 2030-09-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-23 | 2025-09-23 | 4 HEAD |  |  |  | 1050
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 92 | 108 |  | CM133 |  | 3 | & | 5% | 100% |  | 7.0 | 6.8 | 7.2
3 | 400 | 377 | 423 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | P/FINAL | 2025-09-23 | 09:43 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 96 | 96 | / | / | 0.453 |  |  |  | 1.83 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 2 | P/FINAL | 2025-09-23 | 09:43 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 96 | 99 | / | / | 0.452 |  | 1.501 |  | 1.67 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 3 | P/FINAL | 2025-09-23 | 09:44 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 98 | 98 | / | / | 0.460 |  |  |  | 0.95 | 105 | 1 | Kinga |  | 3 | 2
3 | 400 | 4 | P/FINAL | 2025-09-23 | 09:44 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 395 | 395 | / | / | 1.805 |  |  |  | 2.49 | 79 | 1 | Kinga |  | 3 | 3
3 | 400 | 5 | P/FINAL | 2025-09-23 | 09:45 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 396 | 398 | / | / | 1.809 |  | 1.559 |  | 1.74 | 98 | 1 | Kinga |  | 3 | 3
3 | 400 | 6 | P/FINAL | 2025-09-23 | 09:46 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 393 | 397 | / | / | 1.798 |  |  |  | 3.35 | 108 | 1 | Kinga |  | 3 | 3
1 | 0 | 7 | P/FINAL | 2025-09-23 | 09:46 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 3 | 1 | / | / | 0.010 |  |  |  | 1.04 | 78 | 1 | Kinga |  | 3 | 1
1 | 0 | 8 | P/FINAL | 2025-09-23 | 09:47 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 2 | 2 | / | / | 0.007 |  | 1.486 |  | 1.33 | 101 | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 97 mg/L | 3 | 6 | 97 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 396 mg/L | 3 | 6 | 396 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 2 mg/L | 2 | 4 | 2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 2 | YES
100 | 92 ÷ 108 | 97 | YES
400 | 377 ÷ 423 | 396 | YES
Validation Date | by