## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771B-0 | HI95771B-0
1219 | HI771B-0 | CP-R63 | W 44/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent B | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1188 | 1219
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-10-01 | 2030-10-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-29 | 2025-10-29 | 4 HEAD |  |  |  | 1050
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 92 | 108 |  | CM133 |  | 3 | & | 5% | 100% |  | 7.0 | 6.8 | 7.2
3 | 400 | 377 | 423 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97771 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | P/FINAL | 2025-10-30 | 09:43 | 2025-10-29 | 15:02 | ANA | 4 | 100 | 101 | / | / | 0.469 |  |  |  | 1.46 | 121 | 1 | Andrea V |  | 3 | 2
2 | 100 | 2 | P/FINAL | 2025-10-30 | 09:44 | 2025-10-29 | 15:02 | ANA | 4 | 101 | 101 | / | / | 0.474 |  | 1.634 |  | 1.72 | 83 | 1 | Andrea V |  | 3 | 2
2 | 100 | 3 | P/FINAL | 2025-10-30 | 09:46 | 2025-10-29 | 15:02 | ANA | 4 | 101 | 100 | / | / | 0.471 |  |  |  | 1.34 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 4 | P/FINAL | 2025-10-30 | 09:47 | 2025-10-29 | 15:02 | ANA | 4 | 402 | 404 | / | / | 1.836 |  |  |  | 1.71 | 84 | 1 | Andrea V |  | 3 | 3
3 | 400 | 5 | P/FINAL | 2025-10-30 | 09:47 | 2025-10-29 | 15:02 | ANA | 4 | 405 | 407 | / | / | 1.851 |  |  |  | 0.75 | 102 | 1 | Andrea V |  | 3 | 3
3 | 400 | 6 | P/FINAL | 2025-10-30 | 09:48 | 2025-10-29 | 15:02 | ANA | 4 | 404 | 405 | / | / | 1.847 |  | 1.697 |  | 1.27 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 7 | P/FINAL | 2025-10-30 | 09:49 | 2025-10-29 | 15:02 | ANA | 4 | 2 | 3 | / | / | 0.008 |  |  |  | 1.86 | 86 | 1 | Andrea V |  | 3 | 1
1 | 0 | 8 | P/FINAL | 2025-10-30 | 09:49 | 2025-10-29 | 15:02 | ANA | 4 | 2 | 2 | / | / | 0.007 |  | 1.451 |  | 0.87 | 109 | 1 | Andrea V |  | 3 | 1
1 | 0 | 9 | Old B | 2025-10-30 | 09:54 | 2025-10-29 | 15:02 | ANA | 4 | 2 | 2 | / | / | 0.006 |  |  |  | 1.16 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 10 | Old B | 2025-10-30 | 09:54 | 2025-10-29 | 15:02 | ANA | 4 | 2 | 2 | / | / | 0.008 |  |  |  | 1.72 |  | 1 | Andrea V |  | 3 | 1
2 | 100 | 11 | Old B | 2025-10-30 | 09:57 | 2025-10-29 | 15:02 | ANA | 4 | 103 | 102 | / | / | 0.482 |  |  |  | 6.41 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 12 | Old B | 2025-10-30 | 09:58 | 2025-10-29 | 15:02 | ANA | 4 | 105 | 104 | / | / | 0.490 |  |  |  | 7.12 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 13 | Old B | 2025-10-30 | 09:58 | 2025-10-29 | 15:02 | ANA | 4 | 403 | 404 | / | / | 1.840 |  |  |  | 7.95 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 14 | Old B | 2025-10-30 | 09:58 | 2025-10-29 | 15:02 | ANA | 4 | 406 | 408 | / | / | 1.856 |  |  |  | 7.81 |  | 1 | Andrea V |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 101 mg/L | 3 | 6 | 101 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 405 mg/L | 3 | 6 | 405 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 2 mg/L | 2 | 4 | 2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 2 | YES
100 | 92 ÷ 108 | 101 | YES
400 | 377 ÷ 423 | 405 | YES
Validation Date | by