## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771B-0 | HI95771B-0
1181 | HI95771B-0 | CP-R63 | W 39/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent B | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1105 | 1181
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-07-01 | 2030-09-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-22 | 2025-09-23 | 1 HEAD |  |  |  | 0956
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI9771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 94 | 106 |  | CM133 |  | 3 | & | 3% | 100% |  | 7.0 | 6.8 | 7.2
1 | 0 | 0 | 3 | [8 empty] | 1.5 | 1.4 | 1.7
3 | 400 | 385 | 415
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI9771 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | Old B | 2025-09-22 | 12:05 | 2025-09-22 | 06:50 | ERIKA |  | 101 | 94 | / | / | 0.472 |  |  |  | 2.21 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 2 | Old B | 2025-09-22 | 12:05 | 2025-09-22 | 06:50 | ERIKA |  | 98 | 94 | / | / | 0.461 |  |  |  | 2.57 |  | 1 | Kinga |  | 3 | 2
1 | 0 | 3 | Old B | 2025-09-22 | 12:07 | 2025-09-22 | 06:50 | ERIKA |  | 3 | 0 | / | / | 0.010 |  |  |  | 2.65 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 4 | Old B | 2025-09-22 | 12:07 | 2025-09-22 | 06:50 | ERIKA |  | 3 | 0 | / | / | 0.010 |  |  |  | 2.40 |  | 1 | Kinga |  | 3 | 1
3 | 400 | 5 | Old B | 2025-09-22 | 12:08 | 2025-09-22 | 06:50 | ERIKA |  | 404 | 395 | / | / | 1.847 |  |  |  | 1.82 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 6 | Old B | 2025-09-22 | 12:09 | 2025-09-22 | 06:50 | ERIKA |  | 405 | 397 | / | / | 1.850 |  |  |  | 1.60 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 7 | Valid | 2025-09-22 | 12:11 | 2025-09-22 | 06:50 | ERIKA |  | 403 | 392 | / | / | 1.840 |  | 1.666 |  | 1.30 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 8 | Valid | 2025-09-22 | 12:12 | 2025-09-22 | 06:50 | ERIKA |  | 400 | 392 | / | / | 1.828 |  |  |  | 1.42 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 9 | Valid | 2025-09-22 | 12:13 | 2025-09-22 | 06:50 | ERIKA |  | 404 | 396 | / | / | 1.847 |  |  |  | 1.02 | 1.670 | 1 | Kinga |  | 3 | 3
2 | 100 | 10 | Valid | 2025-09-22 | 12:16 | 2025-09-22 | 06:50 | ERIKA |  | 99 | 99 | / | / | 0.462 |  |  |  | 0.62 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 11 | Valid | 2025-09-22 | 12:16 | 2025-09-22 | 06:50 | ERIKA |  | 98 | 100 | / | / | 0.460 |  | 1.615 |  | 0.67 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 12 | Valid | 2025-09-22 | 12:17 | 2025-09-22 | 06:50 | ERIKA |  | 98 | 99 | / | / | 0.460 |  |  |  | 0.86 |  | 1 | Kinga |  | 3 | 2
1 | 0 | 13 | Valid | 2025-09-22 | 12:18 | 2025-09-22 | 06:50 | ERIKA |  | 1 | 1 | / | / | 0.004 |  |  |  | 0.81 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 14 | Valid | 2025-09-22 | 12:18 | 2025-09-22 | 06:50 | ERIKA |  | 1 | 1 | / | / | 0.004 |  | 1.598 |  | 0.98 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 15 | Old B | 2025-09-23 | 08:51 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 98 | 99 | / | / | 0.460 |  |  |  | 2.56 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 16 | Old B | 2025-09-23 | 08:52 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 96 | 98 | / | / | 0.452 |  |  |  | 2.34 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 17 | Old B | 2025-09-23 | 08:52 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 395 | 396 | / | / | 1.805 |  |  |  | 2.73 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 18 | Old B | 2025-09-23 | 08:53 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 394 | 395 | / | / | 1.800 |  |  |  | 4.51 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 19 | Old B | 2025-09-23 | 08:54 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 4 | 3 | / | / | 0.018 |  |  |  | 4.71 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 20 | Old B | 2025-09-23 | 08:55 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 4 | 2 | / | / | 0.015 |  |  |  | 6.47 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 21 | P/FINAL | 2025-09-23 | 09:05 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 98 | 97 | / | / | 0.458 |  | 1.407 |  | 3.78 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 22 | P/FINAL | 2025-09-23 | 09:05 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 97 | 97 | / | / | 0.454 |  |  |  | 3.58 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 23 | P/FINAL | 2025-09-23 | 09:06 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 98 | 98 | / | / | 0.455 |  |  |  | 2.91 |  | 1 | Kinga |  | 3 | 2
1 | 0 | 24 | P/FINAL | 2025-09-23 | 09:08 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 3 | 2 | / | / | 0.011 |  |  |  | 1.16 | 90 | 1 | Kinga |  | 3 | 1
1 | 0 | 25 | P/FINAL | 2025-09-23 | 09:09 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 1 | 2 | / | / | 0.003 |  | 1.576 |  | 1.18 | 104 | 1 | Kinga |  | 3 | 1
3 | 400 | 26 | P/FINAL | 2025-09-23 | 09:15 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 394 | 395 | / | / | 1.801 |  | - |  | 1.42 | 90 | 1 | Kinga |  | 3 | 3
3 | 400 | 27 | P/FINAL | 2025-09-23 | 09:15 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 394 | 396 | / | / | 1.800 |  |  |  | 0.63 | 93 | 1 | Kinga |  | 3 | 3
3 | 400 | 28 | P/FINAL | 2025-09-23 | 09:16 | 2025-09-23 | 06:44 | GIORGIANA | 1 | 393 | 398 | / | / | 1.799 |  | 1.509 |  | 0.57 | 73 | 1 | Kinga |  | 3 | 3
2 | 100 | 29 | P/FINAL | 2025-09-23 | 14:57 | 2025-09-23 | 14:24 | DORINA | 4 | 95 | 94 | / | / | 0.445 |  |  |  | 4.59 | 71 | 1 | Kinga |  | 3 | 2
2 | 100 | 30 | P/FINAL | 2025-09-23 | 14:57 | 2025-09-23 | 14:24 | DORINA | 4 | 96 | 95 | / | / | 0.452 |  |  |  | 1.17 | 94 | 1 | Kinga |  | 3 | 2
2 | 100 | 31 | P/FINAL | 2025-09-23 | 14:58 | 2025-09-23 | 14:24 | DORINA | 4 | 97 | 96 | / | / | 0.454 |  | 1.586 |  | 1.85 | 60 | 1 | Kinga |  | 3 | 2
3 | 400 | 32 | P/FINAL | 2025-09-23 | 15:02 | 2025-09-23 | 14:24 | DORINA | 4 | 389 | 390 | / | / | 1.779 |  |  |  | 1.52 | 88 | 1 | Kinga |  | 3 | 3
3 | 400 | 33 | P/FINAL | 2025-09-23 | 15:03 | 2025-09-23 | 14:24 | DORINA | 4 | 388 | 388 | / | / | 1.774 |  | 1.862 |  | 1.38 | 70 | 1 | Kinga |  | 3 | 3
3 | 400 | 34 | P/FINAL | 2025-09-23 | 15:03 | 2025-09-23 | 14:24 | DORINA | 4 | 391 | 390 | / | / | 1.786 |  |  |  | 2.57 | 92 | 1 | Kinga |  | 3 | 3
1 | 0 | 35 | P/FINAL | 2025-09-23 | 15:08 | 2025-09-23 | 14:24 | DORINA | 4 | 2 | 3 | / | / | 0.007 |  |  |  | 2.96 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 36 | P/FINAL | 2025-09-23 | 15:08 | 2025-09-23 | 14:24 | DORINA | 4 | 2 | 2 | / | / | 0.011 |  | 1.871 |  | 2.23 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 97 mg/L | 6 | 12 | 97 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 2 mg/L | 4 | 8 | 2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 392 mg/L | 6 | 12 | 392 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 2 | YES
100 | 94 ÷ 106 | 97 | YES
400 | 385 ÷ 415 | 392 | YES
Validation Date | by