## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771B-0 | HI95771B-0
1219 | HI95771B-0 | CP-R63 | W 44/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent B | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1188 | 1219
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-10-01 | 2030-10-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
1219 | 2025-10-28 | 2025-11-03 | 1 HEAD |  |  |  | 0956
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 94 | 106 |  | CM133 |  | 3 | & | 3% | 100% |  | 7.0 | 6.8 | 7.2
3 | 400 | 385 | 415 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | Old B | 2025-10-28 | 15:24 | 2025-10-28 | 11:47 | EVELIN |  | 101 | 100 | / | / | 0.475 |  |  |  | 1.44 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 2 | Old B | 2025-10-28 | 15:26 | 2025-10-28 | 11:47 | EVELIN |  | 113 | 111 | / | / | 0.530 |  |  |  | 14.0 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 3 | Old B | 2025-10-28 | 15:27 | 2025-10-28 | 11:47 | EVELIN |  | 419 | 419 | / | / | 1.916 |  |  |  | 7.97 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 4 | Old B | 2025-10-28 | 15:29 | 2025-10-28 | 11:47 | EVELIN |  | 418 | 417 | / | / | 1.912 |  |  |  | 7.97 |  | 1 | Andrea V |  | 3 | 3
2 | 100 | 5 | Old B | 2025-10-28 | 15:31 | 2025-10-28 | 11:47 | EVELIN |  | 102 | 100 | / | / | 0.479 |  |  |  | 1.90 |  | 1 | Andrea V |  | 3 | 2
1 | 0 | 6 | Old B | 2025-10-28 | 15:32 | 2025-10-28 | 11:47 | EVELIN |  | 3 | 1 | / | / | 0.013 |  |  |  | 2.78 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 7 | Old B | 2025-10-28 | 15:33 | 2025-10-28 | 11:47 | EVELIN |  | 3 | 1 | / | / | 0.011 |  |  |  | 2.77 |  | 1 | Andrea V |  | 3 | 1
3 | 400 | 8 | Old B | 2025-10-28 | 15:35 | 2025-10-28 | 11:47 | EVELIN |  | 414 | 414 | / | / | 1.890 |  |  |  | 1.34 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 9 | Old B | 2025-10-28 | 15:36 | 2025-10-28 | 11:47 | EVELIN |  | 414 | 414 | / | / | 1.892 |  |  |  | 1.39 |  | 1 | Andrea V |  | 3 | 3
2 | 100 | 10 | Valid | 2025-10-28 | 15:41 | 2025-10-28 | 11:47 | EVELIN |  | 100 | 99 | / | / | 0.469 |  |  |  | 0.80 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 11 | Valid | 2025-10-28 | 15:41 | 2025-10-28 | 11:47 | EVELIN |  | 101 | 100 | / | / | 0.474 |  | 1.582 |  | 0.49 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 12 | Valid | 2025-10-28 | 15:42 | 2025-10-28 | 11:47 | EVELIN |  | 101 | 100 | / | / | 0.475 |  |  |  | 0.68 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 13 | Valid | 2025-10-28 | 15:44 | 2025-10-28 | 11:47 | EVELIN |  | 409 | 410 | / | / | 1.871 |  |  |  | 0.75 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 14 | Valid | 2025-10-28 | 15:44 | 2025-10-28 | 11:47 | EVELIN |  | 411 | 412 | / | / | 1.878 |  | 1.692 |  | 0.62 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 15 | Valid | 2025-10-28 | 15:47 | 2025-10-28 | 11:47 | EVELIN |  | 411 | 411 | / | / | 1.878 |  |  |  | 0.64 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 16 | Valid | 2025-10-28 | 15:50 | 2025-10-28 | 11:47 | EVELIN |  | 3 | 1 | / | / | 0.010 |  | 1.516 |  | 1.17 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 17 | Valid | 2025-10-28 | 15:50 | 2025-10-28 | 11:47 | EVELIN |  | 1 | 1 | / | / | 0.004 |  |  |  | 1.26 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 18 | Old B | 2025-10-30 | 08:29 | 2025-10-29 | 17:37 | ANA | 4 | 5 | 4 | / | / | 0.020 |  |  |  | 3.52 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 19 | Old B | 2025-10-30 | 08:29 | 2025-10-29 | 17:37 | ANA | 4 | 4 | 4 | / | / | 0.019 |  |  |  | 2.89 |  | 1 | Andrea V |  | 3 | 1
2 | 100 | 20 | Old B | 2025-10-30 | 08:30 | 2025-10-29 | 17:37 | ANA | 4 | 103 | 102 | / | / | 0.482 |  |  |  | 6.41 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 21 | Old B | 2025-10-30 | 08:33 | 2025-10-29 | 17:37 | ANA | 4 | 105 | 104 | / | / | 0.490 |  |  |  | 7.12 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 22 | Old B | 2025-10-30 | 08:35 | 2025-10-29 | 17:37 | ANA | 4 | 403 | 404 | / | / | 1.840 |  |  |  | 7.95 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 23 | Old B | 2025-10-30 | 08:36 | 2025-10-29 | 17:37 | ANA | 4 | 406 | 408 | / | / | 1.856 |  |  |  | 7.81 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 24 | P/FINAL | 2025-10-30 | 08:37 | 2025-10-29 | 17:37 | ANA | 4 | 2 | 3 | / | / | 0.008 |  |  |  | 1.76 | 103 | 1 | Andrea V |  | 3 | 1
1 | 0 | 25 | P/FINAL | 2025-10-30 | 08:39 | 2025-10-29 | 17:37 | ANA | 4 | 2 | 2 | / | / | 0.008 |  | 1.462 |  | 1.28 | 97 | 1 | Andrea V |  | 3 | 1
2 | 100 | 26 | P/FINAL | 2025-10-30 | 08:46 | 2025-10-29 | 17:37 | ANA | 4 | 100 | 99 | / | / | 0.469 |  |  |  | 2.03 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 27 | P/FINAL | 2025-10-30 | 08:47 | 2025-10-29 | 17:37 | ANA | 4 | 100 | 99 | / | / | 0.469 |  | 1.593 |  | 1.61 | 84 | 1 | Andrea V |  | 3 | 2
2 | 100 | 28 | P/FINAL | 2025-10-30 | 08:47 | 2025-10-29 | 17:37 | ANA | 4 | 100 | 99 | / | / | 0.467 |  |  |  | 1.18 | 87 | 1 | Andrea V |  | 3 | 2
3 | 400 | 29 | P/FINAL | 2025-10-30 | 08:48 | 2025-10-29 | 17:37 | ANA | 4 | 402 | 404 | / | / | 1.836 |  |  |  | 2.29 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 30 | P/FINAL | 2025-10-30 | 08:49 | 2025-10-29 | 17:37 | ANA | 4 | 402 | 404 | / | / | 1.835 |  |  |  | 1.54 | 97 | 1 | Andrea V |  | 3 | 3
3 | 400 | 31 | P/FINAL | 2025-10-30 | 08:51 | 2025-10-29 | 17:37 | ANA | 4 | 403 | 405 | / | / | 1.842 |  | 1.670 |  | 1.24 | 83 | 1 | Andrea V |  | 3 | 3
1 | 0 | 32 | P/FINAL | 2025-10-30 | 09:01 | 2025-10-30 | 07:05 | DORINA | 4 | 1 | 1 | / | / | 0.005 |  |  |  | 0.64 | 100 | 1 | Andrea V |  | 3 | 1
1 | 0 | 33 | P/FINAL | 2025-10-30 | 09:02 | 2025-10-30 | 07:05 | DORINA | 4 | 1 | 0 | / | / | 0.004 |  | 1.606 |  | 1.02 | 101 | 1 | Andrea V |  | 3 | 1
2 | 100 | 34 | P/FINAL | 2025-10-30 | 09:03 | 2025-10-30 | 07:05 | DORINA | 4 | 99 | 99 | / | / | 0.462 |  |  |  | 2.09 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 35 | P/FINAL | 2025-10-30 | 09:04 | 2025-10-30 | 07:05 | DORINA | 4 | 101 | 99 | / | / | 0.474 |  | 1.586 |  | 2.83 | 104 | 1 | Andrea V |  | 3 | 2
2 | 100 | 36 | P/FINAL | 2025-10-30 | 09:06 | 2025-10-30 | 07:05 | DORINA | 4 | 100 | 99 | / | / | 0.470 |  |  |  | 1.53 | 101 | 1 | Andrea V |  | 3 | 2
3 | 400 | 37 | P/FINAL | 2025-10-30 | 09:08 | 2025-10-30 | 07:05 | DORINA | 4 | 403 | 405 | / | / | 1.841 |  |  |  | 2.72 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 38 | P/FINAL | 2025-10-30 | 09:09 | 2025-10-30 | 07:05 | DORINA | 4 | 407 | 409 | / | / | 1.859 |  | 1.638 |  | 2.29 | 115 | 1 | Andrea V |  | 3 | 3
3 | 400 | 39 | P/FINAL | 2025-10-30 | 09:10 | 2025-10-30 | 07:05 | DORINA | 4 | 404 | 405 | / | / | 1.848 |  |  |  | 0.75 | 100 | 1 | Andrea V |  | 3 | 3
2 | 100 | 40 | P/FINAL | 2025-10-30 | 15:36 | 2025-10-30 | 14:27 | ANA | 4 | 101 | 103 | / | / | 0.474 |  |  |  | 0.76 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 41 | P/FINAL | 2025-10-30 | 15:36 | 2025-10-30 | 14:27 | ANA | 4 | 102 | 102 | / | / | 0.478 |  |  |  | 0.75 |  | 1 | Andrea V |  | 3 | 2
2 | 100 | 42 | P/FINAL | 2025-10-30 | 15:37 | 2025-10-30 | 14:27 | ANA | 4 | 101 | 102 | / | / | 0.475 |  | 1.510 |  | 0.81 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 43 | P/FINAL | 2025-10-30 | 15:38 | 2025-10-30 | 14:27 | ANA | 4 | 412 | 415 | / | / | 1.883 |  |  |  | 0.61 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 44 | P/FINAL | 2025-10-30 | 15:39 | 2025-10-30 | 14:27 | ANA | 4 | 411 | 415 | / | / | 1.879 |  |  |  | 0.62 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 45 | P/FINAL | 2025-10-30 | 15:41 | 2025-10-30 | 14:27 | ANA | 4 | 411 | 414 | / | / | 1.877 |  | 1.595 |  | 0.75 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 46 | P/FINAL | 2025-10-30 | 15:43 | 2025-10-30 | 14:27 | ANA | 4 | 3 | 2 | / | / | 0.011 |  |  |  | 1.14 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 47 | P/FINAL | 2025-10-30 | 15:44 | 2025-10-30 | 14:27 | ANA | 4 | 3 | 2 | / | / | 0.010 |  | 1.461 |  | 1.71 |  | 1 | Andrea V |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 100 mg/L | 9 | 18 | 100 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 407 mg/L | 9 | 18 | 407 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 2 mg/L | 6 | 12 | 2 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 2 | YES
100 | 94 ÷ 106 | 100 | YES
400 | 385 ÷ 415 | 407 | YES
Validation Date | by
2025-11-03 | Eugenia