## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI771B-0 | HI95771B-0
1272 | HI95771B-0 | CP-R63 | W 50/1 |  | Parameter Formula | Cl2 | Cl2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine UHR Reagent B | 2030-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
100 | 90 | 110
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1188 | 1272
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-10-01 | 2030-12-01
Reagent Range Min | Reagent Range Max
0 mg/L | 500 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
EVELIN | 2025-12-08 | 2025-12-17 | 1 HEAD |  |  |  | 0956
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97771 | CTO-696
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-797
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 100 | 94 | 106 |  | CM133 |  | 3 | & | 3% | 100% |  | 7.0 | 6.8 | 7.2
3 | 400 | 385 | 415 | [8 empty] | 1.5 | 1.4 | 1.7
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97771 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 100 | 1 | Old B | 2025-12-09 | 09:19 | 2025-12-08 | 15:55 | EVELIN |  | 101 | 98 | / | / | 0.473 |  |  |  | 17.1 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 2 | Old B | 2025-12-09 | 09:20 | 2025-12-08 | 15:55 | EVELIN |  | 102 | 105 | / | / | 0.479 |  |  |  | 19.2 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 3 | Old B | 2025-12-09 | 09:21 | 2025-12-08 | 15:55 | EVELIN |  | 396 | 406 | / | / | 1.809 |  |  |  | 34.1 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 4 | Old B | 2025-12-09 | 09:21 | 2025-12-08 | 15:55 | EVELIN |  | 396 | 399 | / | / | 1.808 |  |  |  | 30.1 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 5 | Old B | 2025-12-09 | 09:23 | 2025-12-08 | 15:55 | EVELIN |  | 9 | 8 | / | / | 0.040 |  |  |  | 18.8 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 6 | Valid | 2025-12-09 | 09:25 | 2025-12-08 | 15:55 | EVELIN |  | 99 | 100 | / | / | 0.449 |  |  |  | 5.59 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 7 | Valid | 2025-12-09 | 09:27 | 2025-12-08 | 15:55 | EVELIN |  | 98 | 101 | / | / | 0.461 |  | 1.636 |  | 2.94 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 8 | Valid | 2025-12-09 | 09:27 | 2025-12-08 | 15:55 | EVELIN |  | 98 | 99 | / | / | 0.457 |  |  |  | 1.84 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 9 | Valid | 2025-12-09 | 09:28 | 2025-12-08 | 15:55 | EVELIN |  | 388 | 390 | / | / | 1.775 |  | 1.761 |  | 2.20 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 10 | Valid | 2025-12-09 | 09:29 | 2025-12-08 | 15:55 | EVELIN |  | 387 | 388 | / | / | 1.771 |  |  |  | 2.32 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 11 | Valid | 2025-12-09 | 09:31 | 2025-12-08 | 15:55 | EVELIN |  | 385 | 390 | / | / | 1.759 |  |  |  | 6.72 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 12 | Valid | 2025-12-09 | 09:35 | 2025-12-08 | 15:55 | EVELIN |  | 1 | 2 | / | / | 0.002 |  | 1.615 |  | 3.52 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 13 | Valid | 2025-12-09 | 09:36 | 2025-12-08 | 15:55 | EVELIN |  | 2 | 2 | / | / | 0.009 |  |  |  | 1.29 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 14 | Old B | 2025-12-17 | 08:24 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 98 | 103 | / | / | 0.458 |  |  |  | 18.8 |  | 1 | Kinga |  | 3 | 2
2 | 100 | 15 | Old B | 2025-12-17 | 08:25 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 94 | 98 | / | / | 0.442 |  |  |  | 6.28 |  | 1 | Kinga |  | 3 | 2
3 | 400 | 16 | Old B | 2025-12-17 | 08:26 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 391 | 389 | / | / | 1.787 |  |  |  | 6.36 |  | 1 | Kinga |  | 3 | 3
3 | 400 | 17 | Old B | 2025-12-17 | 08:26 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 394 | 392 | / | / | 1.803 |  |  |  | 7.64 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 18 | Old B | 2025-12-17 | 08:32 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 3 | 4 | / | / | 0.013 |  |  |  | 15.6 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 19 | Old B | 2025-12-17 | 08:32 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 2 | 3 | / | / | 0.011 |  |  |  | 11.2 |  | 1 | Kinga |  | 3 | 1
2 | 100 | 20 | P/FINAL | 2025-12-17 | 08:40 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 94 | 94 | / | / | 0.441 |  | 1.519 |  | 2.63 | 103 | 1 | Kinga |  | 3 | 2
2 | 100 | 21 | P/FINAL | 2025-12-17 | 08:42 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 95 | 94 | / | / | 0.443 |  |  |  | 2.46 | 103 | 1 | Kinga |  | 3 | 2
2 | 100 | 22 | P/FINAL | 2025-12-17 | 08:47 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 92 | 94 | / | / | 0.431 |  |  |  | 1.50 | 90 | 1 | Kinga |  | 3 | 2
3 | 400 | 23 | P/FINAL | 2025-12-17 | 08:52 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 407 | 404 | / | / | 1.862 |  | 1.518 |  | 6.33 | 84 | 1 | Kinga |  | 3 | 3
3 | 400 | 24 | P/FINAL | 2025-12-17 | 08:52 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 401 | 400 | / | / | 1.831 |  |  |  | 2.51 | 106 | 1 | Kinga |  | 3 | 3
3 | 400 | 25 | P/FINAL | 2025-12-17 | 08:53 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 399 | 391 | / | / | 1.822 |  |  |  | 5.54 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 26 | P/FINAL | 2025-12-17 | 08:56 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 2 | 1 | / | / | 0.007 |  |  |  | 2.48 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 27 | P/FINAL | 2025-12-17 | 08:57 | 2025-12-17 | 07:08 | GIORGIANA | 1 | 1 | 1 | / | / | 0.006 |  | 1.479 |  | 1.67 | 93 | 1 | Kinga |  | 3 | 1
2 | 100 | 28 | P/FINAL | 2025-12-17 | 15:40 | 2025-12-17 | 14:29 | DORINA | 4 | 94 | 96 | / | / | 0.438 |  |  |  | 3.18 | 94 | 1 | Kinga |  | 3 | 2
2 | 100 | 29 | P/FINAL | 2025-12-17 | 15:41 | 2025-12-17 | 14:29 | DORINA | 4 | 95 | 97 | / | / | 0.445 |  | 1.651 |  | 3.13 | 101 | 1 | Kinga |  | 3 | 2
3 | 400 | 30 | P/FINAL | 2025-12-17 | 15:45 | 2025-12-17 | 14:29 | DORINA | 4 | 404 | 407 | / | / | 1.848 |  |  |  | 3.14 | 98 | 1 | Kinga |  | 3 | 3
3 | 400 | 31 | P/FINAL | 2025-12-17 | 15:45 | 2025-12-17 | 14:29 | DORINA | 4 | 403 | 414 | / | / | 1.842 |  |  |  | 2.41 | 96 | 1 | Kinga |  | 3 | 3
3 | 400 | 32 | P/FINAL | 2025-12-17 | 15:46 | 2025-12-17 | 14:29 | DORINA | 4 | 409 | 410 | / | / | 1.868 |  | 1.620 |  | 5.01 | 102 | 1 | Kinga |  | 3 | 3
1 | 0 | 33 | P/FINAL | 2025-12-17 | 15:50 | 2025-12-17 | 14:29 | DORINA | 4 | 3 | 3 | / | / | 0.012 |  |  |  | 7.43 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 34 | P/FINAL | 2025-12-17 | 15:50 | 2025-12-17 | 14:29 | DORINA | 4 | 2 | 1 | / | / | 0.008 |  | 1.660 |  | 4.15 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 95 mg/L | 5 | 10 | 95 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 404 mg/L | 6 | 12 | 404 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 2 mg/L | 4 | 8 | 2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 2 | YES
100 | 94 ÷ 106 | 95 | YES
400 | 385 ÷ 415 | 404 | YES
Validation Date | by