## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770A-0 | HI96770A-0
0641 | HI770A-0 | CP-R64 | W29/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica High Range Reagent A | 2027-07-01 | L57 Powder |  |  | Laboratory | QC PWD TAB3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
| 0576 | 0403
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
| 2029-05-01 | 2029-01-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-07-16 | 2024-08-05 | NEW PRECI |  |  | 0406
[6 empty] | Expiration A | Expiration B | Expiration D
2027-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-224 | HI98713 | CTO-805
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 36 | 44 |  | MR82 |  | 2 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 150 | 170 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 2 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old A | 2024-08-05 | 18:42 |  |  |  |  | 40 | 41 | / | / | 0.157 |  |  |  | 4.23 |  | 1 | David |  | 3 | 2
3 | 160 | 2 | Old A | 2024-08-05 | 18:43 |  |  |  |  | 158 | 164 | / | / | 0.555 |  |  |  | 3.35 |  | 1 | David |  | 3 | 3
2 | 40 | 3 | P/Final | 2024-08-05 | 18:44 | 2024-08-05 | 15:30 | FLORICA | PRECI | 38 | 38 | / | / | 0.152 |  |  |  | 3.56 | 114 | 1 | David |  | 3 | 2
2 | 40 | 4 | P/Final | 2024-08-05 | 18:45 | 2024-08-05 | 15:30 | FLORICA | PRECI | 38 | 40 | / | / | 0.153 |  |  | 1.235 | 5.03 | 110 | 1 | David |  | 3 | 2
2 | 40 | 5 | P/Final | 2024-08-05 | 18:46 | 2024-08-05 | 15:30 | FLORICA | PRECI | 39 | 40 | / | / | 0.156 |  |  |  | 4.55 | 115 | 1 | David |  | 3 | 2
3 | 160 | 6 | P/Final | 2024-08-05 | 18:46 | 2024-08-05 | 15:30 | FLORICA | PRECI | 156 | 163 | / | / | 0.551 |  |  |  | 3.26 | 113 | 1 | David |  | 3 | 3
3 | 160 | 7 | P/Final | 2024-08-05 | 18:47 | 2024-08-05 | 15:30 | FLORICA | PRECI | 158 | 165 | / | / | 0.556 |  |  | 1.317 | 4.85 |  | 1 | David |  | 3 | 3
3 | 160 | 8 | P/Final | 2024-08-05 | 18:48 | 2024-08-05 | 15:30 | FLORICA | PRECI | 158 | 166 | / | / | 0.556 |  |  |  | 3.90 |  | 1 | David |  | 3 | 3
1 | 0 | 9 | P/Final | 2024-08-05 | 18:49 | 2024-08-05 | 15:30 | FLORICA | PRECI | 0 | 0 | / | / | 0.009 |  |  |  | 3.22 |  | 1 | David |  | 3 | 1
1 | 0 | 10 | P/Final | 2024-08-05 | 18:49 | 2024-08-05 | 15:30 | FLORICA | PRECI | 0 | 0 | / | / | 0.006 |  |  | 1.283 | 3.46 |  | 1 | David |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 39 mg/L | 3 | 6 | 39 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 161 mg/L | 3 | 6 | 161 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 2 | 0 | YES
40 | 36 ÷ 44 | 39 | YES
160 | 150 ÷ 170 | 161 | YES
Validation Date | by