## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770A-0 | HI96770A-0
1000 | HI770A-0 | CP-R64 | W 16/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent A | 2028-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1000 | 0942 | 0996
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-04-01 | 2030-03-01 | 2030-04-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-04-24 | 2025-04-24 | PRECI |  |  | 0680
[6 empty] | Expiration A | Expiration B | Expiration D
2027-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 36 | 44 |  | MR82 |  | 2 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 150 | 170 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 2 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | P/FINAL | 2025-04-25 | 08:53 | 2025-04-24 | 17:12 | NINA |  | 37 | 38 | / | / | 0.147 |  |  | 1.138 | 1.57 | 83 | 1 | Kinga |  | 3 | 2 | 115329
2 | 40 | 2 | P/FINAL | 2025-04-25 | 08:54 | 2025-04-24 | 17:12 | NINA |  | 37 | 39 | / | / | 0.146 |  |  |  | 1.59 | 104 | 1 | Kinga |  | 3 | 2 | 115329
3 | 160 | 3 | P/FINAL | 2025-04-25 | 08:54 | 2025-04-24 | 17:12 | NINA |  | 156 | 154 | / | / | 0.551 |  |  | 1.161 | 1.59 | 104 | 1 | Kinga |  | 3 | 3 | 115329
3 | 160 | 4 | P/FINAL | 2025-04-25 | 08:55 | 2025-04-24 | 17:12 | NINA |  | 155 | 154 | / | / | 0.548 |  |  |  | 1.71 | 103 | 1 | Kinga |  | 3 | 3 | 115329
1 | 0 | 5 | P/FINAL | 2025-04-25 | 08:56 | 2025-04-24 | 17:12 | NINA |  | 0 | 0 | / | / | 0.015 |  |  |  | 1.70 | 91 | 1 | Kinga |  | 3 | 1 | 115329
1 | 0 | 6 | P/FINAL | 2025-04-25 | 08:56 | 2025-04-24 | 17:12 | NINA |  | 0 | 0 | / | / | 0.012 |  |  | 1.130 | 1.54 | 94 | 1 | Kinga |  | 3 | 1 | 115329
2 | 40 | 7 | P/FINAL | 2025-04-25 | 08:56 | 2025-04-24 | 17:12 | NINA |  | 37 | 38 | / | / | 0.147 |  |  |  | 1.61 |  | 1 | Kinga |  | 3 | 1 | 115329
3 | 160 | 8 | P/FINAL | 2025-04-25 | 08:56 | 2025-04-24 | 17:12 | NINA |  | 156 | 154 | / | / | 0.551 |  |  |  | 1.59 |  | 1 | Kinga |  | 3 | 1 | 115329
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 38 mg/L | 3 | 6 | 38 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 155 mg/L | 3 | 6 | 155 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 2 | 0 | YES
40 | 36 ÷ 44 | 38 | YES
160 | 150 ÷ 170 | 155 | YES
Validation Date | by
2025-04-29 | Eugenia