## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770A-0 | HI96770A-0
0680 | HI96770A-0 | CP-R64 | W37/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica High Range Reagent A | 2027-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0680 | 0576 | 0630
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-09-01 | 2029-05-01 | 2029-07-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-09-19 | 2024-09-20 | PRECI |  |  | 0507
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 160 | 151 | 169 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
2 | 40 | 37 | 43 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 1 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 160 | 1 | Old A | 2024-09-13 | 08:45 | 2024-09-12 |  | ERIKA |  | 156 | 162 | / | / | 0.549 |  |  |  | 3.34 |  | 1 | Brigitta P |  | 3 | 3
2 | 40 | 2 | Old A | 2024-09-13 | 08:47 | 2024-09-12 |  | ERIKA |  | 43 | 43 | / | / | 0.170 | [5 empty] | 1 | Brigitta P |  | 3 | 2
2 | 40 | 3 | Valid | 2024-09-13 | 08:51 | 2024-09-12 |  | ERIKA |  | 43 | 47 | / | / | 0.168 |  |  |  | 2.22 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 4 | Valid | 2024-09-13 | 08:52 | 2024-09-12 |  | ERIKA |  | 43 | 44 | / | / | 0.169 |  |  |  | 2.19 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 5 | Valid | 2024-09-13 | 08:54 | 2024-09-12 |  | ERIKA |  | 43 | 46 | / | / | 0.170 |  |  |  | 2.20 |  | 1 | Brigitta P |  | 3 | 2
3 | 160 | 6 | Valid | 2024-09-13 | 09:12 | 2024-09-12 | 12:26 | ERIKA |  | 155 | 164 | / | / | 0.547 |  |  |  | 2.23 |  | 1 | Brigitta P |  | 3 | 3 | 63124
3 | 160 | 7 | Valid | 2024-09-13 | 09:12 | 2024-09-12 | 12:26 | ERIKA |  | 156 | 165 | / | / | 0.550 |  |  |  | 2.45 |  | 1 | Brigitta P |  | 3 | 3 | 63124
3 | 160 | 8 | Valid | 2024-09-13 | 09:13 | 2024-09-12 | 12:26 | ERIKA |  | 157 | 165 | / | / | 0.557 |  |  |  | 2.95 |  | 1 | Brigitta P |  | 3 | 3 | 63124
1 | 0 | 9 | Valid | 2024-09-13 | 09:13 | 2024-09-12 | 12:26 | ERIKA |  | 0 | 0 | / | / | -0.001 |  |  |  | 2.76 |  | 1 | Brigitta P |  | 3 | 1 | 63124
1 | 0 | 10 | Valid | 2024-09-13 | 09:14 | 2024-09-12 | 12:26 | ERIKA |  | 0 | 0 | / | / | -0.004 |  |  |  | 2.71 |  | 1 | Brigitta P |  | 3 | 1 | 63124
2 | 40 | 11 | P/Final | 2024-09-21 | 11:04 | 2024-09-20 | 14:59 | FLORICA | PRECI | 43 | 45 | / | / | 0.170 |  |  |  | 10.3 |  | 1 | Brigitta P |  | 3 | 2 | 63124 | I use the same STD at short code.
2 | 40 | 12 | P/Final | 2024-09-21 | 11:05 | 2024-09-20 | 14:59 | FLORICA | PRECI | 43 | 45 | / | / | 0.170 |  |  |  | 3.23 |  | 1 | Brigitta P |  | 3 | 2 | 63124 | old lot results read HI770A-0 lot:0680
3 | 160 | 13 | P/Final | 2024-09-21 | 11:06 | 2024-09-20 | 14:59 | FLORICA | PRECI | 162 | 161 | / | / | 0.568 |  |  |  | 1.17 |  | 1 | Brigitta P |  | 3 | 3 | 63124 | QC date: 2024.09.21
3 | 160 | 14 | P/Final | 2024-09-21 | 11:06 | 2024-09-20 | 14:59 | FLORICA | PRECI | 160 | 161 | / | / | 0.563 |  |  |  | 2.64 |  | 1 | Brigitta P |  | 3 | 3 | 63124
1 | 0 | 15 | P/Final | 2024-09-21 | 11:07 | 2024-09-20 | 14:59 | FLORICA | PRECI | 1 | 1 | / | / | 0.021 |  |  |  | 3.79 |  | 1 | Brigitta P |  | 3 | 1 | 63124
1 | 0 | 16 | P/Final | 2024-09-21 | 11:07 | 2024-09-20 | 14:59 | FLORICA | PRECI | 1 | 2 | / | / | 0.021 |  |  |  | 3.74 |  | 1 | Brigitta P |  | 3 | 1 | 63124
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 161 mg/L | 2 | 4 | 161 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 44 mg/L | 0 | 0 | 0 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1 mg/L | 2 | 4 | 1 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 1 | YES
40 | 37 ÷ 43 | 44 | NO
160 | 151 ÷ 169 | 161 | YES
Validation Date | by