## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770A-0 | HI96770A-0
0862 | HI96770A-0 | CP-R64 | W 49 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica High Range Reagent A | 2027-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0862 | 0802 | 0796
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-12-01 | 2029-11-01 | 2029-11-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-06 | 2024-12-06 | PRECI |  |  | 0641
[6 empty] | Expiration A | Expiration B | Expiration D
2027-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-833 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 37 | 43 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 151 | 169 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 1 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old A | 2024-12-04 | 12:50 | 2024-12-04 | 11:50 | ERIKA |  | 40 | 41 | / | / | 0.173 |  |  |  | 1.83 |  | 1 | Kinga |  | 3 | 2 | 63124
3 | 160 | 2 | Old A | 2024-12-04 | 12:51 | 2024-12-04 | 11:50 | ERIKA |  | 153 | 161 | / | / | 0.539 |  |  |  | 1.46 |  | 1 | Kinga |  | 3 | 3 | 63124
1 | 0 | 3 | Old A | 2024-12-04 | 12:52 | 2024-12-04 | 11:50 | ERIKA |  | 0 | 0 | / | / | 0.006 |  |  |  | 1.36 |  | 1 | Kinga |  | 3 | 1 | 63124
2 | 40 | 4 | Valid | 2024-12-04 | 14:34 | 2024-12-04 | 11:50 | ERIKA |  | 38 | 41 | / | / | 0.152 |  |  |  | 23.8 |  | 1 | Kinga |  | 3 | 2 | 63124
2 | 40 | 5 | Valid | 2024-12-04 | 14:34 | 2024-12-04 | 11:50 | ERIKA |  | 40 | 41 | / | / | 0.157 |  |  | 0.988 | 1.22 |  | 1 | Kinga |  | 3 | 2 | 63124
1 | 0 | 6 | Valid | 2024-12-04 | 14:36 | 2024-12-04 | 11:50 | ERIKA |  | 0 | 0 | / | / | -0.002 |  |  |  | 1.22 |  | 1 | Kinga |  | 3 | 1 | 63124
1 | 0 | 7 | Valid | 2024-12-04 | 14:36 | 2024-12-04 | 11:50 | ERIKA |  | 0 | 0 | / | / | -0.001 |  |  | 0.999 | 7.56 |  | 1 | Kinga |  | 3 | 1 | 63124
3 | 160 | 8 | Valid | 2024-12-04 | 14:54 | 2024-12-04 | 11:50 | ERIKA |  | 152 | 159 | / | / | 0.537 |  |  |  | 1.15 |  | 1 | Kinga |  | 3 | 3 | 63124
3 | 160 | 9 | Valid | 2024-12-04 | 14:55 | 2024-12-04 | 11:50 | ERIKA |  | 156 | 158 | / | / | 0.585 |  |  | 1.060 | 1.65 |  | 1 | Kinga |  | 3 | 3 | 63124
2 | 40 | 10 | Old A | 2024-12-06 | 14:28 | 2024-12-06 | 08:00 | FLORICA |  | 42 | 43 | / | / | 0.560 |  |  |  | 2.12 |  | 1 | Kinga |  | 3 | 2 | 63124
3 | 160 | 11 | Old A | 2024-12-06 | 14:29 | 2024-12-06 | 08:00 | FLORICA |  | 159 | 162 | / | / | 0.560 |  |  |  | 1.76 |  | 1 | Kinga |  | 3 | 3 | 63124
1 | 0 | 12 | Old A | 2024-12-06 | 14:30 | 2024-12-06 | 08:00 | FLORICA |  | 0 | 0 | / | / | 0.025 |  |  |  | 1.60 |  | 1 | Kinga |  | 3 | 1 | 63124
2 | 40 | 13 | P/Final | 2024-12-06 | 14:35 | 2024-12-06 | 08:00 | FLORICA |  | 42 | 43 | / | / | 0.191 |  |  |  | 4.91 |  | 1 | Kinga |  | 3 | 2 | 63124
2 | 40 | 14 | P/Final | 2024-12-06 | 14:36 | 2024-12-06 | 08:00 | FLORICA |  | 41 | 43 | / | / | 0.172 |  |  | 1.150 | 4.75 |  | 1 | Kinga |  | 3 | 2 | 63124
3 | 160 | 15 | P/Final | 2024-12-06 | 14:37 | 2024-12-06 | 08:00 | FLORICA |  | 156 | 162 | / | / | 0.550 |  |  |  | 1.58 |  | 1 | Kinga |  | 3 | 3 | 63124
3 | 160 | 16 | P/Final | 2024-12-06 | 14:38 | 2024-12-06 | 08:00 | FLORICA |  | 157 | 161 | / | / | 0.554 |  |  | 1.044 | 1.45 |  | 1 | Kinga |  | 3 | 3 | 63124
1 | 0 | 17 | P/Final | 2024-12-06 | 14:39 | 2024-12-06 | 08:00 | FLORICA |  | 0 | 0 | / | / | 0.012 |  |  |  | 1.77 |  | 1 | Kinga |  | 3 | 1 | 63124
1 | 0 | 18 | P/Final | 2024-12-06 | 14:40 | 2024-12-06 | 08:00 | FLORICA |  | 0 | 0 | / | / | 0.008 |  |  | 1.035 | 1.52 |  | 1 | Kinga |  | 3 | 1 | 63124
2 | 40 | 19 | P/Final | 2024-12-06 | 16:50 | 2024-12-06 | 14:15 | NINA |  | 43 | 43 | / | / | 0.169 |  |  | 1.086 | 1.99 |  | 1 | Kinga |  | 3 | 2 | 63124
2 | 40 | 20 | P/Final | 2024-12-06 | 16:50 | 2024-12-06 | 14:15 | NINA |  | 43 | 43 | / | / | 0.170 |  |  |  | 1.43 |  | 1 | Kinga |  | 3 | 2 | 63124
3 | 160 | 21 | P/Final | 2024-12-06 | 16:51 | 2024-12-06 | 14:15 | NINA |  | 157 | 160 | / | / | 0.553 |  |  | 1.070 | 1.45 | 117 | 1 | Kinga |  | 3 | 3 | 63124
3 | 160 | 22 | P/Final | 2024-12-06 | 16:52 | 2024-12-06 | 14:15 | NINA |  | 161 | 165 | / | / | 0.565 |  |  |  | 5.37 | 118 | 1 | Kinga |  | 3 | 3 | 63124
1 | 0 | 23 | P/Final | 2024-12-06 | 16:53 | 2024-12-06 | 14:15 | NINA |  | 0 | 0 | / | / | -0.002 |  |  | 0.984 | 1.98 | 96 | 1 | Kinga |  | 3 | 1 | 63124
1 | 0 | 24 | P/Final | 2024-12-06 | 16:54 | 2024-12-06 | 14:15 | NINA |  | 0 | 1 | / | / | 0.021 |  |  |  | 5.07 | 106 | 1 | Kinga |  | 3 | 1 | 63124
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 43 mg/L | 4 | 8 | 43 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 160 mg/L | 4 | 8 | 160 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 43 | YES
160 | 151 ÷ 169 | 160 | YES
Validation Date | by